## Schedule C-2
EL PASO NATURAL GAS COMPANY
FERC Account No. 106 - Completed Construction Not Classified / 1
FERC Account No. 107 - Construction Work in Progress
Uncompleted Work Orders Claimed in Rate Base
FERC Account
Line | Work |  | Docket | No. 107
No. | Order No. | Particulars | No. | Ending Balance
| (a) | (b) | (c) | (d)
1 | 054032 | Install one 4" O.D. mainline tap and valve assembly, EGM, communications and appurtenant facilities |  | 5818.49
2 | 067478 | Run geometry tool and smart pig 64 miles 24" pipe on line 1200 from Valve 31 to Seligman Station |  | 0.01
3 | 069420 | Install 20" Pig Launcher/Receiver on Line 30116 |  | 0.01
4 | 073006 | Install facilities to "smart pig" L-3114 |  | 0.01
5 | 086952 | Replacement of the Bluewater Compressor Station |  | 37.44
6 | 095410 | ERW pipe that requires replacement on Line 2004 |  | 102.14
7 | 098814 | Line 1100 - San Simon to Benson Station |  | 27.36
8 | 099752 | Sonora LNG Project Development |  | 18511.38
9 | 099753 | Sonora LNG Project Development |  | 17492.17
10 | 100234 | Install new Eurofresh Delivery Point Meter Station |  | -9000
11 | 102992 | Add a new power line at CPS 757 |  | 7540.27
12 | 106964 | Line 1200 - Window Rock CS to Dilkon CS |  | 686.96
13 | 106965 | Line 1201 - Navajo CS to Dilkon CS |  | -2810.6
14 | 107023 | Installation of four traps and the removal of a non-piggable "stopple" fitting |  | 226461.58
15 | 107027 | Line 2113 - Saguro Power Plant: - MLV0 to MLV 1: This includes the installation of two traps. |  | 123000.7
16 | 107524 | Line 1000 - Cornudas CS to Clint Junction MS |  | 12527.61
17 | 107526 | Line 1001 - Cornudas CS to Clint Junction MS |  | 11280.72
18 | 107527 | Line 1004 -Afton CS to Florida CS |  | 237019.59
19 | 107528 | Line 1110 - MP 159 to Hueco CS |  | 466365.13
20 | 107609 | Line 1008 -MLV 25 to I-10 |  | 18.17
21 | 107611 | Line 1110 - Valve 87 to Ehrenberg |  | 36384.68
22 | 107612 | Line 2223 - North Phoenix M.S. to Pinnacle Peak Rd. Regulation Install two traps |  | 137370.95
23 | 107613 | Line 2039 - South Mountain to Lateral 16 |  | -442.58
24 | 107691 | Line 1300 - Caprock CS to Roswell CS |  | 14.61
25 | 107692 | Line 2125 - Dimmitt CS to Farwell Junction MS |  | 778529.56
26 | 107693 | Line 30131 - Eunice CS to Monument CS |  | 155409.95
27 | 107703 | Line 2123 - Yuma MP 77 to MP 82 |  | 542660.82
28 | 107706 | Line 2123 - Yuma MP 0 to MP 71 |  | 400178.7
29 | 107708 | Line 2123 Yuma - MP 71 to MP 77 |  | 402635.99
30 | 107709 | Line 1201 (30") - Hackberry CS to Franconia Junction |  | 733140
31 | 107710 | Line 1200 (24") - Hackberry CS to Franconia Junction |  | 726699.45
32 | 107714 | Line 1208 - MP 124 to Navajo CS |  | 2997.64
33 | 107715 | Line 1208 - MP 147 to Dilkon CS |  | 8887.76
34 | 107716 | Line 1301 - MP 81 to Roswell CS |  | 18.27
35 | 107730 | Line 1008 - Valve 1/2 to Valve 4 |  | 148002.64
36 | 107731 | Line 1015 - Valve 13.5 to Pima Pork |  | 150197.34
37 | 107733 | Line 1600 - Casa Grande CS to Wenden CS |  | 14027.77
38 | 107734 | Line 2111 - Valve 0 to Valve 1 modification of two traps and the removal of a non-piggable "stopple" fitting |  | 122408.86
39 | 107735 | Line 2111- Valve 1 to MLV 3 1/2 installation of two traps, replacement of L2145 take off, and the replacement of two mainline valves. |  | 173660.34
40 | 107800 | Line 1200 24" - Seligman CS to Hackberry CS |  | 235.28
41 | 107801 | Line 1201 30" - Seligman CS to Hackberry CS |  | 448.18
42 | 107802 | Line 1204 34" - Seligman CS to Hackberry CS |  | 3313.95
43 | 107805 | Line 1208 36" - MLV 45 1/2 (MP 386+1093) |  | 450533.46
44 | 107806 | Line 1208 36" - MLV 38 to Hackberry CS Receiver. |  | 32.44
45 | 107858 | Line 1005 - Florida CS to Sation #4 |  | 138908.79
46 | 109973 | Install approximately 640 feet of new 20 inch OD X0.375 wt X60 steel pipe at MP 115+3543 |  | -522.51
47 | 110703 | Replace cooling tower at Leupp Station, B Plant with new fiber glass structure cooling tower |  | 4751.65
48 | 111129 | Replace cooling towers at Leupp station a, b, and c plants with new fiber glass structure |  | 590050.08
49 | 111325 | Install new SCADA MAS, Channel bank and antenna system in APS building on Mule Mountain |  | 18860.49
1 | 111328 | Install new VHF repeater and antenna system in APS building on Mule Mountain |  | 19046.73
2 | 111507 | The security fence is critical for security and completion of the site |  | 205120.12
3 | 114314 | Install a new Cathodic Protection deep well ground bed, rectifier and Remote Monitoring system with interruption capabilities on line 1008 at MP 81+3700. |  | 86041.52
4 | 114349 | Project for the procurement of land located in Pinal County, Arizona at the intersection of Line 2000 and the East Valley Lateral. | CP07-448 | 596611.75
5 | 114800 | Install fuel control valves and catalysts on two PSVG 8 to comply with emission requirements. |  | 5.58
6 | 115299 | Replace the existing, depleted deep well ground bed CPS 1395 at mile post 53+0901 |  | -126.4
7 | 116006 | Line 2137- Valve 0 to Line 2125 Tee |  | 9249.78
8 | 116279 | Install West El Paso Lateral Expansion (New Mexico Segment) |  | 1157.69
9 | 116561 | Line 2053 6-Inch Pipe Expansion |  | 59.06
10 | 117232 | Installation of a new four cell cooling tower structure on B Plant. |  | 2280.92
11 | 117608 | Line 1600 - Wenden Station to Valve 87 1/2 |  | 18551.13
12 | 117610 | Line 2019 - VA 0 to Ft. Huachuca Master MS at MLV 2&1/2. |  | 112125.37
13 | 117672 | Line 2143 - Twin Buttes Check MS to Ductos De Nogales MS |  | 226182.98
14 | 117770 | Install Casa Grande C Plant Flow Mode Modifications |  | 149.85
15 | 117788 | Replace approx 18,200 ft of Line 1600 between MP 490 and MP 493 located in proposed Willow Springs Development. |  | 1957357.64
16 | 117794 | Line 1119 - MP 107: Dimmitt Station to Plains Station |  | 11885.5
17 | 117797 | Line 1600 - Cornudas Station to El Paso Station |  | 128422.13
18 | 117801 | Line 3132 - Tex-Harvey Plant to Jameson Plant |  | 100856.27
19 | 117847 | Relocate and lower approx 300' of L1203 at MP112.71 where pipeline crosses Happy Valley Road, CIty of Peoria, Az. |  | 2160.61
20 | 118201 | Line 1103 repl pipe. |  | 56.43
21 | 118222 | Replace Moline back up generator with Capstone Microturbine generators. Capstone package to include three C-65 units in fabbed enclosure to be load tested offsite before delivery. |  | 0.98
22 | 118306 | Install NOx emission reducing equipment on FOUR of the Cooper GMW and GMV compressor engines. |  | 10433.92
23 | 118390 | Install Gas Quality equipment and power at Tocito Dome Meter Station, meter code 01-781. |  | 136133.29
24 | 118987 | Remove DC Power Source and all affiliated equipment and Replace with aproximately 2 miles of new AC power lines to CPS 1570 at MP 351+4129 on the 1200 San Juan Line. |  | 7296.76
25 | 118988 | Install a new 500 ft. X 8 in. Deep Well Ground Bed Designed for 50 amps of continuous outut. |  | 93846.4
26 | 119073 | Install approximately 2,700 ft of new 6" pipe near Gonzales Pass in Pinal County, AZ. - Phase 1 |  | 379192.09
27 | 119078 | Replace the existing regulator and relief valve with monitor and working regulators. Remove the gas line heaters and replace with catalytic heaters. |  | 12.54
28 | 119104 | Replace the existing regulator and relief valve with monitor and working regulators. Remove the gas line heaters and replace with catalytic heaters. |  | 27.33
29 | 119133 | Replace the existing regulator and relief valve with monitor and working regulators. Remove the gas line heaters and replace with catalytic heaters. |  | 16.49
30 | 119399 | Install West El Paso Lateral Expansion (Texas Segment): 5.82 Miles of new 12" loop (New Line number 20121) parallel to Lines 2034 and 2058, El Paso Co |  | 118.06
31 | 119671 | Replace the level controls on the A and B Plant Surge Tanks and Oil Day tanks at Leupp Compressor Station. |  | 139.28
32 | 119674 | Install gounding equipment on equipment at Navajo Station |  | 15.13
33 | 119676 | Replace the existing regulator and relief valve with monitor and working regulators. Remove the gas line heaters and replace with catalytic heaters. |  | 18.69
34 | 119677 | Install grounding equipment on equipment at Seligman Station. |  | 3.72
35 | 119679 | Install grounding equipment on equipment at Leupp Station. |  | 3.72
36 | 119683 | Replace a 25' section of L1007 at Tangerine Farm Rd a distance of 2'-0". Located at MP 125+2185 in Section 35, Township 11S, Range 11E in Pima County, AZ. |  | 3510.13
37 | 119713 | Install controls on the oil/water seperator at Leupp Station |  | 183.63
38 | 119718 | Install grounding equipment on meter stations and fencing along the Flagstaff Area pipelines. Line 1200 |  | 2008.49
39 | 119767 | Install a scrubber (relocated from Daggett Station) to N. Baja Compressor Station. |  | 1032069.01
40 | 119770 | Install a custody transfer meter station for the Snyder Lines at the Goldsmith Yard. |  | 1523.56
41 | 119812 | Lower approximately 1,500 feet of pipe and raise approximately 500 feet of pipe on the 2121 Nevada Line through a new development called Topock Village Estates. |  | 6047.72
42 | 119848 | Install approximately 500 feet of 20" pipe, Lower approximately 1,500 feet of pipe, and abandon approximately 500 feet of pipe in place on Line 2153 through a new development called Topock Village Estates. |  | 2105.99
43 | 120058 | Replace an existing 4" orifice meter with a 2" 3M Roots meter at the Ductos de Nogales Meter Station Site to serve Gas Natural Nogales. |  | -964.82
44 | 120071 | Install a new compressor station (Picacho) on the East Valley Lateral | CP07-448 | 5675880.67
45 | 120202 | Overhaul Unit 2D - Navajo Compressor Station |  | 763746.85
46 | 120632 | Install heating system on air duct to keep the vents from icing up at Navajo Station 1D Turbine |  | 165.97
47 | 120661 | Install Nueva Vista Receipt Point, Eddy County, NM: One 6" Hot Tap on Line 3191 and One 4" Orifice Meter Run to Receive Gas From 1.2 to 15.2 MMcf/d |  | 17.07
48 | 120916 | Install AC Mitigation facilities to protect Lines 1100, 1103, 1110, 1600 and 2000 |  | 3129.15
49 | 121004 | Replace existing groundbedCPS # 60 at MP 126+0942 |  | 6
50 | 121016 | Install 500' deep hole anode bed on Line 2004 / 2005 at MP 110+0000 |  | 16979.98
51 | 121026 | Replace ground bed CPS # 1194 with a 30" X 500' steel pipe anode bed at 646+4804 on L1100 located in Section 32/33, Township 1 North, Range 8 West, Maricopa County, AZ. |  | 10.17
52 | 121184 | Replace deep well ground bed #836 on Line 1200 at MP 188+2192 |  | 79834.65
53 | 121224 | Replace deep well ground bed #1558 on Line 1300 @ MP387+4509 |  | 5.57
54 | 121370 | Replace deep well ground bed on CPS 1619 on Line 3201 at MP 21.33 |  | 101800.8
55 | 121379 | Replace the valve actuator on Line 1202 at Valve 4 |  | -70.71
1 | 121438 | Replace deep well groud bed #1559 on line 1300-1301 @ MP234+4745 |  | 4.84
2 | 121447 | Install 500' deep well ground bed #2042 on Line 1300 at MP 197+0000 |  | 3.72
3 | 121450 | Install 500' deep well ground bed #2043 on Line 1300 at MP 74+1220 |  | 111044.24
4 | 121553 | Install additional deep well ground bed #580 on Line 1103 at MP 35+4329 |  | 4.84
5 | 121558 | Install deep well ground bed #252 on Line 1102 at MP 226+0295 |  | 11.83
6 | 121573 | Install an additional deep well ground bed #585 on Line 3125 at MP 9+2988. |  | 3.72
7 | 121574 | Install one 10" x 500' deep hole anode bed at MP 59+1676, CPS #2047 on Line 1105, Section 31, Block 42, T.P.R.R., Upton County, Texas. |  | 46.78
8 | 121594 | Install one conventional ground bed consisting of Junction box for 20 anodes |  | 41.3
9 | 121625 | Install new deep well ground bed #167-2 and replace existing rectifier on Line 1100 at MP 174 |  | -41.3
10 | 121628 | Install a new deep well ground bed #1358 on Line 1100 at MP 206+1194.4 |  | 79089.2
11 | 121693 | Install a pressure regulating station at the start of 2029 Line in Maricopa County Arizona. |  | 148844.79
12 | 121735 | Line 1005 - Station 4 to Valve 22 |  | 303903.41
13 | 121792 | Replace 2 - 6" valves and install a Bettis Operator at Pima Pork Check Meter Station. |  | 35361.06
14 | 121803 | Replace consumed rectifier on #825 at Mile Post 397+1109 1100 Line |  | 14083.38
15 | 121804 | Replace consumed rectifier on #170-1/70-2 San Simon St. at Mile Post 372+0000 |  | 27945.89
16 | 121805 | Replace consumed rectifier on #661 at Mile Post 379+2968 |  | 15644.62
17 | 121806 | Install a block wall at North Phoenix City Gate MS (Pinnacle Peak Take Off) |  | 3.72
18 | 121838 | Replace deep well groundbed 980 on 1100L at MP 294+2665 |  | 6
19 | 121839 | Replace existing ground bed #402 on Line 1004 at MP 111+4541 |  | 6.02
20 | 121840 | Replace existing groundbed #60 on line 2004 MP 162+0942 |  | 8904.96
21 | 121842 | Install deep well groundbed #2037 on Line 2004 at MP 91+000 |  | 63122.33
22 | 121843 | Replace existing groundbed #1004 on Line 278 at MP 278+0718 |  | 14.87
23 | 121902 | Replace the Power Distribution Switchgear at Monument Station. |  | 85854.49
24 | 121923 | Install (1) 36' Block Valve, (2) 16" Blowoffs Valves & (2) 16" Yale Caps at valve 48 on the 1208 San Juan Line. |  | 89312.47
25 | 121946 | Replace Steel Ground Bed at CP # 1411 on the 1200 San Juan Line. |  | 21177.33
26 | 121960 | Install Surge Control System for Lordsburg A Plant |  | 168972.3
27 | 121977 | Replace the existing Eunice Mainline Compressor Station. | CP08-2 | 9243723.02
28 | 122011 | Replace consumed ground bed at CPS 306 on Line 1100 at MP 604.02+51 |  | 36181.19
29 | 122013 | Replace consumed ground bed at CPS 339 on Line 1100 at MP 567+6146 |  | 1408.12
30 | 122082 | Replace the following gate valves and operators in the Carlsbad Area: MLV 9 on 26" Line 1100 at approximately MP 77+2385 and MLV 12 on 26" Line 1100 at approximately MP 102+4426. |  | 79993.06
31 | 122124 | Install new software for the Security Application used for Transportation Systems. |  | 43215.14
32 | 122143 | Install (5) catwalks on blow-off valves in the Washington Ranch Storage Field. |  | 398.39
33 | 122165 | Replace existing pressure regulation facilities to improve the station performance, reduce noise and maintain reasonable piping velocities in the above grade piping systems. |  | 154485.54
34 | 122188 | Replace Keystone B CT Leads and Valves. |  | 0.98
35 | 122226 | Replace variable fan drive Controllers (2) on "B" Turbine at Seligman Station. |  | 10947.43
36 | 122286 | Install new coating on Line 1300 (30") from M.P. 307 to M.P. 310. |  | 8.14
37 | 122360 | GE-3712 R Split Shaft Turbine Overhaul at Hueco 1A - Overhaul will include, but not limited to, replacement of the AFC compressor, LP rotor, HP rotor, 1st stage nozzles, bearings, and seals. |  | 734290.65
38 | 122409 | Install deep well ground bed and rectifier CPS 2036 on Line 1100 at MP 617+2500. Ground bed site is located on NE 1/4 SW 1/4 NW 1/4 Section 26, Township 2S, Range 4W, Maricopa County, Arizona. |  | 47592.09
39 | 122414 | Overhaul Belen #1, a GE Frame 3, Model C Turbine |  | 377784.77
40 | 122480 | Three (3) new ground rods, each 3/4" by 10', shall be installed at each CP rectifier and connected w/ new cable. |  | 5.58
41 | 122582 | Replace 4 - 4" valves and install a Bettis Operator at Leaching Meter Station. |  | 181.04
42 | 122583 | Replace 4 - 4" valves and 2 - 6" valves at Waha Meter Station. |  | 84967.33
43 | 122588 | Replace 3 - 4" valves and install a Bettis Operator at Benson #1 Meter Station. |  | 70.3
44 | 122593 | Replace 4 - 6" valves at North Loop Meter Station. |  | 70.3
45 | 122680 | To install an isolation valve from Line 1200 and 1201 into the 30” crossover from the L 1201 to L 1208. |  | 272.54
46 | 122804 | Excavate and evaluate pipeline anomalies at 42 sites on EPNG Line 1100 from Wenden to Ehrenberg and install sleeves if necessary. |  | 111456.17
47 | 122842 | Replace the existing Sonoita ML Meter on 4" L2122 with new Orifice Meter above ground and remove old concrete vault. |  | 22.47
48 | 122853 | Install a Point of Compliance (POC) well on the east side of the estt evaporation pond at Tucson Station. |  | 3.72
49 | 122929 | Replace relief valve with (2) 2" regulator monitors and replace (4) 2" isolating valves at Chandler #1 Meter Station (30-029). Meter station is located on 2226 Line at MP 6+1314 in Maricopa County Arizona, Sec 33, T-1-S, R-5-E. |  | 0.34
50 | 122945 | Transfer 8500 LF of 30” 0.500” wt Willow Springs pipe. |  | 2045364.61
51 | 122976 | Replace L1115 ML Valve Operators for Valve 1, 2 and 3. |  | 459.84
52 | 122983 | Preliminary Permitting, ROW, Survey, Engineering and material purchasing. |  | 1227715.8
53 | 122984 | Excavate and evaluate pipeline anomalies at 35 sites on EPNG Line 1104 from Franconia to Alamo Lake and install sleeves if necessary. |  | 56422.33
54 | 122990 | Install gas quality and custody transfer equipment including orifice meter, meter run, slam valve, Bristol 3530, H2O analyzer. |  | 122.63
55 | 123007 | Replace the El Paso C Plant Transfer 12" ansi 600 Cameron Flow Control Valve and appurtenances with a 12" ansi 600 FlowServe (ShearStream) Flow Control Valve and appurtenances.1600 Line, M.P. 207 + 2656.7. |  | 22.03
1 | 123021 | Install steel pipe groundbed #2034 on Line 1100, 1103, 1110, and 1600 at MP 654+3449, Section 8, Township 1N, Range 9W, Maricopa County, Arizona. |  | 35218.72
2 | 123074 | Replace regulators, associated isolating valves, and relief valve at the Philips measurement station. Relief valve will be replaced with monitors. |  | 9.33
3 | 123075 | Replace regulators, associated isolating valves, and relief valve at the Paradise measurement station. |  | 171.4
4 | 123077 | Preliminary study trailer park at Flagstaff Station in order to house new company employees moving to the area. |  | 127.81
5 | 123092 | Preliminary Engineering - Install new 7.4 mile 20"pipeline (Line 30148) from Eunice C to supply fuel gas to Xcel Energy's new Hobbs Power Plant, Lea County, NM. |  | 234949.7
6 | 123129 | Replace regulators, isolating valves, relief valve, and associated piping at the Douglas # 4 measurement station. Relief valve will be replaced with monitors. |  | 70.3
7 | 123130 | Replace 1084 ft. of existing 10.75" pipe Line 2004 at Bylas, AZ. San Carlos Apache Reservation from MP 139+5278 to MP 140+969. |  | -1190
8 | 123162 | Replace stolen rectifier, remote monitor with interruption, DC junction box and destroyed AC service at CP 1261 on 1124 L at MP 24.49+93. |  | 15010.46
9 | 123167 | Install steel pipe groundbed #2035 on Line 1104 at MP 27+3120, Section 19, Township 7N, Range 12W, La Paz County, Arizona. |  | 19839.92
10 | 123173 | Replace conventional ground bed CPS 977.2 on Line 1100, 1103, and 1600 at MP 670+2640, Section 2, Township 2N, Range 12W, La Pax County, Arizona. |  | 24.84
11 | 123392 | Change out regulators at the Verde Valley City Gate to increase the flow so that contracted pressure can be lowered. |  | 53802.68
12 | 123443 | Excavate, evaluate and install new sleeves if necessary. Scheduled Remediation (anomaly digs) on LIne 1103 beween Tucson and Casa Grande, AZ. |  | 45.84
13 | 123562 | Install deep well ground bed CPS 2040 on Line 1100 at MP 399+4136, Section 14, Township 15S, Range 27E, Cochise County, Arizona. |  | 19707.57
14 | 123578 | Install deep well ground bed CPS 2041 on Line 1600 at MP 414+2673, Section 12, Township 13S, Range 24E, Cochise County, Arizona. |  | 21664.71
15 | 123630 | Replace conventional well ground bed CPS 970 on Line 1600 at MP 456+5052, Section 27, Township 11S, Range 18E, Pima County, Arizona. |  | 13949.55
16 | 123641 | Security installed from the entrance gate to the entrance at the main Ehrenberg office. |  | 22784.5
17 | 123657 | Replace conventional well ground bed CPS 405 on Line 1100 at MP 416+0168, Section 5, Township 16S, Range 25E, Cochise County, Arizona. |  | 15835.71
18 | 123658 | Replace conventional ground bed #1401 on Line 1100 at MP 485+1837. Ground bed site is located on Section 27, Township 15S, Range 14E, Pima County, Arizona. |  | 8171.09
19 | 123660 | Replace conventional ground bed #133 on Line 2020 at MP 30+2183. Ground bed site is located on Section 8, Township 22S, Range 16E, Santa Cruz County, Arizona. |  | 18139.37
20 | 123661 | Replace conventional ground bed #178 on Line 2020 at MP 2+0206. Ground bed site is located on Section 6, Township 21S, Range 20E, Cochise County, Arizona. |  | 15317.7
21 | 123665 | Excavate, evaluate and install new sleeves if necessary. Scheduled Remediation (anomaly digs) on L1104 between Alamo Lake and Wenden, AZ. |  | 4348.49
22 | 123676 | Replace CPS switchgear from weatherhead to panel including 100A main and 30A circuit for station electrical service. |  | 18406.93
23 | 123678 | Replace Blanco Delivery MS: Replace 3 - 16" orifice check meters (Meter # 14-398) with 2 - 10" ultrasonic meter runs and 1 - 8" ultrasonic meter run to serve as a new custody transfer meter station from Conoco. |  | 115952.22
24 | 123681 | Replace CPS switchgear from weatherhead to panel including 100A main and 30A circuit for station electrical service. |  | 7362.74
25 | 123757 | Replace regulators, associated isolating valves, miscellaneous piping, and relief valve at the Benson # 2 measurement station (MS # 20-049). Relief valve will be replaced with monitors. |  | 70.3
26 | 123761 | Replace conventional well ground bed CPS 1191 on Line 1004 at MP 186+2401, Section 6, Township 20S, Range 32E, Cochise County, Arizona |  | 6834.57
27 | 123763 | Install a secondary containment ring (reservoir) around a 8,820 gallon turbine oil tank at Bowie Station. |  | 70.3
28 | 123764 | Replace consumed rectifier on #1275 at Mile Post 374+2615, 1100 Line. Rectifier is located on Section 13, Township 14S, Range 31E, Cochise County, Arizona. |  | 17165.55
29 | 123765 | Replace consumed rectifier on #1346 at Mile Post 376+1504, 1100 Line. Rectifier is located on Section 15, Township 14S, Range 31E, Cochise County, Arizona. |  | 12172.21
30 | 123776 | Upgrade the Laveen Meter Station by installing a new 2" orifice meter run in the by-pass. |  | 35.84
31 | 123778 | Upgrade the E.F. Gates Meter Station by replacing the existing facility with a new 2" turbine meter and 4" orifice meter run. |  | 664.43
32 | 123836 | Install Eunice C Plant (One Caterpillar 3612 gas driven reciprocating compressor package) adjacent to the Eunice B Plant to provide compression to Xcel Energy's new Hobbs Power Plant. | CP08-2 | 2482883.28
33 | 123855 | Modify the Prescott Valley #1 Meter Station by replacing the existing facility with a new 3" 5M roots meter and 6" orifice meter run. Tap the 20" EPNG Line 1203 with a 6" connection near Milepost 43. |  | 225.78
34 | 124075 | Upgrade the Sam Joy Lane Meter Station by replacing the existing facility with a new 2" orifice meter and 3" 5M Roots meter run. |  | 804.93
35 | 124081 | Upgrade the Tierra Verde Meter Station by replacing the existing facility with a new 2" orifice meter and 3" 5M Roots meter run. |  | 144.93
36 | 124106 | Upgrade the Fletcher Ranch Meter Station by replacing the existing facility with two new 2" orifice meter runs. |  | 36979.81
37 | 124114 | To install an isolation valve from Line 1200 and 1201 into the 30” crossover from the L 1201 to L 1208. Materials to be procured from discarded valves. |  | 221.07
38 | 124184 | Replace consumed rectifier on #65 at Mile Post 419+3960. Rectifier is located on Section 8, Township 16S, Range 24E, Cochise County, Arizona. |  | 11812.8
39 | 124187 | Replace consumed rectifier on #391 at Mile Post 422+2665. Rectifier is located on Section 8, Township 16S, Range 24E, Cochise County, Arizona. |  | 11367.3
40 | 124279 | Replace the scrubber at Wenden B Plant ,Wenden Station MP 670, SEC 1, T2N R 12W, LA PAZ COUNTY |  | 324446.8
41 | 124297 | Replace approximately 10.8 miles of 6" pipe Line 2004 between MP 142+4408 and MP 154+3675. |  | 614745.39
42 | 124303 | Install approximately 1050 feet of 30" pipe (directional drill) offset 25 feet south of the existing Line 1600 commencing on the west side at approximately E.S. 1228+00. Install an additional 300 feet of 30" pipe for tie-ins. |  | 1571992.87
43 | 124362 | As part of an ILI Scheduled Remediation project, sleeves will be installed at 27 locations. |  | 64.75
44 | 124364 | As part of an ILI Scheduled Remediation project, sleeves will be installed at 14 locations. |  | 131.03
45 | 124368 | Install Lake Pleasant Delivery Point/Interconnect on Line 1203 for SWG, Maricopa Co, AZ |  | 439.57
46 | 124394 | Upgrade the Rancho El Dorado Meter Station by replacing the existing facility with new 2" and 4" orifice meter runs. |  | 46364.74
47 | 124398 | Upgrade the Glendale Airport Meter Station by replacing the existing facility with new 4" and 6" ultrasonic meter runs. |  | 2175.58
48 | 124399 | Install the Robson Ranch Meter Station with a 2" 3M Roots meter and 2" Orifice meter. |  | 930.54
49 | 124518 | Replace Thermal Oxidizer with Flare and Install a Vapor Condenser. |  | 84.2
50 | 124555 | Disassemble the Dilkon 1B G.E. turbine to investigate damages. The HP rotor will require replacement. |  | -264.36
51 | 124563 | Line 1007 - MLV ¼ t o MLV 11 with Pig Trap Modifications |  | 18510.39
52 | 124568 | Upgrade the Corona De Tucson Meter Station by installing a new 2" Roots meter and new 2" senior orifice run. |  | 347.21
53 | 124583 | Install one (1) 12-in ultrasonic meter with associated measurement appurtences/facilities to comprise new custody transfer meter station for delivery to Transcolorado Pipeline. |  | 76636.89
54 | 124594 | Replace Crankshaft on 1B Unit at Window Rock Station. |  | 727327.41
55 | 124632 | Install Gun Slinger Receipt Point Interconnect at MP 863 on Line 2000, Hudspeth County, TX for Trail Mountain, Inc. "TMI" and Agave Energy Company. |  | 296780.55
1 | 124655 | Install back pressure and bypass flow control valves at Washington Ranch. |  | 1921.88
2 | 124662 | Install one Point Of Compliance wells to a depth of 400 feet using Rotosonic drilling. Cost includes surveying, waste disposal and laboratory testing. |  | 581.37
3 | 124663 | Install two Point Of Compliance wells to a depth of 400 feet using mud or air rotary drilling. Cost includes surveying, waste disposal and laboratory testing. |  | 23.75
4 | 124718 | Install 1-8" bi-directional USM in existing meter header and 1-8" flow control valve in existing flow control header at Big Blue Meter Station to make it bi-directional. |  | -39.12
5 | 124770 | Install a Crossover Assembly Between the High and Low Discharge Pressure System at Hackberry Station. |  | 28240.74
6 | 124791 | Replace and relocate meters at the PNM and Williams Exchange 37 Meter Sites. |  | 19.65
7 | 125097 | Replace 2000 feet of pipe on Line 3092, Lea County, NM |  | 237.62
8 | 125137 | Replace existing Monument Station Classifier Tank with a same size double wall tank with leak detection. Lea County, NM |  | 10.62
9 | 125377 | Install meter building, chromatograph and security fencing at Phillips Sprayberry. Meter 77-248. |  | 123325.1
10 | 125409 | Replace the turbine rotors, blades and/or nozzles as conditions warrant to complete a major overhaul of the Seligman 1B, General Electric Frame 3 Model G, turbine. |  | 501092.25
11 | 125642 | Install Hummingbird Delivery MS, Maricopa County, AZ for Marlin Midstream, LLC. |  | 597.88
12 | 125786 | Install Sleeves at 22 dig locations where ILI data indicated metal loss on EPNG Pipeline 1004 Vlv 24.5 to Vlv 30.5. |  | 7506.96
13 | 125810 | Replace the existing Thermal Global Generator with a Capstone Generator Set to provide power for the Tocito Dome Meter Station, meter code 01-781 and CPS 808. |  | 3.39
14 | 125924 | Replace the deteriorating regenerator at Gallup Station Unit 1C with a new regenerator. Since this unit is a GE Frame 5, it will require two regenerators. |  | 4700904.12
15 | 125925 | Replace the deteriorating regenerator at White Rock Station Unit 1 with a new regenerator. Since this unit is a GE Frame 3, it will require one regenerator. |  | 3755.47
16 | 125926 | Replace the deteriorating regenerator at Hackberry Station Unit 2 with a new regenerator. Since this unit is a GE Frame 3, it will require one regenerator. |  | 2372969.91
17 | 125943 | Install new 12" hot tap on Line 1136 (24") at the Clint Junction Meter Station, MP 13+3860 |  | -15.71
18 | 126103 | Install approximately 7 miles of 16" pipe (Line 30149) between ANR's pipeline and El Paso's Line 30120 in Wheeler Co, TX. |  | 3695252.95
19 | 126194 | Replace TLA Clark Turbo Charger on Unit 2B, Leupp Compressor Station. |  | 18854.99
20 | 126211 | During Hot Path on GE at Wenden Station, it was determined that the 4 Transition Frame pieces needed immediate replacement. Wenden Station. MP 670, SEC 1, T2N R 12W, LA PAZ COUNTY |  | -1729.06
21 | 126243 | Replace the following gate valve and operator in the Carlsbad Area: MLV 9 on 30", Line 1110 at approximately MP 77+2350.1. |  | 34390.82
22 | 126262 | Replace vandalized rectifier at CPS 1013 on Line 2026 |  | 5870.35
23 | 126319 | Tex-Harvey Plant to Permian Basin Meter Station |  | 77861.29
24 | 126326 | Replace rectifier and DC Junction box at CPS 976 on Line 1007 that was struck by lightning. This is to meet necessary cathodic protection requirements. |  | 6327.06
25 | 126524 | Replace 24" pig launcher and receiver door on Line 3162. |  | 23333.82
26 | 126527 | Replace 24" pig launcher and receiver door on Line 3153. |  | 40961.94
27 | 126535 | Replace and relocate approximately 1600 feet of 20" Line 1203 per request from Arizona DOT in order to avoid conflicts to their proposed state road 303 which will cross Line 1203 at approximately MP 108.5. |  | 79179.44
28 | 126653 | Removal and installation of new bellows, cost including welders,rental equipment,contract labor and materials |  | 1208.18
29 | 126683 | Install VHF Control & Base Station Equipment at Arabella MW Site |  | 20601.67
30 | 126684 | Install VHF Control & Base Station Equipment at Tecolote MW Site. |  | 9728.67
31 | 126685 | Install VHF Control & Base Station Equipment at Mingus MW Site |  | 20601.67
32 | 126686 | Install VHF Control & Base Station Equipment at Mt. Floyd MW Site |  | 9661.06
33 | 126729 | Replace meter tube (Meter 01-780) and measurement equipment at Yucca Butte on Line 3153. |  | 88294.75
34 | 126747 | Replace meter tube (Meter 14-818) at McKay Creek on Line 3153 - 20" (M.P. 16+2641). |  | 88735.69
35 | 126762 | Install gas chromatograph (Meter 14-817) at P.C. Coates on Line 3153 - 20" M.P. 18+446 |  | 68408.46
36 | 126763 | Install gas chromatograph (Meter 14-814) at Packingham on Line 3153 - 20" (M.P. 34+5423). |  | 74326.85
37 | 126768 | Ground bed site is located on Section 17, T3S, Block 3, University Land, Hudspeth County, Texas. |  | 384.92
38 | 126773 | Install deep well ground bed # 230 on Line 1100 at MP 101+3669. |  | 384.92
39 | 126805 | Install Sleeves on L1201 after excavating and evaluating anomalies ndicated by the In-line inspection tool. |  | 5910.12
40 | 126814 | Install sleeves on Line 3201 after excavating and evaluating anomalies indicated by the in-line inspection tool. |  | 34777.24
41 | 126815 | Install sleeves on line 1200 after excavating and evaluating anomalies indicated by the in-line inspection tools. |  | 43571.52
42 | 126818 | Install sleeves on line 1204 after excavating and evaluating anomalies indicated by the in-line inspection tool. |  | 351467.9
43 | 126827 | Replace deep anode ground bed at CPS #1668 at MP 0+0100 on the 1200 system |  | 232.07
44 | 126830 | Replace deep anode ground bed at CPS #1686 at MP 11+0001 on the 2201 Line. |  | 130.75
45 | 126832 | Replace deep anode ground bed at CPS #228 at MP 4+3636 on the 2207 Line. |  | 395.73
46 | 126834 | Install a deep anode ground bed at CPS #2051 at MP 378+0000 on the 1300 System |  | 11615.25
47 | 126837 | Install a conventional ground bed at CPS 2052 at MP 207+0000 on the 1300 System. |  | 3586.82
48 | 126931 | Replace three rectifier's on Line 3137. |  | 40.11
49 | 126950 | Replace deep well ground bed #1496 on Line 1114 at MP 54+3623. Ground bed site is located on Section 70, Block 4, I & G.N.Ry.Co., Carson County, Texas. |  | 384.92
50 | 127001 | Replace 302 feet of pipe coating on Line 1110 from M.P. 651 + 5446 ft. to 651 + 5748 ft. (M.P. is from in-line inspection log. Actual M.P. and footage may vary. Coating replacement is from MFL girth weld no. 40,120 to girth weld no. 40,220.) |  | 2176.49
51 | 127027 | Replace rectifier's at CPS 523 and CPS 524 on Line 3133. |  | 20800.15
52 | 127029 | Replace rectifier at CPS 799 on Line 30134. |  | 54.54
53 | 127035 | Replace rectifier at CPS 1596 on Line 3101. |  | 54.54
54 | 127126 | Install conventional ground bed #1138 on Line 1000 at MP 159+3223. Ground bed site is located on SE 1/4 SE1/4 26, NE 1/4 35 Block G, University Land, Hudspeth County, Texas. |  | 960.71
55 | 127170 | Install a new CPS location #2044 with deep anode ground, rectifier, power supply on Line 1100 at MP 17+0000. Ground bed site is located in SE 1/4 NW 1/4 Sec 25, T22S, R33E, Lea County, NM. " |  | 12356.89
1 | 127178 | Install deep well ground bed # 1573 on Line 1300 at MP 2+5138. Ground bed site is located on NE 1/4 NW 1/4 Section 867, Block D, JH Gibson Survey, Yoakum County, Texas. |  | 384.92
2 | 127182 | Replace batteries & chargers at Florida Compressor Station A Plant. Located in T24S, R6W, S14 of Luna County, New Mexico. |  | 2427.28
3 | 127194 | Install A/C Voltage Mitigation at Hurley-Bayard Power Plant site. Located at Mile Post 8+ at the 2010 Takeoff and 2086 Pipeline, Luna County, New Mexico. |  | 361.29
4 | 127196 | Replace valve operator at Block Valve 35 on the 1103 Pipeline. Located at Mile Post 288+ on the 1103 pipeline in Luna County, New Mexico. |  | 949.7
5 | 127253 | Install new coating on Line 1103(30") from M.P. 191 to M.P. 201+0500. |  | 1121090.41
6 | 127255 | Replace the rotating shaft on the Bowie 1A gas compressor. |  | 20307.74
7 | 127272 | Replace main seal oil pump at Oracle Station. |  | 361.29
8 | 127338 | Replace Two G. E. Seal Oil Pumps at Hackberry Station. |  | 27385.56
9 | 127462 | Install Red Bull Meter Station: A receipt meter station between ANR's pipeline and El Paso's Line 30149 in Wheeler County, TX. |  | 561506.13
10 | 127564 | Install new deep well ground bed @ CPS # 2049 on Line 2000 @ MP 1000 + 2500. Ground bed site is located on Section 32, Block28, Loving County, Texas. |  | 4359.82
11 | 127565 | This project includes enhancements to the SCADA ECT system to support the Regulated Pipeline Measurement System (RPMS) implementation. |  | 27780
12 | 127567 | This project includes the conversion to epSCADA/PSS. |  | 32980
13 | 127680 | Install deep well ground bed #269 on Line 3132 at MP 6+4218. Ground bed site is located on Section 13, T&P RR Block 36, Glasscock County, Texas. |  | 528.96
14 | 127688 | Replace M/W System to Guadalupe Station. |  | 1321.78
15 | 127693 | Install deep well ground bed #730 on Line 3125 at MP 12+4919. Ground bed site is located on NW 1/4 Section 38, T3S, T&P RR Block 37, Midland County, Texas. |  | 916.63
16 | 127706 | Install deep well ground bed # 1006 on Line 1600 at MP 19 + 1308. Ground bed site is located on Section 23, Block C-7, Reeves County, Texas. |  | 1459.33
17 | 127713 | Replace obsolete IGX ATM switch with Adtran M13 Mux and add required interface cards to 7206 router. |  | 46312.45
18 | 127723 | Install deep well ground bed #1647 on Line 3125 at MP 6+0000. Ground bed site is located on NW 1/4 Section 34, T4S, T&P RR Block 37, Midland County, Texas. |  | 1027.39
19 | 127739 | Replace the Inlet Scrubber at San Juan Station. |  | 596.68
20 | 127747 | Replace obsolete IGX ATM switch with Adtran M13 Mux and add required interface cards to 7206 router |  | 41093.02
21 | 127748 | Replace obsolete microwave radios with newer equipment. |  | 1583.3
22 | 127753 | Replace obsolete Channel Bank at Belen Station with newer equipment. |  | 193.38
23 | 127762 | Replace obsolete IGX ATM switch with Adtran M13 Mux and add required interface cards to 7206 router. |  | 3810.12
24 | 127783 | Replace obsolete IGX ATM switch with Adtran m13 Mux and add required interface cards to 7206 router. |  | 3785.21
25 | 127936 | Rpl deep well ground bed @ CPS 32 on the 1004 pipeline at Mile Post 81. Located in Section 13, TWS 24S, Range 7W, Luna County, New Mexico. Compliance date of 8/30/08. Temp ground disturbance 100'x100'. |  | 575.78
26 | 127938 | Replace obsolete Channel Bank at Laguna M/W with newer equipment. |  | 9024.11
27 | 127939 | Replace obsolete Channel Bank at Manzano M/W with newer equipment. |  | 9024.53
28 | 127981 | Replace the hazard gas and fire detectors at Casa Grande Station. |  | 2703.55
29 | 128008 | Replace the common vent system at Leupp Station with a separate vent for Plant C and Plant D. |  | 8434.77
30 | 128009 | Replace the common vent system at Seligman Station with a separate vent for Plant B and Plant C. |  | 5048.77
31 | 128012 | Install 8" Crossover Between Line 1105 and Keystone Suction. |  | 193.74
32 | 128014 | GE-3712 R Split Shaft Turbine Overhaul at Hueco 2A |  | 941843.69
33 | 128017 | Replacement of 36" trap closure on the 20004 Line at Cornudas Station,M.P 0+1267 |  | 23962.11
34 | 128043 | Replace a portion of the existing Line 1008, 10 3/4" OD pipeline between MP 13 - 47+00 and MP 14 - 08+92 . Pipeline replacement is located in Cochise County, Arizona. |  | 38906.8
35 | 128150 | Install new CPS 255 on lines 1100, 1103, 1110, and 1600 at MP 650+5219 in Maricopa County, AZ |  | 2269.59
36 | 128156 | Replace the out dated 6 minute Daniel Chromatograph with a 4 minute Daniel chromatograph at Anthony Pass Meter Station due to parts being obsolete on the 6 min chromo. |  | 4743.23
37 | 128158 | Replace the out dated 6'' Camflex Regulator with a 6'' Fisher V-200 with positioner and pneumatic controller at Valve 1 on Line 2034 |  | 10812.72
38 | 128221 | Rpl two Mark II Ultra sonic meters at Meter Station 14-988. |  | 13829.37
39 | 128246 | Replace Line 1202 34" Pig Launcher Valve at MLV 1. |  | 3265.42
40 | 128274 | Replace 4 " Meter Tube Dell City Meter Station. |  | 1176.8
41 | 128280 | Rpl deepwell groundbed and rectifier at CPS 1917. Located at Mile Post 667+ on the 2000 pipeline in Sec 6, T23S, R19W, Hidalgo Co, NM. |  | 523.02
42 | 128292 | Rpl groundbed and rectifier at CPS 1851. |  | 523.02
43 | 128293 | Rpl Groundbed, rectifier, and remote monitor at CPS 23-1. Located at Mile Post 115+ on the 1005 pipeline in Section 3, Township 15 South, Range 12 West, Luna County, New Mexico. |  | 3371.34
44 | 128294 | Rpl Groundbed and rectifier at CPS 21. Located at Mile Post 135+ on the 1004 pipeline in Section 32, Township 25 South, Range 15 West, Grant County, New Mexico |  | 3371.34
45 | 128297 | Replace existing Delmar H2S Analyzer with a Galvanic H2S Analyzer at Valero, Meter 14-183-01. |  | 30.19
46 | 128414 | Replace Worthington SUTC-1610 Turbocharger on Unit 4B at Window Rock Station. |  | 32999.63
47 | 128425 | Replace the existing (below grade in valve box) manual operator currently on a 18" Grove Ball Valve with a new Shafer actuator on BV 4, Line 1114 (18") located near MP 17. |  | 678.79
48 | 128427 | Install sleeves as needed after excavating and evaluating anomalies indicated by the in-line inspection tools on L1204 from Seligman to Hackberry. |  | 4742.84
49 | 128431 | Replace the existing antiquated EIM power gas valve actuator with new Shafer actuator on BV 0, Line 1102 (24") located within the Dumas CS boundaries. |  | 55.87
50 | 128463 | Replace 4 obsolete gas detectors in the Compressor Building and 2 obsolete gas detectors in the control building. Construction to be completed by company electrical/IC&E employees. |  | 13594.53
51 | 128527 | Replace the gate valves and operators in the El Paso Area: MLV 24 3/4 and block valve on 26" Line 1100 El Paso CS at approximately MP 207+22159 |  | 52297.39
52 | 128544 | Replace the gate valves and operators in the El Paso Area: MLV 27 on 30" Line 1103 near Afton CS at approximately MP 221+3022 and MLV28.25 at Afton CS at approximately MP236+3544 |  | 37881.52
53 | 128648 | Replace existing NEC 600 series radios. Toward Oro Grande and Afton. |  | 261.51
54 | 128655 | Replace existing NEC 600 series radios, up to Angel View. |  | 261.51
55 | 128658 | Replace existing NEC 600 series radio's. Toward Comanche and Angel View. |  | 261.51
1 | 128659 | Replace existing NEC 600 series radios. Toward Comanche and Angel View. |  | 261.51
2 | 128680 | Replace existing NEC 600 series radios, toward Angel View. |  | 261.51
3 | 128685 | Replace existing NEC 600 series radios. |  | 261.51
4 | 128690 | Replace existing NEC 600 series radios. Toward Oro Grande and Afton. |  | 261.51
5 | 128945 | Excavate and evaluate Immediate and 5 Scheduled anomalies and install sleeves as necessary on Line 1004 at MP 118+3966.6. |  | 3966.02
6 | 129275 | Replace existing 10" orifice meter (Meter # 31518) with a 4" ultrasonic meter to capture low flows off 30" Line 1103 on the Pima Pork Sales Meter at Pima Pork Meter Station. |  | 40446.3
7 | 129277 | Evaluate and remediate 06 IMM & 05 SCH anomalies (08 total excavations) on EPNG Line 1103-14 (Wenden to VLV 82). |  | 34712.44
8 | 129326 | Replace ground bed and rectifier at CPS 357 on line 1004 at MP 223 + 1607. |  | 188.28
9 | 129359 | Replace Barrel Assembly on Hueco #3 |  | 141628.07
|  | Total Uncompleted Work Orders Claimed in Rate Base |  | 56922827.84
Note: / 1 EPNG does not maintain a FERC Account 106 balance.