## Schedule 6
NBPL Net Removal Costs
Pipeline Removal |  |  | 384032530
Salvage |  |  | -71955714.109
Net Line Pack |  |  | -24552000
Compressor Removal | 17 | 2385000 | 40545000
Salvage | 17 | -85620.7092 | -1455552.0564
Measurement Station Removal | 56 | 45000 | 2520000
Salvage | 56 | -1500 | -84000
Subtotal |  |  | 329050263.8345
Contingency | 10% |  | 32905026.3835
Total |  |  | 361955290.218

## Schedule 5
CS 11 Station Demolition Costs
| Item Description |  |  |  |  | Total
| Site Work |  |  | 25556 | 0.032599 | 73346.8544
| Excavation |  |  | 39780 | 0.050742 | 114170.3658
| Concrete |  |  | 164175 | 0.20942 | 471189.5377
| Structural Steel |  |  | 25020 | 0.031915 | 71808.5106
| Buildings |  |  | 154215 | 0.19671 | 442603.8956
| Equipment |  |  | 36720 | 0.046839 | 105388.03
| Piping |  |  | 205796 | 0.26251 | 590643.6553
| Electrical |  |  | 52871 | 0.067441 | 151742.1169
| Instruments |  |  | 9023 | 0.01151 | 25896.4105
| Clean Up |  |  | 57052 | 0.072774 | 163741.7725
| Scffolding |  |  | 13752 | 0.017542 | 39468.8505
| Total Direct Removal Cost |  |  | 783960 |  | 2250000
| Project Management |  | 1.4% |  |  | 31500
| Engineering, Design and Documentation |  | 2% |  |  | 45000
| FERC 7B Application and Permitting |  | 0.85% |  |  | 19125
| Inspection |  | 1.75% |  |  | 39375
| Subtotal - Indirects |  |  |  |  | 135000
| Total Removal |  |  |  |  | 2385000
Salvage Value
|  | Weight (Tons) | Salvage Unit Price |  |  | Salvage Value
| Turbine/Compressor Skid | 57.5 | 94.8 |  |  | 5451
| Air Ducts, Stacks, etc. | 75 | 94.8 |  |  | 7110
| Lube Oil Cooler | 7.5 | 94.8 |  |  | 711
| Air Compressors | 3 | 94.8 |  |  | 284.4
| Generator | 3.5 | 94.8 |  |  | 331.8
| Fuel Gas Meter Skid | 5 | 94.8 |  |  | 474
| Gas Coolers | 34.8 | 94.8 |  |  | 3299.04
| Fence, Gates, etc. | 6 | 94.8 |  |  | 568.8
| Structural Steel and Buildings | 225 | 94.8 |  |  | 21330
| Crane and Hoist | 3 | 94.8 |  |  | 284.4
| HVAC | 6 | 94.8 |  |  | 568.8
| Piping | 234.9459 | 94.8 |  |  | 22272.868
| Valves | 52.2475 | 94.8 |  |  | 4953.063
| Conduit and Wire | 37.95 | 94.8 |  |  | 3597.66
| Tankage | 1.2 | 94.8 |  |  | 113.76
| Misc. |  |  |  |  | 14270.1182
| Total Salvage |  |  |  |  | -85620.7092
| Net Compressor Station Removal Cost |  |  |  |  | 2299379.2908

## Schedule 4
Pipeline Removal Costs
| Description |  |  | Units | Unit Price | Quantity | Total
Base Removal Costs
| Clear , prepare ROW | 8 | 0.30476 | LF | 13.6061 | 7227690 | 98340963.2374
| Trenching | 3.25 | 0.12381 | LF | 5.5275 | 7227690 | 39951016.3152
| Pipe Take-up and Cutting | 4 | 0.15238 | LF | 6.8031 | 7227690 | 49170481.6187
| Load and Transport | 2 | 0.07619 | LF | 3.4015 | 7227690 | 24585240.8093
| Backfill | 3 | 0.11429 | LF | 5.1023 | 7227690 | 36877861.214
| Final grade, cleanup and seed | 6 | 0.22857 | LF | 10.2046 | 7227690 | 73755722.428
| Subtotal - Removal |  |  |  | 44.6451 |  | 322681285.6226
26.25
| Road Crossing Cap and Fill - 42" |  |  | EA | 20244 | 837 | 16944228
| Road Crossing Cap and Fill - 36" |  |  | EA | 19650 | 271 | 5325150
| Road Crossing Cap and Fill - 30" |  |  | EA | 19188 | 227 | 4355676
| Subtotal - Road Crossings | [5 empty] | 26625054
| Rail Crossing Cap and Fill - 42" |  |  | EA | 21400 | 16 | 342400
| Rail Crossing Cap and Fill - 36" |  |  | EA | 20500 | 38 | 779000
| Rail Crossing Cap and Fill - 30" |  |  | EA | 19800 | 10 | 198000
| Subtotal - Rail Crossings | [5 empty] | 1319400
| Waterbody Crossing Cap and Fill - 42" |  |  | EA | 21400 | 200 | 4280000
| Waterbody Crossing Cap and Fill - 36" |  |  | EA | 20500 | 137 | 2808500
| Waterbody Crossing Cap and Fill - 30" |  |  | EA | 19800 | 97 | 1920600
| Subtotal - Water body Crossings | [5 empty] | 9009100
| Mainline Valve Removal - 42" |  |  | EA | 30000 | 53 | 1590000
| Mainline Valve Removal - 36" |  |  | EA | 28000 | 28 | 784000
| Mainline Valve Removal - 30" |  |  | EA | 26000 | 11 | 286000
| Subtotal - Valve Removal | [5 empty] | 2660000
| Project Management |  |  | Percent |  | 1.4% | 5072127.7547
| Engineering, Design and Documentation |  |  | Percent |  | 2% | 7245896.7925
| FERC 7B Application and Permitting |  |  | Percent |  | 0.85% | 3079506.1368
| Inspection |  |  | Percent |  | 1.75% | 6340159.6934
| Subtotal - Indirects | [5 empty] | 21737690.3774
| Total - Removal | [5 empty] | 384032530
Salvage Value
| 42" Line Pipe |  |  | Tons | 94.8 | 563440.7429 | 53414182.4305
| 36" Line Pipe |  |  | Tons | 94.8 | 137196.4257 | 13006221.1545
| 30" Line Pipe |  |  | Tons | 94.8 | 53420.4515 | 5064258.8041
| 42" Valve Setting |  |  | Tons | 94.8 | 3005.1 | 284883.48
| 36" Valve Setting |  |  | Tons | 94.8 | 1433.6 | 135905.28
| 30" Valve Setting |  |  | Tons | 94.8 | 530.2 | 50262.96
| Total Salvage | [5 empty] | -71955714.109
| Salvageable Line Pack | [5 empty] | -24552000
| Net Pipeline Removal Cost | [5 empty] | 287524815.891