UNITED STATES OF AMERICA

BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Northern Border Pipeline Company    )			Docket No. RP06-       -000

PREPARED DIRECT TESTIMONY OF

THOMAS J. HALPIN

Q.	Will you please state your name and business address?

A.	Thomas J. Halpin, 13710 FNB Parkway, Omaha, Nebraska.

Q.	By whom are you employed?

A.	I am employed by Northern Plains Natural Gas Company (Northern Plains) the Operator of Northern Border Pipeline Company (Northern Border).

Q.	What is your position?

A.	I am a Project Manager in the Engineering and Construction Department.

Q.	Please state your educational and professional experience.

A.	In 1987, I received a Bachelor of Science degree in Mechanical Engineering from The University of Notre Dame.  In 2001, I received a Master’s degree in Business Administration from Creighton University.

From 1987 to 1997, I was employed by Amoco Oil Company and held various engineering, project management and performance reporting positions in Amoco’s refining and pipeline business units.  From 1997 to 2005, I was employed by Northern Natural Gas Company, and held various positions in Engineering and Construction, Business Development and Marketing, including management positions as the Director, Pricing and Storage and the Director, Facility Planning.  In March 2005, I joined Northern Plains as a Project Manager, where I currently manage all stages of project development from conceptual estimates through project execution.

Q.	Have you ever testified before the Federal Energy Regulatory Commission (Commission)?

A.	No, I have not.

Q.	Briefly describe the purpose of your testimony in this proceeding.

A.	My prepared direct testimony will address the net costs to retire Northern Border’s transmission pipelines, compressor stations and meter stations.  I am sponsoring Exhibit No. NBPL-12, Terminal Value Study, which estimates the cost to retire such facilities.

Q.	Describe the facilities addressed in your Terminal Value Study.

A.	Northern Border owns interstate natural gas pipeline facilities located in Montana, North Dakota, South Dakota, Minnesota, Iowa, Illinois and Indiana.  Northern Border’s present system includes 1,395 miles of 30”, 36” and 42” diameter pipeline, 16 compressor stations, eight receipt stations and 48 delivery stations.  In April 2006, Northern Border will commission an additional compressor station in Iowa, bringing the system total to 17.  The Terminal Value Study estimates the cost to remove these facilities from service once the useful life of the pipeline system is over.

Q.	Based on your study, what is Northern Border’s estimated retirement cost?

A. 	The estimated retirement cost of Northern Border’s pipelines, compressor stations and metering stations is $362.0 million.  Details of this estimate can be found in Exhibit No. NBPL-12, Terminal Value Study.

Q.	Please summarize the assumptions underlying your retirement study.

A.	In preparing Exhibit No. NBPL-12, Terminal Value Study, I assumed: 1) except as qualified by 2) below, all of Northern Border’s 42”, 36” and 30” diameter pipelines, including valve settings, would be removed and sold for scrap, 2) all pipeline road, rail and major water body crossings would be capped, filled with concrete and abandoned in place, 3) all meter and compressor stations would be removed and the sites restored to substantially their original condition.

Q.	Please describe the basis for your estimate.

A.	All estimates are in 2005 dollars.  Consistent with typical industry practice and Northern Border’s standard practice for projects, a 10% contingency was added to the base estimate to account for project unknowns.

Q.	On what basis have you concluded that Northern Border’s pipeline will largely be removed?

A.	Once a pipeline is no longer in operation and the cathodic protection on the pipeline is removed, the pipe will corrode.  Given the large volume that these lines consume under ground (9.08 cubic feet per lineal foot of pipeline for the 42” diameter pipe) and the fact that these lines are buried at a depth of four to five feet below grade, once corrosion occurs, ground subsidence may occur.  This condition could create both environmental and safety hazards.

Even if subsidence did not occur immediately after corrosion occurred, environmental damage could occur as a result of a change in the drainage profile of the surrounding area.  Irrigation systems and other agricultural activities could be disrupted.  Removal of the pipeline is the best way to manage these environmental and safety hazards.

Q. 	How did you determine removal costs for the pipeline?

A.	Unit costs were developed for the various activities required to remove the pipeline.  These activities include clearing and preparing the right-of-way, trenching, pipe removal and cutting, loading and transporting the pipe, backfilling the trench, and restoring the ROW.  These estimates are based on input from pipeline contractors that have installed portions of Northern Border’s system and have experience in pipeline removal projects.  As a point of reference, the total estimated cost to remove the pipeline facilities prior to factoring in the credit for the salvage steel equates to approximately 35% of the installation cost.

Q.	Was the sale of recoverable line pack accounted for in your calculation of pipeline removal costs?

A.	It was.  The estimated value net of recovery costs for the recoverable line pack is $24.6 million.  This is based on recovering 92.4% of Northern Border’s 5.00 BCF of line pack at a price of $5.55/MMBtu.  This value for the recovered gas is based on the Energy Information Administration’s current forecast for its most forward price (2025).

Q.	How did you determine removal costs for the compressor stations?

A.	Compressor station removal costs were based on the assumption that all facilities would be removed in their entirety, with the exception that foundations would be removed to a level of two feet below grade.  Estimates for the removal of various components of the compressor stations were determined based on input from contractors who have built or modified Northern Border compressor stations.  Since all of Northern Border’s 17 compressor stations have or will have a single unit and employ similar facilities, an estimate of the removal cost for CS 11 was developed and applied to all other stations.  As a point of reference, the total cost for removal equates to approximately half of the installation cost of the facilities.

Q.	How did you determine removal costs for the meter stations?

A.	Meter station removal costs were based on input from Northern Border meter station contractors for the removal of the Ackley meter station in Harden County, Iowa.  For the sake of simplicity and conservatism, a single, 4” ultrasonic meter station was analyzed and costs for the other stations were assumed to be similar.  While the size and complexity of stations vary, this estimating methodology produces a conservative estimate of the removal cost since the majority of the metering facilities on Northern Border’s system are larger than the Ackley station.

Q.	How did you determine the credit for the sale of removed materials such as pipe, valves and other equipment?

A.	Credit for materials that can be salvaged are based on the average value for scrap steel as published by the United States Geological Service (USGS) for the period from 2000 to 2004.  This average value of $94.80 per short ton of steel is likely higher than the value that could be attained at the time the Northern Border facilities would be removed for two reasons.  First, the scrap values that the USGS are FOB to the foundry.  Transportation of scrap from Northern Border facilities to a foundry will vary significantly as a result of the difference in distances.  For simplicity, this cost is assumed to be zero, thus overstating the net revenue from Northern Border’s sale.  Second, the average value includes data for 2004 when scrap steel prices were significantly higher than historical averages.  For these reasons, the credit received for salvaged materials is likely overstated.

Q.	Are there any indirect costs included in estimates?

A.	Cost for the Natural Gas Act Section 7 application and associated environmental permits, project management, engineering, design, documentation and construction inspection are included in the estimates.  The percentages used for these indirect costs are 50% of the percentages used for recent installation projects.  This is a conservative estimate of the indirect costs for such a project.

Q.	Is there any cost in your estimate for asbestos removal or any other extraordinary environmental remediation?

A.	There is not.  Aside from the cost to restore right-of-way and station sites to their original condition, there are no other environmental clean up costs included in the estimate.

Q.	Does your study include all retirement costs?

A.	No, it does not.  The study is conservative.  Many costs are not included because they are difficult to quantify.  As mentioned above, freight costs for moving salvageable material from Northern Border’s compressor stations to the nearest foundry will vary significantly by location.  In addition, the number of drain tile repairs required during the pipeline removal is unknown.  Tile repair could be significant in Minnesota, Iowa and Illinois.   Finally, given the uncertainty as to the timing of the work, the cost of potential crop damages or deficiencies was not included.  Given the fact that these unknowns were assumed to be at zero cost, the total cost presented in the study is conservative.

Q.	Does this complete your prepared direct testimony?

A.	Yes.