## Submitttal 1 and 2
Required Reporting for Simultaneous Import Limit (SIL) Studies, with Numerical Examples
Import
Submittal 1: Summary Table of the Components Used to Calculate SIL Values | [9 empty] | Export
Table 1: SIL Computation
Instructions:
1 | Delete the text 'XX' in the heading 'Study Period' and enter the last two digits of the years in the study period.
2 | Delete the text 'Name of Home BAA/Market' and enter the name of the study area.
3 | If you are studying more than one first-tier area, copy the relevant columns of Table 1 to empty columns
on the right of this spreadsheet for each of the first-tier areas studied.
4 | If you are studying first-tier areas, replace the text 'Name of First-Tier BAA/Market' with the name of the first-tier area(s).
5 | Do not enter data in the white-background cells as these contain formulas which compute the cell values,
enter all megawatt values as non-negative integers in rows 1 through 3, 7 and 9 (the blue-shaded cells).
6 | Note that row 5 in Table 1 is the sum of the seasonal columns from row 9 of Table 2.
7 | Include an electronic copy of this spreadsheet, or a workable electronic spreadsheet with the same format and formulas
as the sample spreadsheet on the Commission Web site, with your filing.
8 | The SIL Study Values (i.e., row 10 of Table 1) must be filed as part of a public document. (see note below)*
NOTE: See the footnotes below for further instruction and references to prior Commission
direction on the component or calculation in that row.
Study Period: December 1, 20XX to November 30, 20XX
|  | Name of Home BAA/Market |  |  |  | Name of First-Tier BAA/Market
|  | Winter | Spring | Summer | Fall | Winter | Spring | Summer | Fall
| Description of Component | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
1 | Simultaneous Incremental Transfer Capability The most limiting First Contingency Incremental Transfer Capability (FCITC), Normal Incremental Transfer Capability (NITC) or equivalent values. Note i | 1700 | 1800 | 1900 | 2000 | 3000 | 3200 | 3400 | 3600
2 | Modeled Net Area Interchange (NAI) Enter a positive value and indicate the direction of flow in row 3 below. Note ii | 500 | 600 | 700 | 800 | 200 | 300 | 400 | 500
3 | Interchange Direction Indicate whether the Study Area NAI is export or import. | Import | Import | Import | Import | Export | Export | Export | Export
4 | Total Simultaneous Transfer Capability (row 4 = row 1 +/- row 2). Note iii | 2200 | 2400 | 2600 | 2800 | 2800 | 2900 | 3000 | 3100
5 | Long-Term Firm Transmission Reservations Sum of the long-term firm transmission reservations from Table 2. Note iv | 620 | 300 | 620 | 300 | 460 | 360 | 460 | 360
6 | Calculated SIL Value (row 6 = row 4 - row 5). Note v | 1580 | 2100 | 1980 | 2500 | 2340 | 2540 | 2540 | 2740
7 | Historical Peak Load (Identify source if not from FERC Form No. 714). Note vi | 1400 | 1900 | 2500 | 2000 | 1400 | 1900 | 2500 | 2000
8 | Adjusted Historical Peak Load (row 8 = row 7 - row 5). Note vii | 780 | 1600 | 1880 | 1700 | 940 | 1540 | 2040 | 1640
9 | Uncommitted First-Tier Generation Amount of uncommitted generation modeled in the first-tier area. Note viii | 13580 | 12800 | 14500 | 12800 | 13580 | 12800 | 14500 | 12800
10 | SIL Study Value (row 10 = the minimum of the values entered in rows 6, 8 and 9 for each season). Use these SIL Study Values in the Market Share Screens. Note ix | 780 | 1600 | 1880 | 1700 | 940 | 1540 | 2040 | 1640
* To the extent a filer intends to request privileged treatment for any portion of Submittals 1 or 2, such filing must comply with 18 CFR 388.112, including the justification for privileged treatment, i.e., why the information is exempt from disclosure under the mandatory public disclosure requirements of the Freedom of Information Act, 5 U.S.C. 552 (2012)
Submittal 2: Identify Long-Term Firm Transmission Reservations Used to Import Power from
Generating Resources in the First-Tier Area to Serve Historical Peak Load in the Study Area
Table 2: Long-Term Firm Transmission Reservations
Instructions:
1 | Delete the text 'Name of Home BAA/Market' and enter the name of the study area.
2 | If you are studying more than one first-tier area, copy the relevant columns of Tables 1 and 2 to empty columns
on the right of this spreadsheet for each of the first-tier areas studied.
3 | If you are studying first-tier areas, replace the text 'Name of First-Tier BAA/Market' with the name of the first-tier area(s).
4 | Enter all megawatt values as non-negative integers in rows 1 through 3 and 5 through 7 (the blue-shaded cells).
5 | Do not enter data in the white-background cells as these cells contain formulas to compute the value in that cell.
6 | Enter text to complete the “Description of Component” column as necessary in each row (e.g., enter the name of plant, describe
the Power Purchase Agreement or Transaction to serve non-affiliate embedded load.)
7 | Use a separate line to report each Remote Plant/ Power Purchase Agreement/ Transaction to serve non-affiliate embedded load
by inserting a new rows into the table under the existing rows for that component. For instance, to report a third Power
Purchase Agreement for an affiliate, insert a new row between the existing row "2a" and row "3" and label that row "2b"
8 | Row 9, Sum of affiliate and non-affiliated reservations, will automatically sum the long-term reservations in that column and
place the total into the same seasonal column in Submittal 1, row 5, Long-Term Firm Transmission Reservations.
9 | Include an electronic copy of this spreadsheet, or a workable electronic spreadsheet with the same format and formulas as the
| sample spreadsheet on the Commission Web site, with your filing. |  |  | (see note below)*
|  | Name of Home BAA/Market |  |  |  | Name of First-Tier BAA/Market
|  | Winter | Spring | Summer | Fall | Winter | Spring | Summer | Fall
| Description of Component | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Affiliates
1 | MW Share of Remote Plant #1 | 100 | - | 100 | - | 50 | 50 | 50 | 50
1a | MW Share of Remote Plant #2 | 50 | 50 | 50 | 50 | 100 | - | 100 | -
1b | MW Share of Remote Plant #3 | 45 | - | 45 | - | - | 50 | - | 50
2 | Power Purchase Agreement where the energy is imported into the study area with long-term firm reservations | 75 | 75 | 75 | 75 | 80 | 80 | 80 | 80
2a | Power Purchase Agreement where the energy is imported into the study area with long-term firm reservations | 25 | 25 | 25 | 25
3 | Transaction to serve non-affiliated load embedded in the study area using external generation | 10 | 0 | 10 | 0
3a | Transaction to serve non-affiliated load embedded in the study area using external generation | 5 | 0 | 5 | 0
4 | Sum of affiliated long-term firm reservations | 310 | 150 | 310 | 150 | 230 | 180 | 230 | 180
Non-Affiliates
5 | MW Share of Remote Plant #1 | 100 | - | 100 | - | 50 | 50 | 50 | 50
5a | MW Share of Remote Plant #2 | 50 | 50 | 50 | 50 | 100 | - | 100 | -
5b | MW Share of Remote Plant #3 | 60 | - | 60 | - | - | 50 | - | 50
6 | Power Purchase Agreement where the energy is imported into the study area with long-term firm reservations | 50 | 50 | 50 | 50 | 80 | 80 | 80 | 80
6a | Power Purchase Agreement where the energy is imported into the study area with long-term firm reservations | 25 | 25 | 25 | 25
7 | Transaction to serve non-affiliated load embedded in the study area using external generation | 15 | 15 | 15 | 15
7a | Transaction to serve non-affiliated load embedded in the study area using external generation | 10 | 10 | 10 | 10
8 | Sum of non-affiliated long-term firm reservations | 310 | 150 | 310 | 150 | 230 | 180 | 230 | 180
9 | Sum of affiliated and non-affiliated long-term firm reservations (enter value in row 5 of Table 1 above) | 620 | 300 | 620 | 300 | 460 | 360 | 460 | 360
* To the extent a filer intends to request privileged treatment for any portion of Submittals 1 or 2, such filing must comply with 18 CFR 388.112, including the justification for privileged treatment, i.e., why the information is exempt from disclosure under the mandatory public disclosure requirements of the Freedom of Information Act, 5 U.S.C. 552 (2012)