SYSTEM LAMBDA

System Lambda is calculated periodically in the TEP EMS by the TRW supplied Economic Dispatch package. The package employs a Gauss-Seidel iterative technique which calculates the economic basepoint for all generating units on AUTO or ABAS control. Special software bypasses the iterative process when gas turbines are on line, System Lambda assuming a predetermined value.

System Lambda normally is a function of the incremental heat rate curves for each unit on AGC/ED control. Line loss penalties are imposed on all generating units away from the reference bus. System Lambda is thus the point on the heat rate curves for each unit at which all the incrementals are equal at the reference bus.

System Lambda is calculated at least every ten minutes. It is collected at two minutes past each hour by the Energy Accounting software.

1 1931               981  975  972  971  969  972  987  984 1088 1434 1435 1211

1 1932              1307 1434 1434 1170 1418 1081 1290 1219 1097 1236 1181 1020

1 2931              1351 1065  990  989  981  990  999  982 1049 1298 1519 1534

1 2932              1413 1434 1153 1089 1135 1599 1657 1470 1382 1370 1441 1443

1 3931              1434 1013  973  969  979  979 1045 1050 1269 1481 1517 1513

1 3932              1520 1417 1438 1109 1111 1451 1597 1666 1689 1676 1510 1439

1 4931              1200 1004 1059 1045 1132 1190 1594 1671 1667 1836 1829 1540

1 4932              1546 1429 1486 1543 1589 1484 1519 1514 1526 1528 1532 1539

1 5931              1126 1089 1017 1013 1047 1382 1542 1654  671  840 2211 1616

1 5932              1183 1219 1522 1511 1507 1561 1564 1512 1526 1529 1501 1449

1 6931              1381 1273 1155 1147 1162 1432 1638 1548 1213 1779 1760 1686

1 6932              1495 1480 1456 1451 1561 1828 1831 1626 1983 1520 1518 1442

1 7931              1273 1135 1115 1112 1103 1498 1636 1788 1835 1614 1562 1578

1 7932              1502 1684 1770 1807 1741 1718 1605 1471 1382 1285 1389 1130

1 8931              1138  978  980  972  973 1101 1528 1726 1835 1836 1834 1828

1 8932              1602 1539 1735 1482 1522 1499 1559 1593 1541 1536 1175 1189

1 9931              1465 1021  988  970 1431 1434 1022 1048 1277 1411 1496 1562

1 9932              1748 1493 1505 1509 1518 1521 1517 1502 1424 1418 1442 1208

110931               999  983  987  981  980  984  989 1137 1153 1381 1541 1564

110932              1595 1586 1510 1487 1397 1507 1563 1550 1934 1473 1470 1409

111931               990  966  964  963  963  978 1365 1702 1541 1810 2104 1568

111932              1880 1701 1514 1470 1386 1396 1518 1525 1500 1518 1508 1416

112931              1059 1087  967  975  984 1214 1536 1669 2251 1663 1446 1505

112932              1715 1482 1549 1700 1604 1642 1644 1640 1560 1543 1470 1287

113931              1003  975  974  973  977 1058 1449 1787 1518 1619 1496 1488

113932              1518 1554 1524 1403 1472 1401 1588 1825 1790 1617 1436 1180

114931              1007  970  964  963  966  983 1147 1612 1453 1592 1999 1582

114932              1334 1303 1480 1479 1770 1658 1726 1539 1578 1483 1444 1426

115931              1434 1008  966  968  971  991 1170 1447 1413 1434 1490 1689

115932              1524 1529 1514 1504 1556 1688 1791 1604 1558 1525 1515 1449

116931              1434 1434 1364  974  964  968  986 1101 1435 1435 1504 1531

116932              1498 1528 1500 1393 1442 1639 1580 1581 1715 1528 1441 1298

117931              1031  978  975  974  975  977  983  983  992 1112 1434 1451

117932              1435 1390 1167 1167 1166 1452 1564 1496 1488 1467 1457 1242

118931              1122  968  966  965  983  972  985 1103 1189 1516 1524 1587

118932              1546 1435 1453 1512 1617 1823 1521 1582 1673 1647 1568 1509

119931              1434 1434 1434 1491 1614 1434 1442 1604 1389 1528 1654 1481

119932              1447 1549 1575 1569 1573 1566 1652 1746 1740 1600 1521 1464

120931              1434 1110 1435 1937  975 1178 1517 1773 1241 1269 1502 1528

120932              1286 1314 1334 1488 1487 1525 1636 1602 1595 1570 1501 1438

121931              1434 1434 1434 1434 1434 1441 1549 1431 1431 1312 1346 1385

121932              1381 1466 1181 1029 1139 1185 1277 1175 1158 1125 1034  978

122931               971  973  969  970  972  985 1486 1812 1264 1169 1152 1140

122932              1152 1466 1597 1593 1591 1473 1153 1116 1076 1720 1398 1163

123931              1361 1271 1282 1164 1214 1475 1520 1638 1824 1778 1824 1820

123932              1367 1108 1075 1164 1157 1567 1525 1678 1582 1663 1684 1572

124931              1492 1312 1146 1103 1485 1494 1485 1539 1735 1755 1307 1141

124932              1160 1158 1135 1146 1156 1151 1170 1571 1619 1543 1625 1647

125931              1525 1050 1053 1055  989 1324 1656 1503 1659 1769 1751 1622

125932              1751 1751 1686 1681 1684 1718 1737 1741 1953 1115 1182 1434

126931              1434 1238 1179 1434 1435 1174 1445 1429 1733 1668 1546 1254

126932              1529  981 1452 1481 1490 1743 1436 1313 1291 1466 1616 1187

127931              1434 1229 1434 1270 1269 1447 1667 1418 1745 1734 1730 1729

127932              1729 1726 1494 1476 1533 1740 3586 3586 3586 1543 1329 1434

128931              1137 1138 1110 1112 1297 1458 1220 1220 1580 1401 1473 1493

128932              1432 1391 1523 1323 1609 1749 1635 1461 1432 1561 1529 1522

129931              1086  993  988  989 1039 1331 1635 1661 1796 1630 1803 1620

129932              1697 1829 1658 1502 1501 1382 1756 1450 1729 1812 1390 1331

130931              1328 1334 1227 1218 1184 1264 1433 1415 1502 1432 1437 1367

130932              1391 1438 1375 1495 1621 1800 1540 1517 1580 1149 1297 1165

131931              1682 1661 1553 1438 1494 1335 1288 1263 1366 1659 1580 1496

131932              1578 1621 1411 1335 1252 1478 1504 1532 1531 1527 1652 1458

2 1931              1503 1503 1481 1501 1494 1478 3932 3932 3932 3932 1808 1781

2 1932              1831 1832 1832 1591 1494 3703 3932 3932 3932 1840  751 1241

2 2931              1503 1496 1449 1455 1505 1702 1641 1738 1730 1735 1629 1513

2 2932              1488 1509 1465 1465 1577 1430 1757 1759 1764 2086 1497 1372

2 3931              1485 1525 1530 1530 1496 1487 1663 1737 1725 1728 2271 1624

2 3932              2257 1843 1428 1410 1620 1622 1627 1624 1626 1652 1447  891

2 4931               875 1342  837  849  867  876 1346 1596 1637 1630 1514 1574

2 4932              1625 1624 1625 1624 1599 1625 1616 1642 1649 1648 1541 1508

2 5931              1508 1487 1494 1479 1487 1560 1676 1730 1758 1757 1758 1755

2 5932              1757 1701 1758 1759 1752 1606 1608 1610 1736 1804 1514 1472

2 6931              1578 1491 1482 1485 1487 1501 1368 1508 1513 1691 1534 1613

2 6932              1862 1512 1472 1457 1459 1504 1653 1528 1511 1519 1624 1510

2 7931              1497 1490 1489 1490 1495 1509 1498 1506 1464 1586 1662 1734

2 7932              1477 1370 1387 1450 1446 1459 1650 1689 1690 1580 1533 1484

2 8931              1496 1468 1462 1480 1486 1479 1504 1624 1632 1633 1632 1630

2 8932              1629 1434 1734 1786 1831 1832 1836 1834 1834 1929 1604 1531

2 9931              1515 1616 1617 1617 1552 1690 1668 1625 1594 1834 1521 1614

2 9932              1619 1620 1409 1469 1637 1637 1615 1532 1572 1564 1525 1501

210931              1594 1600 1511 1496 1550 1483 1493 1785 1287 1615 1618 1315

210932              1617 1611 2143 1520 1500 1504 1606 1653 1616 1618 1610 1500

211931              1584 1531 1498 1498 1595 1605 1613 1439 1389 1573 1556 1362

211932              1620 1660 1585 1500 1490 1505 1485 1500 1408 1600 1600 1630

212931              1528 1449 1464 1464 1546 1649 1690 1693 1744 1837 1735 1813

212932              1793 1539 1496 1503 1484 1465 1540 1667 1523 1486 1531 1466

213931              1290 1082  786  772  756  844  888 1429 1483 1491 1481 1471

213932              1441 1315 1310 1240 1235 1292 1462 1462 1546 1591 1602 1667

214931              1467  889  804  784  752  764  818  840  886 1484 1931 1587

214932              1584 1500 1488 1481 1491 1489 1487 1482 1467 1457 1470 1420

215931              1091  946  863  889 1158 1288 1518 1522 1512 1536 1512 1502

215932              1309 1398 1317 1246 1247 1584 1662 1661 1616 1585 1501 1480

216931              1459  982 1390  942 1217 1364 1640 1577 1644 1492 1492 1198

216932              1427 1263 1412 1652 1345 1666 1660 1659 1689 1546 1592 1641

217931              1472  976  855  858 1160 1525 1732 1782 1824 1553 1382 1493

217932              1536 1682 2025 1672 1483 1555 1630 1619 1528 1569 1500 1473

218931              1450 1446 1197 1207 1482 1600 1656 1644 1596 1877 1653 1674

218932              1698 1668 1662 1434 1665 1648 1640 1695 1639 1643 1678 1524

219931              1482 1463 1475 1473 1467 1450 1482 1685 2007 1631 1671 1696

219932              1433 1254 1724 1679 1627 1284 1734 1691 1656 1687  817  741

220931              2013 1623 1477 1480 1425 1482 1398 1511 1797 1615 1718 1497

220932              1495 1508 1600 1628 1646 1671 1713 1956 1608 1665 1093 1058

221931              1671 1586 1569 1548 1520  941  777  863  872  870  875 1034

221932              1550 1551 1515 1492 1517 1477 1214 1585 1653 1689 1074 1643

222931              1735 1514 1493 1484 1484  858 1460 3700 3700 3586 3700 1682

222932              1822 2054 1672 1246 1491 1664 1688 1668 1632 1542 1542 1556

223931              1666 2833 1975 1619 1624 1543 1005 1659 1713 1431 1593 1369

223932              1781 1779 1426 1377 1321 1650 1588 1606 1886 1100  747 1447

224931              1472 1469 1470 1489 1572 1440  888  795 1712 1802 1569 1555

224932              1527 1450 1425 1241 1121 1360 1523 1676 1711 1758 1719 1671

225931              1977 1493 1499 1497 1500 1209  769  841  863  875 1415 1708

225932              1697 1703 1879 1494 1488 1526 1538 1528 1636 1547 1570 1478

226931               925  852  857  865 1253 1437 1478 1527 1669 1604 1618 1793

226932              1808 1838 1808 2016 1638 1499 1511 1670 1471 1540 1592 1512

227931              1479 1549 1492 1491 1495 1601 1648 1702 1773 1623 1732 1678

227932              1524 1480 1484 1490 1565 1642 1651 1652 1660 1661 1640 1639

228931              1663 1500 1454 1447 1450 1461 1477 1588 1776 1664 1746 1656

228932              1752 1704 1653 1632 1642 1682 1672 1683 1643 1600 1529 1823

3 1931              1466 1277  866 1284 1369 1561 1734 1685 1740 1628 1631 1644

3 1932              1810 1427 1686 1663 1623 1540 1715 1528 1593 1850 1607 1675

3 2931              1485 1013 1008  779  805 1234 1625 1622 1327 1602 1288 1568

3 2932              1631 1652 1543  733 1483 1444 1532 1695 1658 1577 1455 1599

3 3931              1463 1041  850  864 1330 1642 1668 1673 1658 1658 1531 1652

3 3932              1678 1822 1323 1630 1542 1482 1501 1540 1606 1640 1591 1483

3 4931               893  754  944 1131 1358 1216 1586 1621 1779 1780 1835 1763

3 4932              1782 1710 1840 1753 1802 1773 1817 1735 1760 1828 1555 1152

3 5931               877  875  856  841  863  895  855  879  868  941 1833 1830

3 5932              1828 1828 1830 1830 1832 1832 1829 1797 1833 1838 1251 1068

3 6931               865  864  840  825  813  806  754  791  869  893 1500 1381

3 6932              1011  782  858  873  877 1043 1546 1418 1375 1183 1256  857

3 7931               790  833  872  874  873  780  785  970  789 1498 1473 1479

3 7932              1476 1478 1476 1473 1475 1484 1483 1493 1496 1589 1723 1484

3 8931              1481 1488 1493 1474 1605 1342 1488 1497 1755 1577 1488 1446

3 8932              1735 1499 1554 1554 1026 1489 1494 1581 1879 1467 1474 1525

3 9931              1623 1639 1474 1476 1481 1479 1632 1718 1486 3700 1489 1493

3 9932              1496 1495 1496 1496 1553 1496 1495 1495 1494 1495 1626 1489

310931              1481 1453  831  807 1048 1295 1486 1299 1450 1544 1496 1553

310932              1519 1750 1495 1570 1708 1496 1496 1495 1496 1553 1541 1510

311931              1483 1749 1449 1444 1457 1463 1461 1790 1903 1835 1722 1834

311932              1794 1621 1630 1496 1494 1495 3700 3700 3700 3700 1495 1495

312931              1495 1614 1742 2027 2034 2045 2042 2362 2429 2429 2432 2435

312932              2433 2431 2427 2021 2085 2087 2313 2432 2435 2434 2434 2165

313931              2034 1663 1484 1492 1608 2031 1686 1491 1838 2431 2439 2280

313932              2031 2033 2034 2037 2040 2035 2275 2439 2435 2433 2160 2032

314931              2031 2036 1720 1495 1489 1493 1495 1489 1494 1495 1495 1496

314932              1493 1492 1496 1495 1803 2098 2431 2439 2439 2340 2043 2120

315931              2127 1451 1875 2035 2035 2037 2020 2439 2438 2436 2437 2437

315932              2418 1424 2673 1901 1491 1612 1612 3658 1883 1925 1462 1625

316931              2045 1783 1482 1469 1488 1709 1705 1953 2150 2400 2416 2438

316932              2436 2435 2435 2434 2430 2430 2430 2437 2437 2195 2048 1822

317931              1488 1491 1484 1485 1499 2041 1628 2165 2430 2438 2434 2434

317932              2431 2434 2434 2432 2429 2377 2393 2437 2435 2151 2043 1832

318931              1495 1494 1488 1492 1469 1737 1624 1853 2415 2439 2437 2432

318932              2434 2417 2441 2405 1999 2397 2427 2439 2392 1657 1865 2043

319931              1874 1726 1121  862  870 1906 1664 2032 2341 2432 2436 2433

319932              2426 2425 2438 1959 1498 1496 1488 1490 1490 1494 1485 1235

320931              1167  788  831  787  786  764  774  813  831  916 1412 1461

320932              1488 1470 2103  811  853  875 1524 1498 1490 1564  894 1443

321931              2042 1677  969  750  750  750  752  754  807  804  819  834

321932               787  853  857  803  808  849 1549 1492 1896 2043 1616 1863

322931              2039  915  744  743  744  942 1068 2183 1219 1557 2106 1546

322932              1498 1493 1495 1475 1462 1488 1964 2439 2389 1660 1504 1033

323931              2033  912  746  746  747 1435 1040 1353 1637 1865 1496 1490

323932              1592 1495 1488 1476 1471 1464 1487 1493 1476 1486 1608 1728

324931              1868  746  741  740  740 1012 1544 1809 1583 1478 2443 3019

324932              1571 1496 1856 1478 1654 1462 1470 1495 1488 1484 1587 1044

325931              1007  745  741 1430  799  918 1731 1239  804 1513 1476 1171

325932              2171 2562 1832 1477 1520 1670 2433 2439 2272 2045 1413 2044

326931              2044 1648  741  741  743  751  751  962 1586 1482 1472 1465

326932              1475 1478 1957 2052 1062  873  882 1944 1993  807 1306 2046

327931              1216  748  747  746 1356  748  754  777 1044  757  779  794

327932               777  809 1298 2050 2049 2049 1852  870 1952 2051 2051  950

328931               749  747  746  745  743  746  749  753  758  758  753  753

328932               752  751 1273 2050 2052 2056 2056 2056 1803 1813 2050 2050

329931              2046 2043 1765  753  763  796  819 1710 2041 2039 2042 2042

329932              2043 2047 2049 1897 1765 2047 2046 2045 1491 1282  945 1825

330931              2053 1869  744 1167 1860 1905  970 1729 1853 2045 2041 2044

330932              2046 2052 1938 1505 1506 1811 2047 2375 2403 1876 1005  792

331931               748  738  736  735  738  741  784  857 1694 2053 2401 2422

331932              2424 2426 2426 2427 2088 1760 1491 2006 2166 2043 1314  927

4 1931               900  817  744  744  745 1049 1698  825  980 2278 2519 2187

4 1932              2551 1804 2423 2424 2209 2167 1656 2115 2199 1531 1629 1735

4 2931              2047  838  753  751  753 1483 2050 2051 2037 1506 1508 2314

4 2932              1954  875  869  864 1588 1480 1539 2542 1481 1493 1649 2036

4 3931              2034  831 1166  765 1103 1561  763 1281 1477 1504 1495 1505

4 3932              1501 1497 1489 1504 1507 1825 1935 2046 1823 1552 1572 1000

4 4931              1088 1889  955 1141  877  768  754 1732 2045 2050 1132 1411

4 4932              1660 1502 1501 1500 1504 1505 1499 2400 1830 1488 1590 1414

4 5931              1096  988  942 1375 1003 1200 1920 2037 2037 2042 2397 2102

4 5932              1507 1693 2108 1836 2107 1565 1495 2202 1644 1938  863 1529

4 6931               745  745  800  823  913 1000 1256 1745 1500 2415 2252 2085

4 6932              2086 2087 2089 2093 2093 2093 2093 2095 2090 2068 1098  900

4 7931              1256 1159 2035 2041 1364 2052 2038 2033 2035 1808 1489 2046

4 7932              1998  885  927  917  935  896 1000 1100 1080  900  990  970

4 8931               970  980  908  735 1104 2045 2041 1767  966  884 2401 2417

4 8932              2417 2417  999  877  917 1015  788  859  859  834 1051  761

4 9931               749  752  752  753  755  761 1444 1606 1499 1501 1504 1505

4 9932              1505 1506 1506 1504 1502 1469 1456 1483 1493 1987 1049 1004

410931              1072  817  755  752  753  757  753  790  852 1490 1478 1490

410932              1885 2065 1825 1491 1494 1499 1494 1507 1497 1472 1669 1232

411931               837  766  759  752  753  757  758 1234  914 1755 1494 2039

411932              2048 1495 1457 1465 1473 1471 1464 1487 1490 1610  866  799

412931               759  752  753  752  754  823 1346 1482 1502 1505 2339 2409

412932              2403 2099 1765 1497 1490 1496 2221 2416 2314 1472 1257  788

413931               761  754  753  752  756  832 1383 1507 1567 1469 2369 2420

413932              2454 1938 2279 1493 1973 1490 1848 2429 1808 1984  981  779

414931               762  767  768  773  779 1297 2035 2012 1531 1725 1842 1802

414932              1772 1493 2378 2128 1506 1497 1701 1637 1497 1599 1080  833

415931               805  768  753  753  758  761 1379 1477 1474 1476 1819 2293

415932              2173 1685 2419 1944 1499 1492 1486 2482 2557 1613 1079  854

416931              1631  857  749  749  751  871 1576 1729 2041 2045 1829 1502

416932              1587 1579 1480 1495 1494 1485 1644 2438 1815 1484 1776 1740

417931               786  760 1160  844  844  784  780  851  890 1950 2054 2053

417932              2054 1540 1503 1495 1469 1471 1532 2063 2061 2056 2054 1424

418931              1719  959  753  753 1247 1368  745  745  745  817 1444 1451

418932              1451 1462 1448 1446 1448 1693 1605 2036 2130 2003 1267 1397

419931               799 1182  755  755  916  945 1083 1148 1526 1526 1526 1526

419932              1526 1526 2450 2605 1483 1487 1683 2416 2417 2138 2036 1086

420931               831  812  934  754  756  843 1364 1477 1474 1474 1450 1430

420932              1400 2181 2433 2434 2882 2876 2431 3700 3700 2305 1706  827

421931               859  826  771  762  853  928  880 1319 1489 1619 2126 2437

421932              2529 2435 2439 2433 2434 2434 2438 2435 2136 2043 2038 1482

422931              1743 1571  880  877 1217 1466 1483 2006 1494 1514 2025 1481

422932              1576 2430 1715 1497 1477 1477 1470 1497 1473 1101 1220 1236

423931              2004 2071 1816 1505 1506 1501 1494  909  781  863 1825 1071

423932               878  928 2116 2062 1916 1479 1477 1503 1502 1483 1568 1488

424931              1487 1487 1483 1501 1503 1506 1501 1503 1999 2042 2044 2263

424932              1801 1497 1499 1502 1500 1500 1495 1503 1502 1471 1571 1490

425931              2041 1485 1478 1471 1465 1868 1697 1451 1468 1500 1502 1497

425932              1494 1567 2041 2108 2406 2051 2051 2051 2054 2127 1662 1756

426931              1523 1233  864  833  836 1562 1644 2037 2298 1719 2333 2421

426932              2420 2419 2892 3019 2976 1481 1477 1841 1991 1466 1704 1651

427931              1490 1478 1457 1461 1470 1497 1481 1485 1662 1801 2431 2428

427932              1130 2284 2428 2429 2429 2106 2043 2049 2054 1429 1402 2049

428931              1600  781  869  883  870 1028  893  782 1694 2454 1514 1490

428932              1502 1669 1497 1623 2515 1523 1487 1494 1934 1729 1449 1124

429931              1616 1988  753  752  753 2032 1189 1638 1551 1484 1622 1481

429932              1480 1486 1475 1583 1526 2151 1619 1803 2038 1969  793 1897

430931              1691 1144  743  744  873 2048 1795  837  867 1379 1599 1485

430932              1466 1518 1526 1526 1526 1526 1526 1526 1526 1526  825  929

5 1931              1144  739  736  736  742  743  744  745 1125 2052 2053 2057

5 1932              1972  797  777  778  867  885  850  869 1908 2051 2049 2052

5 2931              2059 2057 1034  723 1663 2056 2053 2058 1123  742  751 1478

5 2932               877  791  837  863  871  870  829  881  862  821 1931 2055

5 3931              1555  734  733  733  734  738  745  810  995 1005 1250 2048

5 3932              1121 1034 1588 1483 1526 1526 1484 1467 1437 1223 1522 1372

5 4931               747  745  744  740  740  744  751  922 1087  787  800 1000

5 4932              1450 1533 1526 1526 1526 1526 1466 1470 1420  792  753  750

5 5931               747 1828 2032 2033 2511 1817 1674 1657  958  878 1075 1124

5 5932              1902 1112 1291 1526 1526 1526 1148 1136  912 1083  982  754

5 6931              1072 1369  733  733  735  740  753  781  872  743  859 1188

5 6932              1200 1526 1466 1564 1260 1231  859  846  880  820  820  775

5 7931               750  730  749  749  745  745  745  869  865 1059 1482 1526

5 7932              1526 1526 1506 1505 1501 1351  821  825  825  964  850  750

5 8931               739  728  741  749  746  738  733  743  745  745  777  823

5 8932               847  854  864  869  906  893  848  823  819  792  745  735

5 9931               735  735  737  736  736  735  735  740  744 1005 1005  829

5 9932               858  779  790  808  840  879  881  877  879  788  752  738

510931               745  740  746  745  746  746  800  872  952 1337 1946 1552

510932              1658 2419 2418 2421 2424 1903  820 1404 1580 1064  859  720

511931               736  740  740  740  740  800 1108 1303 1519 1484 1177 2050

511932              2365 2432 2435 2434 2431 1902 1482 1502 1630 1451 1037  745

512931               800  745  740  751  752  800 1066 1272 1536 1480 1518 1248

512932              1467 1291 1513 1785 2017 1549 2033  863  838  758  745  740

513931               745  745  730  740  754  800 1645  775  918 1413 1566 1597

513932              1674 1711 1711 1711 1728 1680 1660 1660 2259 2040 1060  748

514931               749  752  749  748  748  752  861  909 1212 1565 1484 1673

514932              1489 1545 1497 1495 1503 1503 1497 1497 1632 1371 1047  982

515931               786  797  777  772  768  768  777 1637 2036 1417 1052 1110

515932              1649 1778 1464 1262 1078  992  939 1041  894  797  800  779

516931               768  754  748  752  756  765  765  895 2041 1489  920 1036

516932              1045 1241 1538 1471 1470 1303 1076 1058 1007  989  871 1013

517931               851  784  773  770  772  785  789 1536 1132 1062 1217 2304

517932              1572 1500 1478 1699 1496 1665 2475 1485 1484 1778 1497  929

518931               973  806  793  787  786  802  875 1771 1597 2106 1651 2173

518932              1508 1509 1497 2036 1571 2040 2033 2000 1900 1800 1783 1095

519931               975  786  787  796  795  997  899 1067 1074 1635 2364 2423

519932              1629 1489 1496 1502 1502 1670 2582 1615 1850 1410  920  929

520931               791  778  769  772  765  769  781  910  974 1072 2116 1491

520932              1488 1496 1507 1503 2320 1492 1468 2020 1996 2043 1727 2050

521931              1162  775  767  760  761  767 1874 2042 1235 1038 1412 2235

521932              2430 2431 1591 1824 1503 1499 1879 2034 2042 1050 1004 1997

522931               791  791  776  766  766  764  769  778  780 1005 1097 1005

522932               990 1005 1097 1050 1055 1098 1012 1080 1029  914  831 1312

523931               873  800  782  778  775  770  776  780  785  795  880 1020

523932              1249 1390 1205 1070 1076  827 2114  940 1279 1555  950  786

524931               778  762  934  754  760  767 1915 2018  944 1768 1817 2053

524932              1848 1877 1720 1494 1486 1489 1480 1481 2229 2071 1172 1197

525931               781  756  742  737  736  755  779  810  935 1312 2025 1522

525932              1487 1746 1481 1578 2132 1959 1485 1491 1487 1476 1201 1012

526931               970  775  769  766  761  893 1121 1021 1766 2098 1944 1977

526932              2017 2042 2041 1930 1499 1505 1492 2026 2035 1652 1330  940

527931               770  759  750  748  750  762  787  807 1067 1100 1471 1552

527932              1594 1486 1494 1496 1504 1480 1039 1040 1160 1262 1005  971

528931               781  753  747  745  746  751  852  994 1198 1844 1472 1493

528932              1494 1478 1500 1506 1502 1492 1481 1482 1471 1361 1179 1129

529931               779  760  745  741  749  749  754  768  799 1038 1046 1042

529932              1068 1091 1107 1118 1119 1117 1092 1066 1060  932  781  788

530931               772  748  739  852  723  715  723  745  761  783  983 1036

530932              1027 1042 1090 1113 1119 1290 1445 1443 1438 1003  760  754

531931              1396  745  737  733  732  728  737  752 1015 1105 1114 1426

531932              1449 1464 1462 1464 1471 1492 1474 1444 1442 1306 1267 1179

6 1931              1169  799  797  800  806  811 1277 1210  956 1064 1099  721

6 1932              2014 1498 1476 1476 1487 1491 1776 1463 1464 1497 2027  751

6 2931               750  755  777  774  999  863 2067  898  898 1730 1349 1464

6 2932              1493 1572 1632 1482 1488 1483 1532 2046 2044 1629 1467 1252

6 3931               782  771  764  762  765  768  952  787 1012 1028 1112 1112

6 3932              1108 1458 1500 1511 1590 1554 1480 1460 1472 1464 1195 1035

6 4931               840  795  762  755  755  764  845  777 1020 1095 1432 1448

6 4932              1441 1460 1484 1509 1615 1459 1452 1145 1313 1444 1164 1081

6 5931              1444  961  753  943  713 1006 1034 1440 1008  847  920 1093

6 5932              1117 1110 1464 1475 1476 1474 1450 1448 1457 1487 1463 1286

6 6931               927 1060  861  892  822  802  904 1094 1105 1114 1437 1435

6 6932              1494 1065 1083 1088 1106 1103 1119 1382 1566 1496 1434 1178

6 7931               793  849  804  803  941 1277 1288 1281 1418 1158 1275 1114

6 7932              1113 1319 1317 1100 1131 1097 1081 1184 1508 1435 1435 1434

6 8931              1434 1402  794  802  889  995 1110  824 1078 1078 1078 1078

6 8932              1105 1105 1328 1463 1177 1512 1454 1445 1471 1362 1047  893

6 9931               783  765  748  747  785 1011 1155  809 1190 1355  855 1121

6 9932              1103 1117 1387 1380 1572 1485 1173 1079 1089 1075 1253 1031

610931               764  756  753  843 1444  826  948  922 1026 1034 1081 1121

610932              1508 1493 1619 1504 1611 2462 1461 1462 1496 1211 1156  920

611931               785  771  764  760  762  779 1368 1322 1328 1261 1514 1599

611932              1489 1504 1693 1765 1825 2435 1574 1489 1488 1474 1071  800

612931               780  768  720  766  767  764 1322 1442 1442 1344 1442 1465

612932              1506 1546 1657 1500 1493 1491 1472 1471 1476 1596 1098 1000

613931              1072  775  770  767  763  758  763  780 1365 1388 1340 1489

613932              1496 1667 1733 1475 1478 1532 1468 1492 1496 1483 1065  970

614931               762  760  792  783  781 1278 1081 1287 2032 1704 2037 2304

614932              2424 2431 2437 2439 2439 2170 1489 1491 1498 1499 1468 1388

615931              1065 1037 1011  980  990  990 1526 1069 1916 1918 1132 1110

615932              2194 2439 3700 3700 3700 3700 2396 2046 2681 1450 1449 1328

616931              1000 1002  980  970  980 1000 1200 2033 2037 2328 2406 1433

616932              2393 2439 2439 2439 2429 1996 1493 1489 1498 1492 1464 1200

617931              1018 1030  935  803  799  882  928 1054 1108 1098 1118 1097

617932              1822 1468 1628 1993 1596 1497 1481 1495 1493 1483 1574 1026

618931               785  804  776  770  768  774  923 1047 1176 1197 1109 1089

618932              1086 1106 1782 2436 2436 2430 1988 1740 1496 1656 1489  973

619931               885  778  770  817  805  984  909 1064 1081 1007 1242 2203

619932              1751 2402 2432 2440 2704 3019 1527 1494 2044 1979 1943 1224

620931               876  796  783  794  785  766  767  796 1922 1405 1510 2207

620932              2420 1728 1489 1490 1496 1496 1489 1490 1492 1676 1336  877

621931               795  787  797  805  804  803  928 1634 1688 2040 2048 2294

621932              2432 2432 2432 2432 2435 2402 2314 2390 2375 2073 1270 1264

622931               856  787  795  789  791  791  907  430 1259 1278 1477 1468

622932              1488 1716 2920 2614 1494 1492 1488 1654 2082 2410 1332  998

623931               787  793  789  785  787  790  792  962 1625 1224 2057 1461

623932              1356 2086 1773 3700 3700 3700 3700 2110 1903 1814 1258  850

624931               782  781  774  771  768  770  881  937 1635 1464 1476 1481

624932              1493 1490 1492 1767 2682 2228 2438 2436 2438 2433 1502 1840

625931              2044 1663 1193 1077 1070 1078 1081 1872 2386 2406 1505 1486

625932              1481 1489 1483 1730 1485 1698 2011 1559 2233 2046 2037 2039

626931              1719 1603 1035 1028 1038 1228 1050 1100 1454 1490 2438 2439

626932              2650 2580 2435 2422 1491 1485 1473 1672 2422 2315 1731 2044

627931              2047 2044 1313 1172 1078 1662  961 1089 1098 1650 1794 1794

627932              2331 2423 1475 1495 1497 1603 2433 2431 2431 2363 1645 1413

628931              1679 1101 1081 1072 1133 1927 1089 1857 2305 2422 2425 2419

628932              2413 2412 2437 2438 2436 1873 1541 1495 1707 2144 1640 1701

629931              2046 2049 1291 1106 1837 1088 1344 1451 1451 2020 2199 2431

629932              2431 2116 2433 2465 1500 1820 1969 1496 1927 1937 1739 1637

630931              1080  937  993  778 1863 1910 1089 1098 2318 2429 2205 2429

630932              1838 1503 1495 1490 1867 2423 2401 1941 1503 1984 1984 2009

7 1931              1725 2035 1851  857  808 1015 1042 1050 1300 1500 1700 1724

7 1932              1619 2109 2433 2432 2433 2385 1601 1496 1497 1496 1493 1480

7 2931              1701 1217 1084 1077 1068 1083 1453 1500 1520 1530 1480 1490

7 2932              1500 2231 2425 2423 1966 1459 1433 1456 1497 1943  961 1915

7 3931              2181 1843 2358 1041 1038 1040 1038 1034 1045 1044 2080 1495

7 3932              1487 1491 1485 1844 1499 1500 1498 1488 1499 1499 1494 1847

7 4931              1497 1478 1515 1033 1025 1021 1029 1031 1037 1040 1487 1494

7 4932              1529 1496 1535 1494 1499 1499 1478 1471 1498 1502 1642 2060

7 5931              1639 1462 1458 1729 2034 1441 1462 1479 1478 1494 1655 2043

7 5932              2657 2001 1497 1497 1498 3700 3700 2437 2439 2439 2324 2046

7 6931              1848 1042 1095 1036 1036 1042 1057 1042 1030 1023 1033 2195

7 6932              2438 3700 3700 3700 3700 3700 3700 2432 2431 2431 1621 2045

7 7931              2159 1864 1036 1026 1022 1029 1038 1021  786 1592 1773 2243

7 7932              2416 2420 2418 2378 2664 2517 2436 2436 2435 2435 2296 2167

7 8931              1489 1041 1121 2164 2163 1240 1066 1926 1707 1248 2163 2166

7 8932              2409 2703 2744 2462 2368 2359 2341 2227 2168 2166 2166 2165

7 9931              2164 2262 1310 1085 1076 1087 1073 1024 1032 1759 1414 1023

7 9932              1124 2109 2405 2552 2683 2543 2291 2248 2215 2243 2199 2168

710931              2166 2166 2164 1213 1094 1097 1107 1110 1109 1101 1846 1392

710932              1093 1106 1620 1600 1279 1135 1600 1628 1628 2163 2163 2163

711931              1145  782 1025  796  781  781  786 1028 1139 1628 2163 2163

711932              1140 1083 1077 1077 1600 1600 1620 1600 1500 1400 1921 1180

712931              1589  769  752  749  757  771  794 1062 1539 2051 1779 1649

712932              2162 1540 1794 1794 1794 1794 1794 1794 1794 1654 1419  890

713931               766 1343 1199  841  802  969  982 1193 1377 1607 1660 1735

713932              1692 1824 1795 1794 1794 1794 1794 1794 1690 2451 1492 1369

714931               812  763  754  749  749 1116  785 1150 1063 1446 1683 1572

714932              1664 1726 1745 1794 1794 1794 1794 1794 1621 1608 1599 1465

715931              1199 1440  950  772  773  864 1129 1777 1563 1794 1794 1480

715932              1480 1517 1477 1794 1616 1492 1473 1465 1607 1503 1448 1040

716931               800  792  792  792  799  799 2166 1578 1093 1115 2151 2167

716932              1962 1691 1670 1559 1547 2174 1636 1615 1613 1095 1247  970

717931               960  950  945  785  786  802  916 1113 1253 1557 1686 1547

717932              1290 1101 1108 1105 1107 1105 1101 1096 1095 1096 1234 1080

718931               940  850  830  815  799  791  799  810  990 1061 1623 1196

718932              1109 1083 1103 1113 1116 1118 1100 1093 1396 1467 1491 1080

719931               791  791  780  770  780  790  950 1260 1391 1735 1745 1917

719932              2066 2190 2379 2384 2691 1740 1484 1473 1487 1469 1740 1050

720931               980  791  791  791  791  791  850 1044 1080 1022 1496 1479

720932              1487 1660 2419 2420 2421 2424 2425 2426 2150 1490 1496 1062

721931               980  975  880  790  980 1081 1891 1489 3586 1538 3586 3586

721932              3586 3586 3586 1508 1508 1506 1499 1504 1765 1794 1794 1500

722931              1100 1080 1070 1060 1065 1075 2033 2034 2035 1787 2147 2392

722932              2403 2403 2409 2413 2413 2417 2415 2411 2414 2281 1496 1371

723931              1075 1037 1020  783  774  967 1180 1636 1798 1851 2253 1847

723932              1507 1500 1541 1702 1580 1507 1501 1505 1508 1506 1491 1693

724931              1084 1054 1048 1062 1089 1089 1168 1475 2361 2316 1501 1508

724932              1495 1490 1505 1443 1107 1610 1581 1578 1533 1495 1493 1262

725931              1001  852  890  934  793  790  911  852 1004 1095 1044 1370

725932              2054 1577 1450 1452 1743 1652 1626 1560 1651 1525 1274 1055

726931               977  913  905  800  800  982  921 1031 1083 1966 2095 2219

726932              1662 1813 2269 1948 1568 1747 1504 1455 1441 1332 1404 2064

727931              1039  896  798  800  796  855  911 1155 1401 2152 1807 2180

727932              1403 2020 2276 2390 2452 2340 2272 1615 1545 1503 1566 1507

728931              1056 1030  930  803  800 1013 1160 2166 2168 1959 1655 1695

728932              1494 1717 1516 1975 2311 2331 2291 2203 2163 2185 2303 1454

729931              1454 1452 1545 1085 1094 1338 1397 1940 1821 1493 1936 2267

729932              2640 2721 2721 2302 2214 2284 2197 2163 2161 2161 2160 1894

730931              2161 1135 1036 1035 1874 1769 2161 2160 2159 2197 2237 2271

730932              2272 2273 2700 2775 2356 2265 2219 2170 2160 2162 2163 1523

731931              1439 1958 2162 2162 1982 1298  958 1050 1300 1400 1794 1794

731932              1794 2323 2422 2615 2812 2430 2210 2073 1744 1720 1783 1605

8 1931              1613 1499 1438 1284 1374 1337 1050 1150 1476 1605 1855 1855

8 1932              1855 1855 1493 1492 1491 1497 1493 1498 1500 1499 1498 1481

8 2931              1478 1488 1427 1413 1441 1493 1556 1700 2158 2158 3700 3700

8 2932              3700 3700 3700 3700 2928 2928 2928 2928 2928 1855 1465 1465

8 3931              1635 1607 1508 1487 1428 1348 1550 1600 1855 1855 2350 2479

8 3932              2702 2770 2274 1497 1496 1508 1506 1503 1501 1496 1599 2204

8 4931              2158 2161 1872 1484 1488 1599 1200 1460 1500 2163 2329 2436

8 4932              2596 2581 2535 2550 2710 2734 2589 2475 2746 2637 2306 2145

8 5931              1861 1486 1457 1448 1452 1471 1500 1550 1650 1855 2425 2664

8 5932              2729 2732 2583 2586 2432 2577 2268 2159 2731 2703 2160 2161

8 6931              1740 1477 1465 1488 1495 1666 1500 1650 2180 2407 2430 2533

8 6932              2625 2768 2504 2434 2432 2430 2226 2164 2163 2163 2163 2165

8 7931              2164 1778 1621 1599 1688 1862 1484 1487 1349 1501 1540 2001

8 7932              1693 1544 1593 1494 1901 2164 2218 2049 1499 1936  860 1974

8 8931              2001 1574 2165 2165 2165 1194 1507  995 1252 1341 1691 2176

8 8932              1929 1507 1509 1506 1508 1596 2094 1508 1614 1685 1507 1775

8 9931              1968 1386 1397 1443 1905 1350  931 1194 1672 1287 2231 1904

8 9932              1697 1575 1471 1584 1365 1217 1255 1533 1462 1511 1365 1838

810931              1490 1470 1466 1402 1343 1431 1447 1494 1649 1612 1522 1505

810932              1546 1499 1497 1493 1495 1595 1842 1493 1996 1957 1543 2166

811931              1844 1720 2166 2166 2166 2165 2165 1565 1546 1518 1556 1554

811932              2206 2273 1832 1588 1441 1628 1458 1550 1588 1580 2162 2162

812931              2162 2022 2092 1561 1255 2110 1687 1508 1484 1552 1505 1576

812932              1631 1491 1505 2352 2438 2415 2355 2354 2353 2355 2203 2171

813931              2171 1880 1085 1073 1087 1948 2091 1483 1551 1518 1617 1599

813932              1601 2243 1629 1782 2429 2329 2165 1855 1855 1855 2161 2160

814931              1776 1109  890 1635 1044  876  794 1109 2027 2371 2417 2412

814932              2418 2418 2426 2430 2430 2430 2430 2430 2430 2271 2163 1648

815931               800 1853 1456 1632 1109 1116 1129 1145 1110 1116 2050 2172

815932              2172 2174 1855 1855 1855 1855 1855 1855 1855 1855 2162 2298

816931              1500  885  803 1530 2162 2307 1062 1173 1062 1957 2161 2161

816932              2315 1869 2811 2814 2698 2288 2165 2161 2161 2160 1983 2160

817931              2160 1676 1102 1086 1084 1066 1036 1982 2160 1652 1487 1517

817932              1643 1783 2259 2270 2272 2238 2243 2274 2267 2167 2162 2162

818931              2131 2145 1081 1026 1070 1047 1744 2164 1888 1723 1863 2247

818932              2245 2252 2276 2745 2500 2229 2172 2163 2162 2162 2162 2162

819931              1672 1672 1619 1558 1547 1730 1682 1820 2161 2185 2219 1691

819932              2166 2227 2060 1705 1546 1503 1681 1691 1855 1800 1730 1650

820931              1672 1726 1500 1600 1389 1687 1680 1500 1664 2163 2220 2225

820932              1518 2033 2275 2374 1885 1469 1478 2217 2223 2170 1855 1630

821931              1531 1450 1116 1080 1053 1053 1100 1383 1735 2168 2168 2168

821932              2168 2168 1978 1561 1511 1740 2167 1611 1550 1469 1461 1022

822931              1000 1018 1005  980  963  960 1100 1443 1207 1471 2129 2168

822932              2168 1706 1573 1652 1965 2178 2247 1901 1598 1672 1852 1035

823931              1020  980  970  970  980 1120 1200 1650 1848 1898 2160 1607

823932              1561 2008 2579 2807 1947 1536 1686 1698 2053 2144 1725 1600

824931              1400 1400 1400 1343 1343 1531 1672 1672 1686 2170 1997 2170

824932              2248 2698 2794 2799 1829 1701 2167 1721 1612 1606 1692 1600

825931              1600 1390 1116 1116 1484 1450 1490 1651 1727 1617 1526 1495

825932              1569 1494 1535 1714 2478 2252 1846 1646 1627 1633 1600 1500

826931              1116 1103 1058 1066 1074 1676 2161 1427 1876 1778 2161 1709

826932              1586 1683 2161 2161 2162 2161 2161 2162 2162 2162 2162 2554

827931              1535 1422 1319 1247 1191 1746 1358 1297 1520 2093 1807 1807

827932              1838 1538 1522 1556 1611 1556 1548 1549 1561 1569 1491 1378

828931              1374 1371 1085 1024 1020 1048 1121 1443 1134 1500 1946 1823

828932              1697 1517 1551 1510 1501 1575 2244 1767 1642 1761 1504 1527

829931              1472 1246 1105 1070 1047 1066  857 1058 1068 1450 1462 1178

829932              1294 1259 1111 1092 1101 1110 1687 1739 1717 1961 1529 1132

830931              1018 1071 1064 1061 1073 1150 1248 1595 2170 2170 1679 1488

830932              1618 1911 2323 1883 2644 2362 2187 2163 2160 2159 2158 2038

831931              1597 1538  821  789  797 1103 1564 2231 1910 2075 1490 1479

831932              1495 1711 1908 1484 1494 1496 1498 1965 2227 1679 1537 1468

9 1931              1689 2163 1502 2164 1772 1790 1935 1897 2196 2528 2287 1529

9 1932              1495 1495 1499 1493 1489 2007 2439 2454 2855 2375 1835 2236

9 2931              1602 1453 1429 1365 1384 1143 1544 1847 1481 1530 2210 2228

9 2932              2880 1514 1496 1493 1489 1490 1489 2111 2072 1763 1676 1799

9 3931              2160 1597 1057 1021 1381 1602 2160 1694 1855 1811 2229 1864

9 3932              1864 1667 2227 1676 1741 1617 1488 1947 2214 1848 1660 1543

9 4931              1472 1454 1383 1272 1244 1276 1439 1485 1636 1713 1814 1794

9 4932              1731 1742 1664 1501 1895 1626 1641 1612 1656 1666 1739 1739

9 5931              1563 1239 1049 1023 1019 1019  890 1438 1445 1500 1607 1619

9 5932              1640 1637 1734 1816 1498 1497 1479 1723 1521 1644 1635 1529

9 6931              1431 1077 1060 1299 1064 1073 1076 1213 1446 1468 1644 1598

9 6932              1591 1551 1554 1617 1561 1726 1562 1566 1643 1555 1467 1371

9 7931              1367 1360 1142 1098 1086 1188 1600 1692 1692 1558 2173 2228

9 7932              2800 2248 2256 2272 2639 2292 2271 2609 2478 2216 2171 2169

9 8931              1965 1873 2168 2168 1439 1770 1478 1480 1450 1498 1627 2230

9 8932              2233 2237 2271 2272 2187 2270 2245 2357 2405 2170 2170 2175

9 9931              2177 2177 1890 1483 1132  763  896 1050 1060 1480 1501 1825

9 9932              2265 2350 2271 2272 2692 2532 1481 1496 1479 1490 2069 2224

910931              1855 1475 2066 2048 1203 1714 1497 1691 1603 1206 1458 1515

910932              2104 1749 1900 1462 1459 1459 1604 2223 2137 1787 1530 1675

911931              1724 1669 1830 1635 1574 1632 1511 1504 1302 1321 1490 1482

911932              1479 1482 1733 1699 1479 1480 1471 1496 1479 1512 1648 1513

912931              1800 1516 1467 1318 1314 1435 1105 1086 1109 1117 1374 1474

912932              1486 1570 1645 1652 1663 1661 1608 1652 1678 1679 1578 1697

913931              1522 1455 1134 1095 1232 1397 1403 1385 1525 1535 1546 1360

913932              1496 1533 1508 1552 1523 1381 1429 1577 1534 1506 1529 1382

914931              1495 1469 1467 1453 1463 1608 1588 1983 1132 1639 1481 1633

914932              1756 1520 1595 1628 1613 1494 1470 1480 1498 1666 1664 1667

915931              1762 1510 1555 1555 1559 1503 1649 1716 1421 1565 1597 1551

915932              1491 1556 1556 3255 1835 1836 1684 1624 1826 1694 1781 1682

916931              1474 1042 1021 1018 1037 1390 1400 1111 1472 1499 1497 1646

916932              1618 1554 1623 2135 2092 3086 2519 1496 1461 1489 1487 1443

917931              1793 1253  768  802  774  974 1128 1294 1535 1518 1473 1510

917932              1495 1449 1759 1636 1735 1535 1478 1494 1455 1463 1250 1030

918931              1265  770  765  800  786  785  880  800  950 1000 1150 1454

918932              1470 1487 1495 1496 1496 1480 1493 1499 1467 1141  769  778

919931               781  751  789  782  780  784  784 1121 1200 1200 1230 1478

919932              1504 1500 1625 1499 1499 1497 1492 1491 1487 1478 1394 1441

920931              1441 1055  770  768  773  961 1054 1065 1468 1479 1583 1216

920932              1471 1540 1837 1738 2864 1629 1588 2182 1482 1491 1457 1247

921931              1052 1441  913  771  775  949 1041 1050 1162 1400 1771 1747

921932              1709 1546 1491 1492 1495 1491 1490 1490 1482 1476 1355 1073

922931              1062  965  775  775  775  779 1119 1482  992 1579 1500 1480

922932              1499 1497 1554 1483 1476 1353  819 1130 1089 1780 1485 1464

923931              1419 1290  875 1068 1081 1079 1435 1682  976 1624 1806 1820

923932              1662 1555 1787 1494 1490 1496 1380 1649 1497 1738 1916 1825

924931              1590 1569 1475 1497 1532 1627 1500 1647 1493 1628 1699 1771

924932              1746 1805 1774 2305 1655 1506 1479 1530 1525 1500 1541 1529

925931              1536 1489 1483 1430 1387 1439 1596 1622 1759 1520 1575 1747

925932              1698 1669 1664 1912 1609 1582 1475 1495 1556 1576 1613 1487

926931              1414 1471 1445 1200 1037 1404 1186 1313 1478 1482 1589 1533

926932              1591 1659 1690 1724 1669 1689 1696 1661 1595 1522 1499 1610

927931              1570 1495 1339 1444 1457 1496 1737 1498 1651 3586 3586 3586

927932              3586 3586 3586 3586 1546 1502 1712 1740 1627 1497 1542 1410

928931              1180 1115 1140 1130 1180 1200 1321 1473 1693 2127 1691 1665

928932              3700 3700 3700 3700 3700 1516 1561 1574 1529 1762 1624 1634

929931              1490 1292 1363 1285 1298 1520 1655 1499 1557 3700 3700 3700

929932              3700 3700 3700 3700 3700 3700 1692 1692 1692 1692 1650 1650

930931              1410 1363 1168 1168 1168 3700 3700 3700 3700 3700 3700 3700

930932              3700 3700 3700 3700 3700 3700 3700 3700 3700 3700 1622 1622

10 1931              1645 3700 3700 3700 3700 3700 3700 1498 1433 1551 1608 1553

10 1932              1466 1595 1635 1620 1618 1617 1624 2045 1782 1609 1591 1616

10 2931              1485 1457 1346 1440 1132 1068 1035 1544 1470 1633 1650 1631

10 2932              1653 1663 1585 1536 1587 1641 1634 1665 1654 1659 1652 1498

10 3931              1455 1154 1079 1066 1029 1029  775 1023 1259 1477 1685 1694

10 3932              1676 1707 1607 1586 1636 1662 1667 1757 2089 1574 1555 1302

10 4931               938 1089 1078 1077 1085 1316 1462 1627 1620 1194 1838 1836

10 4932              1834 1788 1519 1596 1638 1547 1655 1666 1663 1786 1572 1727

10 5931              1496 1448 1438 1318 1315 1345 1457 1626 1819 1730 1822 1816

10 5932              1548 1786 1771 1637 1643 1619 1662 1664 1708 2481 1425 1388

10 6931              1541 1339 1114 1117 1120 1401 1600 1692 1548 1496 1493 1675

10 6932              1527 1625 1503 1513 1479 1494 1641 1658 1558 1495 1447 1453

10 7931              1812 1096 1080 1090 1068 1430 1464 1768 1610 1167 1743 1700

10 7932              1595 1672 1775 1503 1563 1458 1527 1542 1469 1458 1463 1436

10 8931              1436 1436 1439 1108 1305 1444 1461 1483 1621 1496 1666 1526

10 8932              1620 1654 1623 1507 1493 1488 1510 1502 1504 1656 1574 1442

10 9931              1389 1358  902  777  776  776  778 1222 1459 1768 1692 1513

10 9932              1504 1074 1044 1516 1569 1469 1609 1657 1651 1669 1620 1493

1010931              1443 1104 1042  819  780  781 1079  918 1043 1386 1672 1686

1010932              1598 1591 1537 1600 1534 1511 1639 1668 1661 1716 1699 1368

1011931              1230 1269 1445 1307 1443 1448 1562 1784 1764 1794 1855 1787

1011932              1836 1840 1573 1678 1529 1505 1585 1589 1581 1537 1546 1509

1012931              1472 1379 1280 1230 1218 1486 1618 1498 1578 1608 1837 1799

1012932              1821 1822 1597 1522 1698 1792 1657 1786 1830 1813 1629 1534

1013931              1505 1487 1480 1480 1487 1573 1533 1792 1575 1697 1518 1628

1013932              1518 1672 2223 1894 1649 1570 1808 2337 1832 1883 1592 1516

1014931              1466 1446 1420 1271 1379 1437 1479 1494 1688 1806 1518 1500

1014932              1235 1549 1836 1724 2573 1492 1505 1690 1712 2037 1467 1441

1015931              1417 1081 1076 1329 1443 1341 1518 1782 1172 1023 1689 1487

1015932              1485 1513 1495 1483 1458 1440 1596 1481 1461 1454 1480 1201

1016931              1035 1146 1261 1082 1085 1090 1099 1246 1398 1453 1463 1466

1016932              1478 1477 1482 1494 1469 1481 1495 1490 1478 1480 1487 1287

1017931              1196 1441 1246  815  844  915  904 1030 1083 1305 1456 1497

1017932              1498 1497 1493 1468 1740 1119 1469 1466 1438 1140 1148 1437

1018931              1045  796  782  783  794 2110 1029 1453 1509 1500 1526 1497

1018932              1816 1846 1563 1451 1600 1718 1624 1497 1506 1644 1493 1410

1019931              1279 1041 1064 1038 1042 1259 1440 1489 1483 1495 1536 1257

1019932              1103 1105 1599 1478 1499 1515 1656 1663 1572 1597 1584 1507

1020931              1354 1441 1275 1019 1022 1024 1479 1507 1500 1562 1582 1535

1020932              1539 1507 1591 1587 1532 1586 1599 1563 1310 1513 1520 1460

1021931              1213  780  778  878  923 1441 1558 1615 1545 1531 1559 1756

1021932              1704 1853 1515 1500 1637 1837 1776 1685 1552 1605 1572 1475

1022931              1195 1075 1101 1036 1150 1062 1142 1535 1482 1486 1623 1554

1022932              1514 1500 1531 1560 1791 1819 1857 1633 1621 1629 1561 1594

1023931              1546 1464 1446 1440 1443 1461 1480 1473 1525 1486 1337 1481

1023932              1496 1500 1501 1567 1558 1606 1654 1629 1595 1574 1566 1467

1024931              1455 1448 1446 1446 1444 1443 1198 1091 1457 1640 1532 1506

1024932              1511 1637 1664 1640 1522 1577 1588 1850 1741 1736 1698 1705

1025931              1508 1573 1442 1440 2984 1827 1714 1530 1522 1666 1779 1836

1025932              1835 1836 1805 1622 1548 1515 1699 1629 1624 1601 1665 1635

1026931              1459 1447 1447 1446 1449 1492 1750 1733 1836 1625 1517 1515

1026932              1620 1659 1584 1589 1849 1618 1606 1632 1669 1724 1475 1412

1027931              1444 1445 1445 1441 1440 1442 1544 1488 1528 1468 1482 1485

1027932              1494 1491 1533 1518 1515 1538 1641 1550 1652 1651 1512 1445

1028931              1442 1443 1442 1443 1421 1035 1054 1033 1339 1476 1533 1588

1028932              1634 1589 1557 1518 1538 1590 1837 2025 1580 1544 1505 1482

1029931              1447 1446 1094 1030 1164 1349 1646 1513 1421 1493 1552 1589

1029932              1611 1634 1636 1600 1577 1504 2085 1923 1525 1491 1572 1454

1030931              1456 1458 1475 1495 1517 1479 1506 1630 1748 1808 1602 1536

1030932              1505 1494 1490 1486 1487 1525 1659 1664 1609 1634 1602 1558

1031931              1640 1492 1471 1487 1430 1305 1432 1504 1590 1609 1612 1658

1031932              1664 1660 1571 1564 1615 1574 1611 1548 1645 1654 1620 1630

11 1931              1580 1602 1557 1591 1622 1597 1774 1771 1834 1745 1807 1732

11 1932              1614 1542 1527 1525 1462 1570 1828 1825 1825 1564 1604 1608

11 2931              1518 1547 1586 1498 1501 1528 1702 1725 1721 1631 1999 1979

11 2932              1506 1630 1683 1531 1725 1524 1871 2087 1553 1681 1592 1666

11 3931              1681 1670 1580 1515 1634 1706 1740 1736 1740 1740 1736 1676

11 3932              1700 1737 1733 2850 1543 1530 1838 2180 2741 1505 1507 1680

11 4931              1684 1670 1672 1675 1670 1668 1906 1563 1570 1648 1659 1659

11 4932              1659 1659 1657 1659 1656 1655 1659 1654 1542 1545 1550 1495

11 5931              1592 1609 1644 1639 1617 1544 1635 1660 1624 1609 1649 1780

11 5932              1730 1561 1575 1588 1546 1575 1753 1837 1968 1754 1536 1560

11 6931              1609 1593 1589 1500 1499 1498 1493 1503 1504 1509 1508 1498

11 6932              1491 1484 1493 1497 1494 1507 1510 2039 1764 1495 1500 1551

11 7931              1523 1488 1484 1484 1497 1495 1496 1514 1586 1640 1628 1628

11 7932              1624 1578 1529 1512 1427 1504 1628 1544 1590 1649 1644 1478

11 8931              1451 1402 1447 1471 1496 1555 1709 1872 1618 1563 1563 1545

11 8932              1596 1735 1816 1834 1732 1788 1817 1836 1687 1608 1500 1552

11 9931              1477 1462 1469 1467 1494 1491 1569 1651 1524 1561 1527 1545

11 9932              1559 1610 1569 1587 1809 1712 1747 1769 1567 1634 1536 1436

1110931              1413 1458 1456 1402 1482 1524 1605 1700 1700 1850 1831 1830

1110932              1814 1637 1657 1650 1613 1542 1602 1517 1630 2569 1600 1531

1111931              1528 1496 1478 1337 1543 1507 1482 1581 1806 1837 1802 1834

1111932              1750 1495 1515 1433 1519 1607 1618 1537 1556 1605 1599 1494

1112931              1449 1103 1039 1039 1441 1526 2392 1703 1505 1606 1656 1653

1112932              1577 1612 1603 1587 1587 1661 1874 1733 1649 1664 1685 1694

1113931              1689 1503 1521 1828 1827 1524 1468 1484 1504 1757 1490 1490

1113932              1510 1488 1505 1489 1606 1789 2352 1594 1634 1636 1795 1565

1114931              1536 1646 1657 1675 1678 1676 1673 1672 1748 1747 1497 1502

1114932              1496 1499 1496 1486 1536 1755 1808 1704 1651 1580 1581 1620

1115931              1704 1526 1498 1648 1672 1673 1741 1883 1489 1500 1494 1493

1115932              1492 1480 1482 1500 1503 1685 1749 1672 1694 1531 1481 1230

1116931              1673 1594 2511 3019 2536  851 1144 1484 1074 1717 1416 1497

1116932              1482 1485 1205 1540 1557 1532 1648 1618 1414 1048 1718 1499

1117931              1564 2643 3019 2382 1607 1505 1502 1494 1530 1751 2006 1554

1117932              1564 1490 1562 1637 1639 1365 1652 1565 1578 1674 1646 1564

1118931              1502 1567 1650 1658 1698 1595 1672 1632 1533 1484 1503 1508

1118932              1505 1533 1501 1496 1557 1669 1686 2274 1640 1647 1603 1581

1119931              1650 1671 1657 1653 1729 1753 1697 2772 1502 1487 1504 1492

1119932              1486 1653 1715 1715 1715 1715 1591 1536 1541 1609 1629 1578

1120931              1578 1603 1634 1670 1673 1674 1785 1533 1574 1534 1618 2113

1120932              1586 1580 1580 1529 1507 1619 1724 1880 1505 1506 1503 1730

1121931              1620 1609 1581 1668 1584 1506 1493 1489 1393 1380 1706 1835

1121932              1578 1718 1828 1835 1823 1578 2003 2175 1623 1652 1656 1654

1122931              1654 1036 1036 1038 1036 1049 1235 1785 1640 1833 1836 1833

1122932              1770 1325 1584 1622 1580 1536 1565 1589 1642 1658 1702 1679

1123931              1533 1496 1490 1484 1483 1486 1559 1600 1751 1758 1831 1825

1123932              1825 1825 1486 1417 1657 1812 1793 1785 1911 1599 1528 1659

1124931              1636 1606 1715 1514 1519 1601 1835 1804 1831 1832 1834 1832

1124932              1729 1642 1646 1565 1549 1602 2915 2057 1689 1696 1910 1590

1125931              1538 1604 1596 1586 1524 1623 1558 1520 1646 1735 1697 1578

1125932              1504 1496 1559 1509 1500 1506 1734 1639 1654 1654 1654 1567

1126931              1558 1563 1512 1504 1553 1496 1507 1615 1825 1773 1851 1546

1126932              1524 1655 1633 1623 1645 1657 1659 1665 1663 1665 1774 1717

1127931              1811 1664 1673 1672 1618 1663 1656 1639 1657 1645 1691 1701

1127932              1631 1752 1642 1472 1586 1804 1835 1837 1796 1844 1700 1650

1128931              1552 1492 1498 1594 1435 1363 1070 1265 2506 1386 2195 1040

1128932              1038 1045 1041 1039 1267 1745 1809 1697 1498 1503 1538 1512

1129931              1603 1499 1505 1632 1619 1622 1668 1710 1527 1654 1744 1895

1129932              1443 1318 1587 1478 1398 1569 1766 1838 1787 1843 1567 1469

1130931              1487 1566 1544 1578 1517 1464 1626 1811 1392 1549 1556 1768

1130932              1543 1510 1601 1556 1457 1540 1649 1627 1629 1644 1513 1482

12 1931              1488 1532 1520 1548 1583 1524 1644 1806 1750 2190 1787 1590

12 1932              1563 2415 1654  756 1777 1506 1508 1508 1505 1502 1512 1576

12 2931              1496 1499 1511 1536 1448 1510 1591 1556 1510 1234 1206 1196

12 2932              1575 1490 1500 1654 1602 1681 1718 1700 1832 1836 1793 1523

12 3931              1555 1571 1608 1638 1638 1612 1620 2824 1536 1506 1544 1691

12 3932              1732 1537 1512 1589 1569 1600 1797 1750 1655 1657 1661 2006

12 4931              1476 1499 1501 1506 1620 1611 1486 1628 1636 1613 1571 1521

12 4932              1518 1506 1561 1552 1645 1835 1761 1694 1671 1667 2070 1564

12 5931              1557 1523 1506 1509 1536 1629 1633 1580 1638 1591 1513 1533

12 5932              1557 1544 1545 1574 1600 1684 1750 1769 1808 1813 1832 1616

12 6931              1549 1505 1486 1573 1650 1485 1522 2092 1781 1504 1542 1693

12 6932              1823 1827 2076 1572 1699 1837 1836 1596 1658 1834 1801 1782

12 7931              1630 1533 1591 1637 1504 1485 1698 1814 1815 1258 1852 1852

12 7932              2056 1569 1629 1830 1834 1831 1837 1507 1602 1811 1835 1706

12 8931              1536 1589 1598 1598 1954 1521 1592 1797 2517 3019 2955 1600

12 8932              1533 1506 1505 1487 1487 1656 1794 1834 1799 1835 1755 1494

12 9931              1491 1494 1494 1497 1508 1495 1582 1789 1693 1693 1961 1620

12 9932              1397 1004 1435 1319 1401 1522 1788 1588 1601 1748 1335 1447

1210931              1319 1224 1218 1228 1258 1360 1696 1645 1512 1523 1490 1481

1210932              1471 1448 1430 1823 1593 1490 1493 1593 1805 2012 1494 1786

1211931              1828 1313 1519 1835 1771 1512 1443 1408 1520 1449 1453 1554

1211932              1500 1490 1475 1345 1396 1540 1607 1677 1471 1782 1479 1461

1212931              1434 1440 1444 1451 1448 1452 1455 1454 1465 1442 1323 1378

1212932              1331 1218 1078 1039 1179 1467 1655 1663 1664 1829 1492 1456

1213931              1447 1159 1101 1448 1446 1446 1553 1929 1487 1380 1338 1573

1213932              1431 1434 1500 1753 1679 1660 1765 1764 1711 1795 1473 1565

1214931              1447 1392 1332 1338 1386 1465 1802 1760 1764 1765 1766 1760

1214932              1665 1482 1457 1488 1189 1351 1438 1502 1506 1511 1586 1606

1215931              1514 1495 1300 1400 1649 1406 1635 1639 1639 1767 1767 1666

1215932              1550 1560 1580 1587 1621 1686 1552 1608 1655 1653 1499 1488

1216931              1515 1662 1673 1662 1676 1603 1619 1625 1820 1815 1486 1502

1216932              1589 1989 1757 1687 1687 1331 1824 1994 1654 1744 1741 1514

1217931              1508 1583 1725 1547 1496 1488 1550 1719 1663 1744 2449 1631

1217932              1514 1745 1483 1491 1476 1542 1558 1525 1512 1507 1500 1500

1218931              1496 1488 1460 1463 1453 1502 1516 1536 1656 1702 1712 1845

1218932              1856 1818 1500 1500  985 1422 1536 1497 1549 1659 1526 1494

1219931              1508 1469 1497 1493 1495 1497 1482 1549 1634 1613 1560 1516

1219932              1504 1518 1623 1067 1091 1519 1719 1738 1705 1582 1496 1472

1220931              1447 1366 1453 1461 1462 1487 1507 1548 1752 1763 1775 1787

1220932              1582 1508 1319 1199 1407 1581 1775 1815 1603 1611 1637 1461

1221931              1416 1464 1473 1467 1481 1467 1476 1618 1666 1663 1581 1726

1221932              1612 1635 1634 1642 1633 1618 1615 1649 1678 1603 1616 1604

1222931              1589 1420 1409 1412 1433 1506 1600 1621 1596 1512 1589 1503

1222932              1743 1620 1610 1510 1727 1507 1825 1826 1823 1822 1860 1615

1223931              1553 1577 1662 1669 1595 1518 1600 1832 1804 1807 1749 1778

1223932              1732 1648 1578 1529 1732 1780 1721 1803 1756 1769 1855 1558

1224931              1626 1492 1445 1229 1256 1468 1599 1622 1661 1568 1527 1500

1224932              1474 1346 1032 1035 1060 1233 1469 1483 1543 1694 1693 1606

1225931              1609 1608 1489 1244 1405 1455 1483 1506 1621 1481 1414 1352

1225932              1438 1437 1154  929 1069 1196 1094 1103 1115 1332 1037 1309

1226931              1403 1436  808  786  798 1022 1044 1404 1484 1499 1495 1510

1226932              1538 1582 1627 1565 1483 1597 1699 1552 1614 2037 1665 1452

1227931              1044  942  780 1677 1026 1032 1255 1426 1463 1563 1608 1586

1227932              1521 1496 1501 1490 1497 1591 1665 1573 1503 1502 1522 1450

1228931              1443 1443 1444 1443 1443 1351 1400 1347 1559 1560 1560 1560

1228932              2719 1423 1536 1536 1498 1555 1658 1741 1629 1623 1459 1446

1229931              1446 1446 1446 1446 1446 1446 1408 1555 1670 1669 1663 2012

1229932              1933 1601 1634 1606 1504 1489 1544 1523 1654 1794 1503 1448

1230931              1443 1442 1442 1442 1440 1440 1116 1468  783  783 1518 2796

1230932              1516 1505 1491 1505 1501 1557 1765 1763 1762 1811 1478 1286

1231931               862  789  782  784  779  953 1090 1467 1487 1502 1496 1489

1231932              1497 1496 1462 1406 1429 1403 1475 1470 1470 1445 1439 1256