This is the documentation file for gmp94hrs.dat

FERC form 714 (1994) page 9 part (2)

The planning area's actual hourly demand, in mw for each hour of the

year starting with 1 a.m. January 1994.

gmp94hrs.dat contains the just raw ascii data, appropriate headings

are included below.

Green Mountain Power Corp. System Hourly Loads

Eastern Standard Time

Daylight Savings 4/3/94 hr 2 - 10/30/94 hr 2

(no 4/3/94 hr 2 exists, 10/30/94 has an hr 2a and a 2b)

mw        yr  mo day  hr ending

233.5000  94   1   1   1

219.8000  94   1   1   2

212.6000  94   1   1   3

204.8000  94   1   1   4

203.7000  94   1   1   5

######