Each day's history is contained on two (2) card images.

I)	Card 1

Columns	Data

1-2		Month

3-4		Day

5-6		Year

7		"1" (Data set identifier)

8-15		"17201195" (Utility identifier)

16 		Day of the week:

1 = MONDAY

2 = TUESDAY

3 = WEDNESDAY

4 = THURSDAY

5 = FRIDAY

6 = SATURDAY

7 = SUNDAY

8 = HOLIDAY

17		"1"  (Time zone reference -- E.S.T.)

18		"H"  if hexadecimal data (if blank, decimal data).

19		Number of decimal places (if blank, zero decimal places)

21 -80 		Data for hours 1 through 12 (5 Col./Hour)

II)	Card 2

Columns	Data

1-2		Month

3-4		Day

5-6		Year

7		"2" (Data set identifier)

8 -10		 "172" (UTILITY GROUP)

12 -13 		Data Type

6 = System Load MWH

8 = System Temperature

24 =  System Lambda(2 decimal places assumed)

27 =  Generator MWH

28 =  Station Service MWH

14 -15		Data Type Location (if applicable)

For System Temperatures:

1 = BARREN COUNTY

2 = NELSON COUNTY

3 = WINCHESTER

4 = TYNER

5 = STANLEY PARKER

6 = SOMERSET

7 = LEON

For Generators:

1 = SPURLOCK 1

2 = SPURLOCK 2

3 = COOPER 1

4 = COOPER 2

5 = DALE 1

6 = DALE 2

7 = DALE 3

8 = DALE 4

9 = LAUREL DAM

10 = JK SMITH CT 1

11 = JK SMITH CT 2

12 = JK SMITH CT 3

13 = GREENUP HYDRO

For Station Service:

1 = SPURLOCK 1

2 = SPURLOCK T9

3 = COOPER

4 = DALE

5 = LAUREL DAM

21 -80  	Data for Hours 13 through 24 (5 Col./Hour)