This is the documentation file for gmp96hrs.dat

FERC form 714 (1996) page 9 part (2)

The planning area's actual hourly demand, in mw for each hour of the

year starting with 1 a.m. January 1996.

gmp96hrs.dat contains the just raw ascii data, appropriate headings

are included below.

Green Mountain Power Corp. System Hourly Loads

Eastern Standard Time

Daylight Savings 4/7/96 hr 2 - 10/27/96 hr 2

(no 4/7/96 hr 2 exists, 10/27/96 has an hr 2a and a 2b)

mw      yr      mo     day   hr ending

218	96	1	1	1

208	96	1	1	2

201	96	1	1	3

197	96	1	1	4

198	96	1	1	5

202	96	1	1	6

211	96	1	1	7

220	96	1	1	8

241	96	1	1	9

259	96	1	1	10