| Federal Energy Regulatory Commission Annual Electric Control and Planning Area Report FERC Form No. 714 (1997) For the Year Ending December 31, 1997 |  |  |  |  |  |  |  |  |  |  |  |  |  | Utility Code: 4110 Utility Name: Commonwealth Edison Co. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 instructions on pages 11 and 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Control Area Net Generation (MWh) (c) | Net Actual Interchange (MWh) (d) | Net Energy for Load (MWh) (c+d) (e) | Output of Generating Plants (MW) (f) | Unit or Firm Purchases (MW) (g) | Unit or Firn Sales (MW) (h) | Net Non-Firm & Inadvertent (MW) (i) |  | Monthly Peak Demand (MW) (f+g-h+i) * (j) | Monthly Minimum Demand (MW) * (k) |  |
| 1. | January | 8,444,758 | -355,179 | 8,089,579 | 13,507 | 0 | 171 | 554 |  | 13,890 | 7,140 |  |
| 2. | February | 7,273,031 | -353,990 | 6,919,041 | 12,440 | 450 | 171 | -227 |  | 12,492 | 7,469 |  |
| 3. | March | 6,601,636 | 552,865 | 7,154,501 | 10,218 | 500 | 146 | 1590 |  | 12,162 | 6,688 |  |
| 4. | April | 5,476,419 | 1,178,307 | 6,654,726 | 9,351 | 450 | 171 | 2,179 |  | 11,809 | 6,395 |  |
| 5. | May | 5,713,331 | 918,234 | 6,631,565 | 8,083 | 75 | 121 | 3,094 |  | 11,131 | 6,123 |  |
| 6. | June | 7,571,249 | 90,623 | 7,661,872 | 13,967 | 1,485 | 194 | 2,711 |  | 17,969 | 6,197 |  |
| 7. | July | 9,016,035 | -301,537 | 8,714,498 | 16,202 | 1,890 | 99 | 504 |  | 18,497 | 6,273 |  |
| 8. | August | 8,030,674 | -214,504 | 7,816,170 | 13,274 | 500 | 26 | 1,576 |  | 15,324 | 6,860 |  |
| 9. | September | 7,563,332 | -519,108 | 7,044,224 | 13,600 | 50 | 96 | 941 |  | 14,495 | 6,517 |  |
| 10. | October | 6,804,987 | 394,661 | 7,199,648 | 11,924 | 500 | 21 | 1,353 |  | 13,756 | 6,492 |  |
| 11. | November | 6,513,313 | 484,807 | 6,998,120 | 10,747 | 0 | 71 | 1,922 |  | 12,598 | 6,449 |  |
| 12. | December | 6,851,760 | 704,781 | 7,556,541 | 11,096 | 0 | 96 | 2,153 |  | 13,153 | 7,078 |  |
| 13. | Total | 85,860,525 | * 2,579,960 | 88,440,485 |  |  |  |  |  |  |  |  |  |  |  |  |

Page 4