| Federal Energy Regulatory Commission Annual Electric Control and Planning Area Report FERC Form No. 714 (1997) For the Year Ending December 31, 1997 |  |  |  |  |  |  |  |  | Utility Code: 4110 Utility Name: Commonwealth Edison Co. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 instructions on page 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  |  |  |  |  |  | Scheduled Interchange Between Control Areas (MWh) |  |  |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |  |  |
| (a) | (b) |  |  |  |  |  |  | Received (c) |  | Delivered (d) |  | Received (e) |  | Delivered (f) |  |
| 1. | American Electric Power System |  |  |  |  |  |  | * 8,828,562 |  | * 6,615,230 |  | * 5,436,946 |  | * 1,367,013 |  |
| 2. | Central Illinois Light |  |  |  |  |  |  | 491,579 |  | 129,428 |  | 874,120 |  | 556,940 |  |
| 3. | Central Illinois Public Service |  |  |  |  |  |  | * 1,766,159 |  | * 177,935 |  | 2,829,946 |  | 498,996 |  |
| 4. | Illinois Power |  |  |  |  |  |  | * 1,064,582 |  | *1,364,689 |  | 675,838 |  | 3,707,191 |  |
| 5. | Interstate Power |  |  |  |  |  |  | 9,663 |  | 34,239 |  | 354,482 |  | 1,887,839 |  |
| 6. | MidAmerican Energy Co. |  |  |  |  |  |  | 698,983 |  | 1,755,336 |  | 1,696,570 |  | 745,260 |  |
| 7. | Northern Indiana Public Service |  |  |  |  |  |  | * 1,864,125 |  | * 718,253 |  | * 3,475,800 |  | * 1,410,276 |  |
| 8. | Wisconsin Electric Power |  |  |  |  |  |  | * 77,444 |  | * 3,005,942 |  | * 2,335,043 |  | * 1,933,006 |  |
| 9. | Wisconsin Power & Light |  |  |  |  |  |  | 427,125 |  | 883,761 |  | 38 |  | 5,028,531 |  |
| 10. | TOTAL |  |  |  |  |  |  | * 15,228,222 |  | * 14,864,813 |  | * 17,678,783 |  | * 17,135,052 |  |

Page 6

| Federal Energy Regulatory Commission Annual Electric Control and Planning Area Report FERC Form No. 714 (1997) For the Year Ending December 31, 1997 |  |  |  |  |  |  |  |  | Utility Code: 4110 Utility Name: Commonwealth Edison Co. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Scedule 3. Any difference must be explained in a note. See Schedule 5 instructions on page 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  |  |  |  |  |  | Scheduled Interchange Between Control Areas (MWh) |  |  |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |  |  |
| (a) | (b) |  |  |  |  |  |  | Received (c) |  | Delivered (d) |  | Received (e) |  | Delivered (f) |  |
| 1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | TOTAL |  |  |  |  |  |  | 7,180,902 |  | 13,624,748 |  | 11,890,622 |  | 18,158,168 |  |

Page 6a