Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

FERC FORM NO. 714

Form Approved

OMB Numbers: 1902 - 0140

(Expires: 2-28-2000)

This report is mandatory under the Federal Power Act, and is a regulatory support requirement as provided by 18 C.F.R. '141.51.  Failure to comply may result in criminal fines, civil penalties and other sanctions as provided by law.  Information reported on the FERC Form No. 714 is not considered confidential.  Questions concerning this report will be answered by:  Ms. Meesha M. Bond (202) 208-1414 or meesha.bond@ferc.fed.us.

This form consists of: Part I, Identification and Certification; Part II, comprising Schedules 1 through 6; Part III, comprising Schedules 1 and 2; and Part IV, Notes.  All respondents are to complete Parts I and IV.  Part II is to be completed by each electric utility or group of electric utilities which operates a control area.  Part III is to be completed by each electric utility or group of electric utilities which constitute a planning area and has an annual peak demand that is greater than 200 MW.  An electric utility is a corporation, person, agency, authority, or other legal entity or instrumentality that owns and/or operates facilities within the United States for the generation, transmission, distribution, or sale of electric energy primarily for use by the public.

Public reporting burden for this collection of information is estimated to average 50 hours per response, including time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.  Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to Federal Energy Regulatory Commission, Information Services Division, ED-12.4, 888 First Street, N.E., Washington, D.C. 20426; and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, D.C. 20503. You shall not be penalized for failure to respond to this collection of information unless the collection of information displays a valid OMB control number.

List of Schedules

Part I:	Identification and Certification

Part II:	Control Area Information

Schedule 1:	Generating Plants Included in Reporting Control Area

Schedule 2:	Control Area Monthly Capabilities at Time of Monthly Peak Demand

Schedule 3:	Control Area Net Energy for Load and Peak Demand Sources by Month

Schedule 4:	Adjacent Control Area Interconnections

Schedule 5:	Control Area Scheduled and Actual Interchange

Schedule 6:	Control Area Hourly System Lambda

Part III:	Planning Area Information

Schedule 1:	Electric Utilities that Compose the Planning Area

Schedule 2:	Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy For Load

Part IV:	Notes

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Part I - Schedule I. Identification and Certification

1.	Respondent Identification:

Code: 3280		Name:  Central Power & Light company

West Texas Utilities Company

2.	Respondent Type: (Please check appropriate box and fill in name)

[    X   ]	Part I:	Control Area (Complete Parts I, II and IV)

Control Area Name: Central and South West ERCOT

[   X    ]	Part II:	Planning Area (Complete Parts I, III and IV)

Planning Area Name: Central Power & Light Company

West Texas Utilities Company

3.	Respondent Mailing Address:

Central and South  West Services, Inc.

For Central Power & Light Company and

West Texas Utilities Company

P.O. Box 660164

Dallas, Texas   75266-0164

4.	Contact Person:

Name:  Paul Dougherty

Title:   Energy Services Engineer/Consultant

Telephone #:	(214) 777-1409

5.	Certifying Official:

Name:  Gary Miller

Title:    Supervisor of Energy Services

Signature: ________________        Date: _______

Return Completed Form to:	Office of Electric Power Regulation

Federal Energy Regulatory Commission

Room 53-09,  ER-16.2

888 First St., N.E.

Washington, D.C.   20426

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code    3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 1.  Generating Plants Included in Reporting Control Area

(Use continuation sheets if needed)

Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area.  Specifically identify dynamically scheduled plants.  Report only plant totals with generators in an operating or standby status.  Provide totals for columns (d) and (e) as a last line.  The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand.  The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand.  Any differences must be explained in a note.  For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15.

Line No.

(a)

Electric Utility Name

(b)

Plant Name

(c)

Plant Available Capability at the Hour of the

Annual Peak Demand Based on Net Energy for Load (MW)

(d)

Integrated Net Load on the Plant at the Hour of the

Annual Peak Demand Based on Net Energy for Load (MW)

(e)

1.

Central Power & Light Company

Bates, J.L.

182

170

2.

Central Power & Light Company

Coleto Creek

632

570

3.

Central Power & Light Company

Davis, B.M.

697

688

4.

Central Power & Light Company

Eagle Pass

6

5

5.

Central Power & Light Company

Hill, L..C.

528

520

6.

Central Power & Light Company

Joslin, E.S..

249

240

7.

Central Power & Light Company

La Palma

243

206

8.

Central Power & Light Company

Laredo

176

170

9.

Central Power & Light Company

Nueces Bay

559

545

10.

Central Power & Light Company

South Texas Project  *

630

618

11.

Central Power & Light Company

Victoria

422

417

12.

West Texas Utilities Company

Abilene

7

0

13.

West Texas Utilities Company

Fort Phantom

362

279

14.

West Texas Utilities Company

Fort Stockton

5

0

CONTINUED

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code    3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 1.  Generating Plants Included in Reporting Control Area

(Use continuation sheets if needed)

Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area.  Specifically identify dynamically scheduled plants.  Report only plant totals with generators in an operating or standby status.  Provide totals for columns (d) and (e) as a last line.  The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand.  The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand.  Any differences must be explained in a note.  For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15.

Line No.

(a)

Electric Utility Name

(b)

Plant Name

(c)

Plant Available Capability at the Hour of the

Annual Peak Demand Based on Net Energy for Load (MW)

(d)

Integrated Net Load on the Plant at the Hour of the

Annual Peak Demand Based on Net Energy for Load (MW)

(e)

1.

West Texas Utilities Company

Lake Pauline

45

0

2.

West Texas Utilities Company

Oak Creek

85

79

3.

West Texas Utilities Company

Oklaunion *

676

665

4.

West Texas Utilities Company

Paint Creek

66

58

5.

West Texas Utilities Company

Presidio

2

0

6.

West Texas Utilities Company

Rio Pecos

98

87

7.

West Texas Utilities Company

San Angelo

125

118

8.

West Texas Utilities Company

Vernon

9

0

9.

10.

11.

12.

13.

14.

TOTAL

5804

5436

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code 3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 2.  Control Area Monthly Capabilities at Time of Monthly Peak Demand

The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18.  Please first read the instructions, then complete this Schedule.  The value in column (c)  for the month of the annual peak demand should equal the total in column (d) in Schedule 1.  Any difference must be explained in a note.

Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL)

Net Capability from Plants Reported on Schedule II

External to the Control Area

Net Unit or Firm Capability

(MW)

Unavailable Capability Due to:

Line No.

(a)

Month

(b)

Available

Capability

(MW)

(c)

Planned

Outage and Derating

(MW)

(d)

Unplanned

Outage and Derating

(MW)

(e)

Other

Outage and Derating*

(MW)

(f)

Total

(c + d + e + f)

(MW)

(g)

Available

(MW)

(h)

Not Available

(MW)

(i)

Total Capability

(g + h + i)

(MW)

(j)

1.

Jan

5841

0

133

0

5974

-69 *

0

5905

2.

Feb

5389

327

258

0

5974

-69 *

0

5905

3.

Mar

5249

426

299

0

5974

-69 *

0

5905

4.

Apr

5054

705

255

0

6014

-69 *

0

5905

5.

May

5139

623

252

0

6014

-69 *

0

5905

6.

Jun

5885

0

129

0

6014

80*

0

5985

7.

Jul

5587

0

427

0

6014

80 *

0

5985

8.

Aug

5804

0

210

0

6014

80*

0

5985

9.

Sep

5341

325

348

0

6014

80*

0

5985

10.

Oct

5379

347

288

0

6014

-69 *

0

5905

11.

Nov

5121

353

540

0

6014

-69 *

0

5905

12.

Dec

5505

353

156

0

6014

-69 *

0

5905

* Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc.

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code  3280

Utility Name: Central Power & Light Co. and  West Texas Utilities Company

Part II - Schedule 3.  Control Area Net Energy for Load and Peak Demand Sources by Month

Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses.  The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5.  The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1.  Any differences must be explained in a note.  For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20.

Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on  Net Energy For Load (NEL)

Line

No.

(a)

Month

(b)

Control Area

Net Generation

(MWh)

(c)

Net Actual

Interchange

(MWh)

(d)

Net Energy for Load

(MWh)

(c + d)

(e)

Output of Generating Plants

(MW)

(f)

Unit or Firm Purchases

(MW)

(g)

Unit or Firm Sales

(MW)

(h)

Net Non-Firm & Inadvertent

(MW)

(i)

Monthly

Peak Demand

(MW)

(f+g-h+i)

(j)

Monthly Minimum Demand (MW)

(k)

1.

January

1861425

633516  *

2494941

4119

175

111

1100

5283

2230

2.

February

1589917

465459  *

2055376

3301

200

160

544

3885

2273

3.

March

1607863

563870  *

2171733

2586

400

144

813

3655

2240

4.

April

1629529

484684  *

2114213

3262

500

133

545

4174

2205

5.

May

1980047

521130  *

2501177

3559

350

159

1018

4768

2274

6.

June

2348844

433463  *

2782307

4818

137

203

345

5097

2625

7.

July

2033638

531593  *

3165231

4665

285

128

677

5499

2945

8.

August

2606378

588587  *

3194965

4860

248

135

462

5635

3082

9.

September

2314696

48393  *

2863089

4570

395

159

608

5414

2565

10.

October

1994792

481732  *

2476524

4461

215

138

398

4936

3089

11.

November

1688378

505718  *

2184096

3357

65

113

627

3936

2296

12.

December

1814414

588293  *

2402707

3652

215

155

778

4490

2462

13.

Total

24069921

6346438

30416359

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code  3280

Utility Name: Central Power  & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Central  and South  West Services  (South West  Power Pool)

North HVDC Tie (Oklaunion HVDC)

345

2.

Central and  South  West  Services (South West  Power  Pool)

East  HVDC Tie (Welsh  HVDC)

345

3.

City Public Service Board of San Antonio

Kenedy

138

4.

City Public Service Board of San Antonio

LCH-Spruce

345

5.

City Public Service Board of San Antonio

Leon Creek

138

6.

Houston Lighting and Power

Lane City

138

7.

Houston Lighting and Power

STP 138

138

8.

Houston Lighting and Power

STP Blessing

345

9.

Houston Lighting and Power

STP Lon  Hill

345

10.

Lower Colorado River Authority

Cuero

138

11.

Lower Colorado River Authority

FRDN-PITB-1A

69

12.

Lower Colorado River Authority

GILE-MENA-1B

69

13.

Lower Colorado River Authority

GILE-MASN-1C

69

14.

Lower Colorado River Authority

Glidden

69

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Lower Colorado River Authority

Luling

69

2.

Lower Colorado River Authority

Nixon

69

3.

Public Utilities Board of Brownsville, Texas

Brownsville Switch

69

4.

Public  Utilities Board of Brownsville, Texas

Loma Alto 1

138

5.

Public Utilities Board of Brownsville, Texas

Loma Alto 2

138

6.

Public Utilities Board of Brownsville, Texas

Military Hiway

138

7.

South Texas Electric Cooperative/Medina

Batesville-Pearsall

138

8.

South Texas Electric Cooperative/Medina

Batesville 69

69

9.

South Texas Electric Cooperative/Medina

Calallen

69

10.

South Texas Electric Cooperative/Medina

Danevang

138

11.

South Texas Electric Cooperative/Medina

Dilley 69

69

12.

South Texas Electric Cooperative/Medina

Dilley-San Miguel

138

13.

South Texas Electric Cooperative/Medina

Loyola

138

14.

South Texas Electric Cooperative/Medina

Moore-Hondo Creek

138

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

South Texas Electric Cooperative/Medina

Moore-Pearsall

138

2.

South Texas Electric Cooperative/Medina

Orange Grove

138

3.

South Texas Electric Cooperative/Medina

Port Lavaca

69

4.

South Texas Electric Cooperative/medina

Rayburn

138

5.

South Texas Electric Cooperative/Medina

Sigmore

138

6.

South Texas Electric Cooperative/Medina

Sigmore 1

138

7.

Texas Utilities Electric Company

ABMB-GRHM-1A (Mulberry – Graham)

345

8.

Texas Utilities Electric Company

ABMB-MGCK-1A (Mulbery – Morgan Creek)

345

9.

Texas Utilities Electric Company

ABNW--ESKT_1I (Northwest Abilene – Eskota)

69

10.

Texas Utilities Electric Company

ABSO-ESKT-1A (South Abilene – Eskota)

138

11.

Texas Utilities Electric Company

BANG-SANA-1A (BANGS – Santa Anna)

69

12.

Texas Utilities Electric Company

BARL-PERM-1A (Barrilla – Permian Basin)

138

13.

Texas Utilities Electric Company

CHGV-PAIP-1A (China Grove – Paint Creek)

138

14.

Texas Utilities Electric Company

CHCV-RADM-1A (China Grove – Radium)

138

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Texas Utilities Electric Company

CHLK-STER-1D (Chalk – Sterling City)

69

2.

Texas Utilities Electric Company

CRAN-CRTU-1A (WTU Crane – TU Crane)

138

3.

Texas Utilities Electric Company

CRAN-CRTU-2A (WTU Crane – TU Crane)

69

4.

Texas Utilities Electric Company

ELEC-VERN-1G (Electra – Vernon)

69

5.

Texas Utilities Electric Company

ESKT-ROBY-1A (Eskota – Roby)

69

6.

Texas Utilities Electric Company

FISH-OKLA-1A (Fisher – Oklaunion)

345

7.

Texas Utilities Electric Company

GRHM-PAIP-1A (Graham – Paint Creek)

138

8.

Texas Utilities Electric Company

LEON-PUTN-1B (Leon – Putnam)

69

9.

Texas Utilities Electric Company

LEON-PUTT-2A (Leon – Putnam Tap)

69

10.

Texas Utilities Electric Company

MUND-SEYM-1A (Munday – Seymour)

69

11.

Texas Utilities Electric Company

SPUR-SUNS-1B (Spur – Sun)

138

12.

Texas Utilities Electric Company

Alto

69

13.

Texas Utilities Electric Company

Bascom

12.5

14.

Texas Utilities Electric Company

Bayou Loco 1

138

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Texas Utilities Electric Company

Bayou Loco 2

12.5

2.

Texas Utilities Electric Company

Berea

12.5

3.

Texas Utilities Electric Company

Carey Lake

69

4.

Texas Utilities Electric Company

Crockett

24.9

5.

Texas Utilities Electric Company

Cushing

12.5

6.

Texas Utilities Electric Company

Dialville 1

12.5

7.

Texas Utilities Electric Company

Dialville 2

12.5

8.

Texas Utilities Electric Company

Dibol

12.5

9.

Texas Utilities Electric Company

Elk Hart

12.5

10.

Texas Utilities Electric Company

Grapeland

12.5

11.

Texas Utilities Electric Company

Huntington

12.5

12.

Texas Utilities Electric Company

Kennard

12.5

13.

Texas Utilities Electric Company

Latexo

12.5

14.

Texas Utilities Electric Company

Latexo West

12.5

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Texas Utilities Electric Company

Lufkin

12.5

2.

Texas Utilities Electric Company

North Centerville

12.5

3.

Texas Utilities Electric Company

North Summerfield

12.5

4.

Texas Utilities Electric Company

Oakridge

12.5

5.

Texas Utilities Electric Company

Oakwood

12.5

6.

Texas Utilities Electric Company

Ownenown

12.5

7.

Texas Utilities Electric Company

Pleasant Springs

138

8.

Texas Utilities Electric Company

South East Cushing

138

9.

Texas Utilities Electric Company

Shawnee Road

12.5

10.

Texas Utilities Electric Company

Slocum

12.5

11.

Texas Utilities Electric Company

Swinney Town

138

12.

Texas Utilities Electric Company

Teaselville

24.9

13.

Texas Utilities Electric Company

Troup

69

14.

Texas Utilities Electric Company

Zavilla

24.9

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name:  Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 4.  Adjacent Control Area Interconnections

Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d).  See Schedule 4 Instructions on pages 20  and 21.

Line

No.

(a)

Name of Adjacent Control Area

(b)

Control Area Interconnection

Line or Bus Names

(c)

Line or Bus Voltage

(kV)

(d)

1.

Texas Utilities Electric Company

Denison Dam Tie

138

2.

TMPP

Lake Weatherford

69

3.

TMPP

Live Oak 1

69

4.

TMPP

Live Oak 2

69

5.

TMPP

North Weatherford

138

6.

TMPP

North Weatherford  2

138

7.

8.

9.

10.

11.

12.

13.

14.

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code    3280

Utility Name:  Central Power & Light Co. and West Texas Utilities Co.

Part II – Schedule 5.

Control Area Scheduled and Actual Interchange

Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c);  the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f).  Provide totals for columns (c), (d), (e) and (f).  The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3.  Any difference must be explained in a note.  See Schedule 5 Instructions on pages 22 and 23.

Line

No.

Name of Control Area

Scheduled Interchange

Between Control Areas

(MWh)

Actual Interchange Between Adjacent Control Areas

(MWh)

(a)

(b)

Received

(c)

Delivered

(d)

Received

(e)

Delivered

(f)

1.

City of Austin Texas (non-adjacent)

74768

28210

--

--

2.

City Public Service Board of San Antonio

0

0

1483065

69457

3.

Central and South West  Services SPP (CSWSPP)

2122828

416503

2122828

416503

4.

Houston Lighting and Power Company

401835

305391

5374367

671400

5.

Lower Colorado River Authority

258253

100183

428502

361552

6.

Public Utilities Board of Brownsviile, Texas

8925

87630

7

599235

7.

South Texas Electric Cooperative/Medina

35954

101327

1814761

1257176

8.

Texas Municipal Power Pool

23805

521878

237535

0

9.

10.

Continued Next page

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code    3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II – Schedule 5.

Control Area Scheduled and Actual Interchange

Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c);  the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f).  Provide totals for columns (c), (d), (e) and (f).  The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3.  Any difference must be explained in a note.  See Schedule 5 Instructions on pages 22 and 23.

Line

No.

Name of Control Area

Scheduled Interchange

Between Control Areas

(MWh)

Actual Interchange Between Adjacent Control Areas

(MWh)

(a)

(b)

Received

(c)

Delivered

(d)

Received

(e)

Delivered

(f)

1.

Texas-New Mexico Power Company (non-adjacent)

78260

47026

--

--

2.

Texas Utilities Electric Company

150260

1026850

2964030

5527901

3.

4.

5.

6.

7.

8.

9.

10.

Totals

3154888

2634998

14425095

8903224

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Control Area and Electric System Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power & Light Co. and West Texas Utilities Co.

Part II - Schedule 6.  Control Area System Lambda Data

Submit on a 3.5 inch diskette formatted for the DOS operating system the following data file in ASCII format:  the control area's system lambda for each hour of the year starting with 1 a.m., January 1, 1997.  Identify clearly the time zone in which this time series is made.  The file should have 8760 records (8784 for leap years).  Each record is to contain the system lambda value at the clock hour in dollars per megawatthour (mills per kilowatthour) or an "NA" for those hours when system lambda was not calculated.

Control Area Hourly System Lambda.  For control areas where demand following is primarily performed by thermal generating units, the system lambda is derived from the economic dispatch function associated with automatic generation control performed at the controlling utility or pool control center.  Excluding transmission losses, the fuel cost ($/hr) for a set of on-line and loaded thermal generating units (steam and gas turbines) is minimum  when each unit is loaded and operating at the same incremental fuel cost ($/MWh)  with the sum of the unit loadings (MW) equal to the system demand plus the net of interchange with other control areas.  This single incremental cost of energy is the system lambda.  System lambdas are likely recalculated many times in one clock hour.  However, the indicated system lambda occurring on each clock hour would be sufficient for reporting purposes.

Provide, as a note in Part IV, an explanation describing the reason for the unavailability of system lambda information and a definite plan for reporting the information with a target date.  The Commission expects that all Energy Management Systems, with proper instructions, can record the system lambda being used for economic dispatch of the control area's thermal units.

Respondents should be able to report system lambda, along with the other information reported on a control area basis, that describe the operation of such areas from information that should be readily available.  The Commission is not requesting Respondents to develop incremental or marginal cost (either short or long term) according to any formula.  Nor is the Commission requesting "avoided cost rates" that, pursuant to PURPA 210, electric utilities file with state commissions or otherwise make available for prospective qualified facilities.

Description of Economic Dispatch.  Also, provide in writing a detailed description of how Respondent calculates system lambda.  For those systems that do not use an economic dispatch algorithm and do not have a system lambda, provide in writing a detailed description of how control area resources are efficiently dispatched.

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name: Central Power and Light Co. and West Texas Utilities Co.

Part III - Schedule 1.  Electric Utilities That Compose the Planning Area

(Use continuation sheets if needed)

Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts.  Please refer to Instructions on pages 23 and 24 .

Electric Utility Coincident Peak Demand

(MW)

Line

No.

(a)

Electric Utility Name

(b)

Summer

(c)

Winter

(d)

1.

Central Power and Light Company

4232

4053

2.

West Texas Utilities Company

1481

1253

3.

4.

5.

6.

7.

8.

9.

10.

11.

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code   3280

Utility Name:  Central Power & Light Co. and West Texas Utilities Co.

Part III - Schedule 2.

Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load

PLANNING AREA HOURLY DEMAND

(1)	Respondents must submit hourly demand data in electronic form to the Commission.  Additionally, Respondents that participate in a national, regional or subregional process for consolidating and ensuring the consistency and accuracy of actual hourly and forecast demand information, may instead authorize the national, regional or subregional organization to release that information to the Commission, and to the public at the cost of reproduction, in an easily accessible electronic format, such as the EEI format.

(2)	If the Respondent does not participate in the development of national, regional or subregional actual and forecast demand information, it must submit its own, equivalent, demand information directly to the Commission along with this report, as follows.

Respondents must submit on a 3.5 inch diskette formatted for the DOS operating system the following data file in ASCII format:  the planning area's actual hourly demand, in megawatts, for each hour of the year starting with 1 a.m, January 1, 1997.  Indicate the time zone and the period for which daylight savings time was used.  The file should have 8760 records (8784 for leap years).  For hours when this information is not available, enter "NA."

PLANNING AREA FORECAST SUMMER AND WINTER PEAK DEMAND

Provide on the diskette a file containing the planning area's forecast summer and winter peak demand, in megawatts, and annual net energy for load, in megawatthours, for the next ten years.

Federal Energy Regulatory Commission

FERC Form No. 714 (1997)

Annual Electric Control and Planning Area Report

For the Year Ending December 31, 1997

Please Type:

Utility Code  3280

Utility Name:  Central Power & Light Co. and West Texas utilities Co.

Part IV.

Notes

Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below.  For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d).  Use more than one line if needed.

Page

No.

(a)

Line

No.

(b)

Column

Letter

(c)

Notes

(d)2

10

C

South Texas Project is a dynamically scheduled plant in Houston Light and Power’s control area.

3

3

C

Oklaunion Power Station – has one unit with a name plate rating of 720 MW.  It is a jointly owned unit by the parties and percentages listed below :

West Texas Utilities     54.69 % ;     Central Power and Light Company    7.81%;     Public Service Company of Oklahoma     15.62 %;

Public Utilities Board of City of Brownsville Texas (PUB)    10.16%;     Oklahoma Municipal Power Authority    11.72 %.

4

1-12

H

Includes PUB’s share of Oklaunion dynamically scheduled out of CSW ERCTO control area.

5

1-12

D

Includes Cogen energy in CSW ERCOT control area.  The MWH amount of this energy for January thru December is respectively as follows:

87939, 61917, 73984, 68145, 77345, 53142, 53608, 56732, 56905, 90202, 86767, 97910.

Some utilities may also include variable operation and maintenance costs that they consider "dispatchable."  Therefore the costs to be minimized could include a variable O&M component as well as the fuel costs.

Because unit heat rates and fuel costs vary, some units may not be able to operate at the same incremental fuel cost as the other units and, thus, those units may be loaded differently.