## title text
This text is used in the titles of each schedule page.
To make a universal change (such as the year), change the text on this
page, and it will filter through to the report pages.
Year of report:
For the Year Ending December 31,
Utility Code 13781
Utility Name Northern States Power Company
Federal Energy Regulatory Commission
FERC Form No. 714 ()
Annual Electric Control And Planning Area Report

## part 1, sch 1
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control And Planning Area Report | [5 empty] | Utility Code 13781
FERC Form No. 714 () |  |  |  |  | For the Year Ending December 31, |  |  |  |  | Utility Name Northern States Power Company
Part I - Schedule I. Identification and Certification
1. | Respondent Identification: | [5 empty] | 3. | Respondent Mailing Address:
| Code: | 13781 | Name: | Northern States Power Company
Northern States Power Company
414 Nicollet Mall
2. | Respondent Type: (Please check appropriate box and fill in name) | [6 empty] | Minneapolis MN 55401-1993
[ ] | Part I: | Control Area (Complete Parts I, II and IV) |  |  |  |  | 4. | Contact Person:
Name:
Title:
| Control Area Name: |  | Northern States Power
[8 empty] | Telephone: |  |  | Ext.
[ X ] | Part II: | Planning Area (Complete Parts I, III and IV)
[7 empty] | 5. | Certifying Official:
| Planning Area Name: |  | NSP Fargo-Grand Forks
Name:
[8 empty] | Title: | Manager, Transmission Services
[8 empty] | Signature: |  | Date:
|  |  | Return Completed Form to: |  |  | Office of Electric Power Regulation
Federal Energy Regulatory Commission
Rm 2406 ER 10.1
825 North Capitol St. NE
Washington, D.C. 20426
Page 1
2. | Respondent Type: (Please check appropriate box and fill in name) | [6 empty] | Minneapolis MN 55401-1993
[ X ] | Part I: | Control Area (Complete Parts I, II and IV) |  |  |  |  | 4. | Contact Person:
Name:
Title:
| Control Area Name: |  | Northern States Power
[8 empty] | Telephone: |  |  | Ext.
[ ] | Part II: | Planning Area (Complete Parts I, III and IV)
[7 empty] | 5. | Certifying Official:
Planning Area Name:
Name:
[8 empty] | Title: | Manager, Transmission Services
[8 empty] | Signature: |  | Date:
|  |  | Return Completed Form to: |  |  | Office of Electric Power Regulation
Federal Energy Regulatory Commission
Rm 2406 ER 10.1
825 North Capitol St. NE
Washington, D.C. 20426
Page 1
2. | Respondent Type: (Please check appropriate box and fill in name) | [6 empty] | Minneapolis MN 55401-1993
[ ] | Part I: | Control Area (Complete Parts I, II and IV) |  |  |  |  | 4. | Contact Person:
Name:
Title:
| Control Area Name: |  | Northern States Power
[8 empty] | Telephone: |  |  | Ext.
[ X ] | Part II: | Planning Area (Complete Parts I, III and IV)
[7 empty] | 5. | Certifying Official:
| Planning Area Name: |  | NSP Interconnected System
Name:
[8 empty] | Title: | Manager, Transmission Services
[8 empty] | Signature: |  | Date:
|  |  | Return Completed Form to: |  |  | Office of Electric Power Regulation
Federal Energy Regulatory Commission
Rm 2406 ER 10.1
825 North Capitol St. NE
Washington, D.C. 20426
Page 1
2. | Respondent Type: (Please check appropriate box and fill in name) | [6 empty] | Minneapolis MN 55401-1993
[ ] | Part I: | Control Area (Complete Parts I, II and IV) |  |  |  |  | 4. | Contact Person:
Name:
Title:
| Control Area Name: |  | Northern States Power
[8 empty] | Telephone: |  |  | Ext.
[ X ] | Part II: | Planning Area (Complete Parts I, III and IV)
[7 empty] | 5. | Certifying Official:
| Planning Area Name: |  | NSP Minot
Name:
[8 empty] | Title: | Manager, Transmission Services
[8 empty] | Signature: |  | Date:
|  |  | Return Completed Form to: |  |  | Office of Electric Power Regulation
Federal Energy Regulatory Commission
Rm 2406 ER 10.1
825 North Capitol St. NE
Washington, D.C. 20426
Page 1

## Part 2, Schd 1
Federal Energy Regulatory Commission |  | Annual Electric Control And Planning Area Report |  |  |  | Please Type:
FERC Form No. 714 (1996) |  | For the Year Ending December 31, 1996 |  |  |  | Utility Code 13781
Utility Name Northern States Power Company
PART II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically
scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in
column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must
be explained in a note. For specific guidelines, please refer to the attached Schedule 1 instructions on page 8.
Line |  |  |  | Plant Available Capability at the Hour of the |  | Integrated Net Load on Plant at Hour of the
No. | Electric Utility Name | Plant Name |  | Annual Peak Demand Based on Net Energy for |  | Annual Peak Demand Based on Net Energy for Load (MW)
Load (MW)
(a) | (b) | (c) |  | (d) |  | (e)
1 | Northern States Power Co. |  | Bayfront
2 |  |  | Black Dog
3 |  |  | French Island
4 |  |  | High Bridge
5 |  |  | Allen S. King
6 |  |  | Minnesota Valley
7 |  |  | Pathfinder
8 |  |  | Red Wing
9 |  |  | Riverside
10 |  |  | Sherburne County
11 |  |  | Wilmarth
12 |  |  | Monticello
13 |  |  | Prairie Island
TOTAL
Page 2
14 | Northern States Power Co. |  | Blue Lake
15 |  |  | Flambeau
16 |  |  | Granite City
17 |  |  | Inver Hills
18 |  |  | Key City
19 |  |  | West Faribault
20 |  |  | Wheaton
21 |  |  | Apple River
22 |  |  | Big Falls
23 |  |  | Cedar Falls
24 |  |  | Chippewa Falls
25 |  |  | Cornell
26 |  |  | Dells
TOTAL
Page 2a
27 | Northern States Power Co. |  | Hayward
28 |  |  | Hennepin Island
29 |  |  | Holcombe
30 |  |  | Jim Falls
31 |  |  | Ladysmith
32 |  |  | Menomonie
33 |  |  | Riverdale
34 |  |  | St. Croix Falls
35 |  |  | Saxon Falls
36 |  |  | Superior Falls
37 |  |  | Thornapple
38 |  |  | Trego
39 |  |  | White River
TOTAL
Page 2b
40 | Northern States Power Co. |  | Wissota
41 |  |  | United Hospital
42 |  |  | United Health Care
43 |  |  | Alliant Tech
44 |  |  | Angus Anson
45
46
47
48
49
50
51
52
|  | TOTAL |  |  | 0 |  | 0
Page 2c

## Part 2, Schd 2
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control And Planning Area Report |  |  | Please Type:
FERC Form No. 714 (1996) |  |  |  | For the Year Ending December 31, 1996 |  |  | Utility Code 13781
Utility Name Northern States Power Company
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2 pages 9, 10, and 11. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of the
annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note.
Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL)
External to the Control Area
|  | Net Capability from Plants Reported on Schedule II |  |  |  |  | Net Unit or Firm Capability
|  |  | Unavailable Capability Due to: |  |  |  | (MW)
|  | Available | Planned | Uplanned | Other | Total |  |  | Total Capability
Line |  | Capability | Outage & Derate | Outage & Derate | Outage & Derate* | (c+d+e+f) | Available | Not Available | (g + h + i)
No. | Month | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Jan
2 | Feb
3 | Mar
4 | Apr
5 | May
6 | Jun
7 | Jul
8 | Aug
9 | Sep
10 | Oct
11 | Nov
12 | Dec
* Reductions in capability due to fuel supply problems ,environmental restrictions, lack of transmission availability at a generating plant, etc.
Page 3

## part 2, sch 3
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control And Planning Area Report |  |  |  | Please Type:
FERC Form No. 714 () |  |  |  | For the Year Ending December 31, |  |  |  | Utility Code 13781
Utility Name Northern States Power Company
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should
equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column
(e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instruction on pages 11 and 12.
Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on
Line |  |  |  |  | Net Energy For Load (NEL)
No. |  |  |  |  | Output of | Unit or Firm | Unit or Firm | Net Non-Firm | Monthly | Monthly
|  | Control Area | Net Actual | Net Energy for Load | Generating Plants | Purchases | Sales | & Inadvertent | Peak Demand | Minimum
|  | Net Generation | Interchange | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | Demand (MW)
|  | (MWh) | (MWh) | (c + d) |  |  |  |  | (f+g-h+i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Jan | 0
2 | Feb | 0
3 | Mar | 0
4 | Apr | 0
5 | May | 0
6 | Jun | 0
(a): 7; (b): Jul; (MWh) (c): 0 | #REF!
8 | Aug | 0
9 | Sep | 0
10 | Oct | 0
11 | Nov | 0
12 | Dec | 0
13 | TOTAL | 0 | 0 | 0
Page 4
THIS AREA CALCULATES THE TOTAL LISTED IN COLUMN (c). | [5 empty] | MONTHLY TOTALS
Control area net generation.
| MWHs | NSP Net Gen | St Boni - ENA 570 | ENA 969 | QF's not in 969 |  | TOTAL (c)
| jan | 0 | 0 | 0 | 0 |  | 0
| feb | 0 | 0 | 0 | 0 |  | 0
| mar | 0 | 0 | 0 | 0 |  | 0
| apr | 0 | 0 | 0 | 0 |  | 0
| may | 0 | 0 | 0 | 0 |  | 0
| jun | 0 | 0 | 0 | 0 |  | 0
| jul | 0 | 0 | 0 | 0 |  | 0
| aug | 0 | 0 | 0 | 0 |  | 0
| sep | 0 | 0 | 0 | 0 |  | 0
| oct | 0 | 0 | 0 | 0 |  | 0
| nov | 0 | 0 | 0 | 0 |  | 0
| dec | 0 | 0 | 0 | 0 |  | 0
| total | 0 | 0 | 0 | 0 |  | 0
THIS AREA CALCULATES THE TOTAL LISTED IN COLUMN (i). | [6 empty] | PEAK HOUR TOTALS
Net non-firm and inadvertent.
| MWHs | Non firm purch | non firm sales | inadvertent rec | inadvertent del | ipps | St Boni | Fudge Factor | Total |  | 1008
1 | jan | 1008 | 326 | 0 | 4 | 68 | 3 | 0 | 749 |  | 1023 | 326
2 | feb | 1023 | 565 | 0 | 4 | 47 | 0 | 0 | 501 |  | 1124 | 565
3 | mar | 1124 | 458 | 19 | 0 | 54 | 0 | 0 | 739 |  | 795 | 458
4 | apr | 795 | 493 | 42 | 0 | 41 | 0 | 0 | 385 |  | 941 | 493
5 | may | 941 | 603 | 10 | 0 | 52 | 0 | 0 | 400 |  | 1300 | 603
6 | jun | 1300 | 386 | 0 | 22 | 52 | 29 | 0 | 973 |  | 190 | 386
7 | jul | 190 | 267 | 74 | 0 | 80 | 39 | 59 | 175 |  | 50 | 267
8 | aug | 50 | 245 | 8 | 0 | 63 | 47 | 0 | -77 |  | 1000 | 245
9 | sep | 1000 | 168 | 8 | 0 | 64 | 0 | 0 | 904 |  | 820 | 168
10 | oct | 820 | 804 | 0 | 8 | 51 | 0 | 0 | 59 |  | 917 | 804
11 | nov | 917 | 269 | 18 | 0 | 53 | 0 | 0 | 719 |  | 625 | 269
12 | dec | 625 | 70 | 35 | 0 | 35 | 0 | 0 | 625 |  | 9793 | 70
| total | 9793 | 4654 | 214 | 38 | 660 | 118 | 59 | 6152 |  | #VALUE! | 4654

## part 2, sch 4
Federal Energy Regulatory Commission |  |  | Annual Electric Control And Planning Area Report |  |  | Please Type:
FERC Form No. 714 () |  |  |  | For the Year Ending December 31, |  | Utility Code 13781
Utility Name Northern States Power Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with
the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.
Line |  |  |  | Control Area Interconnection |  | Line or Bus Voltage
No. | Name of Adjacent Control Area |  |  | Line or Bus Names |  | (kV)
(a) | (b) |  |  | (c) |  | (d)
1 |  | Dairyland Power Cooperative |  |  | Alma Steam Plant - Nelson / Cochrane
2 |  | Dairyland Power Cooperative |  |  | Apple River - New Richmond
3 |  | Dairyland Power Cooperative |  |  | Apple River Tr. # 1
4 |  | Dairyland Power Cooperative |  |  | Centerville - Marshland
5 |  | Dairyland Power Cooperative |  |  | Coon Valley - North LaCrosse
6 |  | Dairyland Power Cooperative |  |  | Coulee Ave. - Coon Valley / North LaCrosse
7 |  | Dairyland Power Cooperative |  |  | Coulee Ave. - Genoa Steam Plant
8 |  | Dairyland Power Cooperative |  |  | Crystal Cave - Rock Elm
9 |  | Dairyland Power Cooperative |  |  | Cumberland - Barron / Apple River
10 |  | Dairyland Power Cooperative |  |  | Cumberland - Beaver Dam
11 |  | Dairyland Power Cooperative |  |  | Elk Mound - Wheaton
12 |  | Dairyland Power Cooperative |  |  | Flambeau - Big Falls
13 |  | Dairyland Power Cooperative |  |  | French Island - Utica
14 |  | Dairyland Power Cooperative |  |  | Holcombe
Page 5
15 |  | Dairyland Power Cooperative |  |  | Independence - Whitehall
16 |  | Dairyland Power Cooperative |  |  | LaCrosse - Marshland / Genoa Tap
17 |  | Dairyland Power Cooperative |  |  | Marshland - Alma Steam Plant / Genoa Steam Plant
18 |  | Dairyland Power Cooperative |  |  | Medford - Stetson
19 |  | Dairyland Power Cooperative |  |  | Monroe County - Hillsboro
20 |  | Dairyland Power Cooperative |  |  | Pine Lake - Rock Elm / Farmington / Twin Town
21 |  | Dairyland Power Cooperative |  |  | Rice Lake - Beaver Dam
22 |  | Dairyland Power Cooperative |  |  | Rice Lake - Cameron
23 |  | Dairyland Power Cooperative |  |  | River Falls - Ellsworth / Prescott Tap
24 |  | Dairyland Power Cooperative |  |  | Rock Elm - Elmwood
25 |  | Dairyland Power Cooperative |  |  | Rock Elm - Maiden Rock (NO)
26 |  | Dairyland Power Cooperative |  |  | Seven Mile - ELCO
27 |  | Dairyland Power Cooperative |  |  | Seven Mile - Seymour - Ludington
28 |  | Dairyland Power Cooperative |  |  | South Fork
Page 5a
29 |  | Dairyland Power Cooperative |  |  | South Fork / River Falls
30 |  | Dairyland Power Cooperative |  |  | Spokesville - Loyal / T Corners
31 |  | Dairyland Power Cooperative |  |  | St. Croix Falls - Osceola
32 |  | Dairyland Power Cooperative |  |  | Stone Lake - Washco
33 |  | Dairyland Power Cooperative |  |  | T Corners - Lublin / Medford
34 |  | Dairyland Power Cooperative |  |  | T Corners - Spencer
35 |  | Dairyland Power Cooperative |  |  | Tremval - Alma
36 |  | Dairyland Power Cooperative |  |  | Viroqua - Genoa (2lines)
37 |  | Dairyland Power Cooperative |  |  | Viroqua - Hillsboro
38 |  | Interstate Power Co. |  |  | Split Rock # 6 XY Transformer
39 |  | Interstate Power Co. |  |  | Adams #9 Transformer
40 |  | Interstate Power Co. |  |  | Adams - Hazelton
41 |  | Interstate Power Co. |  |  | New Prague - Jordan / Veseli tap
42 |  | Interstate Power Co. |  |  | Loon lake / Waseca Municipal tap
Page 5b
43 |  | Interstate Power Co. |  |  | West Owatonna - Medford Jct.
44 |  | Interstate Power Co. |  |  | West Owatonna - Steele / Waseca / Pratt
45 |  | Interstate Power Co. |  |  | Wilmarth - Lakefield Jct.
46 |  | Interstate Power Co. |  |  | Wilmarth - Winnebago
47 |  | Manitoba Hydro - Electric Board |  |  | Dorsey - Forbes (Roseau)
48 |  | Minnesota Power |  |  | Benton County - Riverton
49 |  | Minnesota Power |  |  | Chisago - Forbes
50 |  | Minnesota Power |  |  | Little Sauk - Long Prairie
51 |  | Minnesota Power |  |  | Red Rock - Arrowhead
52 |  | Minnesota Power |  |  | Stinson Ave. - Stone lake
53 |  | Minnesota Power |  |  | Stinson Ave. - Iron River
54 |  | Minnesota Power |  |  | West St. Cloud - Little Falls
55 |  | Otter Tail Power |  |  | Douglas County - Alexandria
56 |  | Otter Tail Power |  |  | Minnesota Valley - Kerkhoven
Page 5c
57 |  | United Power Association |  |  | Crow River - Delano
58 |  | United Power Association |  |  | Crow River - Maple Lake
59 |  | United Power Association |  |  | Dickinson - # 9 Transformer
60 |  | United Power Association |  |  | Dickinson - Coon Creek
61 |  | United Power Association |  |  | Dickinson - Parker's Lake
62 |  | United Power Association |  |  | Hutchinson - Big Swan
63 |  | United Power Association |  |  | Hutchinson - Hassen Jct.
64 |  | United Power Association |  |  | Medina #1 Transformer
65 |  | United Power Association |  |  | Minnesota Valley - Willmar
66 |  | United Power Association |  |  | Monticello - Elk River
67 |  | United Power Association |  |  | Parkwood # 1 & 2 Transformers
68 |  | United Power Association |  |  | Red Rock - Rush City
69 |  | United Power Association |  |  | Transformer # 1 At Bunker Lake
70 |  | Wapa-Watertown / Upper Missouri |  |  | Grant - Mitchell (no)
Page 5d
71 |  | Wapa-Watertown / Upper Missouri |  |  | Lawrence - Sioux Falls
72 |  | Wapa-Watertown / Upper Missouri |  |  | Marshall - Granite Falls / Marshall Tap
73 |  | Wapa-Watertown / Upper Missouri |  |  | Minesota Valley - Granite Falls
74 |  | Wapa-Watertown / Upper Missouri |  |  | Minnesota Valley - Granite Falls
75 |  | Wapa-Watertown / Upper Missouri |  |  | Minnesota Valley / Panther - Granite Falls
76 |  | Wapa-Watertown / Upper Missouri |  |  | Split Rock # 10 & # 11 Transformers
77 |  | Wisconsin Power & Light |  |  | Eau Claire - Arpin
78 |  | Wisconsin Public Service |  |  | T Corners - Wien
79 |  | Southern MN Muni. Pwr Agency |  |  | Byron - Cascade Creek
80
81
82
83
84
Page 5e

## part 2, sch 5
Federal Energy Regulatory Commission |  | Annual Electric Control And Planning Area Report |  |  |  |  | Please Type:
FERC Form No. 714 () |  |  | For the Year Ending December 31, |  |  |  | Utility Code 13781
Utility Name Northern States Power Company
Part II - Schedule 5. Control Area Scheduled and Actual Interchange
Identify on this schedule: each control area with which the respndent control area has actual or scheduled interchange of energy, in column (b); the toal annual megawatthours (MWh) of the scheduled interchange that were received by the
respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered
within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in
a note. See Schedule 5 instructions on pages 12 and 13.
Line |  |  |  | Scheduled Interchange |  |  | Act Interchange Between
No. | Name of Control Area |  |  | Between Control Areas |  |  | Adjacent Control Areas
|  |  |  | (MWh) |  |  | (MWh)
|  |  | Received |  | Delivered | Received |  | Delivered
(a) | (b) |  | (c) |  | (d) | (e) |  | (f)
1 | Dairyland Power Cooperative
2 | Interstate Power Company
3 | Iowa Electric Southern Cipco
4 | Kansas City Power and Light
5 | Lincoln Electric Service
6 | Manitoba Hydro
7 | Mapp Loss Repayment Program
8 | Mid America Energy Company
9 | Minnesota Power
10 | TOTAL
Page 6
11 | Muscatine Power and Water
12 | Nebraska Public Power District
13 | Omaha Public Power District
14 | Otter Tail Power Company
15 | Southern MN Muni Power Agency
16 | St. Joseph Light and Power Company
17 | Union Electric Company
18 | United Power Association
19 | Western Area Power Administration
20 | TOTAL
Page 6a
21 | Wisconsin Electric Power Company
22 | Wisconsin Power and Light Company
23 | Wisconsin Public Service Corporation
24
25
26
27
28
29
30 | TOTAL |  | 0 |  | 0 | 0 |  | 0
Page 6b

## part 2, sch 6
Federal Energy Regulatory Commission |  | Annual Electric Control And Planning Area Report |  |  | Please Type:
FERC Form No. 714 () |  |  | For the Year Ending December 31, |  | Utility Code 13781
Utility Name Northern States Power Company
Part II - Schedule 6. Control Area System Lambda Data
| Submit on a 3.5 inch diskette formatted for the DOS operating |  |  | Provide, as a note in Part IV, an explanation describing the
| system the following data file in ASCII format: the control |  |  | reason for the unavailability of system lambda information and
| area's system lambda for each hour of the year starting with |  |  | a definite plan for reporting the information with a target date.
| 1 a.m., January 1, 1994. Identify clearly the time zone in |  |  | The Commission expects that all Energy Management
| which this time series is made. The file should have 8760 |  |  | Systems, with proper instructions, can record the system
| records (8784 for leap years). Each record is to contain the |  |  | lambda being used for economic dispatch of the control area's
| system lambda value at the clock hour in dollars per |  |  | thermal units.
megawatthour (mills per kilowatthour) or an "NA" for those
| hours when system lambda was not calculated. |  |  | Respondents should be able to report system lambda, along
with the other information reported on a control area basis,
| Control Area Hourly System Lambda. |  | For control areas | that describe the operation of such areas from information that
| where demand following is primarily performed by thermal |  |  | should be readily available. The Commission is not
| generating units, the system lambda is derived from the |  |  | requesting Respondents to develop incremental or marginal
| economic dispatch function associated with automatic |  |  | cost (either short or long term) according to any formula. Nor
| generation control performed at the controlling utility or pool |  |  | is the Commission requesting "avoided cost rates" that,
| control center. Excluding transmission losses, the fuel cost |  |  | pursuant to PURPA 210, electric utilities file with state
| ($/hr) for a set of on-line and loaded thermal generating |  |  | commissions or otherwise make available for prospective
| units (steam and gas turbines) is minimum (1) when each unit is |  |  | qualified facilities.
loaded and operating at the same incremental fuel cost
| ($/MWh) (2) with the sum of the unit loadings (MW) equal to |  |  | Description of Economic Dispatch. | Also, provide in writing
| the system demand plus the net of interchange with other |  |  | a detailed description of how Respondent calculates system
| control areas. This single incremental cost of energy is the |  |  | lambda. For those systems that do not use an economic
| system lambda. System lambdas are likely recalculated many |  |  | dispatch algorithm and do not have a system lambda, provide
| times in one clock hour. However, the indicated system |  |  | in writing a detailed description of how control area resources
| lambda occurring on each clock hour would be sufficient for |  |  | are efficiently dispatched.
reporting purposes.
SEE ATTACHED DOCUMENT & ASSOCIATED DISK
(1) | Some utilities may also include variable operation and maintenance costs that they consider "dispatchable". Therefore the costs to be
minimized could include a variable O&M component as well as the fuel costs.
(2) | Because unit heat rates and fuel costs vary, some units may vary, some units may not be able to operate at the same incremental fuel cost as the other units
and, thus, those units may be loaded differently.

## part 3, sch 1
Federal Energy Regulatory Commission |  | Annual Electric Control And Planning Area Report |  | Please Type:
FERC Form No. 714 () |  |  | For the Year Ending December 31, | Utility Code 13781
Utility Name Northern States Power Company
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
|  | (Use continuation sheets if needed) |  | NSP - MINOT
Enter the name of each entity, including the respondent, that forms the plannning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to instructions on page
16.
Electric Utility Coincident Peak
Demand
Line |  |  |  | (MW)
No. | Electric Utility Name |  |  | Summer | Winter
(a) | (b) |  |  | (c) | (d)
1 | NSP - Minot
2
3
4
5
6
7
8
9
10
11
Page 8
|  | (Use continuation sheets if needed) |  | NSP - INTERCONNECTED
Enter the name of each entity, including the respondent, that forms the plannning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to instructions on page
16.
Electric Utility Coincident Peak
Demand
Line |  |  |  | (MW)
No. | Electric Utility Name |  |  | Summer | Winter
(a) | (b) |  |  | (c) | (d)
1 | NSP - Interconnected
2
3
4
5
6
7
8
9
10
11
Page 8
|  | (Use continuation sheets if needed) |  | NSP - FARGO/GRAND FORKS
Enter the name of each entity, including the respondent, that forms the plannning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to instructions on page
16.
Electric Utility Coincident Peak
Demand
Line |  |  |  | (MW)
No. | Electric Utility Name |  |  | Summer | Winter
(a) | (b) |  |  | (c) | (d)
1 | NSP - Fargo / Grand Forks
2
3
4
5
6
7
8
9
10
11
Page 8

## part 3, sch 2
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control And Planning Area Report |  |  |  |  | Please Type: | Federal Energy Regulatory Commission |  | Annual Electric Control And Planning Area Report |  | Please Type:
FERCForm No. 714 (1997) |  |  |  | For the Year Ending December 31, | For the Year Ending December 31, 1997 |  |  |  | Utility Code 13781 | FERC Form No. 714 () |  | For the Year Ending December 31, |  | Utility Code 13781
[9 empty] | Utility Name Northern States Power Company |  |  |  |  | Utility Name Northern States Power Company
Forecast Summer and Winter Peak Demand and Annual Net Energy for Load | [9 empty] | Part III - Schedule 2.
For Part III Schedule 2 | [9 empty] | Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
NSP - MINOT
NSP - MINOT
| YEAR |  | SUMMER |  |  | WINTER |  | ANNUAL
|  |  | PEAK MW |  |  |  | PEAK MW | MWHs
| 1998 | July | 7381 |  | 1998/1999 | 1999-01-01 | 6286 | 39488751
[10 empty] | ( 1 ) | Respondents must submit hourly demand data in |  | Respondents must submit on a 3.5 inch diskette
| 1999 | July | 7470 |  | 1999/2000 | 2000-01-01 | 6425 | 40107349 |  |  | electronic form to the Commission. Additionally, |  | formatted for the DOS operating system the following
[11 empty] | Respondents that participate in a national, |  | data file in ASCII format: the planning area's actual
| 2000 | July | 7587 |  | 2000/2001 | 2001-01-01 | 6533 | 40764554 |  |  | regional or subregional process for consolidating |  | hourly demand, in megawatts, for each hour of the year
[11 empty] | and ensuring the consistency and accuracy of |  | starting with 1 a.m January 1, 1995. Indicate the time
| 2001 | July | 7692 |  | 2001/2002 | 2002-01-01 | 6641 | 41413285 |  |  | actual hourly and forecast demand information, |  | zone and the period for which daylight savings time was
[11 empty] | may instead authorize the national, regional or |  | sed. The file should have 8760 records (8784 for leap
| 2002 | July | 7810 |  | 2002/2003 | 2003-01-01 | 6756 | 42029303 |  |  | subregional organization to release that |  | years). For hours when this information is not available,
[11 empty] | information ot the Commission, and to the public |  | enter "NA".
| 2003 | July | 7941 |  | 2003/2004 | 2004-01-01 | 6880 | 42788299 |  |  | at the cost of reporduction, in an easily
accessible electronic fromat, such as the EEI
| 2004 | July | 8086 |  | 2004/2005 | 2005-01-01 | 7008 | 43602883 |  |  | format.
| 2005 | July | 8234 |  | 2005/2006 | 2006-01-01 | 7138 | 44430763
Also provide on the diskette a file containing the
| 2006 | July | 8384 |  | 2006/2007 | 2007-01-01 | 7267 | 45261412 |  | ( 2 ) | If the Respondent does not participate in the |  | planning area's forecast summer and winter peak
[11 empty] | development of national, regional or subregional |  | demand, in megawatts, and annual net energy for load,
| 2007 | July | 8538 |  | 2007/2008 | 2008-01-01 | 7396 | 46091726 |  |  | actual and forecast demand information, it must |  | in megawatthours, for the next ten years.
submit its own, equivalent, demand information
[8 empty] | SEE NOTE |  |  | directly to the Commission along with this report,
[8 empty] | Total NSP System Only |  |  | as follows. |  | SEE NOTES
Not forecasted by Planning Area
Page 9a | [9 empty] | Page 9
[9 empty] | NSP - INTERCONNECTED |  |  |  |  | NSP - INTERCONNECTED
| YEAR |  | SUMMER |  |  | WINTER |  | ANNUAL
|  |  | PEAK MW |  |  |  | PEAK MW | MWHs
| 1998 | July | 7381 |  | 1998/1999 | 1999-01-01 | 6286 | 39488751 |  | ( 1 ) | Respondents must submit hourly demand data in |  | Respondents must submit on a 3.5 inch diskette
[11 empty] | electronic form to the Commission. Additionally, |  | formatted for the DOS operating system the following
| 1999 | July | 7470 |  | 1999/2000 | 2000-01-01 | 6425 | 40107349 |  |  | Respondents that participate in a national, |  | data file in ASCII format: the planning area's actual
[11 empty] | regional or subregional process for consolidating |  | hourly demand, in megawatts, for each hour of the year
| 2000 | July | 7587 |  | 2000/2001 | 2001-01-01 | 6533 | 40764554 |  |  | and ensuring the consistency and accuracy of |  | starting with 1 a.m January 1, 1995. Indicate the time
[11 empty] | actual hourly and forecast demand information, |  | zone and the period for which daylight savings time was
| 2001 | July | 7692 |  | 2001/2002 | 2002-01-01 | 6641 | 41413285 |  |  | may instead authorize the national, regional or |  | sed. The file should have 8760 records (8784 for leap
[11 empty] | subregional organization to release that |  | years). For hours when this information is not available,
| 2002 | July | 7810 |  | 2002/2003 | 2003-01-01 | 6756 | 42029303 |  |  | information ot the Commission, and to the public |  | enter "NA".
at the cost of reporduction, in an easily
| 2003 | July | 7941 |  | 2003/2004 | 2004-01-01 | 6880 | 42788299 |  |  | accessible electronic fromat, such as the EEI
format.
| 2004 | July | 8086 |  | 2004/2005 | 2005-01-01 | 7008 | 43602883
| 2005 | July | 8234 |  | 2005/2006 | 2006-01-01 | 7138 | 44430763 |  |  |  |  | Also provide on the diskette a file containing the
[10 empty] | ( 2 ) | If the Respondent does not participate in the |  | planning area's forecast summer and winter peak
| 2006 | July | 8384 |  | 2006/2007 | 2007-01-01 | 7267 | 45261412 |  |  | development of national, regional or subregional |  | demand, in megawatts, and annual net energy for load,
[11 empty] | actual and forecast demand information, it must |  | in megawatthours, for the next ten years.
| 2007 | July | 8538 |  | 2007/2008 | 2008-01-01 | 7396 | 46091726 |  |  | submit its own, equivalent, demand information
directly to the Commission along with this report,
[8 empty] | SEE NOTE |  |  | directly to the Commission along with this report,
[8 empty] | Total NSP System Only |  |  | as follows. |  | SEE NOTES
Not forecasted by Planning Area
Page 9a | [9 empty] | Page 9
[9 empty] | NSP - FARGO/GRAND FORKS |  |  |  |  | NSP - FARGO/GRAND FORKS
| YEAR |  | SUMMER |  |  | WINTER |  | ANNUAL
|  |  | PEAK MW |  |  |  | PEAK MW | MWHs
| 1998 | July | 7381 |  | 1998/1999 | 1999-01-01 | 6286 | 39488751 |  | ( 1 ) | Respondents must submit hourly demand data in |  | Respondents must submit on a 3.5 inch diskette
[11 empty] | electronic form to the Commission. Additionally, |  | formatted for the DOS operating system the following
| 1999 | July | 7470 |  | 1999/2000 | 2000-01-01 | 6425 | 40107349 |  |  | Respondents that participate in a national, |  | data file in ASCII format: the planning area's actual
[11 empty] | regional or subregional process for consolidating |  | hourly demand, in megawatts, for each hour of the year
| 2000 | July | 7587 |  | 2000/2001 | 2001-01-01 | 6533 | 40764554 |  |  | and ensuring the consistency and accuracy of |  | starting with 1 a.m January 1, 1995. Indicate the time
[11 empty] | actual hourly and forecast demand information, |  | zone and the period for which daylight savings time was
| 2001 | July | 7692 |  | 2001/2002 | 2002-01-01 | 6641 | 41413285 |  |  | may instead authorize the national, regional or |  | sed. The file should have 8760 records (8784 for leap
[11 empty] | subregional organization to release that |  | years). For hours when this information is not available,
| 2002 | July | 7810 |  | 2002/2003 | 2003-01-01 | 6756 | 42029303 |  |  | information ot the Commission, and to the public |  | enter "NA".
at the cost of reporduction, in an easily
| 2003 | July | 7941 |  | 2003/2004 | 2004-01-01 | 6880 | 42788299 |  |  | accessible electronic fromat, such as the EEI
format.
| 2004 | July | 8086 |  | 2004/2005 | 2005-01-01 | 7008 | 43602883
| 2005 | July | 8234 |  | 2005/2006 | 2006-01-01 | 7138 | 44430763 |  |  |  |  | Also provide on the diskette a file containing the
[10 empty] | ( 2 ) | If the Respondent does not participate in the |  | planning area's forecast summer and winter peak
| 2006 | July | 8384 |  | 2006/2007 | 2007-01-01 | 7267 | 45261412 |  |  | development of national, regional or subregional |  | demand, in megawatts, and annual net energy for load,
[11 empty] | actual and forecast demand information, it must |  | in megawatthours, for the next ten years.
| 2007 | July | 8538 |  | 2007/2008 | 2008-01-01 | 7396 | 46091726 |  |  | submit its own, equivalent, demand information
directly to the Commission along with this report,
[8 empty] | SEE NOTE |  |  | directly to the Commission along with this report,
[8 empty] | Total NSP System Only |  |  | as follows. |  | SEE NOTES
Not forecasted by Planning Area
Page 9a | [9 empty] | Page 9

## part 4
3 |  |  |  | Annual Electric Control And Planning Area Report |  |  |  |  | Please Type:
FERC Form No. 714 () |  |  |  |  | For the Year Ending December 31, |  |  |  | Utility Code 13781
Utility Name Northern States Power Company
Part IV.
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III,, and then provide the note below. For each note, enter
the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more lines if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d) | [7 empty] | NSP - INTERCONNECTED
9 | forecast |  | NSP's load forecasting is not separated into the planning areas.
Page 9a shows the forecast for the entire NSP system.
|  |  | Data is on the NSP forecast disk in a text file: |  |  |  | NSP-FCST.TXT
Hourly
9 | Load |  | NSP's hourly demand data is stored on the enclosed 3.5 disk. The file
is in ASCII format, contains descriptive information, and has one record for each value.
|  |  | Data is on the NSP Interconnected System Demand disk in a text file: | [6 empty] | NSP-INTC.TXT
Hourly
9 | Load |  | The hourly information is a close estimate, so it may not add up to the actual values as reported
on the FERC Form 1.
Page 10
[6 empty] | Notes |  |  |  |  | NSP - FARGO/GRAND FORKS
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III,, and then provide the note below. Fore each note, enter
the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more lines if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
9 | forecast |  | NSP's load forecasting is not separated into the planning areas.
Page 9a shows the forecast for the entire NSP system.
|  |  | Data is on the NSP forecast disk in a text file: |  |  |  | NSP-FCST.TXT
Hourly
9 | Load |  | NSP's hourly demand data is stored on the enclosed 3.5 disk. The file
is in ASCII format, contains descriptive information, and has one record for each value.
|  |  | Data is on the NSP Fargo-Grand Forks Demand disk in a text file: | [6 empty] | NSP-FARG.TXT
Hourly
9 | Load |  | The hourly information is a close estimate, so it may not add up to the actual values as reported
on the FERC Form 1.
Page 10
[6 empty] | Notes |  |  |  |  | NSP - MINOT
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III,, and then provide the note below. Fore each note, enter
the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more lines if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
9 | forecast |  | NSP's load forecasting is not separated into the planning areas.
Page 9a shows the forecast for the entire NSP system.
|  |  | Data is on the NSP forecast disk in a text file: |  |  |  | NSP-FCST.TXT
Hourly
9 | Load |  | NSP's hourly demand data is stored on the enclosed 3.5 disk. The file
is in ASCII format, contains descriptive information, and has one record for each value.
|  |  | Data is on the NSP Minot Demand disk in a text file: |  |  |  |  | NSP-MIN.TXT
Hourly
9 | Load |  | The hourly information is a close estimate, so it may not add up to the actual values as reported
on the FERC Form 1.
Page 10
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III,, and then provide the note below. Fore each note, enter
the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more lines if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
6 | 7 |  | Even though MAPP is not a recognized NERC control area, energy transactions
were scheduled to them. It is impossible to decompose these transactions into inter-control area
transactions, so there is no alternative to reporting them as shown.
6 |  |  | As part of NSP's host control area relationship with Cooperative Power, NSP has included schedules
that Cooperative Power had with other control areas.
Page 10

## datareq
FERC 714 |  |  |  | Peaks | Day | Hour | MW
1996 |  |  |  | January | 30 | 19 | 5813
|  |  |  | February | 1 | 19 | 5955
Date Due to FERC: |  | 1997-06-01 |  | March | 7 | 20 | 5568
Date data to Franklin by: |  | 1997-04-24 |  | April | 3 | 11 | 5129
|  |  |  | May | 17 | 14 | 5225
Peak hour for 1996 : |  | August 6, 1996 HE 16 |  | June | 28 | 15 | 7369
|  |  |  | July | 18 | 16 | 7098
|  |  |  | August | 6 | 16 | 7487
|  |  |  | September | 4 | 17 | 7064
|  |  |  | October | 30 | 18 | 5417
|  |  |  | November | 26 | 18 | 5666
|  |  |  | December | 18 | 18 | 5869
|  |  | Peak : | August | 6 | 16 | 7487
GAYLE BETCHER
Date Due | : | 1997-04-24
Page Number(s) | : | 2, 2a, 2b, 2c (Part II - Schedule 1)
Columns | : | b, c, d
Column d must be based on the peak hour for last year: August 6, 1996 HE 16
REMINDER: The available capacity at the time of peak demand
must take into account both outages and curtailments.
GAYLE BETCHER/DOUG HACKMAN
Gayle:
Date Due | : | 1997-04-24
Page Number(s) | : | 3 (Part II - Schedule 2)
Columns | : | c**, d, e, f, g
Doug:
Date Due | : | 1997-04-24
Page Number(s) | : | 3 (Part II - Schedule 2)
Columns | : | c**, g, h, I, j
** GAYLE AND DOUG MUST AGREE ON COLUMN C AND PROVIDE IT
GAYLE MUST MAKE SURE THAT COLUMN C FOR THE PEAK MONTH MATCHES
TO THE TOTAL ON PART II SCHEDULE 1.
Peak hour for last year : August 6, 1996 HE 16
NEW FOR 1994 reporting year, Gayle must fill out Columns d, e, and f on Part II schedule 2.
In previous years, Doug Hackman has done these. Doug and Gayle must agree on column C.
Columns c, d, e, and f must sum to Column g.
GAYLE BETCHER/DOUG HACKMAN
Gayle:
Date Due | : | 1997-04-24
Page Number(s) | : | 3 (Part II - Schedule 2)
Columns | : | c**, d, e, f, g
Doug:
Date Due | : | 1997-04-24
Page Number(s) | : | 3 (Part II - Schedule 2)
Columns | : | c**, g, h, I, j
** GAYLE AND DOUG MUST AGREE ON COLUMN C AND PROVIDE IT
GAYLE MUST MAKE SURE THAT COLUMN C FOR THE PEAK MONTH MATCHES
TO THE TOTAL ON PART II SCHEDULE 1.
Peak hour for last year : August 6, 1996 HE 16
As of the 1994 reporting year, Gayle must fill out Columns d, e, and f on Part II schedule 2.
In previous years, Doug Hackman has done these. Doug and Gayle must agree on column C.
Columns c, d, e, and f must sum to Column g.
FRANKLIN MEADOWS
Date Due | : | 1997-04-24
Page Number(s) | : | 2, 2a, 2b, 2c (Part II - Schedule 1)
Columns | : | e
Column e must be based on the peak hour for last year : August 6, 1996 HE 16
Date Due | : | 1997-04-24
Lambda on disk. All hours. Hourly load on Disk. All hours.
Date Due | : | 1997-04-24
Peak summer and winter coincident demands for the calendar year for each planning area.
Date Due | : | 1997-04-24
Page Number(s) | : | 5, 5a, 5b, 5c, 5d, 5e (Part II - Schedule 4)
Columns | : | b, c, d
Just update what is on the printout. We will have it typed into the form.
Do not include Normal Opens, unless the NO is telemetered.
In checking how NSP reports these ties, I found that Interchange Accounting shows a few more
connections than shown here. They are:
MP - we report from Forbes 601 and 602, but you only have one Forbes connection listed
UPA - Benton County 41RB7 and 41RB8
UPA - Maple Lake
UPA - Otsego
DPC - Alma 4NB10 and 4NB11 - you have one labelled Alma Steam
Plant - Nelson/Cochrane
DPC - Clear Lake 4A55
DPC - North LaCrosse 41NB3 and 41NB4
DPC - Byron - Cascade Creek. We have a SMMPA Byron, but not DPC Byron.
WPL - T Corners. We have this listed as a tie with WPS, not WPL
SUE STRANDBERG
Date Due | : | 1997-04-24
Page Number(s) | : | 6, 6a, 6b (Part II - Schedule 5)
Columns | : | c, d, e, f
also...
Date Due | : | 1997-04-24
Net St. Boni Generation by month - you can give me either net, or gross and aux.
BOB STOMBERG
Date Due | : | 1997-04-24
Supply the total system load forecasts, by year for the next ten years.
GIVE COPY OF PART AND SCHEDULE HE FILLS OUT
JUDIE WITZANY
Date Due | : | 1997-04-24
Determine which are firm and which are non-firm.
INTEGRATED HOUR DEMANDS
¦ JAN¦ FEB¦ MAR¦ APR¦ MAY¦ JUN¦ JUL¦ AUG¦ SEP¦ OCT¦ NOV¦ DEC¦
TOTAL CO MW¦5838¦5645¦5483¦5253¦5396¦7439¦7519¦7433¦6737¦5352¦5642¦6081¦
1117 DA¦ 4¦ 13¦ 1¦ 18¦ 31¦ 20¦ 13¦ 18¦ 6¦ 12¦ 28¦ 11¦
HR¦1800¦1900¦2000¦1100¦1400¦1500¦1600¦1500¦1600¦1500¦1800¦1800¦