This is the documentation file for gmp97hrs.dat.

FERC form 714 (1997) page 9 part (2)

The planning area's actual hourly demand, in mw for each hour

of the year starting with 1 a.m. January 1997.

gmp97hrs.txt contains the just raw ascii data, appropriate headings

are included below.

Green Mountain Power Corp.

Eastern Standard Time

Daylight Savings 4/6/97 hr 2 - 10/26/97 hr 2

(no 4/6/97 hr 2 exists, 10/26/97 has an hr 2a and a 2b)

mw	yr	mo     day  hr ending

266	97	1	1	1

258	97	1	1	2

252	97	1	1	3

249	97	1	1	4

252	97	1	1	5

252	97	1	1	6

264	97	1	1	7

270	97	1	1	8

287	97	1	1	9

302	97	1	1	10

311	97	1	1	11

323	97	1	1	12

318	97	1	1	13

310	97	1	1	14