## Sched 1 Pg 1
Federal Energy Regulatory Commission |  |  |  |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  |  |  |  | For the Year Ending December 31, 1997 |  |  |  | Utility Code | 803
[9 empty] | Utility Name | Arizona Public Service Company
Schedule 1. Identification and Certification
1. |  | Respondent Identification: |  |  |  |  | 3. | Respondent Mailing Address:
Marceline Otondo
Arizona Public Service Company
|  | Code: 803 | Name: | Arizona Public Service Company |  |  |  | P O Box 53999 Sta. 2208
Phoenix, AZ 85072-3999
2. |  | Respondent Type: (Please check appropriate box and fill in name)
[7 empty] | 4. | Contact Person:
| [ X ] | Part I: | Control Area (Complete Parts I, II, and IV) |  |  |  |  | Name: Marceline Otondo
|  |  | Control Area Name: Arizona Public Service Company |  |  |  |  | Title: Supv. Energy Accting. $ System Reporting
Telephone: ( 602 ) 250-1268
| [ X ] | Part II: | Planning Area (Complete Parts I,III, and IV)
[7 empty] | 5. | Cerfifying Official:
Planning Area Name: Arizona Public Service Company
Name: Robert Smith
Title: Mgr/Power Operations
Signature:_____________________________ Date:_____________
|  |  |  | Return Completed form to: |  | Office of Electric Power Regulation
Federal Energy Regulatory Commission
Room 61-25 ER 10.1
888 First St. NE
Washington, D.C. 20426
Page 1

## Part II Sch 1
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 |  |  | Utility Code | 803
[5 empty] | Utility Name | Arizona Public Service Company
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area
operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status
Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the
value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on page 8.
Line | Electric Utility Name | Plant Name | Plant Available Capability at the Hour of the Annual |  | Integrated Net Load on the Plant at the Hour of the Annual
No. |  |  | Peak Demand Based on Net Energy for Load (MW) |  | Peak Demand Based on Net Energy for Load (MW)
(a) | (b) | (c) | (d) |  | (e)
1 | Arizona Public Service Company | Palo Verde 1,2,3 * |  | 3520.6 |  | 3440
2 | Arizona Public Service Company | Four Corners 1,2,3 |  | 545 |  | 541
3 | Arizona Public Service Company | Four Corners 4,5 * |  | 1480 |  | 1490.5
4 | Arizona Public Service Company | Cholla 1,2,3 |  | 598 |  | 595
5 | Arizona Public Service Company | Ocotillo |  | 332 |  | 222
6 | Arizona Public Service Company | Saguaro |  | 256 |  | 152
7 | Arizona Public Service Company | Yucca Turbines |  | 147 |  | 48
8 | Arizona Public Service Company | Douglas |  | 16 |  | 0
9 | Arizona Public Service Company | Childs/Irving |  | 4 |  | 3.8
10 | Arizona Public Service Company | West Phoenix |  | 367 |  | 288
11 | Yuma Cogeneration Association | YCA * |  | 52.7 |  | 52.7
12
13
14
|  | TOTAL |  | 7318.3 |  | 6833
Page 2
This is a spreadsheet check for Specific Requirements given in the small text lines of each schedule.
***This sheet is not required to be turned in with Form FERC-714, "The Annual Electric Control and Planning Area Report."
Computer Based Responses:
Page 2 Specific Requirements:
| Does the total in column (d) equal the value in column (c) on Schedule 2 for the month of the annual peak demand? |  |  |  | YES
| Does the total in column (e) equal the value in column (f) on Schedule 3 for the month of the annual peak demand? |  |  |  | YES
Page 4 Specific Requirements:
| Does the total in column (d) equal the difference in the totals for columns (e) and (f) on Schedule 5? |  |  |  | YES
***For the year of 1997, Aug was the month of the annual peak demand. Page 2 Specific Requirements were decided on Aug values.
If future "months of annual peak demand" differ, then the response cells must be modified to accommodate the new month.
***Any "NO" responses should be investigated for errors or if the response is accurate, reason for the discrepancy should be noted on page 10.
| Input APS's Planning Area Summer Peak Demand Value Here-------------------------> |  | 4455
| Input APS's Planning Area Winter Peak Demand Value Here----------------------------> |  | 3167

## Part II Sch 2
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  |  |  | For the Year Ending December 31, 1997 |  |  |  | Utility Code | 803
[8 empty] | Utility Name | Arizona Public Service Company
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 9, 10, and 11. Please first read the instructions, then complete this Schedule.
The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note.
Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL)
|  | Net Capability from Plants Reported on Schedule II | [5 empty] | External to the Control Area
|  |  |  | Unavailable Capability Due to: |  |  |  | Net Unit or Firm Capability
|  | Available |  | Planned | Unplanned | Other | Total |  |  | Total Capability
Line |  | Capability |  | Outage and Derating | Outage and Derating | Outage and Derating* | (c+d+e+f) | Available | Not Available | (g+h+i)
No. | Month | (MW) |  | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
(a) | (b) | (c) | * | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Jan. | 7239.6 |  | 298.4 | 93.3 | 0 | 7631.3 | -2382 | -67.3 | 5182
2 | Feb. | 5022 |  | 2614 | 65 | 0 | 7701 | -1002.2 | -1620.6 | 5078.2
3 | Mar. | 6085.4 |  | 1551.4 | 0 | 0 | 7636.8 | -1721.1 | -771.5 | 5144.2
4 | Apr. | 7137.1 |  | 506 | 56 | 0 | 7699.1 | -2691.7 | 222 | 5229.4
5 | May. | 5585.9 |  | 825 | 1274.1 | 0 | 7685 | -712 | -1514.6 | 5458.4
6 | Jun. | 6876 |  | 0 | 800 | 0 | 7676 | -797.6 | -629 | 6249.4
7 | Jul. | 6880.1 |  | 740 | 57 | 0 | 7677.1 | -917.7 | -629 | 6130.4
8 | Aug. | 7318.3 |  | 274.9 | 79 | 0 | 7672.2 | -1285.4 | -194.9 | 6191.9
9 | Sep. | 4885.6 |  | 1249.1 | 1525 | 0 | 7659.7 | 360.3 | -2143.6 | 5876.4
10 | Oct. | 5395.1 |  | 2103.6 | 186 | 0 | 7684.7 | -403.7 | -1514.6 | 5766.4
11 | Nov. | 7162 |  | 419.5 | 123 | 0 | 7704.5 | -2642.1 | 0 | 5062.4
12 | Dec. | 7249.7 |  | 444.5 | 11 | 0 | 7705.2 | -2774.8 | 105 | 5035.4
*Reduction in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc.
Page 3

## Part II Sch 3
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report |  |  |  |  | Please Type:
FERC Form No. 714 (1997) |  |  | For the Year Ending December 31, 1997 |  |  |  |  | Utility Code | 803
[8 empty] | Utility Name | Arizona Public Service Company
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total column (d) should equal the difference in the totals for columns (e) and
(f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions,
please refer to attached Schedule 3 Instructions on pages 11 and 12.
Control Area Load Sources at Time of Control Area Monthly Peak Demand,
Based on Net Energy For Load (NEL)
|  | Control Area | Net Actual | Net Energy for Load | Output of | Unit of Firm | Unit of Firm | Net Non-Firm | Monthly | Monthly
Line |  | Net Generation | Interchange | (MWh) | Generating Plants | Purchases | Sales | & Inadvertent | Peak Demand (MW) | Minimum
No. | Month | (MWh) | (MWh) | (c+d) | (MW) | (MW) | (MW) | (MW) | (f+g+h+i) | Demand (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | January | 4469584.451 | -2919110 | 1550474.451 | 6272 | 1134 | -2694 | -1444 | 3268 | 1636
2 | February | 3588235.523 | -2240638 | 1347597.523 | 5984 | 1283 | -2625 | -1578 | 3064 | 1619
3 | March | 3318419.013 | -1884493 | 1433926.013 | 5098 | 1287 | -1799 | -1771 | 2815 | 1620
4 | April | 4236394.528 | -2794794 | 1441600.528 | 6501 | 1253 | -2691 | -2050 | 3013 | 1629
5 | May | 4086114.669 | -2284616 | 1801498.669 | 5291 | 1628 | -1756 | -1287 | 3876 | 1705
6 | June | 4048097.988 | -2222695 | 1825402.988 | 6318 | 2509 | -2681 | -2183 | 3963 | 1719
7 | July | 4331133.254 | -2169349 | 2161784.254 | 6519 | 2384 | -2641 | -1883 | 4379 | 1971
8 | August | 4461932.354 | -2198385 | 2263547.354 | 6833 | 2450 | -2440 | -2324 | 4519 | 2121
9 | September | 3245667.288 | -1217276 | 2028391.288 | 5280 | 2175 | -1746 | -1390 | 4319 | 1978
10 | October | 3355926.548 | -1761610 | 1594316.548 | 5013 | 2042 | -1760 | -1263 | 4032 | 1603
11 | November | 4209523.598 | -2827052 | 1382471.598 | 6377 | 1130 | -2646 | -2228 | 2633 | 1611
12 | December | 4638031.994 | -3001010 | 1637021.994 | 6691 | 1175 | -2661 | -2056 | 3149 | 1771
13 | Total | 47989061.208 | -27521028 | 20468033.208
Page 4

## Part II Sch 4
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 |  | Utility Code | 803
|  |  |  | Utility Name | Arizona Public Service Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent
control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.
| Name of Adjacent Control Area |  | Control Area Interconnection |  | Line or Bus Voltage
Line |  |  | Line or Bus Names |  | (kV)
No.
(a) | (b) |  | (c) |  | (d)
1 | Salt River Project |  | Cholla |  | 500kV
2 | Salt River Project |  | Navajo 1 |  | 500kV
3 | Salt River Project |  | Navajo 2 |  | 500kV
4 | Salt River Project |  | Navajo 3 |  | 500kV
5 | Salt River Project |  | Navajo SS |  | 500kV
6 | Salt River Project |  | Palo Verde 1 |  | 500kV
7 | Salt River Project |  | Palo Verde 2 |  | 500kV
8 | Salt River Project |  | Palo Verde 3 |  | 500kV
9 | Salt River Project |  | Palo Verde SS |  | 500kV
10 | Salt River Project |  | Westwing |  | 500kV
11 | Salt River Project |  | Agua Fria |  | 230kV
12 | Salt River Project |  | Deer Valley |  | 230kV
13 | Salt River Project |  | Kyrene |  | 230kV
14 | Salt River Project |  | Ocotillo |  | 230kV
Page 1 of 3
Page 5
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 |  | Utility Code | 803
|  |  |  | Utility Name | Arizona Public Service Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent
control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.
| Name of Adjacent Control Area |  | Control Area Interconnection |  | Line or Bus Voltage
Line |  |  | Line or Bus Names |  | (kV)
No.
(a) | (b) |  | (c) |  | (d)
1 | Salt River Project |  | Pinnacle Peak |  | 230kV
2 | Salt River Project |  | Westwing |  | 230kV
3 | Salt River Project |  | Agua Fria |  | 69kV
4 | Salt River Project |  | Chandler |  | 69kV
5 | Salt River Project |  | Gilbert |  | 69kV
6 | Salt River Project |  | White Tanks |  | 69kV
7 | Salt River Project |  | Papago Butte |  | 12kV
8 | Southern California Edison |  | Eldorado |  | 500kV
9 | Los Angeles Department of Water and Power |  | Navajo |  | 500kV
10 | Public Service of New Mexico |  | Four Corners |  | 230kV /345kV
11 | Public Service of New Mexico |  | Showlow |  | 69kV
12 | Pacificorp Electric Operations East |  | Four Corners |  | 345kV
13 | Pacificorp Electric Operations East |  | Cholla |  | 500kV
14 | Western Area Power Authority -Lower Colorado |  | Pinnacle Peak |  | 230kV
Page 2 of 3
Page 5
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 |  | Utility Code | 803
|  |  |  | Utility Name | Arizona Public Service Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent
control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.
| Name of Adjacent Control Area |  | Control Area Interconnection |  | Line or Bus Voltage
Line |  |  | Line or Bus Names |  | (kV)
No.
(a) | (b) |  | (c) |  | (d)
1 | Western Area Power Authority - Lower Colorado |  | Prescott |  | 230kV
2 | Western Area Power Authority - Lower Colorado |  | Westwing |  | 230kV
3 | Western Area Power Authority - Lower Colorado |  | Saguaro |  | 115kV
4 | Western Area Power Authority - Lower Colorado |  | Santa Rosa |  | 115kV
5 | Western Area Power Authority - Lower Colorado |  | Gila |  | 69kV
6 | Western Area Power Authority - Lower Colorado |  | North Gila |  | 69kV
7 | Western Area Power Authority - Upper Colorado |  | Four Corners |  | 230kV
8 | Western Area Power Authority - Lower Colorado |  | Westwing |  | 500kV
9 | Tuscon Electric Power |  | Saguaro |  | 500kV
10 | Tuscon Electric Power |  | Westwing |  | 500kV
11 | Tuscon Electric Power |  | Saguaro |  | 115kV
12 | Imperial Irrigation District |  | Yucca Steam |  | 69kV
13 | San Diego Gas and Electric |  | North Gila |  | 500kV
14
Page 3 of 3
Page 5

## Part II Sch 5
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 |  |  | Utility Code | 803
[5 empty] | Utility Name | Arizona Public Service Company
Part II - Schedule 5.
Control Area Scheduled and Actual Interchange
Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy. In column (b); the total annual megawatthours (MWh) of the scheduled interchange that
were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual
actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), and (f). The difference in the totals for columns (e) and (f) should equal the total in column
(d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on pages 12 and 13.
Line | Name of Control Area |  | Scheduled Interchange |  | Actual Interchange Between Adjacent
No. |  |  | Between Control Areas |  | Control Areas
|  |  | * (MWh) * |  | * (MWh) *
|  |  | Received | Delivered | Received | Delivered
(a) | (b) |  | (c) | (d) | (e) | (f)
1 | Imperial Irrigation District |  | 336 | 0 | 304842 | 50441
2 | Los Angeles Department of Water and Power |  | 54937 | 6310418 | 0 | 6906930
3 | Pacificorp |  | 8013197 | 2694027 | 3442997 | 10721
4 | Public Service Company of New Mexico |  | 1760351 | 5690340 | 138066 | 1139445
5 | Salt River Project |  | 22911044 | 35109802 | 28834619 | 36379315
6 | San Diego Gas and Electric |  | 1118625 | 356212 | 635298 | 0
7 | Southern California Edison |  | 339792 | 7625552 | 0 | 7205908
8 | Tuscon Electric Power |  | 3165354 | 3874676 | 0 | 2650223
9 | Western Area Power Authority - Lower Colorado |  | 1889646 | 6691488 | 2106940 | 8199787
10 | Western Area Power Authority - Upper Colorado |  | 3336869 | 1313361 | 21909 | 462929
11 | Total |  | 42590151 | 69665876 | 35484671 | 63005699
Page 6

## Part III Sch 1
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 | Utility Code | 803
|  |  | Utility Name | Arizona Public Service Company
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to
Instructions on page 16.
Line | Electric Utility Name |  | Electric Utility Coincident Peak Demand
No. |  |  | (MW)
|  |  | Summer | Winter
(a) | (b) |  | (c) | (d)
1 | Arizona Public Service Company |  | 4455 | 3167
2 | Electrical District No. 1 |  | 0 | 0
3 | Electrical District No. 3 |  | 0 | 0
4 | Electrical District No. 4 & 5 |  | 0 | 0
5 | Electrical District No. 6 |  | 0 | 0
6 | Electrical District No. 7 |  | 0 | 0
7 | Electrical District No. 8 |  | 0 | 2
8 | Aguila |  | 0 | 0
9 | Buckeye |  | 0 | 0
10 | Harquahala |  | 0 | 0
11 | Maricopa |  | 0 | 0
12 | McMullen |  | 0 | 0
0
Page 1 of 2
Page 8
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  | For the Year Ending December 31, 1997 | Utility Code | 803
|  |  | Utility Name | Arizona Public Service Company
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to
Instructions on page 16.
Line | Electric Utility Name |  | Electric Utility Coincident Peak Demand
No. |  |  | (MW)
|  |  | Summer | Winter
(a) | (b) |  | (c) | (d)
1 | Roosevelt |  | 0 | 0
2 | Tonopah |  | 0 | 0
3 | Yuma Irrigation District |  | 0 | 0
4 | Wickenburg |  | 2 | 4
5 | Tohono O'odham |  | 10 | 11
6 | Colorado River Indian Irrigation Project |  | 0 | 0
7 | San Carlos Indian Irrigation Project |  | 21 | 21
8 | Southern California Edison |  | 0 | 0
9 | Wellton-Mohawk |  | 0 | 0
10 | Citizens Utilities |  | 238 | 167
11 | City of Williams |  | 3 | 4
12
Page 2 of 2
Page 8

## Part IV
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (1997) |  |  | For the Year Ending December 31, 1997 | Utility Code 803
Utility Name Arizona Public Service Company
Part IV.
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number
in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed.
Page | Line | Column | Notes
No. | No. | Letter
(a) | (b) | (c) | (d)
2 | 1,3 | c | These plants are Joint Ownership plants within APS' Control Area. Net capability and peak load represent the Total Plant. APS'
ownership of the plants are as follows: Palo Verde 1,2,3 = 29.1%; Four Corners 4,5 = 15%.
2 | 11 | c | Yuma Cogeneration Association is a qualified facility (QF) operating within the APS control area. The energy output is dynamically
scheduled to the San Diego Control Area. The energy is shown as a flow through with a zero net to APS Control Area.
3 | 1-12 | c | YCA generation to San Diego Control Area included.
6 | All | c,d | Based on summation of monthly schedules between each control area (Mountain Standard Time).
6 | All | e,f | Based on summation of monthly telemetry (actual metering) between each control area (Mountain Standard Time).
7 | Part | II | Schedule 6 values provided were obtained by after-the-fact production costing computer runs which performed hourly economic dispatches
using actual system loads, generating unit availability, heat rates, fuel costs and variable O & M.
9 | Part | III | Schedule 2 hourly data submitted by Western Systems Coordinating Council.
Page 10