## 1997 Forecast
PLATTE RIVER POWER AUTHORITY
1997 Load Forecast
(Final 3/3/97)
|  | (Final 3/3/97) | Revised 7/17/97
SUMMER PEAK PROJECTIONS (MW) (August)
Summer | Coincident | Coincident | Coincident | % growth over | avg. annual
Season | Total (Low) | Total (Base) | Total (High) | previous year | growth (%)
1995 |  | 343.4 |  | 10 | (Peak 8/29/95 1600 hrs)
1996 |  | 346.4 |  | 0.87362 | (Peak 8/12/96 1600 hrs)
1997 | 347 | 370 | 393 | 6.8129 | (Peak 7/22/97 1700 hrs 370.231 MW)
1998 | 359 | 383 | 407 | 3.5135
1999 | 371 | 396 | 421 | 3.3943
2000 | 383 | 409 | 435 | 3.2828
2001 | 395 | 422 | 449 | 3.1785
2002 | 407 | 435 | 463 | 3.0806
2003 | 418 | 448 | 478 | 2.9885
2004 | 429 | 461 | 493 | 2.9018
2005 | 441 | 474 | 507 | 2.82
2006 | 453 | 487 | 521 | 2.7426
2007 | 465 | 500 | 535 | 2.6
2008 | 476 | 513 | 550 | 2.5341
2009 | 486 | 526 | 564 | 2.4715
2010 | 499 | 539 | 579 | 2.4119
2011 | 511 | 552 | 593 | 2.3551
2012 | 522 | 565 | 608 | 2.3009
2013 | 533 | 578 | 623 | 2.2491
2014 | 545 | 591 | 637 | 2.1997
2015 | 556 | 604 | 652 | 2.1523
2016 | 568 | 617 | 666 | 2.1523
WINTER PEAK PROJECTIONS (MW) (January)
Winter | Coincident |  | Coincident | % growth over | avg. annual
Season | Total (Low) | Coincident | Total (High) | previous year | growth (%)
Total (Base)
1995-96 |  | 336 |  | 6.8 | (Peak 1/30/96 1900 hrs)
1996-97 |  | 364.492 |  | 8.4798 | (Peak 12/17/96 1800 hrs)
1997-98 | 324 | 370 | 408 | 1.5111 | (expected peak Jan 1998)
1998-99 | 336 | 380 | 424 | 2.7027
1999-00 | 344 | 390 | 436 | 2.6316
2000-01 | 351 | 400 | 449 | 2.5641
2001-02 | 359 | 410 | 461 | 2.5
2002-03 | 367 | 420 | 473 | 2.439
2003-04 | 375 | 430 | 485 | 2.381
2004-05 | 382 | 440 | 498 | 2.3256
2005-06 | 390 | 450 | 510 | 2.2727
2006-07 | 397 | 460 | 523 | 2.2222
2007-08 | 404 | 470 | 536 | 2.1739
2008-09 | 412 | 480 | 548 | 2.1277
2009-10 | 419 | 490 | 561 | 2.0833
2010-11 | 426 | 500 | 574 | 2.0408
2011-12 | 434 | 510 | 586 | 2
2012-13 | 441 | 520 | 599 | 1.9608
2013-14 | 448 | 530 | 612 | 1.9231
2014-15 | 455 | 540 | 625 | 1.8868
2015-16 | 462 | 550 | 638 | 1.8519
2016-17 | 469 | 560 | 651 | 1.8182
ENERGY PROJECTIONS (GWh)
Calendar | Total Energy | Total Energy | Total Energy | % growth over | avg. annual
Year | (Low) | (Base) | (High) | previous year | growth (%) | Load Factor
1995 |  | 2028.4 |  | 4.9 |  | 69
1996 |  | 2132.7 |  | 5.142 |  | 66.794
1997 | 2151 | 2229 | 2307 | 4.5154 |  | 68.7708
1998 | 2225 | 2307 | 2389 | 3.4993 |  | 68.7614
1999 | 2299 | 2386 | 2473 | 3.4244 |  | 68.7814
2000 | 2375 | 2466 | 2557 | 3.3529 |  | 68.8281
2001 | 2450 | 2545 | 2640 | 3.2036 |  | 68.8448
2002 | 2524 | 2624 | 2724 | 3.1041 |  | 68.8605
2003 | 2599 | 2703 | 2807 | 3.0107 |  | 68.8754
2004 | 2673 | 2782 | 2891 | 2.9227 |  | 68.8894
2005 | 2747 | 2861 | 2975 | 2.8397 |  | 68.9026
2006 | 2822 | 2941 | 3060 | 2.7962 |  | 68.9385
2007 | 2896 | 3020 | 3144 | 2.6862 |  | 68.9498
2008 | 2970 | 3099 | 3228 | 2.6159 |  | 68.9605
2009 | 3044 | 3178 | 3312 | 2.5492 |  | 68.9706
2010 | 3117 | 3257 | 3397 | 2.4858 |  | 68.9803
2011 | 3191 | 3336 | 3481 | 2.4255 |  | 68.9895
2012 | 3265 | 3415 | 3565 | 2.3681 |  | 68.9983
2013 | 3338 | 3494 | 3650 | 2.3133 |  | 69.0067
2014 | 3413 | 3574 | 3735 | 2.2896 |  | 69.034
2015 | 3486 | 3653 | 3820 | 2.2104 |  | 69.0412
2016 | 3559 | 3732 | 3905 | 2.1626 |  | 69.0482
Prepared by: Don Robinson 2/14/97
Approved by: Management as revised 3/3/97
Revised by: Don Robinson 7/17/97
Approved by: Management as revised 7/21/97
Notes: Demands shown are coincident on Platte River's system peak.

## 1998 Forecast
PLATTE RIVER POWER AUTHORITY
1998 Load Forecast
(June 1998)
SUMMER PEAK PROJECTIONS (MW) (August)
Summer | Coincident | Coincident | Coincident | % growth over | avg. annual
Season | Total (Low) | Total (Base) | Total (High) | previous year | growth (%)
1997 |  | 370 |  | 6.8 | (Peak 7/22/97 1700 hrs 370.231 MW)
1998 | 374 | 383 | 392 | 3.5135 | (Peak 7/20/98 1700 hrs 410.364 MW)
1999 | 398 | 408 | 430 | 6.5274
2000 | 418 | 429 | 438 | 5.1471
2001 | 430 | 442 | 453 | 3.0303
2002 | 443 | 455 | 467 | 2.9412
2003 | 455 | 468 | 481 | 2.8571
2004 | 467 | 481 | 495 | 2.7778
2005 | 479 | 494 | 509 | 2.7027
2006 | 491 | 507 | 523 | 2.6316
2007 | 504 | 520 | 536 | 2.5
2008 | 516 | 533 | 550 | 2.439
2009 | 528 | 546 | 564 | 2.381
2010 | 540 | 559 | 578 | 2.3256
2011 | 552 | 572 | 592 | 2.2727
2012 | 565 | 585 | 605 | 2.2222
2013 | 577 | 598 | 619 | 2.1739
2014 | 589 | 611 | 633 | 2.1277
2015 | 601 | 624 | 647 | 2.0833
2016 | 613 | 637 | 661 | 2.0833
2017 | 625 | 650 | 675 | 2.0408
WINTER PEAK PROJECTIONS (MW) (January)
Winter | Coincident | Coincident | Coincident | % growth over | avg. annual
Season | Total (Low) | Total (Base) | Total (High) | previous year | growth (%)
1997-98 |  | 361 |  | -1 | (Peak 12/10/97 1800 hrs 360.955 MW)
1998-99 | 367 | 380 | 393 | 5.2632
1999-00 | 396 | 410 | 404 | 7.8947
2000-01 | 405 | 420 | 435 | 2.439
2001-02 | 414 | 430 | 446 | 2.381
2002-03 | 423 | 440 | 457 | 2.3256
2003-04 | 432 | 450 | 468 | 2.2727
2004-05 | 440 | 460 | 480 | 2.2222
2005-06 | 449 | 470 | 491 | 2.1739
2006-07 | 458 | 480 | 502 | 2.1277
2007-08 | 467 | 490 | 513 | 2.0833
2008-09 | 476 | 500 | 524 | 2.0408
2009-10 | 485 | 510 | 535 | 2
2010-11 | 493 | 520 | 547 | 1.9608
2011-12 | 502 | 530 | 558 | 1.9231
2012-13 | 511 | 540 | 569 | 1.8868
2013-14 | 520 | 550 | 580 | 1.8519
2014-15 | 529 | 560 | 591 | 1.8182
2015-16 | 538 | 570 | 602 | 1.7857
2016-17 | 546 | 580 | 614 | 1.7544
2017-18 | 555 | 590 | 625 | 1.7241
ENERGY PROJECTIONS (GWh)
Calendar | Total Energy | Total Energy | Total Energy | % growth over | avg. annual
Year | (Low) | (Base) | (High) | previous year | growth (%) | Load Factor
1997 |  | 2212.724 |  | 3.8 |  | 70
1998 | 2271 | 2307 | 2343 | 4.2606 |  | 68.7614
1999 | 2377 | 2416 | 2455 | 4.7248 |  | 67.5978
2000 | 2545 | 2587 | 2629 | 7.0778 |  | 68.8391
2001 | 2621 | 2666 | 2711 | 3.0537 |  | 68.8547
2002 | 2697 | 2745 | 2793 | 2.9632 |  | 68.8695
2003 | 2773 | 2824 | 2875 | 2.878 |  | 68.8834
2004 | 2849 | 2903 | 2957 | 2.7975 |  | 68.8966
2005 | 2925 | 2982 | 3039 | 2.7213 |  | 68.9091
2006 | 3002 | 3062 | 3122 | 2.6828 |  | 68.9435
2007 | 3078 | 3141 | 3204 | 2.58 |  | 68.9542
2008 | 3154 | 3220 | 3341 | 2.5151 |  | 68.9643
2009 | 3229 | 3299 | 3369 | 2.4534 |  | 68.974
2010 | 3305 | 3378 | 3451 | 2.3947 |  | 68.9833
2011 | 3381 | 3457 | 3533 | 2.3387 |  | 68.9921
2012 | 3457 | 3536 | 3615 | 2.2852 |  | 69.0005
2013 | 3533 | 3615 | 3697 | 2.2342 |  | 69.0086
2014 | 3609 | 3695 | 3781 | 2.213 |  | 69.035
2015 | 3685 | 3774 | 3863 | 2.138 |  | 69.042
2016 | 3761 | 3853 | 3945 | 2.0933 |  | 69.0487
2017 | 3836 | 3932 | 4027 | 2.0504 |  | 69.0551
Prepared by: Don Robinson 6/10/98
Approved by: Management as revised 7/10/98
Notes: Demands shown are coincident on Platte River's system peak.