## LoadFactor
1998 FORECAST OF NET REQUIREMENTS, SALES, DEMAND AND LOAD FACTOR
|  |  | SUMMER | WINTER
| Long-term Energy | Long-term Energy | Peak Demand | Peak Demand
| Requirements | Sales | Reduced | Reduced | SUMMER
| Reduced by | Reduced by | by Energy | by Energy | LOAD
| Energy Efficiencies | Energy Efficiencies | Efficiencies | Efficiencies | FACTOR
YEAR | Busbar - GWH | Busbar - GWH | MW | MW | Percentage
1999 | 17754 | 16398 | 3603.874 | 2811.022 | 56.24%
2000 | 18041 | 16663 | 3666.347 | 2859.751 | 56.17%
2001 | 18285 | 16888 | 3734.081 | 2912.583 | 55.9%
2002 | 18600 | 17179 | 3844.378 | 2998.615 | 55.23%
2003 | 18963 | 17515 | 3950.378 | 3081.295 | 54.8%
2004 | 19354 | 17876 | 4039.378 | 3150.715 | 54.7%
2005 | 19743 | 18235 | 4086.378 | 3187.375 | 55.15%
2006 | 20099 | 18564 | 4169.378 | 3252.115 | 55.03%
2007 | 20455 | 18893 | 4297.378 | 3351.955 | 54.34%
2008 | 20826 | 19235 | 4404.378 | 3435.415 | 53.98%
2009 | 21182 | 19564 | 4506.378 | 3514.975 | 53.66%
2010 | 21540 | 19895 | 4605.378 | 3592.195 | 53.39%
2011 | 21899 | 20227 | 4703.378 | 3668.635 | 53.15%
2012 | 22283 | 20581 | 4796.378 | 3741.175 | 53.03%
2013 | 22674 | 20942 | 4887.378 | 3812.155 | 52.96%
2014 | 23056 | 21295 | 4947.378 | 3858.955 | 53.2%
2015 | 23424 | 21635 | 5035.378 | 3927.595 | 53.1%
2016 | 23780 | 21964 | 5121.378 | 3994.675 | 53.01%
2017 | 24146 | 22301 | 5210.378 | 4064.095 | 52.9%
2018 | 24505 | 22634 | 5298.378 | 4132.735 | 52.8%
2019 | 24861 | 22962 | 5384.378 | 4199.815 | 52.71%
2020 | 25214 | 23288 | 5469.378 | 4266.115 | 52.63%
Energy Requirements are Long-term Net Requirements Adjusted by Maximized Energy Efficiency Impacts in GWH from
Electric Net Sales and Net Requirements Forecasts for 1998-2020, Approved September 15, 1997
Electric Summer Peak Demand Forecast approved March 30, 1998
Electric Winter Peak Demand Forecast represents 78% of Summer Peak Demand Forecast
Load Factor = GWH Requirements X 1000 divided by Summer Peak Demand MW X 365 days X 24 hours per day