## Page 3
Unavailable Capability Due to:
Line No. (a) | Month (b) | Available Capability (MW) (c) | Planned Outage and Derating (MW) (d) | Unplanned Outage and Derating (MW) (e) | Other Outage and Derating (MW) (f) | Total (c + d + e + i) (MW) (g) | Available (MW) (h) | Not Available (MW) (i) | Total Capability (g + h + l) (j)
1 | Jan |  |  |  |  | 0 |  |  | 0
2 | Feb |  |  |  |  | 0 |  |  | 0
3 | Mar |  |  |  |  | 0 |  |  | 0
4 | Apr |  |  |  |  | 0 |  |  | 0
5 | May |  |  |  |  | 0 |  |  | 0
6 | June |  |  |  |  | 0 |  |  | 0
7 | July |  |  |  |  | 0 |  |  | 0
8 | Aug |  |  |  |  | 0 |  |  | 0
9 | Sept |  |  |  |  | 0 |  |  | 0
10 | Oct |  |  |  |  | 0 |  |  | 0
11 | Nov |  |  |  |  | 0 |  |  | 0
12 | Dec |  |  |  |  | 0 |  |  | 0
Line No. (a) | Month (b)
1 | Jan
2 | Feb
3 | Mar
4 | Apr
5 | May
6 | June
7 | July
8 | Aug
9 | Sept
10 | Oct
11 | Nov
12 | Dec

## Page 4
Line No. (a) | Month (b) | Control Area Net Generation (Mwh) (c) | Net Actual Interchange (Mwh) (d) | Net Energy for Load (Mwh) (c + d) (e) | Output of Generating Plants (f) | Unit or Firm Purchases (MW) (g) | Unit or Firm Sales (MW) (h) | Net Non-Firm & Inadvertent (MW) (i) | Monthly Peak Demand (MW) (f + g - h + i) (j) | Monthly Minimum Demand (MW) (k) | Four Corners Generation | Navajo Generation | San Juan Generation | 458 Total Metered System | 424 NTUA Total | Net Interchange
1 | Jan | 895546 | 260485 | 635061 | 1442 | 0 | 185 | -87 | 1170 | 414 | 68003 | 66752 | 198389 | -72659 |  | 260485 | -72659 | -72659 | 0
2 | Feb | 766695 | 207349 | 559346 | 1305 |  | 165 | -56 | 1084 | 602 | 51789 | 49494 | 168604 | -62538 |  | 207349 | -62538 | -62538 | 0
3 | Mar | 741214 | -24429 | 765643 | 1321 |  | 155 | -130 | 1036 | 586 | 53190 | 44765 | 18143 | -140527 |  | -24429 | -140527 | -140527 | 0
4 | Apr | 679857 | 86490 | 593367 | 1316 |  | 134 | -62 | 1120 | 541 | 72191 | 52907 | 149536 | -188144 |  | 86490 | -188144 | -188144 | 0
5 | May | 865930 | 141835 | 724095 | 1605 |  | 143 | -35 | 1427 | 633 | 49404 | 91691 | 170138 | -169398 |  | 141835 | -169398 | -169398 | 0
6 | June | 832872 | 72735 | 760137 | 1486 | 110 | 151 | 35 | 1480 | 475 | 54482 | 85148 | 159074 | -225969 |  | 72735 | -225969 | -225969 | 0
7 | July | 995795 | 128270 | 867525 | 1806 | 110 | 148 | -144 | 1624 | 748 | 48941 | 94753 | 228395 | -243819 |  | 128270 | -243819 | -243819 | 0
8 | Aug | 1012732 | 128976 | 883756 | 1782 | 110 | 149 | -84 | 1659 | 779 | 67373 | 106458 | 206813 | -251668 |  | 128976 | -251668 | -251668 | 0
9 | Sept | 949741 | 122313 | 827428 | 1605 | 110 | 152 | 27 | 1590 | 731 | 31822 | 110401 | 200109 | -220019 |  | 122313 | -220019 | -220019 | 0
10 | Oct | 902445 | 229813 | 672632 | 1597 |  | 149 | 31 | 1479 | 628 | 40408 | 98831 | 168822 | -78248 |  | 229813 | -78248 | -78248 | 0
11 | Nov | 894369 | 301850 | 592519 | 1236 |  | 171 | -34 | 1031 | 621 | 73445 | 97756 | 192663 | -62014 |  | 301850 | -62014 | -62014 | 0
12 | Dec | 963775 | 280794 | 682981 | 1233 |  | 167 | 101 | 1167 | 659 | 78487 | 111629 | 202385 | -111707 |  | 280794 | -111707 | -111707 | 0
|  | 10500971 | 1936481 | 8564490 | [6 empty] | 689535 | 1010585 | 2063071 | -1826710 |  | 1936481 | -1826710 | -1826710 | 0
1869
-1826710

## Ctrl Area Capabilities
FERC Form 714 1996
Part II Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
| 7 | 7 | 20 | 23 | 30 | 19 | 16 | 5 | 8 | 2 | 3 | 11
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
S.J. GEN | 314 | 314 | 314 | 157 | 314 | 314 | 314 | 314 | 314 | 314 | 233 | 157
NAV | 169 | 169 | 113 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 113
F.C. | 104 | 104 | 52 | 104 | 52 | 52 | 52 | 104 | 0 | 52 | 104 | 104
SPR | 760 | 760 | 760 | 760 | 528 | 760 | 760 | 685 | 760 | 760 | 760 | 760
IRV ST | 422 | 422 | 422 | 422 | 422 | 422 | 422 | 422 | 422 | 422 | 312 | 422
G.T. | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
AVL CAP col(c) | 1986 | 1986 | 1878 | 1829 | 1702 | 1934 | 1934 | 1911 | 1882 | 1934 | 1795 | 1773
UNAVAIL
PLANNED col(d) | 0 | 0 | 56 | 157 | 52 | 52 | 52 |  |  |  | 110
UNPLAN col(e) | 0 | 0 | 52 |  | 232 |  |  | 75 | 104 | 52 | 81 | 213
OTHER col(f)
TOTAL col(g) | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986 | 1986
EXTERNAL
AVAIL col(h) | -185 | -165 | -155 | -134 | -143 | -151 | -148 | -149 | -152 | -149 | -171 | -167
NOT AVL col(i)
TOTAL col(j) | 1801 | 1821 | 1831 | 1852 | 1843 | 1835 | 1838 | 1837 | 1834 | 1837 | 1815 | 1819
Availability based on 2nd page of RATT sheet.

## Ctrl Area Sch & Actual
1997 FERC Form 714 Part II - Schedule 5
Control Area Scheduled and Actual Interchange
METERED TIES | [8 empty] | Total
| PNM |  | DOE |  | SRP |  | APS |  | Metered
1997 | Received | Delivered | Received | Delivered | Received | Delivered | Received | Delivered | System | NTUA
*
JAN
FEB
MAR
APR
MAY
JUN
JUL
AUG
SEP
OCT
NOV
DEC
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
from PNM |  |  |  |  | Peggy x3834 uses Nerc
Rodney | net agreed |  |  |  | CST #'s = no check
|  |  | John Dak |  |  |  | Sherry Lorbeck x1126
* includes NTUA to reflect TEP/NTUA load
SCHEDULED TIES | [8 empty] | Total
| PNM |  | DOE |  | SRP |  | APS |  | Scheduled
1994 | Received | Delivered | Received | Delivered | Received | Delivered | Received | Delivered | System | NTUA
JAN
FEB
MAR
APR
MAY
JUN
JUL
AUG
SEP
OCT
NOV
DEC
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
from PNM
Rodney | net agreed

## Interconnects
1997
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
Actual
APS | -188184 | -188443 | -193282 | -237009 | -243081 | -303555 | -307552 | -268484 | -236124 | -170549 | -152726 | -161378 | -2650367 | -7109932
EPE | 372533 | 321871 | 366307 | 380895 | 387341 | 416304 | 444823 | 433903 | 362008 | 324428 | 367528 | 374509 | 4552450
PNM | -341421 | -272388 | -354334 | -370732 | -389197 | -388999 | -430527 | -461984 | -383956 | -341976 | -351935 | -372116 | -4459565 | 5283222
SRP | 22862 | 6109 | -14649 | -65951 | 35952 | -15408 | -9010 | 20135 | 22898 | 46014 | 44415 | 29396 | 122763
WALC | 61551 | 70313 | 55431 | 104653 | 39587 | 65689 | 58447 | 24762 | 15155 | 63835 | 30704 | 17882 | 608009
WAUC | -37742 | -31278 | -31093 | -25352 | -31194 | -27520 | -28885 | -31607 | -28486 | -33037 | -34192 | -35689
Total | -72659 | -62538 | -140527 | -188144 | -169398 | -225969 | -243819 | -251668 | -220019 | -78248 | -62014 | -111707 | -1826710
Scheduled
APS | -94158 | -103046 | -57704 | -57178 | -10162 | -140196 | -59039 | -70096 | -756 | -54594 | -60860 | -3606 | -711395
EPE | 360794 | 301626 | 357965 | 385367 | 386058 | 425339 | 451605 | 432184 | 357715 | 317154 | 361663 | 364072 | 4501542
PNM | -417151 | -346460 | -547494 | -604468 | -606199 | -574969 | -664612 | -643613 | -648051 | -423209 | -396829 | -510073 | -6383128
SRP | 13584 | 15381 | 61908 | -2258 | 338 | -13797 | -32629 | -10520 | 24943 | 20736 | -4841 | 577 | 73422
WALC | 62871 | 70257 | 44312 | 88283 | 58192 | 75050 | 61736 | 41698 | 45794 | 57629 | 39387 | 37929 | 683138
WAUC | -37742 | -31278 | -31093 | -25352 | -31194 | -27520 | -28885 | -31607 | -28486 | -33037 | -34192 | -35689
Total | -111802 | -93520 | -172106 | -215606 | -202967 | -256093 | -271824 | -281954 | -248841 | -115321 | -95672 | -146790 | -1836421
Diff | 39143 | 30982 | 31579 | 27462 | 33569 | 30124 | 28005 | 30286 | 28822 | 37073 | 33658 | 35083 | 9711

## Forecast - Victor Aguirre
Year | Summer Peak (MW) | Winter Peak (MW) | Energy (MWh)
1997 | 1659 | 1170 | 8309774
1998 | 1786 | 1169 | 8496854
1999 | 1830 | 1330.2877 | 8681110
2000 | 1872.09 | 1360.8843 | 8809490
2001 | 1924.5085 | 1398.9891 | 8967490
2002 | 1975.8767 | 1436.3303 | 9147550
2003 | 2025.0172 | 1472.0522 | 9322410
2004 | 2073.9256 | 1507.6053 | 9504980
2005 | 2122.6514 | 1543.0257 | 9686510
2006 | 2171.29 | 1578.3827 | 9865180
2007 | 2219.9086 | 1613.7252 | 10044350
2008 | 2268.5306 | 1649.0701 | 10233540
Thank you,
Victor Aguirre
Fuels and Resource Planning
Tucson Electric Power Company
Phone: (520) 745-7128
Fax: (520) 745-3348
E-mail: vaguirre@tucsonelectric.com