## LoadFactor
2000 FORECAST OF NET REQUIREMENTS, SALES, DEMAND AND LOAD FACTOR
|  |  | SUMMER | WINTER
| Long-term Energy | Long-term Energy | Peak Demand | Peak Demand
| Requirements | Sales | Reduced | Reduced | SUMMER
| Reduced by | Reduced by | by Energy | by Energy | LOAD
| Energy Efficiencies | Energy Efficiencies | Efficiencies | Efficiencies | FACTOR
YEAR | Busbar - GWH | Busbar - GWH | MW | MW | Percentage
2000 | 17851.0333 | 16553.2579 | 3803.766 | 2966.937 | 53.57%
2001 | 18382.8734 | 17046.433 | 3865.262 | 3014.904 | 54.29%
2002 | 18795.9271 | 17429.4576 | 3951.449 | 3082.13 | 54.3%
2003 | 19080.0009 | 17692.8792 | 4027.263 | 3141.265 | 54.08%
2004 | 19623.3925 | 18196.766 | 4082.888 | 3184.653 | 54.87%
2005 | 20110.9818 | 18648.9075 | 4143.901 | 3232.243 | 55.4%
2006 | 20606.9319 | 19108.8018 | 4211.921 | 3285.298 | 55.85%
2007 | 21051.8308 | 19521.3564 | 4278.123 | 3336.936 | 56.17%
2008 | 21530.7634 | 19965.4705 | 4385.836 | 3420.952 | 56.04%
2009 | 21945.1032 | 20349.6877 | 4471.706 | 3487.931 | 56.02%
2010 | 22340.9733 | 20716.7779 | 4561.747 | 3558.163 | 55.91%
2011 | 22729.5243 | 21077.0812 | 4653.601 | 3629.809 | 55.76%
2012 | 23098.8845 | 21419.5887 | 4769.943 | 3720.556 | 55.28%
2013 | 23530.8417 | 21820.1426 | 4914.181 | 3833.061 | 54.66%
2014 | 24024.6586 | 22278.0588 | 5014.832 | 3911.569 | 54.69%
2015 | 24592.048 | 22804.1988 | 5127.813 | 3999.694 | 54.75%
2016 | 25144.1881 | 23316.1982 | 5235.46 | 4083.659 | 54.83%
2017 | 25638.4293 | 23774.5079 | 5381.7 | 4197.726 | 54.38%
2018 | 26135.8091 | 24235.7281 | 5532.925 | 4315.682 | 53.92%
2019 | 26721.4134 | 24778.7587 | 5673.552 | 4425.371 | 53.77%
2020 | 27392.4292 | 25400.9914 | 5793.438 | 4518.882 | 53.97%
Energy Requirements are Long-term Net Requirements Adjusted by Energy Efficiency Impacts in GWH from
Electric Net Sales and Net Requirements Forecasts for 2000-2022, Approved May 9, 2000
Electric Summer Peak Demand Forecast approved February 21, 2000
Electric Winter Peak Demand Forecast represents 78% of Summer Peak Demand Forecast
Load Factor = GWH Requirements X 1000 divided by Summer Peak Demand MW X 365 days X 24 hours per day