# June 3, 2002

Meesha Bond

Office of Electrical Power Corporation

Federal Energy Realty Commission

Room 53-09, ER-16.2

888 First Street, NE

Washington, DC 20426

Subject:     System Lambda Component

The City of Homestead’s Automatic Generation Controller does not contain a System Lambda component.  This is because all Sixteen (16) generators are diesel engines, and there is no incremental energy costs associated with these units.  Each diesel unit has a flat heat rate curve and there is no real cost curve associated with it.  The units come on line as needed at low lead which is not very economical, and are then ramped up to their rated output where these units are most efficient and economical.

The City of Homestead keeps on-line generation to meet both Spinning and Operating Reserve requirements as mandated by the North American Reliability Council (NERC).

The units are dispatched according to cost of generation (fuel plus operation and maintenance).  Energy is purchased against these units if it is more economical.

If you have any questions, please feel free to contact me at (305) 247-1801, Ext. 184.

Sincerely,

Vinoosh (Renny) Ramai

System Operations Supervisor

City of Homestead

VR/dj