## Demand Energy
Mid-Continent Area Power Pool (MAPP) | [15 empty] | Page 1
FERC-714 Response: Part III, Schedule II
Projected Energy and Peak Demand For the First Ten Years
and Actual Data for the Previous Year
Monthly Data
Actual Data |  | Units | Notes | 2001 | January | February | March | April | May | June | July | August | September | October | November | December
01 | Peak Hour Demand | MW |  |  | 27808.7748 | 27826.9378 | 25369.3171 | 24194.811 | 27074.5891 | 31423.6458 | 32907.9309 | 33689.5814 | 28859.6468 | 25442.9364 | 27041.6315 | 27522.5029
02 | Net Energy | GWh |  |  | 16436.5466 | 15172.7897 | 15315.6923 | 13680.0369 | 14233.4604 | 15124.1484 | 17512.3489 | 17489.3632 | 14073.3917 | 14650.5369 | 14417.6665 | 16107.4776
Reporting Year |  |  |  | 2002 | January | February | March | April | May | June | July | August | September | October | November | December
03 | Peak Hour Demand | MW |  |  | 29661.6648 | 28260.6753 | 26755.73 | 24713.8517 | 27033.0025 | 31633.5665 | 33551.5784 | 32802.3736 | 29600.7945 | 26496.7845 | 27845.3329 | 29909.7727
04 | Net Energy | GWh |  |  | 17484.6574 | 15404.5559 | 15430.601 | 14036.6092 | 14075.1803 | 14943.4705 | 16749.3609 | 16734.2447 | 14909.8083 | 14752.5996 | 15413.2579 | 17092.7062
Next Year |  |  |  | 2003 | January | February | March | April | May | June | July | August | September | October | November | December
05 | Peak Hour Demand | MW |  |  | 30231.5143 | 28779.9562 | 27292.3665 | 25307.6387 | 27375.9411 | 32084.5583 | 34164.9124 | 33478.6403 | 30498.9216 | 27076.3659 | 28281.0184 | 30412.1984
06 | Net Energy | GWh |  |  | 17859.4457 | 15726.9792 | 15769.5688 | 14336.1601 | 14393.7733 | 15274.423 | 17145.3036 | 17121.253 | 15229.5571 | 15043.3178 | 15695.3218 | 17420.6687
Actual and 10 Year Projection |  |  |  | ACTUAL(2) | January: PROJECTED
Summer |  |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
07 | Peak Hour Demand | MW | 3,4 | 33689 | 33669.2861 | 34278.3682 | 35411.8422 | 36462.653 | 37089.2952 | 37638.2555 | 38176.0059 | 38744.8553 | 39327.355 | 39897.8393
|  |  |  | ACTUAL(2) | PROJECTED
Winter |  |  |  | 2001/02 | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12
08 | Peak Hour Demand | MW | 3,4 | 27987 | 29662.51 | 30265 | 31045.9276 | 31524.0282 | 32037.8741 | 32409.8555 | 32821.9066 | 33259.939 | 33692.6446 | 34154.4159
|  |  |  | ACTUAL(2) | PROJECTED
NEL |  |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
09 | Net Energy | GWh | 5 | 184214.3716 | 187026.295 | 191013.4011 | 198334.4746 | 201752.6266 | 205728.1876 | 208149.7405 | 211188.5213 | 214048.6838 | 217017.065 | 220147.0584
Notes
1 | U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WSCC summarized separately.
2 | Metered peak demand.
3 | Monthly coincident unless otherwise stated. Specify if otherwise:
4 | Peak Hour Demand should be the same as Total Internal Demand reported in EIA-411 Report, Item 2.1 (Summer) and 2.2 (Winter), Line 03.
5 | Total Net Energy for Load is equal to Total Net Generation + Purchases - Sales
2002-01-08