| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 |  |
| --- | --- | --- |
| Part I - Schedule I. Identification and Certification |  |  |

| 1. Respondent Identification: Code: Name: Jason R. Smith 2. Respondent Type: (Please check appropriate box and fill in name) [ ] Part I: Control Area (Complete Parts I, II and IV) Control Area Name: [ X ] Part II: Planning Area (Complete Parts I, III and IV) Planning Area Name: SOUTHWEST POWER POOL | 3. Respondent Mailing Address: 415 NORTH MCKINLEY, #950 PLAZA WEST LITTLE ROCK, AR 72205-3020 4. Contact Person: Name: JASON R. SMITH Title: ENGINEER I Telephone #: 501-614-3293 Ext. 5. Certifying Official: Name: JAY CASPARY Title: MANAGER, ENGINEERING Signature: ________________ Date: _______ |
| --- | --- |
| Return Completed Form to: Federal Energy Regulatory Commission Form No. 714 Room 83-14 888 First Street, N.E. Washington, DC 20426 |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part III - Schedule 1. Electric Utilities That Compose the Planning Area (Use continuation sheets if needed) |  |  |

| Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Instructions on pages 23 and 24 . |  |  |  |
| --- | --- | --- | --- |
|  |  | Electric Utility Coincident Peak Demand (MW) |  |
| Line No. (a) | Electric Utility Name (b) | Summer (c) | Winter (d) |
| 1 | CELE-CLECO CORPORATION | 1850 | 1665 |
| 2 | LAFA-CITY OF LAFAYETTE LOUISIANA | 443 | 303 |
| 3 | LEPA-LOUISIANA ELECTRIC POWER AUTHORITY | 234 | 174 |
| 4 | SWPA-SOUTHWEST POWER ADMINISTRATION | 1475 | 606 |
| 5 | AEPW-AMERICAN ELECTRIC POWER – WEST | 8129 | 6543 |
| 6 | GRDA-GRAND RIVER DAM AUTHORITY | 1363 | 963 |
| 7 | OKGE-OKLAHOMA GAS AND ELECTRIC | 5600 | 3864 |
| 8 | WFEC-WESTERN FARMERS ELECTRIC COOPERATIVE | 1143 | 896 |
| 9 | SWPS-SOUTHWESTERN PUBLIC SERVICE COMPANY | 3803 | 2717 |
| 10 | OMPA-OKLAHOMA MUNICIPAL POWER AUTHORITY | 608 | 324 |
| 11 | DEMC-DUKE ENERGY MCCLAIN OKLAHOMA | 0 (Gen only) | 0 (Gen only) |
| 12 | MIDW-MIDWEST ENERGY | 212 | 128 |
| 13 | SUNC-SUNFLOWER ELECTRIC COOPERATIVE | 364 | 273 |
| 14 | WERE-WESTAR ENERGY | 4932 | 3279 |
| 15 | WEPL-AQUILA, WESTPLAINS ENERGY | 547 | 351 |
| 16 | MIPU-AQUILA, MISSOURI PUBLIC SERVICE COMPANY | 1300 | 861 |
| 17 | KACP-KANSAS CITY POWER AND LIGHT COMPANY | 3352 | 2205 |
| 18 | KACY-BOARD OF PUBLIC UTILITIES, KANSAS CITY, KS | 496 | 358 |
| 19 | EMDE-EMPIRE DISTRICT ELECTRIC COMPANY | 1001 | 847 |
| 20 | INDN-CITY OF INDEPENDENCE MISSOURI | 289 | 160 |
| 21 | SPRM-CITY OF SPRINGFIELD MISSOURI | 663 | 411 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part III - Schedule 2. Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load |  |  |

| PLANNING AREA HOURLY DEMAND This data is provided on the attached diskette. | PLANNING AREA FORECAST SUMMER AND WINTER PEAK DEMAND This data is provided on the attached diskette. |
| --- | --- |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part IV. Notes |  |  |

| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |
| --- | --- | --- | --- |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |