## Cover
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report | Form Approved
FERC Form No. 714 (2000) |  |  | For the Year Ending December 31, 2000 | OMB Numbers: 1902 - 0140
|  |  | FERC FORM NO. 714 | (Expires: 7-31-2000)
This report is mandatory under the Federal Power Act, and is a regulatory support requirement as provided by 18 C.F.R. § 141.5 1. Failure to comply may
result in criminal fines, civil penalties and other sanctions as provided by law. Information reported on the FERC Form No. 714 is not considered confidential.
Questions concerning this report will be answered by: Ms. Meesha M. Bond (202) 208-1414 or form714@ferc.fed.us.
This form consists of: Part I, Identification and Certification; Part II, comprising Schedules 1 through 6; Part III, comprising Schedules 1 and 2; and Part IV,
Notes. All respondents are to complete Parts I and IV. Part II is to be completed by each electric utility or group of electric utilities which operates a control
area. Part III is to be completed by each electric utility or group of electric utilities which constitute a planning area and has an annual peak demand that is
greater than 200 MW. An electric utility is a corporation, person, agency, authority, or other legal entity or instrumentality that owns and/or operates facilities
within the United States for the generation, transmission, distribution, or sale of electric energy primarily for use by the public.
Public reporting burden for this collection of information is estimated to average 50 hours per response, including time for reviewing instructions, searching
existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding
this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to Federal Energy Regulatory
Commission, Office of the Chief Information Officer, CI-1, 888 First Street, N.E., Washington, D.C. 20426; and to the Office of Information and Regulatory Affairs,
Office of Management and Budget, Washington, D.C. 20503. You shall not be penalized for failure to respond to this collection of information unless the
collection of information displays a valid OMB control number.
List of Schedules
Part I: Identification and Certification
Part II: Control Area Information
Schedule 1: Generating Plants Included in Reporting Control Area
Schedule 2: Control Area Monthly Capabilities at Time of Monthly Peak Demand
Schedule 3: Control Area Net Energy for Load and Peak Demand Sources by Month
Schedule 4: Adjacent Control Area Interconnections
Schedule 5: Control Area Scheduled and Actual Interchange
Schedule 6: Control Area Hourly System Lambda
Part III: Planning Area Information
Schedule 1: Electric Utilities that Compose the Planning Area
Schedule 2: Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy For Load
Part IV: Notes

## Page 1
Federal Energy Regulatory Comsission |  |  |  |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (2000) |  |  |  |  | For the Year Ending December 31, 2000
Part I - Schedule 1. Identification and Certification
1. | Respondent Identification: | [5 empty] | 3. | Respondent Mailing Address:
Melanie M. Kathmann
Cinergy Services, Inc.
| Code: 3260 |  | Name: | Cinergy Services, Inc. |  |  |  |  | Control Area Operations
139 East Fourth Street, Room 635-Annex
Cincinnati, OH 45201
2. | Respondent Type: (Please check appropriate box and fill in | [5 empty] | 4. | Contact Person:
name)
[8 empty] | Name: | Melanie M. Kathmann
[8 empty] | Title: | Control Area Analyst
| [ X ] | Part 1: Control Area (Complete Parts 1, 11 and IV)
|  | Control Area Name: | [5 empty] | Telephone #: | (513) 287-4346 | Ext.
Cinergy Services, Inc.
| [ X ] | Part 11: Planning Area (Complete Parts 1, III and IV) |  |  |  |  | 5. | Certifying Official:
|  | Planning Area Name: | [5 empty] | Name: | Douglas E. Hils
|  |  | Cinergy Services, Inc. |  |  |  |  | Title: | Manager, Control Area Operations
[8 empty] | Signature: |  | Date:
|  |  |  | Return Completed Form to: |  | Federal Energy Regulatory Commission
Room 83-14
888 First St., N.E.
Washington, D.C. 20426

## Page 2
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondents control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2)
dynamically scheduled plants or units outside the control area. Specifically, identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a
last line. The total In column (d) should equal the value In column (c) on Schedule 2 for the month of the annual peak demand. The total In column (e) should equal the value In column (f) on Schedule 3 for the month of the annual
peak demand. Any differences must be explained In a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15.
Line | Electric Utility Name | Plant Name | Plant Available Capability at the Hour of the | Integrated Net Load on the Plant at the Hour of the
No. |  |  | Annual Peak Demand Based on Net Energy for | Annual Peak Demand Based on Net Energy for Load
|  |  | Load (MW | (MW)
(a) | (b) | (c) | (d) | (e)
1. | PSI Energy | Gibson | 3090 | 3062
2. | PSI Energy | Cayuga | 1064 | 1022
3. | PSI Energy | Gallager | 560 | 561
4. | PSI Energy | Wabash River | 628 | 621
5. | PSI Energy | Edwardsport | 124 | 122
6. | PSI Energy | Noblesville | 86 | 85
7. | PSI Energy | Markland | 45 | 79
8. | PSI Energy | Connersville | 67 | 53
9. | PSI Energy | Miami Wabash | 96 | 0
10. | PSI Energy | Henry County | 135 | 127
11. | Cincinnati Gas & Electric | Walter C. Beckjord | 728 | 820
12. | Cincinnati Gas & Electric | Dicks Creek | 166 | 0
13. | Cincinnati Gas & Electric | William H. Zimmer | 0 | -7
14. | Cincinnati Gas & Electric | East Bend | 392 | 390
CONTINUED

## Page 2 (a)
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondents control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2)
dynamically scheduled plants or units outside the control area. Specifically, identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a
last line. The total In column (d) should equal the value In column (c) on Schedule 2 for the month of the annual peak demand. The total In column (e) should equal the value In column (f) on Schedule 3 for the month of the annual
peak demand. Any differences must be explained In a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15.
Line | Electric Utility Name | Plant Name | Plant Available Capability at the Hour of the | Integrated Net Load on the Plant at the Hour of the
No. |  |  | Annual Peak Demand Based on Net Energy for | Annual Peak Demand Based on Net Energy for Load
|  |  | Load (MW | (MW)
(a) | (b) | (c) | (d) | (e)
1. | Cincinnati Gas & Electric | J. M. Stuart | 676 | 672
2. | Cincinnati Gas & Electric | Killen | 198 | 196
3. | Cincinnati Gas & Electric | Conesville | 312 | 312
4. | Cincinnati Gas & Electric | Woodsdale | 462 | 383
5. | Cincinnati Gas & Electric | Miami Fort | 733 | 711
6. | Cinergy Capital & Trading | Madison | 640 | 556
6. | Sugar Creek Energy LLC | Sugar Creek | 311 | 311
8.
9.
10.
11.
12.
13.
14.
|  | TOTAL | 10513 | 10076

## Page 3
Federal Energy Regulatory Commission |  |  |  |  | Annual Electric Control and Planning Area Report |  |  |  | Please Type:
FERC Form No. 714 (2000) |  |  |  |  | For the Year Ending December 31, 2000 |  |  |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 and 18. Please first read the instructions, then complete this Schedule. The value In column (c) for the month of the
annual peak demand should equal the total in column (d) In Schedule 1. Any difference must be explained in a note.
Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Not Energy For Load (NEL)
|  | Net Capability from Plants Reported on Schedule II |  |  |  |  | External to the Control Area
|  |  | Unavailable Capability Due to: |  |  |  | Net Unit or Firm Capability
(MW)
|  | Available | Planned | Unplanned | Other | Total |  |  | Total Capability
Line |  | Capability | Outage and Derating | Outage and Derating | Outage and Derating* | (c + d + e + f) | Available | Not Available | (g + h + i)
No. | Month | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1. | Jan | 10158 | 341 | 1850 |  | 12349 | 794 |  | 13143
2. | Feb | 10143 | 1581 | 625 |  | 12349 | 794 |  | 13143
3. | Mar | 9689 | 2098 | 562 |  | 12349 | 794 |  | 13143
4. | Apr | 9166 | 2706 | 266 |  | 12138 | 954 |  | 13092
5. | May | 11562 | 15 | 561 |  | 12138 | 954 |  | 13092
6. | Jun | 11304 | 15 | 571 |  | 11890 | 894 |  | 12784
7. | Jul | 10770 | 15 | 1105 |  | 11890 | 894 |  | 12784
8. | Aug | 10202 | 0 | 1533 |  | 11735 | 894 |  | 12629
9. | Sep | 11052 | 13 | 825 |  | 11890 | 894 |  | 12784
10. | Oct | 9730 | 1086 | 1322 |  | 12138 | 954 |  | 13092
11. | Nov | 11724 | 210 | 204 |  | 12138 | 954 |  | 13092
12. | Dec | 11263 | 110 | 976 |  | 12349 | 794 |  | 13143
* Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc.

## Page 4
Federal Energy Regulatory Commission |  |  |  |  | Annual Electric Control and Planning Area Report |  |  |  | Please Type:
FERC Form No. 714 (2000) |  |  |  |  | For the Year Ending December 31, 2000 |  |  |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly 'Net Energy for Load' which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on
Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences Must be explained In a note. For detailed instructions and definitions, please refer to
attached Schedule 3 instructions on pages 19 and 20.
Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL)
|  | Control Area | Net Actual | Net Energy for Load | Output of Generating | Unit or Firm | Unit or Firm | Net Non-Firm & | Monthly | Monthly
Line |  | Net Generation | Interchange | (MWh) | Plants | Purchases | Sales | Inadvertent | Peak Demand | Minimum
No. | Month | (MWh) | (MWh) | (c + d) | (MW) | (MW) | (MW) | (MW) | (MW | Demand (MW)
(f + g - h + i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1. | January | 5495683 | -9765 | 5485918 | 8209 | 0 | 70 | 2 | 8141 | 5322
2. | February | 4651032 | -59118 | 4591914 | 8426 | 0 | 70 | -54 | 8302 | 5049
3. | March | 4849516 | -171679 | 4677837 | 8433 | 0 | 70 | -160 | 8203 | 4799
4. | April | 4360857 | -289005 | 4071852 | 7849 | 0 | 70 | -88 | 7691 | 4581
5. | May | 5021635 | 299251 | 5320886 | 9949 | 0 | 66 | -42 | 9841 | 4412
6. | June | 5464966 | -130363 | 5334603 | 10340 | 0 | 70 | -12 | 10258 | 4589
7. | July | 5984753 | -371843 | 5612910 | 10065 | 0 | 70 | -39 | 9956 | 5120
8. | August | 5932780 | -290825 | 5641955 | 10076 | 0 | 70 | -7 | 9999 | 5391
9. | September | 5306087 | -59889 | 5246198 | 10258 | 0 | 70 | -8 | 10180 | 4655
10. | October | 5027256 | 101702 | 5128958 | 8350 | 0 | 70 | 14 | 8294 | 4628
11. | November | 5348990 | 450085 | 5799075 | 9248 | 0 | 70 | -7 | 9171 | 4717
12. | December | 5755944 | 377560 | 6133504 | 9723 | 0 | 70 | -13 | 9640 | 4895
13. | Total | 63199499 | -153889 | 63045610

## Page 5
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus
voltage in column (d). See Schedule 4 Instructions on pages 20 and 21.
Line | Name of Adjacent Control Area | Control Area Interconnection | Line or Bus Voltage
No. |  | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | Central Illinois Public Service 0000003253 | Gibson - Albion | 345
2. | Central Illinois Public Service 0000003253 | Vincennes - Lawrenceville | 138
3. | Hoosier Energy REC 0000009267 | Ramsey | 345
4. | Hoosier Energy REC 0000009267 | Merom | 345
5. | Hoosier Energy REC 0000009267 | Bloomington | 230
6. | Hoosier Energy REC 0000009267 | Hubble | 138
7. | Hoosier Energy REC 0000009267 | Worthington | 138
8. | Hoosier Energy REC 0000009267 | Batesville - Napoleon | 138
9. | Hoosier Energy REC 0000009267 | Fairview | 138
10. | Hoosier Energy REC 0000009267 | Staunton | 138
11. | Hoosier Energy REC 0000009267 | Georgetown | 138
12. | Hoosier Energy REC 0000009267 | Georgetown | 69
13. | Hoosier Energy REC 0000009267 | Roseburg | 69
14. | Hoosier Energy REC 0000009267 | Sullivan | 69

## Page 5 (a)
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus
voltage in column (d). See Schedule 4 Instructions on pages 20 and 21.
Line | Name of Adjacent Control Area | Control Area Interconnection | Line or Bus Voltage
No. |  | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | Hoosier Energy REC 0000009267 | Staunton | 69
2. | Hoosier Energy REC 0000009267 | Connersville | 69
3. | Indiana Michigan Power 0000009324 | Greentown | 765
4. | Indiana Michigan Power 0000009324 | Cayuga | 345
5. | Indiana Michigan Power 0000009324 | Noblesville | 345
6. | Indiana Michigan Power 0000009324 | Westwood | 345
7. | Indiana Michigan Power 0000009324 | Greentown | 138
8. | Indiana Michigan Power 0000009324 | Newcastle | 138
9. | Indiana Michigan Power 0000009324 | Hunnington | 138
10. | Indiana Michigan Power 0000009324 | Centerville | 138
11. | Indiana Michigan Power 0000009324 | Mier | 138
12. | Indianapolis Power & Light 0000009273 | Whitestown - Guion | 345
13. | Indianapolis Power & Light 0000009273 | Gibson - Petersburg | 345
14. | Indianapolis Power & Light 0000009273 | Sunnyside | 345

## Page 5 (b)
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus
voltage in column (d). See Schedule 4 Instructions on pages 20 and 21.
Line | Name of Adjacent Control Area | Control Area Interconnection | Line or Bus Voltage
No. |  | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | Indianapolis Power & Light 0000009273 | Five Points - Southeastern | 138
2. | Indianapoli Power & Light 0000009273 | Carmel - Southeast | 138
3. | Indianapoli Power & Light 0000009273 | Edwardsport - Petersburg | 138
4. | Indianapoli Power & Light 0000009273 | Francis Creek | 345
5. | Kentucky Utilities 0000010171 | Fairview - Ghent | 138
6. | Kentucky Utilities 0000010171 | Batesville - Ghent | 345
7. | Kentucky Utilities 0000010171 | Speed - Ghent | 345
8. | Louisville Gas & Electric 0000011249 | Gallagher - Paddys Run | 138
9. | Louisville Gas & Electric 0000011249 | Speed - Northside | 138
10. | Louisville Gas & Electric 0000011249 | Jeffersonville | 138
11. | Northern Indiana Public Service 0000013756 | Deedsville | 345
12. | Northern Indiana Public Service 0000013756 | Westwood - South Prairie | 138
13. | Northern Indiana Public Service 0000013756 | Lafayette - Monticello | 138
14. | Northern Indiana Public Service 0000013756 | Rochester - Plymouth | 69

## Page 5 (c)
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus
voltage in column (d). See Schedule 4 Instructions on pages 20 and 21.
Line | Name of Adjacent Control Area | Control Area Interconnection | Line or Bus Voltage
No. |  | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | Southern Indiana Gas & Electric 0000017633 | Oakland City N. E. | 138
2. | Southern Indiana Gas & Electric 0000017633 | Oakland City | 69
3. | Southern Indiana Gas & Electric 0000017633 | Elberfeld | 69
4. | Southern Indiana Gas & Electric 0000017633 | Glezen | 69
5. | Southern Indiana Gas & Electric 0000017633 | Elberfeld - South | 69
6. | Dayton Power & Light | Carlisle - Hutchings (6601) | 69
7. | Dayton Power & Light | Stuart - Brown (5886) | 138
8. | Dayton Power & Light | Stuart - Foster (4511) | 345
9. | Dayton Power & Light | Foster Sugarcreek (4524) | 345
10. | Dayton Power & Light | Stuart - Zimmer (4541) | 345
11. | Dayton Power & Light | Miami Fort - West Milton (4591) | 345
12. | Dayton Power & Light | Foster - Bath | 345
13. | East Kentucky Power Co-op | East Ky. - Buffington (6785) | 138
14. | American Electric Power Company | Tanners Creek - Miami Fort (4504) | 345

## Page 5 (d)
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus
voltage in column (d). See Schedule 4 Instructions on pages 20 and 21.
Line | Name of Adjacent Control Area | Control Area Interconnection | Line or Bus Voltage
No. |  | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | American Electric Power Company | Tanners Creek - East Bend (4512) | 345
2. | American Electric Power Company | Trenton Bank 6 (TB 4) | 138
3. | American Electric Power Company | Collinsville Bank 1 (3281) | 138
4. | Ohio Valley Electric Corporation and Louisville Gas & Electric | Miami Fort - Clifty Creek - Northside (1682) | 138
5. | Ohio Valley Electric Corporation | Pierce - Beckjord (1889) | 138
6. | Ohio Valley Electric Corporation | Pierce - Foster (4501 & 4502) | 345
7. | Ohio Valley Electric Corporation | Buffington Bank 45 | 345
8.
9.
10.
11.
12.
13.
14.

## Page 6
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 5.
Control Area Scheduled and Actual Interchange
Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled Interchange that were received by
the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received
and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference
must be explained in a note. See Schedule 5 instructions on page 21.
Line | Name of Control Area | Scheduled Interchange |  | Actual Interchange Between Control Areas
No. |  | Between Control Areas
|  | (MWh) |  | (MWh)
|  | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1. | American Electric Power Companies | 201930 | 627503 | 15383884 | 10914582
2. | Ameren | 106092 | 90921 | 213106 | 1296783
3. | Hoosier Energy | 621478 | 67873 | 9650931 | 7059461
4. | Indianapolis Power & Light | 21492 | 883 | 1761432 | 4456883
5. | Louisville Gas & Electric Energy | 202479 | 145510 | 3132114 | 2667528
6. | Northern Indiana Gas & Electric | 6093 | 162922 | 172589 | 858777
7. | Southern Indiana Gas & Electric | 31141 | 18115 | 54710 | 911169
8. | Dayton Power & Light | 7778 | 67085 | 6484582 | 1684218
9.
10. | CONTINUED

## Page 6 (a)
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 5.
Control Area Scheduled and Actual Interchange
Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled Interchange that were received by
the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received
and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference
must be explained in a note. See Schedule 5 instructions on page 21.
Line | Name of Control Area | Scheduled Interchange |  | Actual Interchange Between Control Areas
No. |  | Between Control Areas
|  | (MWh) |  | (MWh)
|  | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1. | East Kentucky Power Cooperative, Inc | 15130 | 65143 | 252893 | 137923
2. | Ohio Valley Electric Co. | 72380 | 34259 | 5763441 | 6567
3. | Allegheny | 756 | 1304 | 128239 | 5888
4. | Tennessee Valley Authority | 0 | 0 | 0 | 0
5. | Midwest ISO* | 9108485 | 8963468 | 0 | 0
6.
7.
8.
9.
10. | TOTAL | 10395234 | 10244986 | 42997921 | 29999779
*Not a Control Area but a Nerc-Authorized scheduling agent

## Page 7
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part II - Schedule 6. Control Area System Lambda Data
| Submit on a 3.5 inch diskette formatted for the DOS |  | Provide, as a note in Part IV, an explanation describing the
| operating system the following data file in ASCII format: |  | reason for the unavailability of system lambda information
| the control area's system lambda for each hour of the year |  | and a definite plan for reporting the information with a target
| starting with 1 a.m., January 1, 2000. Identify clearly the |  | date. The Commission expects that all Energy Management
| time zone in which this time series is made. The file should |  | Systems, with proper instructions, can record the system
| have 8760 records (8784 for leap years). Each record is to |  | lambda being used for economic dispatch of the control
| contain the system lambda value at the clock hour in dollars |  | area's thermal units.
per megawatthour (mills per kilowatthour) or an "NA" for
| those hours when system lambda was not calculated. |  | Respondents should be able to report system lambda, along
with the other information reported on a control area basis,
| Control Area Hourly System Lambda. For control areas |  | that describe the operation of such areas from information
| where demand following is primarily performed by thermal |  | that should be readily available. The Commission is not
| generating units, the system lambda is derived from the |  | requesting Respondents to develop incremental or marginal
| economic dispatch function associated with automatic |  | cost (either short or long term) according to any formula.
| generation control performed at the controlling utility or pool |  | Nor is the Commission requesting "avoided cost rates" that,
| control center. Excluding transmission losses, the fuel cost |  | pursuant to PURPA 210, electric utilities file with state
| ($/hr) for a set of on-line and loaded thermal generating |  | commissions or otherwise make available for prospective
| units (steam and gas turbines) is minimum1 when each unit |  | qualified facilities.
is loaded and operating at the same incremental fuel cost
| ($/MWh) 2 with the sum of the unit loadings (MW) equal to |  | Description of Economic Dispatch. Also, provide in writing
| the system demand plus the net of interchange with other |  | a detailed description of how Respondent calculates system
| control areas. This single incremental cost of energy is the |  | lambda. For those systems that do not use an economic
| system lambda. System lambdas are likely recalculated |  | dispatch algorithm and do not have a system lambda,
| many times in one clock hour. However, the indicated |  | provide in writing a detailed description of how control area
| system lambda occurring on each clock hour would be |  | resources are efficiently dispatched.
sufficient for reporting purposes.
1. | Some utilities may also include variable operation and maintenance costs that they consider "dispatchable." Therefore the costs to
be minimized could include a variable O&M component as well as the fuel costs.
2. | Because unit heat rates and fuel costs vary, some units may not be able to operate at the same incremental fuel cost as the other units
and, thus, those units may be loaded differently.

## Description of Econ Dispatch
Cinergy Description of Economic Dispatch:
The System Lambda for Cinergy Services, Inc. is calculated as the incremental cost for the thermal generating resources that serves the last MW of load.

## Page 8
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  | Please Type:
FERC Form No. 714 (2000) |  | For the Year Ending December 31, 2000 |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to instructions on pages 23 and 24.
Electric Utility Coincident Peak Demand
(MW)
Line | Electric Utility Name |  | Summer | Winter
No.
(a) | (b) |  | (c) | (d)
1. | Cincinnati Gas & Electric |  | 4495 | 3335
2. | Union Light Heat & Power |  | 751 | 592
3. | West Harrison Gas & Electric |  | 1 | 1
4. | PSI Energy, Inc. |  | 6064 | 4831
5. | Wabash Valley Power Association, Inc. |  | 401 | 363
6. | Indiana Municipal Power Agency |  | 527 | 310
7.
8.
9.
10.
11.

## Page 9
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report |  |  | Please Type:
FERC Form No. 714 (2000) |  |  | For the Year Ending December 31, 2000 |  |  | Utility Code:
Utility Name: Cinergy Services, Inc.
Part III - Schedule 2.
Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
PLANNING AREA HOURLY DEMAND
| (1) | Respondents must submit hourly demand data in electronic form |  |  | Respondents must submit on a 3.5 inch diskette formatted for the DOS
|  | to the Commission. Additionally, Respondents that participate in |  |  | operating system the following data file in ASCII format: the planning
|  | a national, regional or subregional process for consolidating and |  |  | area's actual hourly demand, in megawatts, for each hour of the year
|  | ensuring the consistency and accuracy of actual hourly and |  |  | starting with 1 a.m, January 1, 2000. Indicate the time zone and the period
|  | forecast demand information, may instead authorize the national, |  |  | for which daylight savings time was used. The file should have 8760
|  | regional or subregional organization to release that information to |  |  | records (8784 for leap years). For hours when this information is not
|  | the Commission, and to the public at the cost of reproduction, in |  |  | available, enter "NA."
an easily accessible electronic format, such as the EEI format.
PLANNING AREA FORECAST SUMMER AND WINTER PEAK DEMAND
| (2) | If the Respondent does not participate in the development of |  |  | Provide on the diskette a file containing the planning area's forecast summer
|  | national, regional or subregional actual and forecast demand |  |  | and winter peak demand, in megawatts, and annual net energy for load, in
|  | information, it must submit its own, equivalent, demand |  |  | megawatthours, for the next ten years.
information directly to the Commission along with this report, as
follows.

## Page 10
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Area Report | Please Type:
FERC Form No. 714 (2000) |  |  |  | For the Year Ending December 31, 2000 | Utility Code:
Utility Name: Cinergy Services, Inc.
Part IV.
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b)
the column letter in Column (c), and the Note in Column (d). Use more than one line if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
6 | 1 | C,D,E,F | Due to differences in accounting delivered and received numbers may not match. Net numbers do match. Cinergy and AEP agreed
6 | 1 cont. | C,D,E,F | to actual and scheduled interchange numbers, monthly, as per NERC policy.
6 | 2 | C,D,E,F | Time Zone Variance
6 | 3 | C | Time Zone Variance
6A | 5 | C,D | Time Zone Variance