## Schedule3
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Line no. | Month | Control Area Net Generation (MWh) | Net Actual Interchange (MWh) | Net Energy for Load (MWh) (c+d) | Control Area Load Sources at Time of Control Area Monthly Peak Demand |  |  |  |  | Monthly Minimum Demand (MW)
[5 empty] | Output of Generating Plants (MW) | Unit or Firm Purchases (MW) | Unit or Firm Sales (MW) | Net Non-Firm & Inadvertent (MW) | Monthly Peak Demand (f+g+h+i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Jan | 21434907 | 53334 | 21488241 | 43582 | 258 | 61 | 0 | 43901 | 20299
2 | Feb | 19222026 | 144750 | 19366776 | 43329 | 508 | 0 | 0 | 43837 | 19396
3 | Mar | 20253107 | 196234 | 20449341 | 43373 | 591 | 0 | 0 | 43964 | 19560
4 | Apr | 21097640 | 166076 | 21263716 | 48316 | 748 | 0 | 0 | 49064 | 19246
5 | May | 23716724 | 331187 | 24047911 | 48390 | 628 | 0 | 0 | 49018 | 19211
6 | Jun | 26374889 | 256529 | 26631418 | 51621 | 261 | 0 | 0 | 51882 | 24084
7 | Jul | 28566094 | 243687 | 28809781 | 54229 | 647 | 15 | 0 | 54891 | 25458
8 | Aug | 29966536 | 353934 | 30320470 | 55547 | 686 | 0 | 0 | 56233 | 26741
9 | Sep | 25297745 | 333117 | 25630862 | 51266 | 250 | 40 | 0 | 51556 | 21715
10 | Oct | 21227998 | 404661 | 21632659 | 48604 | 442 | 59 | 0 | 49105 | 19738
11 | Nov | 19196363 | 100777 | 19297140 | 35335 | 546 | 20 | 0 | 35901 | 20227
12 | Dec | 21032186 | 298855 | 21331041 | 39814 | 674 | 162 | 0 | 40650 | 19825
13 | Total | 277386215 | 2883141 | 280269356
Column f:Output of generating plants is calculated as Peak less purchases less sales. Instructions say to show "firm power commitments to other control area" as negative.
Column c: Calculated as column e - column d. Column e is from DandE Report.