| Federal Energy Regulatory Commission FERC Form No. 714 (2000) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 FERC FORM NO. 714 | Form Approved OMB Numbers: 1902 - 0140 (Expires: 7-31-2000) |
| --- | --- | --- |

This report is mandatory under the Federal Power Act, and is a regulatory support requirement as provided by 18 C.F.R. §141.51.  Failure to comply may result in criminal fines, civil penalties and other sanctions as provided by law.  Information reported on the FERC Form No. 714 is not considered confidential.  Questions concerning this report will be answered by:  Ms. Sandy J. Russell  (202) 502-8376 or form714@ferc.gov.

This form consists of: Part I, Identification and Certification; Part II, comprising Schedules 1 through 6; Part III, comprising Schedules 1 and 2; and Part IV, Notes.  All respondents are to complete Parts I and IV.  Part II is to be completed by each electric utility or group of electric utilities which operates a control area.  Part III is to be completed by each electric utility or group of electric utilities which constitute a planning area and has an annual peak demand that is greater than 200 MW.  An electric utility is a corporation, person, agency, authority, or other legal entity or instrumentality that owns and/or operates facilities within the United States for the generation, transmission, distribution, or sale of electric energy primarily for use by the public.

Public reporting burden for this collection of information is estimated to average 50 hours per response, including time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.  Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to Federal Energy Regulatory Commission, Office of the Chief Information Officer, CI-1, 888 First Street, N.E., Washington, DC 20426; and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, DC 20503.  You shall not be penalized for failure to respond to this collection of information unless the collection of information displays a valid OMB control number.

List of Schedules

Part I:	Identification and Certification

Part II:	Control Area Information

Schedule 1:	Generating Plants Included in Reporting Control Area

Schedule 2:	Control Area Monthly Capabilities at Time of Monthly Peak Demand

Schedule 3:	Control Area Net Energy for Load and Peak Demand Sources by Month

Schedule 4:	Adjacent Control Area Interconnections

Schedule 5:	Control Area Scheduled and Actual Interchange

Schedule 6:	Control Area Hourly System Lambda

Part III:	Planning Area Information

Schedule 1:	Electric Utilities that Compose the Planning Area

Schedule 2:	Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy For Load

Part IV:	Notes

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 |  |  |
| --- | --- | --- | --- |
| Part I - Schedule I. Identification and Certification |  |  |  |
| 1. Respondent Identification: Code: 11625 Name: Mid-Continent Area Power Pool 2. Respondent Type: (Please check appropriate box and fill in name) [ ] Part I: Control Area (Complete Parts I, II and IV) Control Area Name: [ X ] Part II: Planning Area (Complete Parts I, III and IV) Planning Area Name: |  | 3. Respondent Mailing Address: Matthew Couillard Mid-Continent Area Power Pool 1125 Energy Park Drive St. Paul, MN 55108-5001 4. Contact Person: Name: Matthew Couillard Title: Engineer, MAPPCOR Telephone #: (651) 632-8400 Ext. 8571 5. Certifying Official: Name: Bill Head Title: Chief Operating Officer, MAPPCOR Signature: Date: 5/23/2002 |  |
| Return Completed Form to: Federal Energy Regulatory Commission Form No. 714 Room 8F-01 888 First Street, N.E. Washington, DC 20426 |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code Utility Name |  |  |
| --- | --- | --- | --- | --- | --- |
| Part III - Schedule 1. Electric Utilities That Compose the Planning Area (Use continuation sheets if needed) |  |  |  |  |  |
| Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Instructions on pages 23 and 24 . |  |  |  |  |  |
|  |  |  |  | Electric Utility Coincident Peak Demand (MW) |  |
| Line No. (a) | Electric Utility Name (b) |  |  | Summer (c) | Winter (d) |
| 1. | Algona Municipal Utilities (ALGN) |  |  | 20 | 15 |
| 2. | Ames Municipal Electric System (AMES) |  |  | 126 | 99 |
| 3. | Atlantic Municipal Utilities (ATL) |  |  | 22 | 15 |
| 4. | Corn Belt Power Cooperative (CBPC) |  |  | 243 | 224 |
| 5. | Cedar Falls Utilities (CFU) |  |  | 75 | 63 |
| 6. | Denver (DEN) |  |  | 2 | 2 |
| 7. | Gen – Sys Energy (GSE) |  |  | 751 | 716 |
| 8. | Geneseo (GSO) |  |  | 0 | 0 |
| 9. | Grand Island (GI) |  |  | 138 | 90 |
| 10. | Harlan Municipal Utilities (HRLN) |  |  | 12 | 9 |
| 11. | Hastings Utilities (HSTG) |  |  | 92 | 62 |
| 12. | Hutchinson Utilities Commission (HUC) |  |  | 58 | 40 |
| 13. | Indianola (IND) |  |  | 22 | 18 |
| 14. | Lincoln Electric System (LES) |  |  | 655 | 467 |
| 15. | Montana-Dakota Utilities Company (MDU) |  |  | 450 | 317 |
| 16. | Municipal Energy Agency of Nebraska (MEAN) |  |  | 94 | 67 |
| 17. | MidAmerican Energy Company (MEC) |  |  | 3526 | 2665 |
| 18. | Manitoba Hydro Corporation (MH) |  |  | 2858 | 3692 |
| 19. | Minnesota Municipal Utilities Association (MMPA) |  |  | 175 | 123 |
| 20. | Montezuma Municipal Electric Utilities (MONT) |  |  | 4 | 4 |
| 21. | Minnkota Power Cooperative, Inc. (MPC) |  |  | 409 | 524 |
| 22. | Muscatine Power and Water (MPW) |  |  | 126 | 108 |
| 23. | Nebraska Public Power District (NPPD) |  |  | 2101 | 1546 |
| 24. | Northern States Power Company (NSP) |  |  | 8184 | 6313 |
| 25. | New Ulm Public Utilities (NULM) |  |  | 43 | 28 |
| 26. | Northern Public Service Company (NWPS) |  |  | 283 | 193 |
| 27. | Omaha Public Power District (OPPD) |  |  | 1845 | 1218 |
| 28. | Otter Tail Power Company (OTP) |  |  | 596 | 610 |
| 29. | Pella Municipal Power and Light Department (PELLA) |  |  | 37 | 30 |
| 30. | Rochester Public Utilities (RPU) |  |  | 23 | 1 |
| 31. | Southern Minnesota Municipal Power Agency (SMMPA) |  |  | 513 | 403 |
| 32. | Saskatchewan Power (SPC) |  |  | 2376 | 2059 |
| 33. | Split Rock Energy (SRE) |  |  | 3813 | 3386 |
| 34. | Western Area Power Administration (WAPA) |  |  | 2521 | 2411 |
| 35. | Waverly (WAV) |  |  | 23 | 18 |
| 36. | Willmar Municipal Utilities (WLMR) |  |  | 54 | 40 |
| 37. | Wisconsin Public Power Inc. (WPPI) |  |  | 57 | 48 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 |  | Please Type: Utility Code Utility Name |
| --- | --- | --- | --- |
| Part III - Schedule 2. Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load |  |  |  |
| PLANNING AREA HOURLY DEMAND (1) Respondents must submit hourly demand data in electronic form to the Commission. Additionally, Respondents that participate in a national, regional or subregional process for consolidating and ensuring the consistency and accuracy of actual hourly and forecast demand information, may instead authorize the national, regional or subregional organization to release that information to the Commission, and to the public at the cost of reproduction, in an easily accessible electronic format, such as the EEI format. (2) If the Respondent does not participate in the development of national, regional or subregional actual and forecast demand information, it must submit its own, equivalent, demand information directly to the Commission along with this report, as follows. |  | Respondents must submit on a 3.5 inch diskette or CD formatted for the DOS operating system the following data file in ASCII format: the planning area's actual hourly demand, in megawatts, for each hour of the year starting with 1 a.m, January 1, 2002. Indicate the time zone and the period for which daylight savings time was used. The file should have 8760 records (8784 for leap years). For hours when this information is not available, enter "NA." PLANNING AREA FORECAST SUMMER AND WINTER PEAK DEMAND Provide on the diskette a file containing the planning area's forecast summer and winter peak demand, in megawatts, and annual net energy for load, in megawatthours, for the next ten years. |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code Utility Name |
| --- | --- | --- | --- | --- | --- |
| Part IV. Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |