## Demand Energy
Mid-Continent Area Power Pool (MAPP) | [15 empty] | Page 1
FERC-714 Response: Part III, Schedule II
Projected Energy and Peak Demand For the First Ten Years
and Actual Data for the Previous Year
Monthly Data
Actual Data |  | Units | Notes | 2002 | January | February | March | April | May | June | July | August | September | October | November | December
01 | Peak Hour Demand | MW |  |  | 6456 | 6199 | 6006 | 5427 | 5128 | 5393 | 5449 | 5247 | 5084 | 5551 | 6064 | 6426
02 | Net Energy | GWh |  |  | 3895.2 | 3340.2 | 3751 | 3180.6 | 3107.9 | 2997.1 | 3128.2 | 3071.4 | 2968.1 | 3397.2 | 3508 | 3808
Reporting Year |  |  |  | 2003 | January | February | March | April | May | June | July | August | September | October | November | December
03 | Peak Hour Demand | MW |  |  | 6632.4105 | 6398.6884 | 5907.1639 | 5311.9432 | 5177.8117 | 5313.0908 | 5347.2872 | 5519.4774 | 5220.7482 | 5441.4995 | 6065.9354 | 6660.7766
04 | Net Energy | GWh |  |  | 4081.8858 | 3511.6692 | 3593.9726 | 3079.4989 | 3039.0074 | 2939.1181 | 3038.1889 | 3115.2331 | 2944.0385 | 3204.1711 | 3481.1108 | 3991.3447
Next Year |  |  |  | 2004 | January | February | March | April | May | June | July | August | September | October | November | December
05 | Peak Hour Demand | MW |  |  | 6729.1797 | 6488.939 | 5994.4873 | 5384.4275 | 5249.8786 | 5394.2305 | 5431.9638 | 5615.1259 | 5298.0581 | 5523.066 | 6171.0051 | 6771.6488
06 | Net Energy | GWh |  |  | 4151.377 | 3643.3242 | 3670.4705 | 3146.6541 | 3111.327 | 3017.8637 | 3112.0587 | 3199.6032 | 3012.315 | 3272.6211 | 3566.6225 | 4076.261
Actual and 10 Year Projection |  |  |  | ACTUAL(2) | January: PROJECTED
Summer |  |  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
07 | Peak Hour Demand | MW | 3,4 | 5394 | 5519.4774 | 5615.1259 | 5706.6715 | 5784.9116 | 5844.7637 | 5947.4396 | 6028.996 | 6109.2148 | 6184.6224 | 6229.1593
|  |  |  | ACTUAL(2) | PROJECTED
Winter |  |  |  | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13
08 | Peak Hour Demand | MW | 3,4 | 6456 | 6632.4105 | 6729.1797 | 6812.4408 | 6925.2017 | 6995.1872 | 7079.8158 | 7157.9301 | 7228.6789 | 7289.8983 | 7340.9954
|  |  |  | ACTUAL(2) | PROJECTED
NEL |  |  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
09 | Net Energy | GWh | 5 | 40152.9 | 40019.2392 | 40980.498 | 41666.6609 | 42173.3269 | 42692.18 | 43450.6136 | 43992.8964 | 44590.2407 | 45080.224 | 45488.175
Notes
1 | U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WSCC summarized separately.
2 | Metered peak demand.
3 | Monthly coincident unless otherwise stated. Specify if otherwise:
4 | Peak Hour Demand should be the same as Total Internal Demand reported in EIA-411 Report, Item 2.1 (Summer) and 2.2 (Winter), Line 03.
5 | Total Net Energy for Load is equal to Total Net Generation + Purchases - Sales
2003-05-23