| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 |  |  |  |  |  | Please Type: Utility Code Utility Name |  | 5416 Duke Power Company |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Energy the monthly “Net Energy for Load” which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 instructions on pages 19 and 20. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Control Area | Net Actual |  | Net Energy for Load | Output of | Unit or Firm | Unit or Firm | Net Non-Firm |  | Monthly |  | Monthly |  |  |  |  |
| Line |  | Net Generation | Interchange |  | (MWh) | Generating Plants | Purchases | Sales | & Inadvertent |  | Peak Demand |  | Minimum |  |  |  |  |
| No. | Month | (MWh) | (MWh) |  | (c + d) | (MW) | (MW) | (MW) | (MW) |  | (MW) |  | Demand (MW) |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | (f +g - h + i) |  |  |  |  |  |  |
| (a) | (b) | (c) | (d) |  | (e) | (f) | (g) | (h) | (i) |  | (j) |  | (k) |  |  |  |  |
| 1. | January | 8,703,854 | -531,691 |  | 8,172,163 | 16022 | 50 | 649 | -318 |  | 15,105 |  | 7,559 |  |  |  |  |
| 2. | February | 7,640,856 | -481,301 |  | 7,159,555 | 16945 | 599 | 584 | -1,572 |  | 15,388 |  | 7,550 |  |  |  |  |
| 3. | March | 8,084,234 | -694,177 |  | 7,390,057 | 16122 | 831 | 658 | -1,110 |  | 15,185 |  | 6,394 |  |  |  |  |
| 4. | April | 7,869,102 | -688,443 |  | 7,180,659 | 15008 | 930 | 510 | -590 |  | 14,838 |  | 6,732 |  |  |  |  |
| 5. | May | 8,119,707 | -435,731 |  | 7,683,976 | 15229 | 730 | 286 | -381 |  | 15,292 |  | 6,920 |  |  |  |  |
| 6. | June | 9,298,549 | -537,992 |  | 8,760,557 | 18659 | 760 | 533 | -1,542 |  | 17,344 |  | 6,940 |  |  |  |  |
| 7. | July | 10,115,167 | -513,317 |  | 9,601,850 | 18809 | 756 | 397 | -504 |  | 18,664 |  | 7,799 |  |  |  |  |
| 8. | August | 9,672,084 | -218,060 |  | 9,454,024 | 17024 | 748 | 592 | 909 |  | 18,089 |  | 7,623 |  |  |  |  |
| 9. | September | 8,795,055 | -806,549 |  | 7,988,506 | 17394 | 748 | 623 | -611 |  | 16,908 |  | 6,969 |  |  |  |  |
| 10. | October | 8,663,341 | -1,146,667 |  | 7,516,674 | 16265 | 905 | 461 | -1,317 |  | 15,392 |  | 6,777 |  |  |  |  |
| 11. | November | 8,143,819 | -872,345 |  | 7,271,474 | 14067 | 306 | 481 | -814 |  | 13,078 |  | 6,919 |  |  |  |  |
| 12. | December | 9,052,064 | -1,086,897 |  | 7,965,167 | 17006 | 306 | 380 | -2,318 |  | 14,614 |  | 7,581 |  |  |  |  |
| 13. | Total | 104,157,832 | -8,013,170 |  | 96,144,662 |  |  |  |  |  |  |  |  |  |  |  |  |