| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 |  |  | Please Type: Utility Code Utility Name | 5416 Duke Power Company |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 instructions on pages 20 and 21. |  |  |  |  |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) | Line or Bus Voltage (kV) (d) |  |  |  |  |  |
| 1. | Carolina Power & Light |  | Newport - Richmond | 500 |  |  |  |  |  |
| 2 | Carolina Power & Light |  | East Durham -- Method | 230 |  |  |  |  |  |
| 3. | Carolina Power & Light |  | East Durham – Roxboro | 230 |  |  |  |  |  |
| 4 | Carolina Power & Light |  | East Durham – Bahama | 230 |  |  |  |  |  |
| 5 | Carolina Power & Light |  | East Durham – Durham | 230 |  |  |  |  |  |
| 6. | Carolina Power & Light |  | Eno – Roxboro (1 & 2) | 230 |  |  |  |  |  |
| 7. | Carolina Power & Light |  | Oakboro – Rockingham (1 & 2) | 230 |  |  |  |  |  |
| 8 | Carolina Power & Light |  | Wateree - Wateree | 115 |  |  |  |  |  |
| 9. | Carolina Power & Light |  | Pisgah – Canton (1 & 2) | 115 |  |  |  |  |  |
| 10. | Carolina Power & Light |  | Pisgah – Asheville (1 & 2) | 230 |  |  |  |  |  |
| 11. | Carolina Power & Light |  | Horsehoe – Asheville | 115 |  |  |  |  |  |
| 12 | Southern Company Services (Georgia Power) |  | Oconee – Norcross | 500 |  |  |  |  |  |
| 13. | Southeastern Power Administration |  | Anderson – Hartwell (1 & 2) | 230 |  |  |  |  |  |
| 14. | Southeastern Power Administration |  | Clark Hill – Thurmond | 115 |  |  |  |  |  |
| 15. | South Carolina Electric & Gas |  | Newport - Parr | 230 |  |  |  |  |  |
| 16. | South Carolina Electric & Gas |  | Bush River – Parr | 230 |  |  |  |  |  |
| 17 | South Carolina Electric & Gas |  | Bush River - White Rock | 115 |  |  |  |  |  |
| 18 | South Carolina Electric & Gas |  | Bush River – Georgia Pacific | 115 |  |  |  |  |  |
| 19. | South Carolina Public Service Authority |  | Hodges - Greenwood County (1 & 2) | 230 |  |  |  |  |  |
| 20. | American Electric Power - (Appalachian Power Co.) |  | Antioch - Jacksons Ferry | 500 |  |  |  |  |  |
| 21. | American Electric Power - (Appalachian Power Co.) |  | Dan River – Ridgeway | 138 |  |  |  |  |  |
| 22. | Tennessee Valley Authority |  | Santeetlah – Robbinsville | 161 |  |  |  |  |  |
| 23. | Yadkin |  | Linden St. Station - High Rock (1 & 2) | 100 |  |  |  |  |  |
| 24. | Yadkin |  | Albemarle – Badin (1 & 2) | 100 |  |  |  |  |  |