| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 |  |
| --- | --- | --- |
| Part I - Schedule I. Identification and Certification |  |  |  |  |

| 1. Respondent Identification: Code: 14624 Name: PUD No 2 of Grant County 2. Respondent Type: (Please check appropriate box and fill in name) [ X ] Part I: Control Area (Complete Parts I, II and IV) Control Area Name: Grant County PUD No. 2 [ X ] Part II: Planning Area (Complete Parts I, III and IV) Planning Area Name: Grant County PUD No. 2 | 3. Respondent Mailing Address: PUD No. 2 of Grant County PO Box 878 Ephrata, WA 98823 4. Contact Person: Name: Linda S. Bonneville Title: Operations Analyst Telephone #: 509-754-5062 5. Certifying Official: Name: Tim Culbertson Title: Manager of Power Marketing & Operations Signature: ________________ Date: _______ |
| --- | --- |
| Return Completed Form to: Federal Energy Regulatory Commission Form No. 714 Room 8F-01 888 First Street, N.E. Washington, DC 20426 |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 1. Generating Plants Included in Reporting Control Area (Use continuation sheets if needed) |  |  |  |  |

| Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. (a) | Electric Utility Name (b) | Plant Name (c) | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (d) | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (e) |
| 1. | PUD No. 2 of Grant County | Priest Rapids | 908 | 272 |
| 2. | PUD No. 2 of Grant County | Wanapum | 935 | 669 |
| 3. | PUD No. 2 of Grant County | Quincy Chute | 9 | 6 |
| 4. | PUD No. 2 of Grant County | Potholes East Canal | 6 | 5 |
| 5. | PUD No. 2 of Grant County | Randolph East | 0 | 0 |
| 6. | PUD No. 2 of Grant County | Randolph West | 0 | 0 |
| 7. |  |  |  |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |
| 11. |  |  |  |  |
| 12. |  |  |  |  |
| 13. |  |  |  |  |
| 14. |  |  |  |  |
|  |  |  | TOTAL | 1,858 | 952 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| # Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand |  |  |  |  |

| The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Net Capability from Plants Reported on Schedule II |  |  |  |  |  |  |  |  | External to the Control Area Net Unit or Firm Capability (MW) |  |  |  |
|  |  |  | Unavailable Capability Due to: |  |  |  |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Available Capability (MW) (c) | Planned Outage and Derating (MW) (d) | Unplanned Outage and Derating (MW) (e) | Other Outage and Derating* (MW) (f) | Total (c + d + e + f) (MW) (g) | Available (MW) (h) | Not Available (MW) (i) | Total Capability (g + h + i) (MW) (j) |
| 1. | Jan | 1,818 | 194 | 0 | 15 | 2,027 | 0 | 0 | 2,027 |
| 2. | Feb | 1,869 | 108 | 35 | 15 | 2,027 | 0 | 0 | 2,027 |
| 3. | Mar | 1,859 | 153 | 0 | 15 | 2,027 | 0 | 0 | 2,027 |
| 4. | Apr | 1,993 | 34 | 0 | 15 | 2,042 | 0 | 0 | 2,042 |
| 5. | May | 1,894 | 133 | 0 | 15 | 2,042 | 0 | 0 | 2,042 |
| 6. | Jun | 1,877 | 117 | 0 | 15 | 2,009 | 0 | 0 | 2,009 |
| 7. | Jul | 1,858 | 111 | 25 | 15 | 2,009 | 0 | 0 | 2,009 |
| 8. | Aug | 1,884 | 110 | 0 | 15 | 2,009 | 0 | 0 | 2,009 |
| 9. | Sep | 1,727 | 267 | 0 | 15 | 2,009 | 0 | 0 | 2,009 |
| 10. | Oct | 1,866 | 128 | 0 | 15 | 2,009 | 0 | 0 | 2,009 |
| 11. | Nov | 1,975 | 4 | 0 | 15 | 1,994 | 0 | 0 | 1,994 |
| 12. | Dec | 1,910 | 69 | 0 | 15 | 1,994 | 0 | 0 | 1,994 |
| * Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |  |  |

| Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Control Area Net Generation (MWh) (c) | Net Actual Interchange (MWh) (d) | Net Energy for Load (MWh) (c + d) (e) | Output of Generating Plants (MW) (f) | Unit or Firm Purchases (MW) (g) | Unit or Firm Sales (MW) (h) | Net Non-Firm & Inadvertent (MW) (i) | Monthly Peak Demand (MW) (f+g-h+i) (j) | Monthly Minimum Demand (MW) (k) |
| 1. | January | 844,105 | -658,576 | 185,529 | 1,237 | -123 | 284 | -419 | 411 | 228 |
| 2. | February | 756,002 | -589,736 | 166,266 | 1,605 | -123 | 188 | -900 | 394 | 176 |
| 3. | March | 625,369 | -500,562 | 124,807 | 1,004 | -121 | 113 | -411 | 359 | 180 |
| 4. | April | 680,466 | -475,872 | 204,594 | 1,038 | -222 | 135 | -330 | 351 | 203 |
| 5. | May | 699,369 | -440,458 | 258,911 | 1,051 | -274 | 312 | -84 | 381 | 220 |
| 6. | June | 838,968 | -538,488 | 300,480 | 1,105 | -252 | 264 | -115 | 474 | 250 |
| 7. | July | 798,788 | -333,127 | 465,662 | 952 | -219 | 238 | -5 | 490 | 220 |
| 8. | August | 743,310 | -700,636 | 42,674 | 748 | -201 | 98 | 33 | 482 | 285 |
| 9. | September | 621,610 | -253,532 | 368,077 | 1,139 | -338 | 185 | -211 | 405 | 242 |
| 10. | October | 677,614 | -481,161 | 196,453 | 932 | -120 | 57 | -368 | 387 | 188 |
| 11. | November | 783,695 | -587,316 | 196,379 | 853 | -123 | 57 | -293 | 380 | 195 |
| 12. | December | 827,841 | -630,944 | 196,897 | 1,020 | -124 | 133 | -396 | 367 | 224 |
| 13. | Total | 8,897,137 | -6,190,408 | 2,706,729 |  |  |  |  |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |

| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line No. (a) | Name of Adjacent Control Area (b) | Control Area Interconnection Line or Bus Names (c) | Line or Bus Voltage (kV) (d) |
| 1. | Bonneville Power Administration | Ancient Lake | 230 |
| 2. | Bonneville Power Administration | Columbia 115 | 115 |
| 3. | Bonneville Power Administration | Columbia 230 | 230 |
| 4. | Bonneville Power Administration | Frenchman Hills-Midway | 230 |
| 5. | Bonneville Power Administration | Grand Coulee #1 | 12 |
| 6. | Bonneville Power Administration | Grand Coulee #2 | 115 |
| 7. | Bonneville Power Administration | Grand Coulee-Rocky Ford-Midway | 230 |
| 8. | Bonneville Power Administration | Jericho (CRR & Vantage) | 115 |
| 9. | Bonneville Power Administration | Midway 230 | 230 |
| 10. | Bonneville Power Administration | Potholes-Sanddunes | 115 |
| 11. | Bonneville Power Administration | Potholes-Sanddunes-Frenchman Hills | 230 |
| 12. | Bonneville Power Administration | Rocky Ford-Columbia | 115 |
| 13. | Bonneville Power Administration | Schrag-Warden | 115 |
| 14. | Bonneville Power Administration | USBR | 115 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |

| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line No. (a) | Name of Adjacent Control Area (b) | Control Area Interconnection Line or Bus Names (c) | Line or Bus Voltage (kV) (d) |
| 1. | Bonneville Power Administration | Vantage | 230 |
| 2. | PacifiCorp Electric Operations | Wanapum (Pomona) | 115 |
| 3. | PacifiCorp Electric Operations | Wanapum (Walla Walla) | 115 |
| 4. | Avista Utilities | Coulee City | 115 |
| 5. | Avista Utilities | Larson | 115 |
| 6. | Avista Utilities | Round Lake | 115 |
| 7. | Avista Utilities | Warden 115 | 115 |
| 8. | Avista Utilities | Wilson Creek | 115 |
| 9. | Avista Utilities | Randolph | 115 |
| 10. | Douglas County PUD | Palisades | 115 |
| 11. |  |  |  |
| 12. |  |  |  |
| 13. |  |  |  |
| 14. |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |
| (a) | (b) | Received (c) | Delivered (d) | Received (e) | Delivered (f) |
| 1. | BPA Vantage 230 |  |  | 0 | 3,663,045 |
| 2. | BPA Columbia 230 |  |  | 816,488 | 221,128 |
| 3. | BPA Columbia 115 |  |  | 725,257 | 0 |
| 4. | BPA Grand Coulee 1 |  |  | 24,580 | 0 |
| 5. | BPA Grand Coulee 2 |  |  | 19,370 | 0 |
| 6. | BPA Vantage / Auvil |  |  | 0 | 8,080 |
| 7. | BPA Midway 115 |  |  | 3,416 | 0 |
| 8. | BPA Midway 230 |  |  | 831 | 4,142,135 |
| 9. | BPA Potholes 115 |  |  | 219,573 | 0 |
| 10. | BPA Potholes 230 |  |  | 515,122 | 6 |

|  |  | PUD No. 2 of Grant County (14624) |
| --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |
| (a) | (b) | Received (c) | Delivered (d) | Received (e) | Delivered (f) |
| 11. | BPA Schrag |  |  | 0 | 34,440 |
| 12. | BPA USBR |  |  | 0 | 120,815 |
| 13. | BPA PacifiCorp Pomona (Gingko) |  |  | 0 | 1,161,109 |
| 14. | BPA PacifiCorp Walla Walla (Page) |  |  | 140,862 | 333,986 |
| 15. | Avista Coulee City |  |  | 46,000 | 0 |
| 16. | Avista Larson |  |  | 402,844 | 2,911 |
| 17. | Avista Round Lake |  |  | 18,788 | 0 |
| 18. | Avista Warden |  |  | 29,552 | 372,958 |
| 1 9. | Avista Wilson Creek |  |  | 33,356 | 0 |
| 20. | Avista Rocky Ford |  |  | 1,110,325 | 217,507 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area |  | Scheduled Interchange Between Control Areas (MWh) |  |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |
| (a) | (b) |  | Received (c) | Delivered (d) |  | Received (e) | Delivered (f) |  |
| 21. | Arizona Public Service Company |  | 0 | 11,718 |  |  |  |  |
| 22. | Avista Corporation |  | 22,346 | 640,233 |  |  |  |  |
| 23. | Bonneville Power Administration |  | 1,591,733 | 862,555 |  |  |  |  |
| 24. | British Columbia Hydro & Power Authority |  | 15,385 | 117,318 |  |  |  |  |
| 25. | California ISO |  | 100 | 203,856 |  |  |  |  |
| 26. | Chelan County PUD #1 |  | 44,945 | 44,459 |  |  |  |  |
| 27. | El Paso Electric |  | 0 | 0 |  |  |  |  |
| 28. | Florida Power & Light |  | 0 | 0 |  |  |  |  |
| 29. | Idaho Power Company |  | 4,175 | 49,907 |  |  |  |  |
| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 |  |  | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |  |  |  |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |  |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |
| (a) | (b) | Received (c) | Delivered (d) | Received (e) | Delivered (f) |
| 30. | Los Angeles Dept of Water & Power | 0 | 9,745 |  |  |
| 31. | Nevada Power Company | 0 | 5,000 |  |  |
| 32. | Northwestern Energy | 12,605 | 5,515 |  |  |
| 33. | P.U.D. No. 1 of Douglas County | 2,362 | 3,090 |  | 18,652 |
| 34. | PacifiCorp | 36,480 | 1,899,510 |  |  |
| 35. | Portland General Electric Company | 4,750 | 1,832,550 |  |  |
| 36. | Power Pool of Alberta | 1,600 | 11,129 |  |  |
| 37. | Public Service of Colorado | 0 | 6,611 |  |  |
| 38. | Public Service of New Mexico | 400 | 117 |  |  |
| 39. | Puget Sound Energy | 28,268 | 1,046,976 |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2001 | Please Type: Utility Code 14624 Utility Name PUD No. 2 of Grant County |
| --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |  |
| (a) | (b) | Received (c) | Delivered (d) | Received (e) | Delivered (f) |
| 40. | Salt River Project | 0 | 800 |  |  |
| 41. | Seattle City Light | 13,063 | 342,942 |  |  |
| 42. | Sierra Pacific Power Company | 0 | 33,228 |  |  |
| 43. | Tacoma Power | 12,764 | 342,971 |  |  |
| 44. | Western Area Power Authority | 400 | 400 |  |  |
| 45. |  |  |  |  |  |
|  | TOTAL | 1,791,376 | 7,470,630 | 4,106,364 | 10,296,772 |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code: 14624 Utility Name |
| --- | --- | --- |
| Part III - Schedule 1. Electric Utilities That Compose the Planning Area (Use continuation sheets if needed) |  |  |  |  |

| Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Instructions on pages 23 and 24 . |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Electric Utility Coincident Peak Demand (MW) |  |  |
| Line No. (a) | Electric Utility Name (b) | Summer (c) | Winter (d) |
| 1. | P.U.D. No. 2 of Grant County | 490 | 411 |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |
| 7. |  |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |
| 11. |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2002 | Please Type: Utility Code: 14624 Utility Name |
| --- | --- | --- |
| Part IV. Notes |  |  |  |  |

| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |
|  |  |  | P.U.D. No 2 of Grant County did not supply a “Control Area Hourly System Lambda” in Part II, Schedule 6. That is because our utility |
|  |  |  | operates on a single hydro-based system, the Columbia River, and therefore does not require an hourly System Lambda. |