## Part1Sch1
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report
FERC Form No. 714 (2004) |  |  | For the Year Ending December 31, 2003
Part I - Schedule 1. Identification and Certification
1. Respondent Identification : |  |  |  | 3. Respondent Mailing Address :
Code : | 13756 | Name : | Northern Indiana Public Service Company | 801 East 86th Avenue
Merrillville, IN 46410 - 6271
Attn : Frank A. Venhuizen
2. Respondent Type : (Please check appropriate box and fill in name) |  |  |  | Director, Electric Transmission & Market Services
[ X ] | Part I : | Control Area (Complete Parts I, II and IV)
4. Contact Person :
| Control Area Name : | Northern Indiana Public Service Company
|  |  |  | Name : | Michael W. Pavich
[ X ] | Part II : | Planning Area (Complete Parts I, III and IV) |  | Title : | Operations Analysis Engineer
|  |  |  | E-mail address : | mwpavich@nisource.com
| Planning Area Name : | Northern Indiana Public Service Company |  | Telephone # : | (219) 853-5599 | Ext. | ----
5. Certifying Official :
|  |  |  | Name : | Jerry L. Godwin
|  |  |  | Title : | Chief Operating Officer
|  |  |  | Signature : |  |  |  | Date :
Return Completed Form to :
Federal Energy Regulatory Commission
Form 714
Room 8F - 01
888 First Street, N.E.
Washington, DC 20426
1

## Part2Sch1
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report | Please Type :
FERC Form No. 714 (2004) |  | For The Year Ending December 31, 2003 | Utility Code | 13756
|  |  | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area
operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide
totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column
(f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 instructions on pages 14 and 15.
|  |  | Plant Available Capability | Integrated Net Load on the Plant
|  |  | at the Hour of the Annual | at the Hour of the Annual
|  |  | Peak Demand Based | Peak Demand Based
Line |  |  | on Net Energy for Load | on Net Energy for Load
No. | Electric Utility Name | Plant Name | (MW) | (MW)
(a) | (b) | (c) | (d) | (e)
1. | Northern Indiana Public Service Company | Bailly | 511 | 445
2. | Northern Indiana Public Service Company | Michigan City | 495 | 421.6
3. | Northern Indiana Public Service Company | D.H. Mitchell | 0 | 0
4. | Northern Indiana Public Service Company | R.M. Schahfer | 1670 | 1436
5. | Northern Indiana Public Service Company | Norway | 4 | 1.15
6. | Northern Indiana Public Service Company | Oakdale | 6 | 2.3
7.
8.
9.
10.
11.
12.
13.
14.
|  | TOTAL | 2686 | 2306.05
2

## Part2Sch2
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Area Report |  |  | Please Type :
FERC Form No. 714 (2004) |  |  | For the Year Ending December 31, 2003 |  |  | Utility Code | 13756
[6 empty] | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this
Schedule. The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note.
Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL)
|  | Net Capability from Plants Reported on Schedule II |  |  |  |  | External to the Control Area
|  |  | Unavailable Capability Due to : |  |  |  | Net Unit or Firm Capability
|  | Available | Planned | Unplanned | Other | Total | (MW) |  | Total Capability
|  | Capability | Outage and Derating | Outage and Derating | Outage and Derating * | (c+d+e+f) | Available | Not Available | (g+h+i)
Line No. | Month | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1. | Jan | 1954 | 832 | 104 | 0 | 2890 | 35 | 0 | 2925
2. | Feb | 2369 | 401 | 120 | 0 | 2890 | 7 | 0 | 2897
3. | Mar | 2022 | 752 | 116 | 0 | 2890 | 7 | 0 | 2897
4. | Apr | 2232 | 618 | 40 | 0 | 2890 | 8.1 | 0 | 2898.1
5. | May | 2750 | 71 | 69 | 0 | 2890 | 7 | 0 | 2897
6. | Jun | 2766 | 40 | 84 | 0 | 2890 | 479.3 | 0 | 3369.3
7. | Jul | 2756 | 40 | 94 | 0 | 2890 | 235 | 0 | 3125
8. | Aug | 2686 | 40 | 164 | 0 | 2890 | 503.5 | 0 | 3393.5
9. | Sep | 2471 | 360 | 59 | 0 | 2890 | 7.4 | 0 | 2897.4
10. | Oct | 2391 | 360 | 139 | 0 | 2890 | 7 | 0 | 2897
11. | Nov | 2430 | 360 | 100 | 0 | 2890 | 124.7 | 0 | 3014.7
12. | Dec | 1997 | 832 | 61 | 0 | 2890 | 214.15 | 0 | 3104.15
* Reductions in capacity due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc.
3

## Part2Sch3
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Area Report |  | Please Type :
FERC Form No. 714 (2004) |  |  |  | For the Year Ending December 31, 2003 |  | Utility Code | 13756
[6 empty] | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the Monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for
columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed
instructions and definitions, please refer to attached Schedule 3 instructions on pages 19 and 20.
Control Area Load Sources at Time of Control Area Monthly Peak
Demand, Based on Net Energy For Load (NEL)
[9 empty] | Monthly | Monthly
|  | Control Area | Net Actual | Net Energy for Load | Output of | Unit or Firm | Unit or Firm | Net Non-Firm | Peak Demand | Minimum
Line |  | Net Generation | Interchange | (c+d) | Generating Plants | Purchases | Sales | & Inadvertent | (f+g-h+i) | Demand
No. | Month | (MWh) | (MWh) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1. | January | 1452120 | 486818 | 1938938 | 1618 | 35 | 0 | 883 | 2536 | 1499.6
2. | February | 1312024 | 284850 | 1596874 | 2011.8 | 7 | 11 | 503 | 2510.8 | 1710.5
3. | March | 1364826 | 408453 | 1773279 | 1669.4 | 7 | 0 | 792 | 2468.4 | 1613.6
4. | April | 1271389 | 217869 | 1489258 | 1881.5 | 8.1 | 75 | 453 | 2267.6 | 1447
5. | May | 1318138 | 221910 | 1540048 | 2282.5 | 7 | 148 | 212 | 2353.5 | 1457.1
6. | June | 1311864 | 146546 | 1458410 | 2370.3 | 479.3 | 0 | 249 | 3098.6 | 1469
7. | July | 1488404 | 170863 | 1659267 | 2294.5 | 235 | 0 | 434 | 2963.5 | 1634.9
8. | August | 1575531 | 182229 | 1757760 | 2306.05 | 503.5 | 0 | 639.15 | 3448.7 | 1668.1
9. | September | 1363490 | 304072 | 1667562 | 1976.2 | 7.4 | 0 | 771 | 2754.6 | 1614.4
10. | October | 1356924 | 330781 | 1687705 | 1513.05 | 7 | 0 | 833.95 | 2354 | 1587.2
11. | November | 1319453 | 159044 | 1478497 | 1922.6 | 124.7 | 0 | 388.1 | 2435.4 | 1490.2
12. | December | 1406852 | 161040 | 1567892 | 1615.95 | 214.15 | 0 | 748 | 2578.1 | 1478.7
13. | Total | 16541015 | 3074475 | 19615490
4

## Part2Sch4
Federal Energy Regulatory Commission | Annual Electric Control and Planning Area Report | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 | Utility Code | 13756
|  | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule : each adjacent control area with which the respondent control area area is interconnected in column (b), all the interconnection line or bus names with the adjacent control
area in column (c), and the line or bus voltage in column (d). See Schedule 4 instructions on pages 20 and 21.
Line |  | Control Area Interconnection | Line or Bus Voltage
No. | Name of Adjacent Control Area | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | ComEd (Exelon Corporation) | Burnham - Sheffield | 345
2. | ComEd (Exelon Corporation) | State Line Generating Station - Sheffield | 345
3. | ComEd (Exelon Corporation) | Burnham - Munster | 345
4. | ComEd (Exelon Corporation) | St. John Bus | 345
5. | ComEd (Exelon Corporation) | Green Acres Bus | 345
6. | ComEd (Exelon Corporation) | State Line Generating Station - Roxanna | 138
7. | ComEd (Exelon Corporation) | State Line Generating Station - Wolf Lake | 138
8. | Cinergy Corporation | Deedsville - Leesburg | 345
9. | Cinergy Corporation | Lafayette - Monticello | 138
10. | Cinergy Corporation | Westwood - South Prairie | 138 / 69 *
11. | Cinergy Corporation | Rochester - Plymouth | 69
12. | Ameren Corporation | Goodland - Wateska | 138
13. | Michigan Electric Coordinated Systems | Barton Lake - Lake Batavia | 138 / 69 *
14. | American Electric Power Company | Dupont - Stillwell | 345
5
Federal Energy Regulatory Commission | Annual Electric Control and Planning Area Report | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 | Utility Code | 13756
|  | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule : each adjacent control area with which the respondent control area area is interconnected in column (b), all the interconnection line or bus names with the adjacent control
area in column (c), and the line or bus voltage in column (d). See Schedule 4 instructions on pages 20 and 21.
Line |  | Control Area Interconnection | Line or Bus Voltage
No. | Name of Adjacent Control Area | Line or Bus Names | (kV)
(a) | (b) | (c) | (d)
1. | American Electric Power Company | Reynolds Bus | 345
2. | American Electric Power Company | Maple - New Carlisle | 138
3. | American Electric Power Company | Michigan City Generating Station - New Carlisle | 138
4. | American Electric Power Company | Michigan City Generating Station - Olive | 138
5. | American Electric Power Company | Northeast Bus | 138
6. | American Electric Power Company | Albion - Northport | 138
7. | American Electric Power Company | Auburn - Dekalb | 138
8. | American Electric Power Company | Laporte - Maple For Springville Tap | 69 *
9. | American Electric Power Company | Howe - Sturgis | 69
10. | American Electric Power Company | Lapaz - Marshall | 34 *
11. | American Electric Power Company | Grandview Bus | 34 *
12.
13.
14.
5 (cont.)

## Part2Sch5
Federal Energy Regulatory Commission | Annual Electric Control and Planning Area Report |  | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 |  | Utility Code | 13756
|  |  | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 5.
Control Area Scheduled and Actual Interchange
Identify on this schedule : each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b) ; the total annual
megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c) ;
the MWh of scheduled interchange delivered to each control area, in column (d) ; the MWh of total annual actual interchange received and delivered within each adjacent control
area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3.
Any difference must be explained in a note. See Schedule 5 instructions on page 21.
|  | Scheduled Interchange |  | Actual Interchange
|  | Between Control Areas |  | Between Adjacent Control Areas
Line |  | (MWh) |  | (MWh)
No. | Name of Control Area | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1. | American Electric Power Company | 486576 | 535269 | 1063936 | 3526409
2. | Ameren Corporation | 135132 | 28785 | 281290 | 382
3. | Cinergy Corporation | 0 | 0 | 936133 | 155120
4. | ComEd (Exelon Corporation) | 2654705 | 193649 | 6182830 | 1368457
5. | Michigan Electric Coordinated Systems | 0 | 0 | 1170 | 340516
6. | MISO | 2310988 | 1749635 | 0 | 0
7.
8.
9.
10. | TOTAL | 5587401 | 2507338 | 8465359 | 5390884
6

## Part2Sch6
Federal Energy Regulatory Commission | Annual Control Area and Electric System Report | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 | Utility Code | 13756
|  | Utility Name | Northern Indiana Public Service Company
Part II - Schedule 6. Control Area System Lambda Data
Northern Indiana Public Service Company calculates its System Lambda from the economic dispatch function of its Automatic Generation Control (AGC) units.
System Lambda is the cost associated with moving the unit(s) in AGC to meet 1 mw of additional load on Northern Indiana Public Service Company's system.
7

## Part3Sch1
Federal Energy Regulatory Commission | Annual Electric Control and Planning Area Report | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 | Utility Code | 13756
|  | Utility Name | Northern Indiana Public Service Company
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in
megawatts. Please refer to instructions on pages 23 and 24.
Electric Utility Coincident Peak
Demand
Line |  | (MW)
No. | Electric Utility Name | Summer | Winter
(a) | (b) | (c) | (d)
1. | Northern Indiana Public Service Company | 3444.6804 | 2575.0675
2. | Town of Argos, Indiana | 4 | 3
3.
4.
5.
6.
7.
8.
9.
10.
11.
8

## Part4
Federal Energy Regulatory Commission | Annual Electric Control and Planning Area Report | Please Type :
FERC Form No. 714 (2004) | For the Year Ending December 31, 2003 | Utility Code | 13756
|  | Utility Name | Northern Indiana Public Service Company
Part IV.
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page
number in column (a), the line number in column (b), the column letter in column (c), and the note in column (d). Use more than one line if needed.
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
5 | 10, 13 | d | Interconnection is at 138 kv ; utilized at 69 kv.
5 (cont.) | 8, 10, 11 | d | Interconnections normally operate open.
6 | 1 thru 6 | c, d, e & f | Mwh may differ from those reported by adjacent
control areas due to location in different time zones
and / or due to seasonal time changes in time zones.
7 |  |  | Control area system lambda data is missing 45
records for the period :
July 5th hour 11 thru July 7th hour 7
This data loss from NIPSCO's Energy Management
System was due to Oracle server problems in the
Electric Dispatch Control Center.
10