## TitlePage
2004
FERC 714
ERCOT
7620 Metro Center Drive
Austin, Texas 78744
www.ercot.com

## I-1
Part I – Schedule 1. Identification and Certification
1. Respondent Identification:
Code: 5723 Name: ERCOT
2. Respondent Type:
[x] Part I: Control Area (Complete Parts I, II, and IV)
Control Area Name: ERCOT
[x] Part II: Planning Area (Complete Parts I, III, and IV)
Planning Area Name: ERCOT
3. Respondent Mailing Address:
Mark Walker
ERCOT
7620 Metro Center Drive
Austin, Texas 78744
4. Contact Person:
Name: Mark Walker
Title: Senior Corporate Counsel
Telephone: 512-225-7076
Email: mwalker@ercot.com
5. Certifying Official:
Name: Mark Walker
Title: Senior Corporate Counsel
Signature: __________________________ Date: _______________
I-1

## II-1
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
Line Number | Company Name | Plant Name | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW)
(a) | (b) | (c) | (d) | (e)
1 | Seadrift | 76 Seadrift Coke | 2 | 0
2 | City Public Service of San Antonio | A Von Rosenberg | 481 | 434.5881
3 | AEP Texas North Company | Abilene | 0 | 0
4 | AES Deepwater, Inc | AES Deepwater | 160 | 72.0976
5 | AES Wolf Hollow LP | AES Wolf Hollow | 743 | 0
6 | International Bound & Wtr Comm | Amistad Dam & Power | 70 | 21.0285
7 | Bryan Texas Utilities | Atkins | 130 | 45.061
8 | Lower Colorado River Authority | Austin | 17 | 16.0217
9 | AEP Texas Central Company | Barney M Davis | 697 | 372.5041
10 | BASF | BASF | 71 | 0
11 | FPL Energy, Inc | Bastrop Energy Center | 549 | 436.5908
12 | Air Liquide America Corp | Bayou Cogen | 278 | 159.2155
13 | Calpine Corporation | Baytown Energy Center | 488 | 487.66
14 | TXU Big Brown Co. LP | Big Brown | 1193 | 1193
15 | New World TX Renewable (West Texas Renewables) | Big Spring Windpower Facility | 41 | 0
16 | Bioenergy Partners | Bio-Energy Partners | 6 | 0
17 | Mirant Texas Management, Inc | Bosque | 561 | 445.603
18 | BP Chemicals Green Lake | BP Chemicals Green Lake | 22 | 5.0068
19 | Brazos Valley LP | Brazos Valley | 673 | 576.7806
20 | Lower Colorado River Authority | Buchanan | 51 | 29.0393
21 | Garland City of | C E Newman | 88 | 19.0257
22 | Power Resources | Calenergy | 220 | 199.2697
23 | Guadalupe Blanco River Auth | Canyon | 6 | 0
24 | Dow Chemical Company | Carbide-Seadrift | 0 | 0
25 | Texas Genco | Cedar Bayou | 2320 | 2179
26 | Ticona Polymer | Celanese-Bishop | 0 | 0
27 | Valero | Channel Energy (Valero) | 0 | 0
28 | Channel Energy Center | Channel Energy Center | 518 | 303.4106
29 | Reliant Energy Channelview, LP | Channelview (Equistar) | 761 | 663.8985
30 | Calpine Clear Lake | Clear Lake Cogen | 304 | 303.4106
31 | Valero | Coastal States West | 1 | 0
32 | Coleman City of | Coleman | 12 | 0
33 | AEP Texas Central Company | Coleto Creek | 632 | 574.7779
34 | TXU Generation LLP | Collin | 154 | 129.1748
35 | TXU Generation LLP | Comanche Peak | 2234 | 2234
36 | Corpus Christi Cogeneration LLP | Corpus Christi Energy Center | 357 | 343.4648
37 | Bryan Texas Utilities | Dansby | 110 | 62.084
38 | Austin Energy | Decker Creek | 1010 | 765.0353
39 | TXU DeCordova Co. LP | DeCordova | 1104 | 360
40 | Texas Genco | Deepwater | 174 | 136.1843
41 | OxyVinyls, LP | Deer Park - Oxyvinyls | 0 | 0
42 | Calpine - Deer Park | Deer Park Energy Center | 366 | 325.4404
43 | Delaware Mountain Wind Farm | Delaware Mountain Wind Farm | 30 | 6.0081
44 | American Electric Power | Desert Sky Wind Farm | 150 | 44.0596
45 | OxyVinyls, LP | Diamond Shamrock Battlegound | 196 | 71.0962
46 | Dow Chemical Company | Dow | 161 | 80.1084
47 | Guadalupe Blanco River Auth | Dunlap TP 1 | 4 | 3.0041
48 | Dupont | Dupont Vistron | 5 | 5.0068
49 | AEP Texas Central Company | E S Joslin | 0 | 0
50 | TXU Generation LLP | Eagle Mountain | 598 | 531.7196
51 | AEP Texas Central Company | Eagle Pass | 6 | 4.0054
52 | Polimeri Europa Americas, Inc | EniChem Americas | 1 | 0
53 | Ennis Tractebel Power | Ennis Power Station | 329 | 296.4011
54 | Equistar | Equistar | 0 | 0
55 | ExTex La Porte Limited Partnership | ExTex La Porte Power Station | 160 | 73.0989
56 | Exxon | Exxon | 0 | 0
57 | International Bound & Wtr Comm | Falcon Dam & Power | 35 | 4.0054
58 | Lower Colorado River Authority | Fayette Power Prj | 1682 | 1575.1317
59 | Formosa Utilities Ventures, LTD | Formosa | 67 | 67.0908
60 | AEP Texas North Company | Fort Phantom | 362 | 333.4513
61 | AEP Texas North Company | Fort Stockton | 0 | 0
62 | FPL Pecos Wind I | FPL Energy Pecos Wind (Woodwar | 160 | 50.0678
63 | FPLE Forney, LP | FPLE Forney | 1766 | 1578.1357
64 | Freestone Power Generation LP | Freestone Power Generation | 976 | 892.2074
65 | TPS Tejas LP | Frontera | 465 | 292.3957
66 | Texas Municipal Power Agency | Gibbons Creek | 462 | 456.6179
67 | Gonzales City of | Gonzales Hydro Plant | 1 | 0
68 | TXU Generation LLP | Graham | 641 | 515.6979
69 | Lower Colorado River Authority | Granite Shoals | 56 | 25.0339
70 | Texas Genco | Greens Bayou | 774 | 472.6396
71 | Gregory Power Partners, LLC | Gregory Power Partners | 362 | 349.4729
72 | Guadalupe Power Partners LP | Guadalupe Power Part | 865 | 472.6396
73 | Guadalupe Blanco River Auth | H 4 | 5 | 3.0041
74 | Exelon Power | Handley | 1421 | 1328.7983
75 | Hays Energy Limited Partnership | Hays Energy Facility | 989 | 617.8361
76 | Hidalgo Energy Center LP | Hidalgo | 488 | 167.2263
77 | Texas Genco | Hiram Clarke | 78 | 62.084
78 | Austin Energy | Holly Street | 591 | 537.7277
79 | Ingleside Cogeneration LP | Ingleside | 500 | 256.3469
80 | Lower Colorado River Authority | Inks | 14 | 13.0176
81 | City Public Service of San Antonio | J K Spruce | 570 | 570
82 | AEP Texas Central Company | J L Bates | 182 | 70.0949
83 | City Public Service of San Antonio | J T Deely | 830 | 793.0733
84 | Kiamichi Power Partners | Kiamichi Power Partners | 1106 | 604
85 | Lower Colorado River Authority | Kunitz | 45 | 7.0095
86 | AEP Texas Central Company | La Palma | 253 | 122.1653
87 | TXU Generation LLP | Lake Creek | 324 | 297.4025
88 | TXU Generation LLP | Lake Hubbard | 926 | 792.0719
89 | AEP Texas North Company | Lake Pauline | 0 | 0
90 | Lamar Power Partners | Lamar Power Project | 984 | 767.038
91 | AEP Texas Central Company | Laredo | 178 | 170.2304
92 | City Public Service of San Antonio | Leon Creek | 65 | 0
93 | Denton Municipal Electric | Lewisville | 3 | 0
94 | Texas Genco | Limestone | 1646 | 1591.1533
95 | AEP Texas Central Company | Lon C Hill | 0 | 0
96 | GenTex Power Corporation | Lost Pines | 510 | 468.6342
97 | Lyondell Cogeneration | Lyondell | 482 | 481.6518
98 | Calpine - Magic Valley | Magic Valley | 751 | 20.0271
99 | Lower Colorado River Authority | Marble Falls | 36 | 14.019
100 | Lower Colorado River Authority | Marshall Ford | 107 | 90.122
101 | TXU Generation LLP | Martin Lake | 2250 | 2157.9204
102 | Guadalupe Blanco River Auth | McQueeney | 8 | 0
103 | FPL Energy, Inc | Mesa Wind | 75 | 22.0298
104 | Midlothian Power Generation | Midlothian | 1308 | 1035.4012
105 | City Public Service of San Antonio | Mission Road | 100 | 0
106 | TXU Generation LLP | Monticello | 1884 | 1884
107 | TXU Generation LLP | Morgan Creek | 1217 | 905.2251
108 | Brazos River Authority | Morris Sheppard | 24 | 24.0325
109 | Exelon Power | Mountain Creek | 890 | 555
110 | Union Carbide | North Carbide | 0 | 0
111 | TXU Generation LLP | North Lake | 623 | 565.7657
112 | TXU Generation LLP | North Main | 0 | 0
113 | Brazos Electric Power Coop Inc | North Texas | 36 | 30.0407
114 | AEP Texas Central Company | Nueces Bay | 368 | 105.1423
115 | City Public Service of San Antonio | O W Sommers | 890 | 808.0936
116 | AEP Texas North Company | Oak Creek | 0 | 0
117 | Odessa-Ector Power Partners | Odessa-Ector Power P | 1034 | 986.3348
118 | AEP Texas North Company | Oklaunion | 690 | 667.9039
119 | NWP Indian Mesa Wind Farm, LP | Orion NWP Indian Mesa | 83 | 17.023
120 | Dow Chemical Company | Oyster Creek | 55 | 0
121 | Texas Genco | P H Robinson | 1700 | 1553.1018
122 | AEP Texas North Company | Paint Creek | 0 | 0
123 | TXU Generation LLP | Parkdale | 134 | 54.0732
124 | Calpine Pasadena | Pasadena | 630 | 629.8524
125 | Medina Electric Cooperative, Inc. | Pearsall | 75 | 35.0474
126 | TXU Generation LLP | Permian Basin | 1020 | 794.0746
127 | Greenville City of | Powerlane Plant | 88 | 17.023
128 | AEP Texas North Company | Presidio | 0 | 0
129 | Brazos Electric Power Coop Inc | R W Miller | 611 | 557.7548
130 | Garland City of | Ray Olinger | 416 | 334.4526
131 | PG&E National Energy Group | Ray Roberts | 1 | 0
132 | Reliant Renewables Atascocita, LP | Reliant Atascocita | 8 | 8
133 | Reliant Renewables Baytown, LP | Reliant Baytown | 4 | 2.0027
134 | Reliant Renewables Blue Bonnet, LP | Reliant Blue Bonnet | 4 | 2.0027
135 | Reliant Renewables Coastal Plains, LP | Reliant Coastal Plains | 7 | 3.0041
136 | City of Cleburne | Resource Recovery | 0 | 0
137 | Rhodia, Inc | Rhodia-Houston | 8 | 0
138 | Rio Nogales Power Project | Rio Nogales | 775 | 478.6478
139 | AEP Texas North Company | Rio Pecos | 140 | 65.0881
140 | TXU Generation LLP | River Crest | 0 | 0
141 | Robstown City of | Robstown | 17 | 0
142 | Texas Genco | Sam Bertron | 876 | 556
143 | South Texas Electric Cooperative, Inc. | Sam Rayburn | 65 | 65.0881
144 | AEP Texas North Company | San Angelo | 123 | 120.1626
145 | Texas Genco | San Jacinto SES | 162 | 142.1924
146 | San Miguel Electric Coop Inc | San Miguel | 391 | 391
147 | Austin Energy | Sandhill Energy Cent | 189 | 182.2466
148 | TXU Generation LLP | Sandow | 197 | 197.267
149 | Shell Oil Co. - Deer Park | Shell Deer Park | 0 | 0
150 | Brwnsvl Public Utilities Board | Silas Ray | 80 | 64.0867
151 | Lower Colorado River Authority | Sim Gideon | 639 | 434.5881
152 | Small Hydro of Texas | Small Hydro of Texas | 1 | 0
153 | Solutia-Brazoria | Solutia-Brazoria | 45 | 1.0014
154 | South Houston Green Power | South Houston Green Power | 0 | 0
155 | Texas Genco | South Texas | 1265 | 1189.6099
156 | Garland City of | Spencer | 178 | 74.1003
157 | TXU Generation LLP | Stryker Creek | 704 | 605.8199
158 | Sweeney Cogen Limited Partnership | Sweeny | 268 | 136.1843
159 | TXU Generation LLP | Sweetwater Generation Plant | 265 | 227.3076
160 | Texas Genco | T H Wharton | 1273 | 1173.5882
161 | Tenaska IV Texas Partners, Ltd | Tenaska-Cleburne | 258 | 194.2629
162 | Tenaska Frontier Partners, Ltd | Tenaska-Frontier | 861 | 650.8808
163 | Tenaska Gateway Partners, Ltd | Tenaska-Gateway | 865 | 656.889
164 | Tenaska III Texas Partners, Ltd | Tenaska-Lamar | 239 | 239.3239
165 | Bioenergy Austin | Tessman Road | 5 | 0
166 | Calpine - Texas City | Texas City | 446 | 359.4865
167 | Wharton County Power Partners | Texas Gulf Sulphur | 84 | 0
168 | Texas Petrochemicals | Texas Petrochemicals | 0 | 0
169 | Lower Colorado River Authority | Thomas C Ferguson | 0 | 0
170 | TXU Tradinghouse Co. LP | Tradinghouse | 1375 | 1271.721
171 | Trent Wind Farm, LP | Trent Mesa Wind Farm | 131 | 0
172 | TXU Generation LLP | Trinidad | 240 | 220.2981
173 | Sempra Energy Resources | Twin Oaks | 343 | 306.4147
174 | Union Carbide | Union Carbide | 0 | 0
175 | FPL Upton Wind LP | Upton Wind (King Mountain) | 278 | 49.0664
176 | City Public Service of San Antonio | V H Braunig | 865 | 836.1316
177 | AEP Texas North Company | Valentine 1 (Ft. Davis) | 6 | 0
178 | TXU Generation LLP | Valley | 1117 | 521.706
179 | AEP Texas North Company | Vernon | 0 | 0
180 | Dupont | Victora Dupont Switch | 0 | 0
181 | AEP Texas Central Company | Victoria | 0 | 0
182 | Texas Genco | W A Parish | 3156 | 2710.6684
183 | City Public Service of San Antonio | W B Tuttle | 425 | 210.2846
184 | Weatherford Mun Utility System | Weatherford | 5 | 0
185 | Texas Genco | Webster | 13 | 0
186 | Whitesboro City of | Whitesboro | 6 | 0
187 | USCE-Fort Worth District | Whitney | 30 | 20.0271
188 | Mirant Wichita Falls Management, Inc | Wichita Falls | 76 | 74.1003
189 | Total |  | 74718 | 59114

## II-2
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
Line no. | Month | Net Capability at the Time of the Monthly Peak Demand
|  | Net Capability from Plants Reported on Part II - Schedule 1 |  |  |  |  | External to the Control Area Net Unit or Firm Capability |  | Total Capability (g+h+i) (MW)
|  | Available Capacity (MW) | Unavailable Capability Due to: |  |  | Total (c+d+e+f) (MW)
|  |  | Planned Outage and Derating (MW) | Unplanned Outage and Derating (MW) | Other Outage and Derating (MW) |  | Available (MW) | Not Available (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Jan | 68557 | 9211 | 1191 | 0 | 78959 | 936 | 0 | 79895
2 | Feb | 61325 | 14430 | 3403 | 0 | 79158 | 936 | 0 | 80094
3 | Mar | 57715 | 14836 | 3446 | 0 | 75997 | 716 | 220 | 76933
4 | Apr | 59335 | 16274 | 388 | 0 | 75997 | 936 | 0 | 76933
5 | May | 69855 | 6668 | 1409 | 0 | 77932 | 936 | 0 | 78868
6 | Jun | 73225 | 5138 | 818 | 0 | 79181 | 936 | 0 | 80117
7 | Jul | 73028 | 4837 | 2145 | 0 | 80010 | 936 | 0 | 80946
8 | Aug | 74718 | 4694 | 1395 | 0 | 80807 | 936 | 0 | 81743
9 | Sep | 75727 | 4681 | 399 | 0 | 80807 | 936 | 0 | 81743
10 | Oct | 69949 | 13757 | 200 | 0 | 83906 | 676 | 260 | 84842
11 | Nov | 64529 | 16027 | 350 | 0 | 80906 | 936 | 0 | 81842
12 | Dec | 74938 | 8788 | 748 | 0 | 84474 | 936 | 0 | 85410
Column c is calculated as g-d-e-f

## II-3
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Line no. | Month | Control Area Net Generation (MWh) | Net Actual Interchange (MWh) | Net Energy for Load (MWh) (c+d) | Control Area Load Sources at Time of Control Area Monthly Peak Demand |  |  |  |  | Monthly Minimum Demand (MW)
[5 empty] | Output of Generating Plants (MW) | Unit or Firm Purchases (MW) | Unit or Firm Sales (MW) | Net Non-Firm & Inadvertent (MW) | Monthly Peak Demand (MW) (f+g-h+i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Jan | 22256807 | 341855 | 22598662 | 45597 | 80 | 244 | 0 | 45433 | 20665.3456
2 | Feb | 19673760 | 417692 | 20091452 | 42620 | 878 | 0 | 0 | 43498 | 19900.1712
3 | Mar | 19274172 | 452731 | 19726903 | 36892 | 662 | 0 | 0 | 37554 | 19310.3488
4 | Apr | 20003985 | 422955 | 20426940 | 39915 | 664 | 0 | 0 | 40579 | 20080
5 | May | 25380497 | 586532 | 25967029 | 52032 | 877 | 0 | 0 | 52909 | 22698
6 | Jun | 26449862 | 525260 | 26975122 | 53068 | 661 | 92 | 0 | 53637 | 23229
7 | Jul | 29460387 | 396171 | 29856558 | 55693 | 558 | 0 | 0 | 56251 | 26723
8 | Aug | 30313889 | 413857 | 30727746 | 59114 | 882 | 0 | 0 | 59996 | 26283
9 | Sep | 23960657 | 344831 | 24305488 | 48897 | 609 | 0 | 0 | 49506 | 21627
10 | Oct | 21795770 | 450646 | 22246416 | 42069 | 582 | 0 | 0 | 42651 | 20110
11 | Nov | 19973124 | 376322 | 20349446 | 38341 | 267 | 0 | 0 | 38608 | 20845
12 | Dec | 21213089 | 414806 | 21627895 | 40617 | 262 | 90 | 0 | 40789 | 20633
13 | Total | 279755999 | 5143658 | 284899657
Column f:Output of generating plants is calculated as Peak less purchases less sales. Instructions say to show "firm power commitments to other control area" as negative.
Column c: Calculated as column e - column d. Column e is from DandE Report.

## II-4
Part II - Schedule 4. Adjacent Control Area Interconnections
Line No. | Name of Adjacent Control Area | Control Area Interconnection Line or Bus Names | Line or Bus Voltage
(a) | (b) | (c) | (d)
1 | Southwest Power Pool | North DC Tie | 345
2 | Southwest Power Pool | East DC Tie | 345
3 | Comision Federal de Electricidad | Eagle Pass DC Tie | 138

## II-5
Part II - Schedule 5. Control Area Scheduled and Actual Interchange
Line No. | Name of Control Area | Scheduled Interchange Between Contol Areas (MWh) |  | Actual Interchange Between Control Areas (MWh)
|  | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1 | Southwest Power Pool | 0 | 0 | 5350941 | 207195
2 | Comision Federal de Electricidad | 0 | 0 | 103 | 190
3 | Total |  |  | 5351044 | 207385

## II-6
Part II – Schedule 6. Control Area System Lambda Data
Traditional planning methods using known generation resources and pairing them with known load are no longer possible. It is uncertain as to which generation will be displaced by newer resources and when, and how new generation will affect existing facilities and the transmission system. Economic dispatch has been replaced with a new market structure based upon bids and bilateral contracts. System lambda information is no longer available in this environment.

## III-1
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
| Line No. | Electric Utility Name | Electric Utility Coincident Peak Demand (MW)
|  |  | Summer | Winter
| (a) | (b) | (c) | (d)
| 1 | American Electric Power | 5756.259 | 3968.262
| 2 | Austin Energy | 2349.4057 | 1593.1052
| 3 | Big Country Electric Coop | 26.0012 | 21.0014
| 4 | Brazos Electric Coop | 2205.0992 | 1856.1226
| 5 | Brownsville Public Utilities Board | 229.0103 | 148.0098
| 6 | Bryan Texas Utilities | 273.0123 | 209.0138
| 7 | CenterPoint | 14176.638 | 9717.6417
| 8 | City Public Service | 4149.1867 | 2846.1879
| 9 | Coleman County Electric Coop | 23.001 | 18.0012
| 10 | College Station, City of | 166.0075 | 107.0071
| 11 | Concho Valley Electric Coop | 42.0019 | 33.0022
| 12 | Denton Municipal Electric | 273.0123 | 178.0118
| 13 | Garland Power and Light | 520.0234 | 403.0266
| 14 | Granbury, City of | 20.0009 | 14.0009
| 15 | Greenville Electric Utility System | 104.0047 | 74.0049
| 16 | Hearne, City of | 12.0005 | 7.0005
| 17 | LCRA | 2911.131 | 2804.1852
| 18 | Lighthouse Electric Coop | 3.0001 | 1.0001
| 19 | Magic Valley Electric Coop | 287.0129 | 261.0172
| 20 | Medina Electric Coop | 83.0037 | 83.0055
| 21 | Oncor | 23957.0781 | 18952.2514
| 22 | Rayburn Country | 532.0239 | 578.0382
| 23 | Rio Grande | 26.0012 | 17.0011
| 24 | Sharyland Utilities | 11.0005 | 4.0003
| 25 | South Texas Electric Coop | 276.0124 | 281.0186
| 26 | Southwest Texas Electric Coop | 23.001 | 21.0014
| 27 | Taylor Electric Coop | 46.0021 | 48.0032
| 28 | Texas-New Mexico Power Company | 1365.0614 | 1026.0678
| 29 | Tex-La Electric Coop | 78.0035 | 98.0065
| 30 | Weatherford, City of | 73.0033 | 65.0043
| 31 | Total | 59996 | 45433

## III-2
Part III – Schedule 2. Planning Area Hourly Demand
See data on diskette or CD included at the back of this filing.

## III-2a
Part III - Schedule 2. Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
| Year | Peak Demand |  | Net Energy for Load (MWh)
|  | Summer (MW) | Winter (MW)
| 2004 | 61432 | 42702 | 289541000
| 2005 | 62906 | 43556 | 295331000
| 2006 | 64416 | 44427 | 301238000
| 2007 | 65962 | 45316 | 307263000
| 2008 | 67545 | 46222 | 313408000
| 2009 | 69166 | 47146 | 319676000
| 2010 | 70826 | 48089 | 326070000
| 2011 | 72526 | 49051 | 332591000
| 2012 | 74266 | 50032 | 339243000
| 2013 | 76049 | 51033 | 346028000

## IV
Part IV. Notes
Page No. | Line No. | Column Letter | Notes
(a) | (b) | (c) | (d)
II-7 | 13 | d | Difference in this value and the difference in columns (e) and (f) of Part II - Schedule 5 is due to rounding
II-7 | 1 through 12 | j | Peaks shown here will not match the demand data in Part III-Schedule 2 because these demands are based on 15-minute intervals and the ones int Part III-Schedule 2 are hourly demands.