## Page 2
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Report |  |  |  | Utility Code: |  | 06909
Ferc Form No. 714 (2003) |  | For the Year Ending December 31, 2003 |  |  |  | Utility Name: |  | City of Gainesville
Part II - Schedule 1. Generating Plants Included in Report Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generationg plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2)
dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line.
The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any
differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15.
|  |  |  | Plant Available Capacity at the Hour of the |  |  | Integrated Net Load on the Plant at the Hour of the
Line | Electric Utilitiy Name |  | Plant Name | Annual Peak Demand Based on Net Energy for |  |  | Annual Peak Demand Based on Net Energy for
No. |  |  |  | Load (MW) |  |  | Load (MW)
(a) | (b) |  | (c) | (d) |  |  | (e)
1 | Gainesville Regional Utilities |  | Deerhaven Generating Station |  | 347 |  |  | 249
2 | Gainesville Regional Utilities |  | J. R. Kelly Generating Station |  | 163 |  |  | 126
3
4
5
6
7
8
9
10
11
12
13
14 |  |  | TOTAL |  | 510 |  |  | 375
Page 2

## Page 3
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Report |  |  |  |  | Utility Code: |  | 06909
Ferc Form No. 714 (2003) |  |  |  | For the Year Ending December 31, 2003 |  |  |  | Utility Name: |  | City of Gainesville
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Montly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of
the annual peak demand should equal the total in column (d) in Schedule 1. Any differences must be explained in a note.
Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL)
|  | Net Capability from Plants reported on Schedule II |  |  |  |  | External to the Control Area
|  |  | Unavailable Capacity Due to: |  |  |  | Net Unit or firm Capability
|  | Available | Planned | Unplanned | Other | Total | (MW)
Line |  | Capacity | Outage and Derating | Outage and Derating | Outage and Derating * | (c + d +e +f) |  |  |  |  | Total Capability
No. | Month | (MW) | (MW) | (MW) | (MW) | (MW) | Available |  | Not Available |  | (g+ h+ j)
[7 empty] | (MW) |  | (MW) |  | (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) |  | (i) |  | (j)
1 | Jan | 492 | 96 | 30 |  | 618 | 11 |  | 0 |  | 629
2 | Feb | 537 | 81 |  |  | 618 | 11 |  | 0 |  | 629
3 | Mar | 535 | 83 |  |  | 618 | 11 |  | 0 |  | 629
4 | Apr | 551 | 48 |  |  | 599 | 11 |  | 0 |  | 610
5 | May | 524 | 75 |  |  | 599 | 11 |  | 0 |  | 610
6 | Jun | 599 |  |  |  | 599 | 11 |  | 0 |  | 610
7 | Jul | 510 |  | 89 |  | 599 | 11 |  | 0 |  | 610
8 | Aug | 562 |  | 37 |  | 599 | 11 |  | 0 |  | 610
9 | Sep | 599 |  |  |  | 599 | 11 |  | 0 |  | 610
10 | Oct | 548 |  | 51 |  | 599 | 0 |  | 11 |  | 610
11 | Nov | 618 |  |  |  | 618 | 0 |  | 11 |  | 629
12 | Dec | 618 |  |  |  | 618 | 11 |  | 0 |  | 629
* Reductions in capability due to fuel supply problems, environmental restricitions, lack of transmission availiability at a generating plant, etc.
Page 3

## Page 4
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Report | [5 empty] | Utility Code: |  | 06909
Ferc Form No. 714 (2003) |  |  |  | For the Year Ending December 31, 2003 |  |  |  |  | Utility Name: |  | City of Gainesville
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference
in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must
be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20.
|  | Tod | Tod |  | Control Area Load Sources at Time of control Area Monthly Peak Demand, Based on
Net Energy For Load (NEL)
|  | Control Area | Net Actual | Net Energy for Load | Output of | Unit or Firm | Unit or Firm | Net Non-Firm |  | Monthly |  | Monthly
Line |  | Net Generation | Interchange | (MWh) | Generating Plants | Puchases | Sales | & Inadvertent |  | Peak Demand |  | Minimum
No. | Month | (MWh) | (MWh) | (c + d) | (MW) | (MW) | (MW) | (MW) |  | (MW) |  | Demand (MW)
(f + g - h + i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) |  | (j) |  | (k)
1 | January | 173291 | -1491 | 174782 | 492 | 11 | 3 | -106 |  | 394 |  | 135
2 | February | 132334 | 3681 | 128653 | 537 | 11 | 3 | -265 |  | 280 |  | 132
3 | March | 145187 | -2338 | 147525 | 535 | 11 | 3 | -234 |  | 309 |  | 129
4 | April | 151728 | -2294 | 154022 | 371 | 11 | 3 | -51 |  | 328 |  | 134
5 | May | 189555 | 2175 | 187380 | 524 | 11 | 3 | -153 |  | 379 |  | 156
6 | June | 188618 | 8387 | 180231 | 599 | 11 | 3 | -214 |  | 393 |  | 164
7 | July | 201612 | 6002 | 195610 | 510 | 11 | 3 | -101 |  | 417 |  | 175
8 | August | 201124 | 447 | 200677 | 562 | 11 | 3 | -163 |  | 407 |  | 173
9 | September | 188492 | -1941 | 190433 | 599 | 11 | 3 | -230 |  | 377 |  | 147
10 | October | 160015 | -54361 | 214376 | 548 | 0 | 3 | -216 |  | 329 |  | 124
11 | November | 146949 | -51347 | 198296 | 618 | 0 | 3 | -296 |  | 319 |  | 123
12 | December | 156227 | -16437 | 172664 | 618 | 11 | 3 | -306 |  | 320 |  | 130
13 | Total | 2035132 | -109517 | 2144649
Page 4
|  |  |  | from Monthly Generation |  |  | from mgs
|  | from monthly operating report |  | summaries (Todd) |  |  | Actual
|  | Net Generation | CR#3 | St.Lucie | NEL * | CR#3 | NEL *
| January | 138649.6 | 8648.2 | 238 | 123713 | 8941 | 138256.94 |  |  | 0
| February | 126372 | 8460.8 | 218 | 100850 | 8759 | 122167 |  |  | 6091.3
| March | 59622.8 | 8824.1 | 237 | 109420 | 9098 | 131727.2 |  |  | 9177.3
| April | 118674 | 7749.5 | 171 | 116253 | 8082 | 130077.04 |  |  | 8125.7
| May | 177669.8 | 8936.8 | 168 | 133459 | 9418 | 174295.68 |  |  | 8327.8
| June | 196492.7 | 8347.4 | 227 | 147124 | 8809 | 177366.51 |  |  | 8110.8
| July | 214512.7 | 8667.3 | 234 | 148816 | 8984 | 193154.9 |  |  | 8175.7
| August | 216813.1 | 8653.9 | 231 | 153245 | 8948 | 198424.478 |  |  | 7822.1
| September | 152330.3 | 6445.6 | 227 | 140217 | 6802 | 172813.09 |  |  | 8052.7
| October | 128131.2 | 8651.6 | 233 | 122638 | 9120 | 143320.89 |  |  | 8569.1
| November | 135931.9 | 8410.9 | 228 | 110374 | 8863 | 135003.8 |  |  | 8012
| December | 164959.1 | 8924.3 | 236 | 113211 | 9672 | 154112.1 |  |  | 8650.5
|  | 1830159.2 | 100720.4 | 2648 | 1519320 | 105496 | 1870719.628 | [5 empty] | 3633
[6 empty] | 2648 | -164412.372
[5 empty] | 625329 | 2032484
(c): PEAK; (d): PEAK; (e): MW @ PEAK |  | TOTAL
|  | DAY | HOUR | DH1 | DH2 | DHCT1 | DHCT2 | DHCT3 |  | DH
| January | 27 | 8 | 70 | 217 | 0 | 0 | 0 |  | 287
| February | 7 | 8 | 52 | 219 | 0 | 0 | 0 |  | 271
| March | 29 | 20 | 62 | -2 | 0 | 0 | 75 |  | 135
| April | 20 | 18 | 28 | 216 | 0 | 0 | 0 |  | 244
| May | 25 | 17 | 52 | 218 | 0 | 15 | 71 |  | 356
| June | 19 | 18 | 59 | 216 | 0 | 0 | 71 |  | 346
| July | 20 | 16 | 63 | 219 | 15 | 0 | 70 |  | 367
| August | 28 | 17 | -1 | 219 | 14 | 17 | 72 |  | 321
| September | 25 | 17 | 69 | 218 | 14 | 18 | 71 |  | 390
| October | 6 | 17 | 50 | 218 | 11 | 0 | 72 |  | 351
| November | 22 | 8 | 59 | 218 | 0 | 0 | 0 |  | 277
| December | 20 | 8 | 70 | 218 | 0 | 0 | 0 |  | 288
(c): 2002MGS.wb1 (see Tod) |  |  | Max | Min
|  | NEL | Purchases | Sales | Net Sales | Unit or Firm | Unit or Firm
[6 empty] | Puchases | Sales
[6 empty] | (MW) | (MW)
|  | 1 | 1 | 1 | 1 | 2 | 2 |  |  |  | 3 | 3
[6 empty] | (g) | (h)
| January | 150252 | 22485 | 20462 | -2023 | 11 | 93 | 3 | Stark |  | 369 | 124
| February | 126860 | 29637 | 8529 | -21108 | 11 | 93 | 40 | FMPA |  | 329 | 125
| March | 141557 | 12597 | 17384 | 4787 | 11 | 93 | 50 |  |  | 311 | 120
| April | 162098 | 9425 | 30878 | 21453 | 11 | 43 |  |  |  | 366 | 123
| May | 178521 | 4804 | 29653 | 24849 | 11 | 43 |  |  |  | 388 | 127
| June | 178827 | 4679 | 22953 | 18274 | 11 | 43 |  |  |  | 415 | 142
| July | 195993 | 13795 | 23719 | 9924 | 11 | 43 |  |  |  | 433 | 153
| August | 195677 | 7519 | 30891 | 23372 | 11 | 43 |  |  |  | 406 | 149
| September | 199726 | 43685 | 16100 | -27585 | 11 | 43 |  |  |  | 400 | 166
| October | 178539 | 62542 | 3514 | -59028 | 11 | 43 |  |  |  | 368 | 130
| November | 143124 | 17942 | 15842 | -2100 | 11 | 43 |  |  |  | 299 | 126
| December | 151482 | 15073 | 23394 | 8321 | 11 | 43 |  |  |  | 317 | 125
1- From 2002MGS (see Todd)
2- From contract summary page in Budget Forecast of Customers, Sales, Revenue notebook (Todd)
3- Computed from EEIGRU02.xls spreadsheet (monthly min/max)

## Page 5
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Report |  | Utility Code: | 06909
Ferc Form No. 714 (2003) |  | For the Year Ending December 31, 2003 |  | Utility Name: | City of Gainesville
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: (a) each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent
control area in column (c), and the line or bus voltage i column (d). See Schedule 4 Instructions on pages 20 and 21.
|  |  | Control Area Interconnection | Line or Bus Voltage
Line | Name of Adjacent Control Area |  | Line or Bus Names | (kV)
No.
(a) | (b) |  | (c) | (d)
1 | Florida Power Corporation |  | Archer to Parker | 230
2 | Florida Power Corporation |  | Idylwild to Parker | 138
3 | Florida Power Corporation |  | Idylwild to Depot | 138
4 | Florida Power and Light |  | Bradford to Deerhaven | 138
5
6
7
8
9
10
11
12
13
14
Page 5

## Page 6
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Report |  |  | Utility Code: | 06909
Ferc Form No. 714 (2003) |  |  | For the Year Ending December 31, 2003 |  |  | Utility Name: | City of Gainesville
Part II - Schedule 5.
Control Area Scheduled and Actual Interchange
Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the
respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and
delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be
explained in a note. See Schedule 5 Instructions on page 21.
|  |  |  | Scheduled Interchange |  | Actual Interchange Between Adjacent
Line |  | Name of Control Area |  | Between Control Areas |  | Control Areas
No. |  |  |  | (MWh) |  | (MWh)
|  |  |  | Received | Delivered | Received |  | Delivered
(a) |  | (b) |  | (c) | (d) | (e) |  | (f)
1 |  | Florida Power Corporation |  | -510 |  | -183799 |  | 198251
2 |  | Florida Power Corporation CR# 3 |  | -96685
3 |  | Florida Power & Light |  |  |  | -234278 |  | 10770
4 |  | Florida Power & Light, St. Lucie Nuclear Plant |  | -2483
5 |  | Florida Municipal Power Pool & Starke |  |  | 12864
6 |  | The Energy Authority |  | -181762 | 59533
7
8
9
10
11
12
13
14
15
16
17
|  | Total |  | -281440 | 72397 | -418077 |  | 209021
Page 6
|  |  |  | -209043 | -209056 | -136637 |  | 136624
[5 empty] | 13 |  |  | -13
-99168
Provided by Mark Bennett

## Page 7
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Report | Utility Code: | 06909
Ferc Form No. 714 (2003) |  |  |  | For the Year Ending December 31, 2003 | Utility Name: | City of Gainesville
Part II - Schedule 6.
Control Area System Lambda Data
| 1. | Control Area System Lambda Data
|  | filename: | RW03.XLS
Eastern Time Zone
Page 7

## Page 8
Federal Energy Regulatory Commission |  |  | Annual Electric Control and Planning Report | Utility Code: |  | 06909
Ferc Form No. 714 (2003) |  |  | For the Year Ending December 31, 2003 | Utility Name: |  | City of Gainesville
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each enity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts.
Please refer to Instructions on page 16.
Electric Utility Coincident Peak
Demand
(MW)
Electric Utility Name
Line |  |  |  |  | Summer |  | Winter
No.
(a) | (b) |  |  |  | (c) |  | (d)
1 | Gainesville Regional Utilities |  |  |  | 417 |  | 394
2
3
4
5
6
7
8
9
10
11
Page 8
Data referenced from page 4

## Page 9
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Report |  |  | Utility Code: | 06909
Ferc Form No. 714 (2003) |  |  |  | For the Year Ending December 31, 2003 |  |  | Utility Name: | City of Gainesville
Part III - Schedule 2.
Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
| 1. | Planning Area Hourly Demand
|  | filename: | RW03.XLS
| 2. | Planning Area Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
|  | filename: | RW03.XLS
Calendar Year 2002
Forecast Summer and Winter Demands
|  |  | Year | Summer | Winter | NEL (MWh)
|  |  | 2004 | 455 | 376 | 2092987
|  |  | 2005 | 467 | 388 | 2146293
|  |  | 2006 | 479 | 400 | 2201809
|  |  | 2007 | 491 | 412 | 2256098
|  |  | 2008 | 502 | 424 | 2310262
|  |  | 2009 | 514 | 436 | 2364235
|  |  | 2010 | 526 | 448 | 2419242
|  |  | 2011 | 538 | 458 | 2476230
|  |  | 2012 | 549 | 467 | 2525498
|  |  | 2013 | 560 | 475 | 2574674
Page 9
From Todd's load forecast

## Page 10
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Report | Utility Code: | 06909
Ferc Form No. 714 (2003) |  |  |  | For the Year Ending December 31, 2003 | Utility Name: | City of Gainesville
Part IV.
Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in
Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed.
Page | Line | Column
No. | No. | Letter
(a) | (b) | (c)
7 |  |  | filename: | RW03.XLS
Page 10

## Instructions
INSTRUCTIONS TO COMPLETING FORM No. 714
1 | Use Search and Replace to find ' 1999' and replace with the next year.
2 | Use Search and Replace to find '(1999)' and replace with the next year.
3 | From Todd's Monthly Generation Summary file/notebook (1998MGS.wb1 for 1998), get the day and peak MW for each month.
w:\u0070\kamhoot\he_recover\electric\mogensum\2001mgs.wb1
4 | From Tony Bielling, use the generator logs to find which units were unavailable at the monthly peak
(record whether it was a planned outage or un-planned outage). Use this data on page 3 and the
Unit_Outage sheet.
Setting all unit availabilities to 100% on unit outage sheet, determine total generation available for control area (MW)
for each month. Enter this into page 3, col H
5 | From the Energy System Control server (\\esnet\U012565\logger\ or Y:), use Programmer's File Editor to copy
the Daily System Peak Report-- Report ID 28 for the month's peak day to the Monthly_Peaks sheet. (12 months)
6 | Page 2 uses the day-of-year monthly peak from the Daily System Peak Report-- Report ID 28 and
the Unit Outage data for the peak month.
7 | Get the GRU NEL and Lamda data from shared folder w:\0070\energy supply\eei\gru\ and import to RW'yr'.wb1 spreadsheet. First
page is NEL and second page is Lamda data (use macro on page D: to help parse lamda data). Get minimum demands from NEL data,
compare maximum with Generation Summary data.
my network places\entire network\microsoft windows network\escnet\martin\shared\2001 data ems\lambda 2001
8 | For Page 4 (g) and (f), use Roger's Fuel Cost Summary from Budget process or ask Roger for new one. Add to (g) or Unit
Purchases the CR#3 received MWs for the month.
Page 4 (c), (d), (j) - Use Kamhoot spreadsheet
(g), (h) - See Roger
(f), (h) - Patty Tuttle
9 | Get the GRU NEL MWHs from the fuel adjustment spreadsheet (FA_FP page) and the Net Generation from the monthly F/A summary files.
10 | Page 6, Part II - Schedule 5 is completed by Mark Bennett at ESCC. Either mail or email him the request.
11 | Get the Forecast data from Todd's electric base case spreadsheet from the current forecast (Kamhoot\Elec2000\E4CAST00.WB1 for 2000).
12
13
14
15
16

## Unit Outages
Done | UNIT STATUS FOR EACH MONTH from Unit Service Records (Claude Pinder)
CALENDAR YEAR 2002
by Percent
| UNIT | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Summer | Winter
----------
| DH #1 | 100% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 83 | 83
| DH #2 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 100% | 100% | 228 | 228
| DH CT1 | 100% | 100% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 100% | 100% | 100% | 18 | 20
| DH CT2 | 100% | 100% | 100% | 0% | 100% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 18 | 20
| DH CT3 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 75 | 81
----------
| DH (MW) | 432 | 349 | 412 | 404 | 422 | 404 | 404 | 422 | 404 | 194 | 432 | 432
----------
| JRK #7 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 23 | 23
| JRK #8 | 0% | 100% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 37 | 37
| JRK CT4 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 75 | 81
| JRK CT1 | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 100% | 0% | 0% | 100% | 100% | 14 | 15
| JRK CT2 | 100% | 100% | 100% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 14 | 15
| JRK CT3 | 100% | 100% | 100% | 0% | 100% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 14 | 15
----------
| JRK (MW) | 149 | 186 | 149 | 149 | 177 | 163 | 163 | 177 | 163 | 163 | 171 | 156
ÄÄÄÄÄÄÄÄÄ
| Control Area (MW) | 581 | 535 | 561 | 553 | 599 | 567 | 567 | 599 | 567 | 357 | 603 | 588
| CR #3 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 11 | 11
----------
| CR #3 (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
----------
| SYSTEM (MW) | 592 | 546 | 572 | 564 | 610 | 578 | 578 | 610 | 578 | 368 | 614 | 599
by Load
| UNIT | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Summer | Winter
----------
| DH #1 | 83 | 0 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83
| DH #2 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 0 | 228 | 228 | 228 | 228
| DH CT1 | 20 | 20 | 0 | 18 | 18 | 18 | 18 | 18 | 0 | 18 | 20 | 20 | 18 | 20
| DH CT2 | 20 | 20 | 20 | 0 | 18 | 0 | 0 | 18 | 18 | 18 | 20 | 20 | 18 | 20
| DH CT3 | 81 | 81 | 81 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 81 | 81 | 75 | 81
----------
| ---------- | 432 | 349 | 412 | 404 | 422 | 404 | 404 | 422 | 404 | 194 | 432 | 432
ÄÄÄÄÄÄÄÄÄ
| JRK #7 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
| JRK #8 | 0 | 37 | 0 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37
| JRK CT4 | 81 | 81 | 81 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 81 | 81 | 75 | 81
| JRK CT1 | 15 | 15 | 15 | 14 | 14 | 14 | 0 | 14 | 0 | 0 | 15 | 15 | 14 | 15
| JRK CT2 | 15 | 15 | 15 | 0 | 14 | 14 | 14 | 14 | 14 | 14 | 0 | 0 | 14 | 15
| JRK CT3 | 15 | 15 | 15 | 0 | 14 | 0 | 14 | 14 | 14 | 14 | 15 | 0 | 14 | 15
----------
| JRK (MW) | 149 | 186 | 149 | 149 | 177 | 163 | 163 | 177 | 163 | 163 | 171 | 156
----------
| Control Area (MW) | 581 | 535 | 561 | 553 | 599 | 567 | 567 | 599 | 567 | 357 | 603 | 588
| CR #3 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
----------
| CR #3 (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
----------
| SYSTEM (MW) | 592 | 546 | 572 | 564 | 610 | 578 | 578 | 610 | 578 | 368 | 614 | 599

## Forecasts
Actual Summer and Winter Demands
Summer: | 433 | MW
Winter: | 369 | MW
Calendar Year 2002
Forecast Summer and Winter Demands
Year | Summer | Winter | NEL (MWh)
2003 | 450.785 | 367.0425 | 2061634.1145
2004 | 465.985 | 380.1938 | 2128828.7005
2005 | 464.0817 | 379.7886 | 2117763.7576
2006 | 476.6228 | 391.4909 | 2173519.1098
2007 | 489.5268 | 403.5204 | 2230618.9151
2008 | 501.5182 | 415.2614 | 2283869.7761
2009 | 513.8637 | 427.0584 | 2339046.2278
2010 | 525.9374 | 438.5559 | 2392796.4539
2011 | 537.7373 | 447.4494 | 2444951.1317
2012 | 547.9388 | 454.9381 | 2489252.9466

## Monthly Summary
2 0 0 2 M O N T H L Y G E N E R A T I O N S U M M A R Y
|  | Instantaneous |  |  | Integrated
|  | Gross | Net | Gross | Gross | Net |  | Interchange |  | Percentage of Generation |  |  |  |  | Rainfall |  | Temperature
| Date | Max | Max | Min | Max | Max | NEL | Sales | Purch | Coal | Gas | #6 Oil | #2 Oil | CR #3 | ESCC | JRK | High | Low
* | 2002-01-09 | 396 | 374.2 | 229.4 | 390.8 | 368.8 | 4638.1 | 1340 | 0 | 62 | 14.2 | 17.5 | 2.7 | 3.6 | 0 | 0 | 64.3 | 24.6 |  |  | 2875.622 | 658.6102 | 811.6675 | 125.2287 | 166.9716
* | 2002-02-28 | 345.4 | 328.5 | 226.8 | 345.5 | 328.8 | 6204 | 1299 | 955 | 70.1 | 22.2 | 2.2 | 0.5 | 5 | 0 | 0 | 54 | 28 |  |  | 4349.004 | 1377.288 | 136.488 | 31.02 | 310.2
* | 2002-03-05 | 337.6 | 316.1 | 209 | 333.2 | 310.9 | 5753 | 969 | 725 | 75.2 | 10 | 9.7 | 0 | 5.1 | 0 | 0 | 58.3 | 28.3 |  |  | 4326.256 | 575.3 | 558.041 | 0 | 293.403
* | 2002-04-30 | 391.3 | 368.2 | 186.1 | 388.7 | 365.5 | 6595.3 | 1005 | 710 | 69.5 | 24.5 | 1.7 | 0 | 4.3 | 0 | 0 | 90.6 | 69.6 |  |  | 4583.7335 | 1615.8485 | 112.1201 | 0 | 283.5979
* | 2002-05-03 | 414.2 | 390 | 196.4 | 412.3 | 387.5 | 6664.5 | 983 | 0 | 56.9 | 19.2 | 20.3 | 0 | 3.6 | 0 | 0 | 94 | 71 |  |  | 3792.1005 | 1279.584 | 1352.8935 | 0 | 239.922
* | 2002-06-03 | 441.6 | 417.5 | 209.2 | 439.1 | 415 | 7078.2 | 979 | 83 | 62.6 | 23.4 | 10.2 | 0 | 3.8 | 0.4 | 0.12 | 99 | 73 |  |  | 4430.9532 | 1656.2988 | 721.9764 | 0 | 268.9716
* | 2002-07-17 | 462 | 435 | 242.2 | 457.2 | 432.9 | 7883.4 | 965 | 50 | 55.4 | 37.3 | 2.8 | 0 | 4.5 | 0.03 | 0 | 98 | 74 |  |  | 4367.4036 | 2940.5082 | 220.7352 | 0 | 354.753
* | 2002-08-06 | 436 | 408.8 | 218.5 | 434 | 406 | 7237.9 | 772 | 120 | 57.1 | 39.3 | 0 | 0 | 3.6 | 0 | 0 | 93 | 71 |  | 17 | 4132.8409 | 2844.4947 | 0 | 0 | 260.5644
* | 2002-09-18 | 425.4 | 400.7 | 217.3 | 424.5 | 399.7 | 7364.1 | 1084 | 219 | 59 | 37.5 | 0 | 0 | 3.5 | 0 | 0 | 93 | 72 |  | 17.5 | 4344.819 | 2761.5375 | 0 | 0 | 257.7435
* | 2002-10-08 | 377 | 366 | 188 | 375.5 | 367.6 | 6699.2 | 48 | 1769 | 0 | 91 | 2.2 | 0 | 6.7 | 0 | 0 | 90 | 69 |  | 14.5 | 0 | 6096.272 | 147.3824 | 0 | 448.8464
* | 2002-11-11 | 325 | 300.3 | 171.4 | 321 | 299 | 5446.6 | 1417 | 0 | 62.4 | 33.8 | 0 | 0 | 3.8 | 0 | 0 | 84.6 | 70.3 |  | 12.45 | 3398.6784 | 1840.9508 | 0 | 0 | 206.9708
* | 2002-12-16 | 338.2 | 316.1 | 241.7 | 338 | 316.9 | 5917.3 | 1080 | 546 | 74.1 | 19.7 | 0 | 0 | 4.8 | 0 | 0 | 66 | 33 | 15.5 | 0 | 4384.7193 | 1165.7081 | 0 | 0 | 284.0304