## Part 2, Schedule 3
Federal Energy Regulatory Commission |  |  |  | Annual Electric Control and Planning Area Report |  |  |  |  | Utility Code: 9191
Form FERC-714 (2000) |  |  |  | For the Year Ending December 31, 2003 |  |  |  |  | Utility Name: Idaho Power Co
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The
total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual
peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions,
please refer to attached Schedule 3 instructions on pages 11 and 12.
Control Area Load Sources at Time of Control Area Monthly Peak Demand,
Based on Net Energy for Load (NEL)
|  | Control Area | Net Actual | Net Energy for Load | Output of | Unit or Firm | Unit or Firm | Net Non-Firm | Monthly | Monthly
Line |  | Net Generation | Interchange | (MWh) | Generating Plants | Purchases | Sales | & Inadvertent | Peak Demand | Minimum
No. | Month | (MWh) | (MWh) | (c + d) | (MW) | (MW) | (MW) | (MW) | (MW) | Demand
[7 empty] | (See Notes) |  | (f+g-h+i) | (MW)
(a) | (b) | (c) * | (d) * | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1. | Jan | 1038168 | 194049 | 1232217 | 1714 | 125 | 56 | 189 | 2084 | 1244
2. | Feb | 1043308 | 55248 | 1098556 | 1758 | 0 | 260 | 103 | 2121 | 1200
3. | Mar | 1028352 | 67876 | 1096228 | 1891.8635 | 0 | 216 | -186 | 1922 | 1097
4. | Apr | 1084481 | -21761 | 1062720 | 1658.8826 | 375 | 366 | -544 | 1856 | 1087
5. | May | 1200958 | 105466 | 1306424 | 2145 | 285 | 243 | 111 | 2784 | 1210
6. | Jun | 1144894 | 506470 | 1651364 | 2085.2836 | 700 | 65 | 178 | 3028 | 1621
7. | Jul | 1087503 | 780167 | 1867670 | 2239.98 | 692 | 78 | 202 | 3212 | 1703
8. | Aug | 1069821 | 548406 | 1618227 | 1965.0198 | 608 | 203 | 145 | 2921 | 1482
9. | Sep | 1045941 | 251590 | 1297531 | 2039.2927 | 475 | 301 | -218 | 2597 | 1351
10. | Oct | 941772 | 212925 | 1154697 | 1585.6252 | 103 | 293 | -18 | 1964 | 1179
11. | Nov | 912735 | 278599 | 1191334 | 1551.4342 | 204 | 27 | 325 | 2107 | 1262
12. | Dec | 929067 | 342899 | 1271966 | 1395.3978 | 525 | 109 | 82 | 2111 | 1274
13. | Total | 12527000 | 3321934 | 15848934
Page 4

## Part 3, Schedule 2
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report |  |  |  | Utility Code: 9191
Form FERC-714 (2002) |  | For the Year Ending December 31, 2003 |  |  |  | Utility Name: Idaho Power Co
Part III - Schedule 2. Planning Area Forecast
Forecast Amounts
|  |  | Summer | Winter | Annual Net Energy
|  |  | Peak Demand | Peak Demand | For Load
| Year |  | MW | MW | MWH
| 2004 |  | 3037.413 | 2482.584 | 13298292
| 2005 |  | 3122.023 | 2554.726 | 13648199
| 2006 |  | 3203.357 | 2588.195 | 13978194
| 2007 |  | 3287.85 | 2649.089 | 14315129
| 2008 |  | 3373.964 | 2707.512 | 14665514
| 2009 |  | 3459.01 | 2764.588 | 14999924
| 2010 |  | 3543.284 | 2820.611 | 15327681
| 2011 |  | 3626.876 | 2876.582 | 15646813
| 2012 |  | 3709.838 | 2931.543 | 15960696
| 2013 |  | 3793.653 | 2986.712 | 16274284
Page 9 - A

## page 9 B
Federal Energy Regulatory Commission |  | Annual Electric Control and Planning Area Report | Utility Code: 9191
Form FERC-714 (2002) |  | For the Year Ending December 31, 2003 | Utility Name: Idaho Power Co
Part III - Schedule 2. Planning Area Hourly Demands
Idaho Power authorizes the Western Systems Coordinating Council
to release the hourly demand data for 2003 on behalf of Idaho Power.
Page 9-B