## Company 2.1
Item 2.1
Projected Capacity and Demand for Ten Years
Summer
System: | EMDE
Demand in Megawatts | Actual 2003 (3) | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
01 Internal Demand | 1048.6 | 1058 | 1082 | 1106 | 1131 | 1157 | 1182.8075 | 1209.1957 | 1236.1776 | 1263.7666 | 1291.9763
02 Standby Demand
03 Total Internal Demand (01+02) | 1048.6 | 1058 | 1082 | 1106 | 1131 | 1157 | 1182.8075 | 1209.1957 | 1236.1776 | 1263.7666 | 1291.9763
04 Direct Control Load Management
05 Interruptible Demand | 7.6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
06 Net Internal demand (03-04-05) | 1041 | 1048 | 1072 | 1096 | 1121 | 1147 | 1172.8075 | 1199.1957 | 1226.1776 | 1253.7666 | 1281.9763
Capacity, Net, in Megawatts
07 Committed Resources | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
08 Distributed Generator Capacity >= 1 MW
09 Other Capacity >= 1 MW
10 Distributed Generator Capacity < 1 MW
11 Other Capacity < 1 MW
12 Uncommitted Resources
13 Total Capacity (07+12) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
13.1 Nuclear
13.2 Hydro | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
13.3 Pumped Storage
13.4 Geothermal
13.5 Steam
13.5.1 Coal | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 382 | 382 | 382 | 382
13.5.2 Oil
13.5.3 Gas
13.5.4 Dual Fuel
13.6 Combustion Turbine
13.6.1 Oil
13.6.2 Gas | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404
13.6.3 Dual Fuel
13.7 Combined Cycle
13.7.1 Oil
13.7.2 Gas | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
13.7.3 Dual Fuel
13.8 Other
14 Inoperable Capacity
15 Net Operable Capacity (13-14) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
16 Capacity Purchases - Total | 162 | 162 | 162 | 162 | 162 | 162 | 162
17 Full Responsibility Purchases
18 Capacity Sales - Total
19 Full Responsibility Sales
20 Adjustment to Purchases and Sales | -162 | -162 | -162 | -162 | -162 | -162 | -162
21 Net Capacity Resources (15+16-18+20) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
Notes
1. U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WSCC summarized separately.
2. Should correspond to peak hour demands reported in EIA-411 report, Item 1, line 07 (summer).
3. At time of metered summer peak, and on a basis consistent with projected data.
4. Total Owned Capacity should correspond to the sum of lines 13.1-13.8
5. Data fields merged from NERC FORM 2.1. Requires an actual and ten years of projected data.
6. Adverse hydro. Please specify if otherwise:
7. Oil-Burning capability as a primary fuel.
8. Gas-Burning capability as a primary fuel.
9. Capability of burning either gas or oil equally.
10. Includes diesel.

## Company 2.2
Item 2.2
Projected Capacity and Demand for Ten Years
Winter
System: | EMDE
Demand in Megawatts | Actual 2003 (3) | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
01 Internal Demand | 987 | 937 | 947 | 966 | 986 | 1006 | 1026.9751 | 1048.3875 | 1070.2464 | 1092.561 | 1115.3409
02 Standby Demand
03 Total Internal Demand (01+02) | 987 | 937 | 947 | 966 | 986 | 1006 | 1026.9751 | 1048.3875 | 1070.2464 | 1092.561 | 1115.3409
04 Direct Control Load Management
05 Interruptible Demand
06 Net Internal demand (03-04-05) | 987 | 937 | 947 | 966 | 986 | 1006 | 1026.9751 | 1048.3875 | 1070.2464 | 1092.561 | 1115.3409
Capacity, Net, in Megawatts
07 Committed Resources | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
08 Distributed Generator Capacity >= 1 MW
09 Other Capacity >= 1 MW
10 Distributed Generator Capacity < 1 MW
11 Other Capacity < 1 MW
12 Uncommitted Resources
13 Total Capacity (07+12) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
13.1 Nuclear
13.2 Hydro | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
13.3 Pumped Storage
13.4 Geothermal
13.5 Steam
13.5.1 Coal | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 382 | 382 | 382 | 382
13.5.2 Oil
13.5.3 Gas
13.5.4 Dual Fuel
13.6 Combustion Turbine
13.6.1 Oil
13.6.2 Gas | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404 | 404
13.6.3 Dual Fuel
13.7 Combined Cycle
13.7.1 Oil
13.7.2 Gas | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
13.7.3 Dual Fuel
13.8 Other
14 Inoperable Capacity
15 Net Operable Capacity (13-14) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
16 Capacity Purchases - Total | 162 | 162 | 162 | 162 | 162 | 162 | 162
17 Full Responsibility Purchases
18 Capacity Sales - Total
19 Full Responsibility Sales
20 Adjustment to Purchases and Sales | -162 | -162 | -162 | -162 | -162 | -162 | -162
21 Net Capacity Resources (15+16-18+20) | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1102 | 1102 | 1102 | 1102
Notes
1. U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WSCC summarized separately.
2. Should correspond to peak hour demands reported in EIA-411 report, Item 1, line 07 (summer).
3. At time of metered summer peak, and on a basis consistent with projected data.
4. Total Owned Capacity should correspond to the sum of lines 13.1-13.8
5. Data fields merged from NERC FORM 2.1. Requires an actual and ten years of projected data.
6. Adverse hydro. Please specify if otherwise:
7. Oil-Burning capability as a primary fuel.
8. Gas-Burning capability as a primary fuel.
9. Capability of burning either gas or oil equally.
10. Includes diesel.