| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 FERC FORM NO. 714 | Form Approved OMB Numbers: 1902 - 0140 (Expires: 10-31-2006) |
| --- | --- | --- |

This report is mandatory under the Federal Power Act, and is a regulatory support requirement as provided by 18 C.F.R. §141.51.  Failure to comply may result in criminal fines, civil penalties and other sanctions as provided by law.  Information reported on the FERC Form No. 714 is not considered confidential. Questions concerning this report will be answered by:  Ms. Sandra Russell  (202) 502-8376 or form 714@ferc.fed.us.

This form consists of: Part I, Identification and Certification; Part II, comprising Schedules 1 through 6; Part III, comprising Schedules 1 and 2; and Part IV, Notes.  All respondents are to complete Parts I and IV.  Part II is to be completed by each electric utility or group of electric utilities which operates a control area.  Part III is to be completed by each electric utility or group of electric utilities which constitute a planning area and has an annual peak demand that is greater than 200 MW.  An electric utility is a corporation, person, agency, authority, or other legal entity or instrumentality that owns and/or operates facilities within the United States for the generation, transmission, distribution, or sale of electric energy primarily for use by the public.

Public reporting burden for this collection of information is estimated to average 50 hours per response, including time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.  Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to Federal Energy Regulatory Commission, Office of the Chief Information Officer, CI-1, 888 First Street N.E.;, Washington, D.C. 20426; and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, D.C. 20503.  You shall not be penalized for failure to respond to this collection of information unless the collection of information displays a valid OMB control number.

List of Schedules

Part I:	Identification and Certification

Part II:	Control Area Information

Schedule 1:	Generating Plants Included in Reporting Control Area

Schedule 2:	Control Area Monthly Capabilities at Time of Monthly Peak Demand

Schedule 3:	Control Area Net Energy for Load and Peak Demand Sources by Month

Schedule 4:	Adjacent Control Area Interconnections

Schedule 5:	Control Area Scheduled and Actual Interchange

Schedule 6:	Control Area Hourly System Lambda

Part III:	Planning Area Information

Schedule 1:	Electric Utilities that Compose the Planning Area

Schedule 2:	Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy For Load

Part IV:	Notes

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Utility Code: 10000 Utility Name: Kansas City Power & Light Co. |
| --- | --- | --- | --- |
| Part I - Schedule I. Identification and Certification |  |  |  |
| 1. Respondent Identification: Code: 10000 Name: Kansas City Power & Light Co. 2. Respondent Type: (Please check appropriate box and fill in name) [  ] Part I: Control Area (Complete Parts I, II and IV) Control Area Name: [  ] Part II: Planning Area (Complete Parts I, III and IV) Planning Area Name: |  | 3. Respondent Mailing Address: Gerald W. Burrows Kansas City Power & Light Co. P.O. Box 418679 Kansas City, MO 64141-9671 4. Contact Person: Name: Bruce R. Sisk Title: Energy Accounting Analyst Telephone #: (816) 654-1217 Ext. E-mail Address: bruce.sisk@kcpl.com 5. Certifying Official: Name: Gerald W. Burrows Title: Manager/Transmission Services Signature: ________________ Date: _______ |  |
| Return Completed Form to: Federal Energy Regulatory Commission Room 8F-01 Form 714 888 First St., N.E. Washington, D.C. 20426 |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |
| --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 1. Generating Plants Included in Reporting Control Area (Use continuation sheets if needed) |  |  |  |  |  |  |
| Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15. |  |  |  |  |  |  |
| Line No. (a) | Electric Utility Name (b) |  | Plant Name (c) | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (d) |  | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (e) |
| 1. | Kansas City Power & Light Co. |  | Hawthorn | 988 |  | 902 |
| 2. |  |  | Iatan | 469 |  | 468 |
| 3. |  |  | La Cygne | 681 |  | 671 |
| 4. |  |  | Montrose | 510 |  | 479 |
| 5. |  |  | Northeast | 460 |  | 173 |
| 6. |  |  | Wolf Creek | 550 |  | 542 |
| 7. |  |  | West Gardner | 308 |  | 278 |
| 8. |  |  | Osawatomie | 77 |  | 68 |
| 9. |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |
| 13. |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |
|  |  |  | TOTAL | 4,043 |  | 3,581 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand |  |  |  |  |  |  |  |  |  |  |  |
| The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note. |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |
|  |  | Net Capability from Plants Reported on Schedule II |  |  |  |  |  | External to the Control Area Net Unit or Firm Capability (MW) |  |  |  |
|  |  |  | Unavailable Capability Due to: |  |  |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Available Capability (MW) (2) (3) (c) (4) | Planned Outage and Derating (MW) (d) |  | Unplanned Outage and Derating (MW) (e) | Other Outage and Derating* (MW) (7) (f) | Total (c + d + e + f) (MW) (3) (5) (g) | Available (MW) (11) (6) (h) |  | Not Available (MW) (11) (6) (i) | Total Capability (g + h + i) (MW) (2) (3) (j) |
| 1. | 22 Jan | 2,672 | 1,123 |  | 52 | 11 (W)) | 3,858 | 148 |  | 0 | 4,006 |
| 2. | 24 Feb | 2,445 | 877 |  | 525 | 11 (W) | 3,858 | 148 |  | 0 | 4,006 |
| 3. | 5 Mar | 2,132 | 948 |  | 653 | 11 (W) | 3,744 | 148 |  | 0 | 3,892 |
| 4. | 30 Apr | 2,267 | 948 |  | 518 | 6 (W) | 3,739 | 148 |  | 0 | 3,887 |
| 5. | 30 May | 2,533 | 679 |  | 521 | 6 (W) 7(LC) | 3,746 | 148 |  | 0 | 3,894 |
| 6. | 24 Jun | 2,888 | 869 |  | 286 | 5 (W) 2 (LC) | 4,050 | 146 |  | 0 | 4,196 |
| 7. | 18 Jul | 3,134 | 820 |  | 89 | 1 (LC) 1 (I) | 4,045 | 146 |  | 0 | 4,191 |
| 8. | 21 Aug | 3,581 | 287 |  | 175 | - | 4,043 | 146 |  | 0 | 4,189 |
| 9. | 10 Sep | 2,985 | 1,001 |  | 57 | 2 (H) 1 (I) 1 (W) 7 (LC) | 4,054 | 146 |  | 0 | 4,200 |
| 10. | 24 Oct | 1,955 | 1,732 |  | 356 | 2 (LC) 3 (I) | 4,048 | 146 |  | 0 | 4,194 |
| 11. | 25 Nov | 1,957 | 1,818 |  | 268 | 2 (LC) | 4,045 | 146 |  | 0 | 4,191 |
| 12. | 10 Dec | 2,363 | 1,262 |  | 597 | 8 (W) 1 (I) | 4,231 | 146 |  | 0 | 4,377 |
| * Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc. |  |  |  |  |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  |  |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |  |  |  |  |  |  |  |  |  |  |
| Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL) |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Control Area Net Generation (MWh) (3) (9) (c) (10) | Net Actual Interchange (MWh) (d) |  | Net Energy for Load (MWh) (c + d) (8) (10) (e) | Output of Generating Plants (MW) (2) (3) (9) (f) | Unit or Firm Purchases (MW) (6) (g) (11) | Unit or Firm Sales (MW) (6) (h) (10) (11) | Net Non-Firm & Inadvertent (MW) (i) (22) |  | Monthly Peak Demand (MW) (f+g-h+i) (8) (j) | Monthly Minimum Demand (MW) (2) (8) (k) |
| 1. | 22 January | 1,766,238 | 621,039 |  | 2,387,277 | 2,681 | 36 | (348) | (14) |  | 2,355 | 1,218 |
| 2. | 24 February | 1,491,450 | 305,653 |  | 1,797,103 | 2,437 | 81 | (275) | 3 |  | 2,246 | 1,158 |
| 3. | 5 March | 1,400,672 | 390,859 |  | 1,791,531 | 2,132 | 610 | (551) | (19) |  | 2,172 | 1,043 |
| 4. | 30 April | 1,190,746 | 20,846 |  | 1,211,592 | 2,397 | 185 | (551) | 60 |  | 2,091 | 1,033 |
| 5. | 30 May | 1,524,891 | 403,846 |  | 1,928,737 | 2,515 | 571 | (536) | 92 |  | 2,642 | 1,014 |
| 6. | 24 June | 1,727,306 | 562,963 |  | 2,290,269 | 3,175 | 245 | (195) | (16) |  | 3,209 | 1,038 |
| 7. | 18 July | 1,990,180 | 362,875 |  | 2,353,055 | 3,136 | 683 | (300) | 20 |  | 3,539 | 1,336 |
| 8. | 21 August | 1,972,568 | 402,553 |  | 2,375,121 | 3,581 | 553 | (561) | 68 |  | 3,641 | 1,266 |
| 9. | 10 September | 1,693,510 | 665,858 |  | 2,359,368 | 2,994 | 171 | (416) | (42) |  | 2,707 | 1,046 |
| 10. | 20 October | 1,544,706 | 810,304 |  | 2,355,010 | 1,931 | 467 | (353) | 33 |  | 2,078 | 1,061 |
| 11. | 24 November | 1,356,522 | 788,894 |  | 2,145,416 | 1,949 | 362 | (281) | 44 |  | 2,074 | 1,120 |
| 12. | 10 December | 1,800,564 | 775,945 |  | 2,576,509 | 2,365 | 639 | (721) | (10) |  | 2,273 | 1,197 |
| 13. | Total | 19,459,353 | 6,111,635 |  | 25,570,988 |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) (12) |  | Line or Bus Voltage (kV) (d) |
| 1. | Associated Electric Cooperative |  | AEC Missouri City Substation |  | 161 |
| 2. |  |  | Salisbury Substation |  | 161 |
| 3. |  |  | Norton Substation |  | 161 |
| 4. |  |  | (13) SPA/AEC Clinton Substation |  | 161 |
| 5. |  |  |  |  |  |
| 6. | Western Resources (KGE) |  | KGE Marmaton Substation |  | 161 |
| 7. |  |  | (14) La Cygne Substation (to KGE-Neosho) |  | 345 |
| 8. |  |  | (14) La Cygne Substation (to Wolf Creek) |  | 345 |
| 9. |  |  |  |  |  |
| 10. | Western Resources (KPL) Kansas Power & Light Company |  | KPL Stranger Creek Substation |  | 345 |
| 11. |  |  | KPL Swissvale - Stilwell #1 |  | 345 |
| 12. |  |  | KPL Spring Hill Substation |  | 161 |
| 13. |  |  | Dist Line from KPL Spring Hill Sub |  | 12 |
| 14. |  |  | Dist Line from Murlen Sub (Ridgeview) |  | 12 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) (12) |  | Line or Bus Voltage (kV) (d) |
| 1. | Western Resources (KPL) (con’t) |  | Dist Line from Webster - Springhill |  | 12 |
| 2. |  |  |  |  |  |
| 3. | Missouri Public Service Company |  | MPS Archie Substation |  | 161 |
| 4. |  |  | (16) Sweet Springs MPS Concordia #8 |  | 34 |
| 5. |  |  | MPS Martin City Substation (Also serves as a connection point for the Grandview ties) |  | 161 |
| 6. |  |  | MPS Sibley Substation (to/from Hawthorn Substation) |  | 345 |
| 7. |  |  | Glenaire Jct-MPS Liberty Line |  | 69 |
| 8. |  |  | Mayview Substation |  | 69 |
| 9. |  |  | Nashua Substation |  | 161 |
| 10. |  |  | Moss Creek - MPS Norborne #7 |  | 34 |
| 11. |  |  | (15) MPS Sibley-Ameren Overton #3 |  | 345 |
| 12. |  |  | MPS Roanridge Substation |  | 161 |
| 13. |  |  | Stilwell-MPS Pleasant Hill |  | 345 |
| 14. |  |  | (16) Distribution Line from Drexel Corners Sub |  | 12 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) (12) |  | Line or Bus Voltage (kV) (d) |
| 1. | Missouri Public Service Company (con’t.) |  | (16) Buss tie between KCPL Duncan Rd Sub & MPS Duncan Rd Sub |  | 12 |
| 2. |  |  | Distribution Line from MPS Duncan Rd Sub |  | 12 |
| 3. |  |  | MPS Duncan Rd. Substation |  | 161 |
| 4. |  |  | MPS Lake Road Substation |  | 161 |
| 5. |  |  | Hawthorn- MPS St. Joseph #11 |  | 345 |
| 6. |  |  | (14) Iatan Substation (to MPS) |  | 345 |
| 7. |  |  | Liberty South XF 1 |  | 161 |
| 8. |  |  |  |  |  |
| 9. | Ameren |  | (16) Ameren Lafrenz Substation |  | 69 |
| 10. |  |  | (15) Ameren Overton Substation |  | 345 |
| 11. |  |  | Salisbury - Ameren Moberly #10 |  | 161 |
| 12. |  |  | Ameren Mauer Lake Substation |  | 161 |
| 13. |  |  |  |  |  |
| 14. |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) (12) |  | Line or Bus Voltage (kV) (d) |
| 1. | Board of Public Utilities - Kansas City, Kansas |  | BPU Barber - Terrace #5 |  | 161 |
| 2. |  |  | BPU Barber - Shawnee #10 |  | 161 |
| 3. |  |  | BPU Maywood - Weatherby #3 |  | 161 |
| 4. |  |  | BPU Metropolitan - Greenwood #7 |  | 161 |
| 5. |  |  |  |  |  |
| 6. | City of Independence, MO |  | Independence Sub E |  | 69 |
| 7. |  |  | Independence Sub F |  | 69 |
| 8. |  |  | Independence Sub H |  | 69 |
| 9. |  |  | Blue Mills Substation |  | 161 |
| 10. |  |  | Independence Blue Valley Substation (to/from Lake City Sub J) |  | 69 |
| 11. |  |  | Hawthorn Substation (to/from Independence Sub M) |  | 161 |
| 12. |  |  | Leeds Substation (to/from Independence Sub N) |  | 161 |
| 13. |  |  |  |  |  |
| 14. |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |
| (a) | (b) |  | Received (c) | Delivered (d) |  | Received (e) | Delivered (f) |
| 1. | Associated Electric Cooperative |  | - | - |  | 1,500,543 | 2,595,292 |
| 2. | Western Resources (KGE) (17) |  | 4,188,560 | 4,917,489 |  | 1,144,579 | 5,836,671 |
| 3. | Western Resources (KPL) |  | - | - |  | 4,514,616 | 2,436,708 |
| 4. | Missouri Public Service Co. |  | - | 896,434 |  | 3,749,301 | 6,575,833 |
| 5. | Empire District Electric Co. |  | - | 570,649 |  | - | - |
| 6. | Ameren |  | - | - |  | 979,125 | 552,939 |
| 7. | City of Independence, MO |  | 3 | 82 |  | 126,908 | 528,573 |
| 8. | Board of Public Utilities - City of Kansas City, KS |  | - | - |  | 709,177 | 309,868 |
| 9. | Southwest Power Pool (26) |  | 1,573,463 | 5,487,342 |  | - | - |
| 10. | Mid-continent Area Power Pool (19) |  | 1,417 | 1,579 |  | - | - |

(Continued)

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |
| (a) | (b) |  | Received (c) | Delivered (d) |  | Received (e) | Delivered (f) |
| 1. |  |  |  |  |  |  |  |
| 2. | TOTAL |  | 5,763,443 | 11,873,575 |  | 12,724,249 | 18,835,884 |
| 3. |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  | - | - |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |
| (a) | (b) |  | Received (c) | Delivered (d) |  | Received (e) | Delivered (f) |
| 1. |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |
| 10. | TOTAL |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Control Area and Electric System Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- |
| Part II - Schedule 6. Control Area System Lambda Data |  |  |  |
| Submit on a 3.5 inch diskette formatted for the DOS operating system the following data file in ASCII format: the control area's system lambda for each hour of the year starting with 1 a.m., January 1, 1998. Identify clearly the time zone in which this time series is made. The file should have 8760 records (8784 for leap years). Each record is to contain the system lambda value at the clock hour in dollars per megawatthour (mills per kilowatthour) or an "NA" for those hours when system lambda was not calculated. Control Area Hourly System Lambda. For control areas where demand following is primarily performed by thermal generating units, the system lambda is derived from the economic dispatch function associated with automatic generation control performed at the controlling utility or pool control center. Excluding transmission losses, the fuel cost ($/hr) for a set of on-line and loaded thermal generating units (steam and gas turbines) is minimum when each unit is loaded and operating at the same incremental fuel cost ($/MWh) with the sum of the unit loadings (MW) equal to the system demand plus the net of interchange with other control areas. This single incremental cost of energy is the system lambda. System lambdas are likely recalculated many times in one clock hour. However, the indicated system lambda occurring on each clock hour would be sufficient for reporting purposes. |  | Provide, as a note in Part IV, an explanation describing the reason for the unavailability of system lambda information and a definite plan for reporting the information with a target date. The Commission expects that all Energy Management Systems, with proper instructions, can record the system lambda being used for economic dispatch of the control area's thermal units. Respondents should be able to report system lambda, along with the other information reported on a control area basis, that describe the operation of such areas from information that should be readily available. The Commission is not requesting Respondents to develop incremental or marginal cost (either short or long term) according to any formula. Nor is the Commission requesting "avoided cost rates" that, pursuant to PURPA 210, electric utilities file with state commissions or otherwise make available for prospective qualified facilities. (21) Description of Economic Dispatch. Also, provide in writing a detailed description of how Respondent calculates system lambda. For those systems that do not use an economic dispatch algorithm and do not have a system lambda, provide in writing a detailed description of how control area resources are efficiently dispatched. |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Part III - Schedule 1. Electric Utilities That Compose the Planning Area (Use continuation sheets if needed) |  |  |  |  |  |  |
| Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Instructions on pages 23 and 24. |  |  |  |  |  |  |
|  |  |  |  |  | Electric Utility Coincident Peak Demand (MW) |  |
| Line No. (a) | Electric Utility Name (b) |  |  |  | Summer 8-21-03 16:00 (c) | Winter 1-22-03 19:00 (d) |
| 1. | KCPL |  |  |  | 3,571.9 | 2,233.9 |
| 2. | City of Slater |  |  |  | 5.5 | 3.2 |
| 3. | City of Pomona |  |  |  | 2.1 | 1.2 |
| 4. | City of Prescott |  |  |  | 0.5 | 0.3 |
| 5. | MPS |  |  |  | 1.2 | 0.8 |
| 6. | KEPCO |  |  |  | 13.0 | 9.9 |
| 7. | Garnett |  |  |  | 4.0 | 4.7 |
| 8. | Osawatomie |  |  |  | 7.3 | 5.5 |
| 9. | Higginsville |  |  |  | 4.5 | 8.5 |
| 10. |  |  |  |  |  |  |
| 11. | Total |  |  |  | 3610.0 | 2268.0 |
| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |  |  |
| Part III - Schedule 2. Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load |  |  |  |  |  |  |
| (Page 9.01) PLANNING AREA HOURLY DEMAND (1) Respondents must submit hourly demand data in electronic form to the Commission. Additionally, Respondents that participate in a national, regional or sub-regional process for consolidating and ensuring the consistency and accuracy of actual hourly and forecast demand information, may instead authorize the national, regional or sub-regional organization to release that information to the Commission, and to the public at the cost of reproduction, in an easily accessible electronic format, such as the EEI format. (2) If the Respondent does not participate in the development of national, regional or sub-regional actual and forecast demand information, it must submit its own, equivalent, demand information directly to the Commission along with this report, as follows. |  |  | Respondents must submit on a 3.5 inch diskette formatted for the DOS operating system the following data file in ASCII format: the planning area's actual hourly demand, in megawatts, for each hour of the year starting with 1 AM, January 1, 1998. Indicate the time zone and the period for which daylight savings time was used. The file should have 8760 records (8784 for leap years). For hours when this information is not available, enter "NA." PLANNING AREA FORECAST SUMMER & WINTER PEAK DEMAND Provide on the diskette a file containing the planning area's forecast summer and winter peak demand, in megawatts, and annual net energy for load, in megawatthours, for the next ten years. |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| # Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 2 | All | D & E | (1) The annual peak occurred on August 21, 2003, at 1600 hours. |  |  |
| 4 | 8 | All |  |  |  |
| 2 | All | D & E | (2) Control area loads are at the time of the planning area peaks and minimums. The dispatch |  |  |
| 3 | All | C - J | computer does not compute control area loads; however, control area peak times will |  |  |
| 4 | All | F - K | closely correspond to the planning area peak times since both areas have similar |  |  |
|  |  |  | Weather sensitive loads. Also, capability data is at time of planning area monthly peaks. |  |  |
| 2 | All | D & E | (3) KCPL’s control area generation consists of |  |  |
| 3 | All | C - G | Reported: |  |  |
| 4 | All | C & F | a. Units entirely owned by KCPL. |  |  |
|  |  |  | b. KCPL’s share of unites within its control area. The other owners dynamically schedule their own share. |  |  |
|  |  |  | c. KCPL’s share of a unit outside the control area. KCPL dynamically schedules its share of the unit. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
|  |  |  | (3) Continued |  |  |
|  |  |  | Non-reported: |  |  |
|  |  |  | a. Generation at nine other municipal systems within KCPL’s control area. These municipals are |  |  |
|  |  |  | responsible for their loads through generation and purchases. |  |  |
| 2 | All | D | (4) The total in column (c), page 3, for the month of August is 462 MW less than the total reported on page 2, column (d). The reason for the lower number on page 3, Column (c), is due to planned de-rating for load control and planned outages at Northeast CT #11 -18 of (287 MW) |  |  |
| 3 | 8 | C | and Wolf Creek (8 MW) for lake water temperatures. It is also due to unplanned de-rating at Montrose # 1,2 & 3 (31 MW – air flow limitations & Opacity limitation), LaCygne units #1 & #2 (10 MW – high pressure heater limitations & line safety valve), Iatan (1 MW – main air flow |  |  |
|  |  |  | limitations), Hawthorn #5 (24 MW – high back pressure limitation), Hawthorn #6, 7, 8 & 9 (62MW – ambient air temperature limitations, governor controls & high back pressure limitations), West Gardner (30 MW – ambient air temperature limitations) and Osawatomie |  |  |
|  |  |  | (9 MW – ambient air temperature limitations). |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. – Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 2 | All | D | (5) (Jan through Feb) (Mar through May) (Jun through Nov) (December) Availability Availability Availability Availability |  |  |
| 3 | All | G | Grand Avenue 65 65 - - |  |  |
|  |  |  | Hawthorn #5 575 575 565 565 |  |  |
|  |  |  | Iatan 469 469 469 469 |  |  |
|  |  |  | La Cygne 681 681 681 681 |  |  |
|  |  |  | Montrose 510 510 510 510 |  |  |
|  |  |  | Northeast 518 460 460 518 |  |  |
|  |  |  | Wolf Creek 550 550 550 550 |  |  |
|  |  |  | Hawthorn #6 162 132 132 162 |  |  |
|  |  |  | Hawthorn # 7 90 77 77 90 |  |  |
|  |  |  | Hawthorn # 8 90 77 77 90 |  |  |
|  |  |  | Hawthorn # 9 137 137 137 137 |  |  |
|  |  |  | Combustion Turbines - - 385 450 |  |  |
|  |  |  | TOTAL 3,847 3,733 4,043 4,222 |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 3 | All | H & I | (6) External net unit or firm capability |  |  |
| 4 | All | G & H | 100 MW “Capacity” purchased from Power Marketer for January through December |  |  |
|  |  |  | 51 MW “Capacity” purchased from Power Marketer for January through December. |  |  |
|  |  |  | 90 MW “Capacity Exchange” sales to IND for January through December. |  |  |
|  |  |  | 17 MW “Capacity” purchased from BPU for Kansas Municipals for January through December. |  |  |
|  |  |  | 1 MW “Hydro Capacity” purchased from EDE for Kaw Valley for January through December. |  |  |
|  |  |  | 2 MW “Hydro Capacity” purchased from EDE for KMEA for January through December. |  |  |
|  |  |  | 38 MW “Hydro Capacity” purchased from EDE for BPU for January through December. |  |  |
|  |  |  | 3 MW “Hydro Capacity” purchased from EDE for Higginsville for January through December. |  |  |
|  |  |  | 5 MW “Capacity” purchased from Gardner for January through May and 4MW for June through December. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
|  |  |  | (6) Continued. |  |  |
|  |  |  | 150 MW “Capacity” purchased from AEC/Entergy from January through December. |  |  |
|  |  |  | 36 MW “Capacity” purchased from Higginsville for January through May and 35MW for June through December. |  |  |
|  |  |  | 51 MW “Capacity” sold to City of Springfield Mo. for January through December. |  |  |
|  |  |  | 75 MW “Capacity” sold to South West Public Service for January through December. |  |  |
| 3 | As Noted | F | (7) (LC) LaCygne generated more than their normal plant available capability. |  |  |
|  |  |  | (W) Wolf Creek generated more than their normal plant available capability. |  |  |
|  |  |  | (H) Hawthorn generated more than their normal plant available capability. |  |  |
|  |  |  | (I) Iatan generated more than their normal plant available capacity. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 4 | All | E, J, & K | (8) KCPL’s control area energy and load from a load perspective consists of: |  |  |
|  |  |  | a. KCPL’s system retail load |  |  |
|  |  |  | b. Borderline load served by KCPL |  |  |
|  |  |  | c. Borderline purchases for KCPL customers |  |  |
|  |  |  | d. Wholesale firm power sold to full and partial requirement customers |  |  |
|  |  |  | e. Non-firm sold by KCPL to other municipals within KCPL’s system service territory |  |  |
|  |  |  | f. Firm power from others that is wheeled by KCPL to other municipals within and cooperatives adjacent to KCPL’s system service territory. |  |  |
| 4 | All | C, F | (9) Generation has been adjusted to include only KCPL’s dynamically controlled share of units. |  |  |
| 4 | All | C, E, & H | (10) For reference purposes to KCPL’s system reported data: |  |  |
|  |  |  | a. The system net energy for load adjusted to include net energy supplied to municipals will match the control area energy. Co-generation was excluded for all months. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 4 | All | G & H | (11) Unit or firm purchases and sales consist of KCPL capacity purchases and sales. |  |  |
|  |  |  | It excludes Transmission Services schedules. |  |  |
| 5 - 5.03 | All | C | (12) Substations owned by other utilities are prefixed with the utility’s name. |  |  |
|  |  |  | All interconnecting lines are single circuits. |  |  |
| 5 | 4 | C | (13) Clinton, MO, is a four-way interconnection between Kansas City Power & Light (KCPL), MPS, AEC, and SPA. KCPL |  |  |
|  |  |  | Interconnects directly with AEC and SPA, but MPS can only be served indirectly at this interconnection by passing |  |  |
|  |  |  | Through the AEC interconnect point. Consequently, KCPL does not consider Clinton, MO, a transfer point with MPS. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 5 | 7 & 8 | C | (14) These are energy transfer points at (or from) jointly-owned substations at jointly-owned generating stations. |  |  |
| 5.02 | 8 | C | The main function is to receive the partner’s share of generation rather than exchanging energy. The points are |  |  |
|  |  |  | Included in KCPL’s energy accounting because the total generation is metered. |  |  |
| 5.01 | 10 | C | (15) KCPL owns the first 73 miles of the 89mile line from Overton to Sibley. KCPL is able to schedule energy to/from Ameren |  |  |
| 5.02 | 11 | C | Through MPS’s Sibley substation. The actual interconnection with Ameren is at Overton substation and the |  |  |
|  |  |  | Interconnection with MPS is at the change in ownership point. |  |  |
| 5.01 | 3, 14 | C | (16) These lines are normally open except for emergencies. |  |  |
| 5.02 | 1, 4, 10 | C |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 6 | 2 | C - D | (17) Scheduled interchange received and delivered between KCPL and Western Resources (KGE) do not agree individually, but the net value agrees. |  |  |
|  |  |  | This discrepancy is caused by a difference in monthly accounting for KCPL’s share of Wolf Creek “off-line” auxiliary usage. KGE only |  |  |
|  |  |  | Reports the net value. KCPL splits out these auxiliaries as a scheduled delivered instead of netting it with the scheduled received. |  |  |
| 6.01 | 10 | C & D | (19) Activity includes loss repayments and LRP adjustments with the Power Pool. |  |  |
|  |  |  | The metered values at MPS include these schedules. |  |  |
|  |  |  | . |  |  |
| All | All | All | (20) Company abbreviations: |  |  |
|  |  |  | KCPL - Kansas City Power & Light Company |  |  |
|  |  |  | KPL - Western Resources (KPL) |  |  |
|  |  |  | MPS - Missouri Public Service Company |  |  |
|  |  |  | BPU - Board of Public Utilities - Kansas City, KS (KCK) |  |  |
|  |  |  | KGE - Western Resources (KGE) |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
|  |  |  | (20) Continued |  |  |
|  |  |  | SPA - Southwestern Power Administration |  |  |
|  |  |  | AEC - Associated Electric Cooperative |  |  |
|  |  |  | EDE - Empire District Electric |  |  |
|  |  |  | KEPCo - Kansas Electric Cooperative, Inc. |  |  |
|  |  |  | IND - City of Independence, MO |  |  |
| 7 |  |  | (21) The system lambda is an instantaneous snapshot at the top of each clock hour. It is the cost of the last megawatt used to |  |  |
|  |  |  | Serve KCPL’s load and sales commitments, which can be supplied from either internal generation or purchased power. |  |  |
| 4 | ALL | I | (22) As a Transmission Control Area, Firm and Non-Firm activity is not available. Therefore, column I includes Inadvertent only. |  |  |
|  |  |  | Non-Firm purchases and sales are included in columns g and h, respectively. |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code 10000 Utility Name Kansas City Power & Light Co. |
| --- | --- | --- | --- | --- | --- |
| Part IV. - Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 6 | 4 | C & D | (25) Scheduled interchange received and delivered between KCPL and Missouri Public Service Co. (MPS) do not agree individually, but the net value agrees. This discrepancy is caused by a difference in monthly accounting for MPS share of Iatan “off-line” auxiliary usage. |  |  |
|  |  |  | KCPL only reports the net value. MPS splits out those auxiliaries as a scheduled delivered instead of netting it with the scheduled received. In addition, the two companies internally accounted differently for a change in metering of two new tie points and the retirement of an |  |  |
|  |  |  | existing tie point between the two companies. KCPL metered the energy flow coming in through one of the new tie points and the energy flow going out through the second new tie point while Aquila recorded the energy flow as a net through amount using the old |  |  |
|  |  |  | existing tie point during a 3 day transition period. |  |  |
| 6 | 9 | C & D | (26) Not a Control Area, but a NERC-Authorized Scheduling Agent |  |  |
| 6.01 | 1 | C & D |  |  |  |

?	Some utilities may also include variable operation and maintenance costs that they consider "dispatchable."  Therefore the costs to be minimized could include a variable O&M component as well as the fuel costs.

?	Because unit heat rates and fuel costs vary, some units may not be able to operate at the same incremental fuel cost as the other units and, thus, those units may be loaded differently.