| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 FERC FORM NO. 714 | Form Approved OMB Numbers: 1902 - 0140 (Expires: 10-31-2006) |
| --- | --- | --- |

This report is mandatory under the Federal Power Act, and is a regulatory support requirement as provided by 18 C.F.R. §141.51.  Failure to comply may result in criminal fines, civil penalties and other sanctions as provided by law.  Information reported on the FERC Form No. 714 is not considered confidential.  Questions concerning this report will be answered by:  Ms. Sandy J. Russell  (202) 502-8376 or form714@ferc.gov.

This form consists of: Part I, Identification and Certification; Part II, comprising Schedules 1 through 6; Part III, comprising Schedules 1 and 2; and Part IV, Notes.  All respondents are to complete Parts I and IV.  Part II is to be completed by each electric utility or group of electric utilities which operates a control area.  Part III is to be completed by each electric utility or group of electric utilities which constitute a planning area and has an annual peak demand that is greater than 200 MW.  An electric utility is a corporation, person, agency, authority, or other legal entity or instrumentality that owns and/or operates facilities within the United States for the generation, transmission, distribution, or sale of electric energy primarily for use by the public.

Public reporting burden for this collection of information is estimated to average 50 hours per response, including time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.  Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to Federal Energy Regulatory Commission, Office of the Chief Information Officer, CI-1, 888 First Street, N.E., Washington, DC 20426; and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, DC 20503.  You shall not be penalized for failure to respond to this collection of information unless the collection of information displays a valid OMB control number.

List of Schedules

Part I:	Identification and Certification

Part II:	Control Area Information

Schedule 1:	Generating Plants Included in Reporting Control Area

Schedule 2:	Control Area Monthly Capabilities at Time of Monthly Peak Demand

Schedule 3:	Control Area Net Energy for Load and Peak Demand Sources by Month

Schedule 4:	Adjacent Control Area Interconnections

Schedule 5:	Control Area Scheduled and Actual Interchange

Schedule 6:	Control Area Hourly System Lambda

Part III:	Planning Area Information

Schedule 1:	Electric Utilities that Compose the Planning Area

Schedule 2:	Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy For Load

Part IV:	Notes

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  |
| --- | --- | --- | --- |
| Part I - Schedule I. Identification and Certification |  |  |  |
| 1. Respondent Identification: Code: 229 Name: California Independent System Operator 2. Respondent Type: (Please check appropriate box and fill in name) [ X ] Part I: Control Area (Complete Parts I, II and IV) Control Area Name: CA ISO [ X ] Part II: Planning Area (Complete Parts I, III and IV) Planning Area Name: CA ISO |  | 3. Respondent Mailing Address: California Independent System Operator 151 Blue Ravine Road Folsom, CA 95630 4. Contact Person: Name: Mary Jo Thomas Title: Operations Engineer E-mail address: mthomas@caiso.com Telephone #: 916-351-4420 Ext. 5. Certifying Official: Name: Jim Detmers Title: Vice President, Operations Signature: ________________ Date: _______ |  |
| Return Completed Form to: Federal Energy Regulatory Commission Form No. 714 Room 8F-01 888 First Street, N.E. Washington, DC 20426 |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | ## Annual Electric Control and Planning Area Report # For the Year Ending December 31, 2002 |  |  | Please Type: Utility Code 229 Utility Name CAISO |
| --- | --- | --- | --- | --- | --- |
| # Part II - Schedule 1. Generating Plants Included in Reporting Control Area (Use continuation sheets if needed)" |  |  |  |  |  |
| Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15. |  |  |  |  |  |
| Line No. (a) | Electric Utility Name (b) |  | Plant Name (c) | Plant Available Capability at the Hour of theAnnual Peak Demand Based on Net Energy for Load (MW) (d) | Integrated Net Load on the Plant at the Hour of theAnnual Peak Demand Based on Net Energy for Load (MW) (e) |
| 1 | PG&E QF - AERA ENERGY LLC |  | ISO ID: 100 - AERA ENERGY (SOUTH BELRIDGE & LOST HILLS) | 77.1 | 0.8 |
| 2 | AES PLACERITA |  | ISO ID: 300 - AES PLACERITA INC. (AGGREGATE) | 120.0 | 114.0 |
| 3 | NCPA |  | ISO ID: 400 - Alameda GT Unit 1 | 23.8 | - |
| 4 | NCPA |  | ISO ID: 500 - Alameda GT Unit 2 | 25.4 | - |
| 5 | AES |  | ISO ID: 600 - Alamitos 1 | 171.0 | 167.5 |
| 6 | AES |  | ISO ID: 700 - Alamitos 2 | 176.6 | 50.9 |
| 7 | AES |  | ISO ID: 800 - Alamitos 3 | 332.2 | 326.3 |
| 8 | AES |  | ISO ID: 900 - Alamitos 4 | 335.7 | 314.6 |
| 9 | AES |  | ISO ID: 1000 - Alamitos 5 | 485.0 | 211.7 |
| 10 | AES |  | ISO ID: 1100 - Alamitos 6 | 485.2 | 473.6 |
| 11 | CDWR |  | ISO ID: 1300 - Alamo R (CDWR) | 18.0 | 10.4 |
| 12 | PG&E |  | ISO ID: 1400 - ALTA PH (AGGREGATE) | 2.0 | - |
| 13 | City of Anaheim |  | ISO ID: 1500 - Anaheim CT | 46.6 | 41.7 |
| 14 | City of Utica |  | ISO ID: 1600 - ANGELS CAMP | 2.0 | - |
| 15 | SCE QF - Riverside County Waste Management Dept |  | ISO ID: 1800 - Badlands Landfill Gas to Energy Facility | 2.4 | - |
| 16 | PG&E |  | ISO ID: 1900 - Balch 1 | 34.0 | 32.9 |
| 17 | PG&E |  | ISO ID: 2000 - Balch 2 | 52.5 | 51.1 |
| 18 | PG&E |  | ISO ID: 2100 - Balch 3 | 54.6 | 50.4 |
| 19 | TRIDAM AUTHORITY |  | ISO ID: 2300 - Beardsley PH | 15.0 | 10.1 |
| 20 | PG&E |  | ISO ID: 2400 - Belden PH | 119.0 | 99.3 |
| 21 | PG&E QF - Bay Environmental Mgt. (formerly 01P070) |  | ISO ID: 2200 - BEM POWER PLANT | 3.0 | 2.0 |
| 22 | SCE QF - Berry Petroleum Co. (Formerly 2207) |  | ISO ID: 2500 - BERRY PETROLEUM CO. (PLACERITA UNIT 2) | 20.0 | 20.9 |
| 23 | PG&E QF - Berry Petroleum Co. (Formerly 25C151) |  | ISO ID: 2600 - BERRY PETROLEUM COGEN 18 | 17.0 | 13.3 |
| 24 | PG&E QF - Berry Petroleum Co. (Formerly 25C099) |  | ISO ID: 2700 - BERRY PETROLEUM COGEN 38 | 38.0 | 31.0 |
| 25 | SCE |  | ISO ID: 2800 - Big Creek Dam 7 Fishwater Generator | 0.4 | - |
| 26 | SCE |  | ISO ID: 2900 - BIG CREEK PROJECT (AGGREGATE) | 1,019.8 | 725.4 |
| 27 | PG&E QF - Big Creek Water Works, LTD. |  | ISO ID: 3000 - BIG CREEK WATER WORKS | 5.0 | - |
| 28 | CalPeak Power LLC |  | ISO ID: 3400 - BORDER | 55.0 | 44.6 |
| 29 | SCE QF - BP West Coast Products |  | ISO ID: 1700 - BP WEST COAST PRODUCTS ( FORMERLY ARCO WILMINGTON CALCINER) | 29.0 | 18.2 |
| 30 | PAS |  | ISO ID: 3800 - Broadway 3 | 65.0 | 54.9 |
| 31 | PG&E |  | ISO ID: 3900 - BUCKS CREEK PH (AGGREGATE) | 59.0 | 25.1 |
| 32 | PG&E |  | ISO ID: 4000 - Butt Valley PH | 41.0 | 39.4 |
| 33 | Cabazon Wind Partners, LLC |  | ISO ID: 4100 - Cabazon Wind Project | 41.0 | 14.7 |
| 34 | California Portland Cement |  | ISO ID: 4200 - California Portland Cement | 28.5 | (8.9) |
| 35 | CALPINE |  | ISO ID: 4300 - Calpine Geothermal (formerly a SMUD unit) | 53.0 | 30.6 |
| 36 | EBMUD |  | ISO ID: 4400 - CAMANCHE PH (AGGREGATE) | 10.0 | 1.9 |
| 37 | PG&E |  | ISO ID: 4500 - Caribou PH 1 Unit 1 | 24.0 | 24.2 |
| 38 | PG&E |  | ISO ID: 4600 - CARIBOU UNITS 2 & 3 (AGGREGATE) | 49.0 | 48.3 |
| 39 | PG&E |  | ISO ID: 4700 - CARIBOU UNITS 4 & 5 (AGGREGATE) | 122.0 | (1.4) |
| 40 | PG&E |  | ISO ID: 4800 - CENTERVILLE | 5.9 | 0.2 |
| 41 | Colton Power, LP |  | ISO ID: 4900 - CENTURY (AGGREGATE) | 41.1 | 34.7 |
| 42 | NID |  | ISO ID: 5000 - Chicago Park PH | 42.0 | 31.0 |
| 43 | PG&E |  | ISO ID: 5100 - CHILI BAR | 7.0 | 2.5 |
| 44 | NEO Corporation |  | ISO ID: 5200 - CHOWCHILLA II PEAKER (AGGREGATE) | 48.6 | 44.7 |
| 45 | PG&E Dispersed Generation Co. |  | ISO ID: 5300 - Chula Vista | 41.4 | 33.5 |
| 46 | PG&E |  | ISO ID: 5400 - COAL CANYON | 0.9 | 0.8 |
| 47 | PG&E |  | ISO ID: 5500 - COLEMAN | 12.0 | 6.0 |
| 48 | PCWA |  | ISO ID: 5600 - Colgate PH Unit 1 | 176.7 | 155.5 |
| 49 | PCWA |  | ISO ID: 5700 - Colgate PH Unit 2 | 175.7 | 156.3 |
| 50 | NCPA |  | ISO ID: 5800 - COLLIERVILLE PLANT (AGGREGATE) | 246.9 | 34.1 |
| 51 | PG&E QF - ConocoPhillips Co. (formerly Tosco) |  | ISO ID: 32400 - CONTRA COSTA CARBON PLANT | 18.0 | 11.4 |
| 52 | Mirant |  | ISO ID: 5900 - Contra Costa PP Unit #4 | - | (1.2) |
| 53 | Mirant |  | ISO ID: 6000 - Contra Costa PP Unit #5 | - | (0.9) |
| 54 | Mirant |  | ISO ID: 6100 - Contra Costa PP Unit #6 | 337.0 | 144.0 |
| 55 | Mirant |  | ISO ID: 6200 - Contra Costa PP Unit #7 | 336.0 | 335.7 |
| 56 | RELIANT |  | ISO ID: 6300 - Coolwater Unit 1 | 63.0 | 59.8 |
| 57 | RELIANT |  | ISO ID: 6400 - Coolwater Unit 2 | 81.5 | 74.7 |
| 58 | RELIANT |  | ISO ID: 6500 - COOLWATER UNIT 3 (AGGREGATE) | 245.3 | 208.4 |
| 59 | RELIANT |  | ISO ID: 6600 - COOLWATER UNIT 4 (AGGREGATE) | 245.9 | 207.4 |
| 60 | PG&E |  | ISO ID: 6800 - COW CREEK | 2.0 | 0.6 |
| 61 | SCE QF - Gas Recovery Systems, Inc. |  | ISO ID: 6900 - Coyote Canyon | 9.9 | - |
| 62 | PG&E |  | ISO ID: 7000 - CRANE VALLEY | 0.9 | - |
| 63 | Creed Energy Center LLC (Calpine) |  | ISO ID: 81700 - CREED ENERGY CENTER | 48.7 | 45.6 |
| 64 | PG&E |  | ISO ID: 7100 - CRESTA PH (AGGREGATE) | 70.4 | 65.4 |
| 65 | PG&E QF - 01C045 |  | ISO ID: 7200 - CROCKETT COGEN | 245.0 | 169.4 |
| 66 | PG&E |  | ISO ID: 7300 - DE SABLA | 18.5 | 5.8 |
| 67 | PG&E |  | ISO ID: 7400 - DEER CREEK | 7.0 | 1.7 |
| 68 | SCE QF - DELANO ENERGY |  | ISO ID: 7500 - DELANO ENERGY COMPANY INC. | 49.0 | 45.9 |
| 69 | Delta Energy Center, LLC |  | ISO ID: 7600 - DELTA ENERGY CENTER (AGGREGATE) | 861.7 | 767.3 |
| 70 | CDWR |  | ISO ID: 7700 - DEVIL CANYON (AGGREGATE) | 190.1 | 191.3 |
| 71 | PG&E |  | ISO ID: 7800 - Diablo Canyon Unit 1 | 1,113.0 | 1,107.4 |
| 72 | PG&E |  | ISO ID: 7900 - Diablo Canyon Unit 2 | 1,105.0 | 1,083.1 |
| 73 | MWD |  | ISO ID: 8000 - DIAMOND VALLEY P-G PLANT (AGGREGATE) | 26.0 | 2.2 |
| 74 | PG&E QF - Yanke Energy |  | ISO ID: 8100 - Dinuba | 12.0 | (0.8) |
| 75 | Cabrillo Power II, LLC |  | ISO ID: 8200 - Division GT 1 | 14.0 | 0.0 |
| 76 | TRIDAM AUTHORITY |  | ISO ID: 8300 - Donnels Unit #1 | 67.5 | 67.4 |
| 77 | Colton Power, LP |  | ISO ID: 8400 - DREWS (AGGREGATE) | 41.1 | 36.9 |
| 78 | PG&E |  | ISO ID: 8500 - DRUM PH 1 UNIT 1 & 2 (AGGREGATE) | 26.0 | 12.9 |
| 79 | PG&E |  | ISO ID: 8600 - DRUM PH 1 UNIT 3 & 4 (AGGREGATE) | 28.9 | 28.0 |
| 80 | PG&E |  | ISO ID: 8700 - Drum PH 2 Unit 5 | 50.0 | 45.5 |
| 81 | PG&E |  | ISO ID: 8800 - Dutch Flat PH 1 Unit 1 | 22.0 | 22.0 |
| 82 | NID |  | ISO ID: 8900 - Dutch Flat PH 2 Unit 1 | 26.0 | 24.1 |
| 83 | CalPeak Power - El Cajon, LLC |  | ISO ID: 9000 - El Cajon - Calpeak | 55.0 | 40.6 |
| 84 | Cabrillo Power II, LLC |  | ISO ID: 9100 - El Cajon GT | 15.0 | 0.0 |
| 85 | DYNEGY |  | ISO ID: 9400 - El Segundo 3 | 335.0 | 249.7 |
| 86 | DYNEGY |  | ISO ID: 9500 - El Segundo 4 | 335.0 | 323.8 |
| 87 | PG&E |  | ISO ID: 9600 - ELECTRA PH (AGGREGATE) | 101.5 | 41.3 |
| 88 | Reliant Energy Ellwood |  | ISO ID: 9700 - Ellwood Generating Station | 56.1 | (0.5) |
| 89 | Cabrillo Power I, LLC |  | ISO ID: 9800 - Encina GT 1 | 16.6 | 0.0 |
| 90 | Cabrillo Power I, LLC |  | ISO ID: 9900 - Encina Unit 1 | 103.5 | 20.6 |
| 91 | Cabrillo Power I, LLC |  | ISO ID: 10000 - Encina Unit 2 | 103.0 | 21.4 |
| 92 | Cabrillo Power I, LLC |  | ISO ID: 10100 - Encina Unit 3 | 110.0 | 37.8 |
| 93 | Cabrillo Power I, LLC |  | ISO ID: 10200 - Encina Unit 4 | 300.0 | 293.0 |
| 94 | Cabrillo Power I, LLC |  | ISO ID: 10300 - Encina Unit 5 | 330.0 | 322.2 |
| 95 | CalPeak Power LLC |  | ISO ID: 10400 - Enterprise | 55.0 | 41.6 |
| 96 | PG&E Dispersed Generation Co. |  | ISO ID: 10500 - Escondido | 41.9 | (0.1) |
| 97 | RELIANT |  | ISO ID: 10800 - Etiwanda 3 | 320.0 | (0.5) |
| 98 | RELIANT |  | ISO ID: 10900 - Etiwanda 4 | 320.0 | 236.4 |
| 99 | RELIANT |  | ISO ID: 11000 - Etiwanda GT Unit 5 | 120.0 | 0.1 |
| 100 | Metropolitan Water Districe |  | ISO ID: 11100 - ETIWANDA HYDRO RECOVERY PLANT | 24.0 | 20.6 |
| 101 | Merced Irrigation District |  | ISO ID: 11200 - Exchequer | 90.8 | 78.9 |
| 102 | Feather River Energy Center LLC (Calpine) |  | ISO ID: 81800 - FEATHER RIVER ENERGY CENTER | 48.7 | 35.0 |
| 103 | OWID |  | ISO ID: 11400 - Forbestown PH | 39.0 | 37.7 |
| 104 | PCWA |  | ISO ID: 11500 - French Meadows PH | 18.0 | 16.2 |
| 105 | PG&E QF - Fresno Cogen Partners |  | ISO ID: 11600 - FRESNO COGEN COMBINED CYCLE (AGGREGATE) | 25.0 | (0.1) |
| 106 | Fresno Cogen Partners |  | ISO ID: 11700 - Fresno Cogen Peaker | 22.4 | (0.4) |
| 107 | SCE QF - Green Power Partners |  | ISO ID: 11800 - GARNET GREEN POWER PROJECT UNIT 1 | 6.8 | - |
| 108 | SCE QF - Green Power Partners |  | ISO ID: 11900 - GARNET GREEN POWER PROJECT UNIT 2 | 6.8 | - |
| 109 | SCE QF - Green Power Partners |  | ISO ID: 12000 - GARNET GREEN POWER PROJECT UNIT 3 | 3.0 | - |
| 110 | Wellhead Power |  | ISO ID: 12100 - Gates Wellhead | 43.1 | 32.6 |
| 111 | SCE QF - POINT ARGUELLO PIPELINE COMPANY |  | ISO ID: 12200 - GAVIOTA OIL HEATING FACILITY | 17.2 | - |
| 112 | NCPA |  | ISO ID: 12300 - Geothermal Plant 1 Unit 1 | 38.9 | 35.9 |
| 113 | NCPA |  | ISO ID: 12400 - Geothermal Plant 1 Unit 2 | 31.9 | 34.3 |
| 114 | NCPA |  | ISO ID: 12500 - Geothermal Plant 2 Unit 3 | 42.4 | 28.0 |
| 115 | NCPA |  | ISO ID: 12600 - Geothermal Plant 2 Unit 4 | 47.8 | 32.3 |
| 116 | CALPINE |  | ISO ID: 12700 - Geysers Unit 11 | 72.0 | 47.6 |
| 117 | CALPINE |  | ISO ID: 12800 - Geysers Unit 12 | 57.0 | 40.9 |
| 118 | CALPINE |  | ISO ID: 12900 - Geysers Unit 13 | 95.0 | 66.1 |
| 119 | CALPINE |  | ISO ID: 13000 - Geysers Unit 14 | 70.0 | 53.8 |
| 120 | CALPINE |  | ISO ID: 13100 - Geysers Unit 16 | 85.0 | 65.5 |
| 121 | CALPINE |  | ISO ID: 13200 - Geysers Unit 17 | 53.0 | 51.3 |
| 122 | CALPINE |  | ISO ID: 13300 - Geysers Unit 18 | 72.0 | 53.2 |
| 123 | CALPINE |  | ISO ID: 13400 - Geysers Unit 20 | 62.0 | 41.5 |
| 124 | CALPINE |  | ISO ID: 13500 - GEYSERS UNITS 5 & 6 (AGGREGATE) | 85.0 | 42.6 |
| 125 | CALPINE |  | ISO ID: 13600 - GEYSERS UNITS 7 & 8 (AGGREGATE) | 82.0 | 18.1 |
| 126 | SVP (Santa Clara) |  | ISO ID: 13700 - Gianera GT 1 | 24.8 | - |
| 127 | SVP (Santa Clara) |  | ISO ID: 13800 - Gianera GT 2 | 24.8 | (0.0) |
| 128 | PG&E QF - 08C002 |  | ISO ID: 48100 - GILROY COGEN | 135.0 | 104.5 |
| 129 | CALPINE |  | ISO ID: 13900 - Gilroy Energy Center Unit 3 | 48.7 | 46.8 |
| 130 | CALPINE |  | ISO ID: 14000 - GILROY ENERGY CENTER UNITS 1 & 2 (AGGREGATE) | 97.4 | 93.0 |
| 131 | PAS |  | ISO ID: 14100 - Glen Arm 1 | 23.3 | - |
| 132 | PAS |  | ISO ID: 14200 - Glen Arm 2 | 23.3 | - |
| 133 | Goose Haven Energy Center LLC (Calpine) |  | ISO ID: 81900 - GOOSE HAVEN ENERGY CENTER | 48.7 | 39.7 |
| 134 | PG&E |  | ISO ID: 14300 - Grizzly PH | 20.0 | 15.9 |
| 135 | GWF Energy, LLC |  | ISO ID: 14400 - GWF HEP PEAKER PLANT (AGGREGATE) | 100.0 | 80.1 |
| 136 | PG&E |  | ISO ID: 14500 - HAAS PH (AGGREGATE) | 144.0 | 134.9 |
| 137 | PG&E |  | ISO ID: 14600 - Halsey PH | 13.5 | 8.5 |
| 138 | PG&E |  | ISO ID: 14700 - HAMILTON BRANCH PH (Aggregate) | 4.9 | 0.5 |
| 139 | Harbor Cogen |  | ISO ID: 14800 - Harbor Cogen Peaker Unit 1 | 88.6 | 82.0 |
| 140 | Harbor Cogen |  | ISO ID: 14900 - HARBOR COGEN THERMAL (AGGREGATE) | 20.4 | 20.2 |
| 141 | PG&E |  | ISO ID: 15000 - HAT CREEK 1 | 8.5 | 4.7 |
| 142 | PG&E |  | ISO ID: 15100 - HAT CREEK 2 | 8.5 | 5.3 |
| 143 | PG&E |  | ISO ID: 15300 - Helms PGP Unit 1 | 407.0 | 216.3 |
| 144 | PG&E |  | ISO ID: 15400 - Helms PGP Unit 2 | 407.0 | 222.4 |
| 145 | PG&E |  | ISO ID: 15500 - Helms PGP Unit 3 | 404.0 | 198.5 |
| 146 | GWF Energy, LLC |  | ISO ID: 15600 - Henrietta Peaker Plant Unit 1 | 50.0 | 43.0 |
| 147 | High Desert Power, LLC |  | ISO ID: 82800 - HIGH DESERT POWER PROJECT (AGGREGATE) | 850.0 | 730.5 |
| 148 | PG&E |  | ISO ID: 15800 - HUMBOLDT BAY MEPPS 2 & 3 (AGGREGATE) | 30.0 | - |
| 149 | PG&E |  | ISO ID: 15900 - Humboldt Unit 1 | 53.0 | 7.1 |
| 150 | PG&E |  | ISO ID: 16000 - Humboldt Unit 2 | 53.0 | 16.3 |
| 151 | PG&E |  | ISO ID: 16100 - Hunters Point 1 | 52.0 | - |
| 152 | PG&E |  | ISO ID: 16200 - Hunters Point 2 | - | - |
| 153 | PG&E |  | ISO ID: 16300 - Hunters Point 3 | - | (0.8) |
| 154 | PG&E |  | ISO ID: 16400 - Hunters Point 4 | 163.0 | - |
| 155 | AES |  | ISO ID: 16500 - Huntington Beach 1 | 226.0 | 162.3 |
| 156 | AES |  | ISO ID: 16600 - Huntington Beach 2 | 226.0 | 221.2 |
| 157 | AES |  | ISO ID: 16700 - Huntington Beach 3 | 226.4 | 0.2 |
| 158 | CDWR |  | ISO ID: 16900 - HYATT-THERMALITO P-G PROJECT (AGGREGATE) | 933.1 | 827.4 |
| 159 | Wildflower Energy |  | ISO ID: 17000 - Indigo Energy 1 | 46.0 | (0.1) |
| 160 | Wildflower Energy |  | ISO ID: 17100 - Indigo Energy 2 | 46.9 | (0.3) |
| 161 | Wildflower Energy |  | ISO ID: 17200 - Indigo Energy 3 | 47.7 | (0.1) |
| 162 | PG&E |  | ISO ID: 17300 - INSKIP | 7.3 | 4.1 |
| 163 | PG&E |  | ISO ID: 17400 - James B. Black 1 | 85.0 | - |
| 164 | PG&E |  | ISO ID: 17500 - James B. Black 2 | 84.1 | - |
| 165 | DYNEGY |  | ISO ID: 17900 - Kearny 1 | 16.0 | 0.0 |
| 166 | DYNEGY |  | ISO ID: 18000 - KEARNY KY2 (AGGREGATE) | 59.0 | 29.5 |
| 167 | DYNEGY |  | ISO ID: 18100 - KEARNY KY3 (AGGREGATE) | 61.0 | 29.4 |
| 168 | OWID |  | ISO ID: 18200 - Kelly Ridge PH | 15.0 | 11.0 |
| 169 | PG&E |  | ISO ID: 18300 - Kerckhoff PH 1 Unit #1 | 13.0 | - |
| 170 | PG&E |  | ISO ID: 18400 - Kerckhoff PH 1 Unit #2 | 12.8 | - |
| 171 | PG&E |  | ISO ID: 18500 - Kerckhoff PH 1 Unit #3 | 10.8 | - |
| 172 | PG&E |  | ISO ID: 18600 - Kerckhoff PH 2 Unit #1 | 151.0 | 119.5 |
| 173 | PG&E |  | ISO ID: 18700 - KERN CANYON | 11.5 | 5.0 |
| 174 | PG&E |  | ISO ID: 19000 - KILARC | 3.0 | 1.1 |
| 175 | CALPINE |  | ISO ID: 19100 - King City Energy Center | 48.7 | 44.2 |
| 176 | PG&E |  | ISO ID: 19200 - Kings River Unit 1 | 51.2 | 44.3 |
| 177 | La Paloma Generating Company |  | ISO ID: 82000 - LA PALOMA UNIT 1 | 227.4 | 223.6 |
| 178 | La Paloma Generating Company |  | ISO ID: 82400 - LA PALOMA UNIT 2 | 234.9 | 0.0 |
| 179 | La Paloma Generating Company |  | ISO ID: 82100 - LA PALOMA UNIT 3 | 231.5 | 220.5 |
| 180 | La Paloma Generating Company |  | ISO ID: 82500 - LA PALOMA UNIT 4 | 235.3 | 0.2 |
| 181 | SCE QF - LACSD |  | ISO ID: 6700 - LACSD Carson Joint Water Polution Control Plant (AGGREGATE) | 8.0 | - |
| 182 | Lambie Energy Center LLC (Calpine) |  | ISO ID: 82200 - LAMBIE ENERGY CENTER | 48.7 | 45.7 |
| 183 | Wildflower Energy |  | ISO ID: 19300 - Larkspur 1 | 45.7 | (0.1) |
| 184 | Wildflower Energy |  | ISO ID: 19400 - Larkspur 2 | 47.0 | (0.1) |
| 185 | PG&E |  | ISO ID: 19500 - LIME SADDLE | 2.0 | 0.9 |
| 186 | PG&E QF - Energy 2001, Inc. |  | ISO ID: 19600 - Lincoln Power Plant Unit 1 | 1.2 | - |
| 187 | NCPA |  | ISO ID: 19700 - Lodi GT | 25.3 | 1.2 |
| 188 | NCPA |  | ISO ID: 19800 - Lodi STIG | 51.2 | 50.2 |
| 189 | DYNEGY |  | ISO ID: 19900 - LONG BEACH UNITS 1,2,3,4,8 & 9 (AGGREGATE) | 380.0 | 67.7 |
| 190 | DYNEGY |  | ISO ID: 20000 - LONG BEACH UNITS 5, 6 & 7 (AGGREGATE) | 170.0 | 50.7 |
| 191 | Calpine |  | ISO ID: 82700 - LOS ESTEROS ENERGY FACILITY (AGGREGATE) | 195.0 | 185.0 |
| 192 | PG&E QF - Calpine |  | ISO ID: 20100 - LOS MEDANOS ENERGY CENTER (AGGREGATE) | 561.3 | 445.2 |
| 193 | PG&E QF - Louisiana Pacific Samoa |  | ISO ID: 20200 - LOUISIANA PACIFIC SAMOA INC. | 48.0 | - |
| 194 | Madera Power LLC |  | ISO ID: 20400 - Madera Power | 26.0 | (0.1) |
| 195 | SCE |  | ISO ID: 20500 - Mammoth Pool Fishwater Generator | 1.3 | - |
| 196 | RELIANT |  | ISO ID: 20600 - Mandalay 1 | 218.0 | 174.0 |
| 197 | RELIANT |  | ISO ID: 20700 - Mandalay 2 | 215.3 | 173.3 |
| 198 | RELIANT |  | ISO ID: 20800 - Mandalay 3 GT | 120.0 | (0.4) |
| 199 | Monterey Regional Waste Management District |  | ISO ID: 20900 - Marina Landfill Unit 2 | 1.0 | - |
| 200 | Merced Irrigation District |  | ISO ID: 21000 - Mc SWAIN | 9.0 | - |
| 201 | PG&E |  | ISO ID: 21100 - Merced Falls | 3.5 | 2.8 |
| 202 | MN Mid Valley Genco, LLC |  | ISO ID: 82900 - MID VALLEY LANDFILL PROJECT (AGGREGATE) | 2.4 | - |
| 203 | PCWA |  | ISO ID: 21200 - MIDDLE FORK-RALSTON PROJECT (AGGREGATE) | 220.7 | 179.8 |
| 204 | Energy Transfer - Hanover |  | ISO ID: 21300 - MIDSUN GENERATION FACILITY | 21.3 | - |
| 205 | PG&E QF - Midway-Sunset Cogen. (25C321) |  | ISO ID: 21400 - MIDWAY-SUNSET COGEN. CO. | 230.0 | 202.3 |
| 206 | Cabrillo Power I, LLC |  | ISO ID: 21600 - MIRAMAR GT PLANT (AGGREGATE) | 36.0 | (0.2) |
| 207 | SCE |  | ISO ID: 21700 - Mohave Unit 1 | 790.0 | 590.7 |
| 208 | SCE |  | ISO ID: 21800 - Mohave Unit 2 | 790.0 | 703.5 |
| 209 | CDWR |  | ISO ID: 21900 - MOJAVE SIPHON PH (AGGREGATE) | 30.0 | 12.5 |
| 210 | Solano Irrigation District |  | ISO ID: 22000 - MONTICELLO PH (Aggregate) | 12.5 | 1.5 |
| 211 | DUKE |  | ISO ID: 22100 - Morro Bay Unit 1 | 171.0 | 30.2 |
| 212 | DUKE |  | ISO ID: 22200 - Morro Bay Unit 2 | 171.0 | 30.7 |
| 213 | DUKE |  | ISO ID: 22300 - Morro Bay Unit 3 | 343.0 | 303.2 |
| 214 | DUKE |  | ISO ID: 22400 - Morro Bay Unit 4 | 336.0 | 294.5 |
| 215 | DUKE |  | ISO ID: 22500 - Moss Landing 6 | 754.3 | 730.6 |
| 216 | DUKE |  | ISO ID: 22600 - Moss Landing 7 | 755.7 | 689.2 |
| 217 | Duke Energy Moss Landing, LLC |  | ISO ID: 22700 - Moss Landing CC Plant 1 (Aggregate) | 510.0 | 498.1 |
| 218 | Duke Energy Moss Landing, LLC |  | ISO ID: 22800 - Moss Landing CC Plant 2 (Aggregate) | 510.0 | 484.7 |
| 219 | PG&E Trading |  | ISO ID: 22900 - Mountain View I | 44.4 | 37.8 |
| 220 | Seawest Wind |  | ISO ID: 23000 - Mountain View II | 22.2 | - |
| 221 | City of Utica |  | ISO ID: 23100 - MURPHYS PH | 5.0 | - |
| 222 | PG&E |  | ISO ID: 23300 - Narrows PH 1 Unit | 12.0 | - |
| 223 | YCWA |  | ISO ID: 23200 - NARROWS PH 2 UNIT | 55.0 | 45.5 |
| 224 | PG&E |  | ISO ID: 23400 - Newcastle PH | 12.0 | - |
| 225 | PG&E |  | ISO ID: 23500 - OAK FLAT PH | 1.3 | 0.7 |
| 226 | DUKE |  | ISO ID: 23600 - Oakland GT #1 | 57.7 | (0.1) |
| 227 | DUKE |  | ISO ID: 23700 - Oakland GT #2 | 51.0 | 0.0 |
| 228 | DUKE |  | ISO ID: 23800 - Oakland GT #3 | 49.0 | (0.1) |
| 229 | RELIANT |  | ISO ID: 24100 - Ormond Beach Unit 1 | 724.6 | 618.5 |
| 230 | RELIANT |  | ISO ID: 24200 - Ormond Beach Unit 2 | 775.0 | 631.7 |
| 231 | PCWA |  | ISO ID: 24300 - Oxbow PH | 6.0 | 6.0 |
| 232 | PPM One, LLC |  | ISO ID: 24400 - PACIFIC WEST I | 2.1 | - |
| 233 | CalPeak Power LLC |  | ISO ID: 24500 - Panoche - Calpeak | 55.0 | 41.7 |
| 234 | Wellhead Power |  | ISO ID: 24600 - Panoche - Wellhead | 49.9 | (0.1) |
| 235 | EBMUD |  | ISO ID: 24700 - PARDEE POWER HOUSE (AGGREGATE) | 30.8 | - |
| 236 | PG&E |  | ISO ID: 24800 - PHOENIX PH | 2.0 | 1.5 |
| 237 | CDWR |  | ISO ID: 24900 - PINE FLAT PH (AGGREGATE) | 225.0 | 127.7 |
| 238 | PG&E |  | ISO ID: 25000 - Pit PH 1 Unit 1 | 32.0 | 11.6 |
| 239 | PG&E |  | ISO ID: 25100 - Pit PH 1 Unit 2 | 32.0 | 11.6 |
| 240 | PG&E |  | ISO ID: 25200 - PIT PH 3 (AGGREGATE) | 70.6 | 46.4 |
| 241 | PG&E |  | ISO ID: 25300 - PIT PH 4 (AGGREGATE) | 95.0 | 87.6 |
| 242 | PG&E |  | ISO ID: 25400 - PIT PH 5 UNITS 1 & 2 (AGGREGATE) | 82.0 | 34.6 |
| 243 | PG&E |  | ISO ID: 25500 - PIT PH 5 UNITS 3 & 4 (AGGREGATE) | 82.0 | 66.5 |
| 244 | PG&E |  | ISO ID: 25600 - Pit PH 6 Unit 1 | 39.0 | (0.7) |
| 245 | PG&E |  | ISO ID: 25700 - Pit PH 6 Unit 2 | 40.0 | (0.7) |
| 246 | PG&E |  | ISO ID: 25800 - Pit PH 7 Unit 1 | 55.7 | 51.9 |
| 247 | PG&E |  | ISO ID: 25900 - Pit PH 7 Unit 2 | 54.6 | (0.0) |
| 248 | Mirant |  | ISO ID: 26000 - Pittsburg Unit 1 | 167.0 | 0.0 |
| 249 | Mirant |  | ISO ID: 26100 - Pittsburg Unit 2 | 154.0 | 0.0 |
| 250 | Mirant |  | ISO ID: 26200 - Pittsburg Unit 3 | 154.0 | 0.0 |
| 251 | Mirant |  | ISO ID: 26300 - Pittsburg Unit 4 | 150.0 | 0.0 |
| 252 | Mirant |  | ISO ID: 26400 - Pittsburg Unit 5 | 315.0 | 220.3 |
| 253 | Mirant |  | ISO ID: 26500 - Pittsburg Unit 6 | 317.0 | 290.1 |
| 254 | Mirant |  | ISO ID: 26600 - Pittsburg Unit 7 | 700.0 | 640.6 |
| 255 | PG&E |  | ISO ID: 26700 - Poe PH Unit 1 | 68.0 | 58.3 |
| 256 | PG&E |  | ISO ID: 26800 - Poe PH Unit 2 | 60.0 | 58.1 |
| 257 | Mirant |  | ISO ID: 27000 - Potrero Unit 3 | 207.0 | 201.6 |
| 258 | Mirant |  | ISO ID: 27100 - Potrero Unit 4 | 54.0 | 52.2 |
| 259 | Mirant |  | ISO ID: 27200 - Potrero Unit 5 | 55.0 | 51.5 |
| 260 | Mirant |  | ISO ID: 27300 - Potrero Unit 6 | 53.0 | 0.1 |
| 261 | PG&E |  | ISO ID: 27400 - POTTER VALLEY PH (AGGREGATE) | 10.1 | (0.0) |
| 262 | NEO Corporation |  | ISO ID: 27500 - RED BLUFF PEAKER (AGGREGATE) | 44.0 | 40.2 |
| 263 | AES |  | ISO ID: 27600 - Redondo Unit 5 | 175.0 | 141.1 |
| 264 | AES |  | ISO ID: 27700 - Redondo Unit 6 | 175.4 | 9.5 |
| 265 | AES |  | ISO ID: 27800 - Redondo Unit 7 | 493.2 | 1.0 |
| 266 | AES |  | ISO ID: 27900 - Redondo Unit 8 | 486.9 | 481.6 |
| 267 | Riverview Energy Center LLC |  | ISO ID: 83000 - RIVERVIEW ENERGY CENTER | 48.7 | 35.1 |
| 268 | PG&E |  | ISO ID: 28000 - Rock Creek Unit 1 | 57.0 | 49.8 |
| 269 | PG&E |  | ISO ID: 28100 - Rock Creek Unit 2 | 56.9 | 50.2 |
| 270 | NID |  | ISO ID: 28200 - Rollins PH | 13.5 | 8.4 |
| 271 | NCPA |  | ISO ID: 28300 - Roseville GT Unit 1 | 25.0 | 23.0 |
| 272 | NCPA |  | ISO ID: 28400 - Roseville GT Unit 2 | 25.0 | 23.1 |
| 273 | PG&E |  | ISO ID: 28600 - SALT SPRINGS PH (AGGREGATE) | 46.0 | 33.4 |
| 274 | El Paso Merchant Energy (25C057) |  | ISO ID: 28700 - SAN JOAQUIN COGEN | 55.0 | 46.7 |
| 275 | PGAE |  | ISO ID: 28800 - San Joaquin PH 2 | 3.2 | - |
| 276 | PGAE |  | ISO ID: 28900 - San Joaquin PH 3 | 4.2 | - |
| 277 | CDWR |  | ISO ID: 29000 - SAN LUIS (GIANELLI) P-G PLANT (AGGREGATE) | 362.3 | 211.5 |
| 278 | PG&E QF - Martinez Refining Co. |  | ISO ID: 29200 - Shell Oil Refinery - Martinez (Aggregate) | 116.3 | 73.6 |
| 279 | PG&E QF - 13C049 |  | ISO ID: 29300 - SIERRA PACIFIC INDUSTRIES (ANDERSON) | 2.0 | - |
| 280 | PG&E QF - Sierra Pacific Industries |  | ISO ID: 29700 - SIERRA PACIFIC INDUSTRIES (SONORA) | 3.5 | - |
| 281 | Sierra Power Corp. |  | ISO ID: 29900 - SIERRA POWER CORPORATION | 7.3 | - |
| 282 | OWID |  | ISO ID: 30000 - Sly Creek PH | 13.0 | 10.3 |
| 283 | PG&E QF - Yanke Energy |  | ISO ID: 30100 - Soledad Energy | 13.0 | 11.6 |
| 284 | SCE / SDGE |  | ISO ID: 30200 - SONGS UNIT 2 | 1,122.9 | 1,123.4 |
| 285 | SCE / SDGE |  | ISO ID: 30300 - SONGS UNIT 3 | 1,108.7 | 1,114.0 |
| 286 | DUKE |  | ISO ID: 30500 - South Bay Unit 1 | 146.0 | 141.4 |
| 287 | DUKE |  | ISO ID: 30600 - South Bay Unit 2 | 149.6 | 139.2 |
| 288 | DUKE |  | ISO ID: 30700 - South Bay Unit 3 | 175.0 | 168.4 |
| 289 | PG&E |  | ISO ID: 30400 - SOUTH PH | 7.1 | 4.7 |
| 290 | DUKE |  | ISO ID: 30900 - Southbay GT 1 | 15.0 | (0.0) |
| 291 | PG&E |  | ISO ID: 31000 - Spaulding Unit 3 | 6.5 | 4.7 |
| 292 | PG&E |  | ISO ID: 31100 - SPAULDING UNITS 1 & 2 (AGGREGATE) | 11.4 | 10.0 |
| 293 | NCPA |  | ISO ID: 31200 - SPICER PH (AGGREGATE) | 6.0 | - |
| 294 | PG&E |  | ISO ID: 31300 - Spring Gap Unit 1 | 7.0 | 2.0 |
| 295 | PG&E |  | ISO ID: 31400 - Stanislaus Unit 1 | 91.0 | 39.5 |
| 296 | SVP (Santa Clara) |  | ISO ID: 31500 - STONEY GORGE PH (AGGREGATE) | 4.8 | - |
| 297 | City of Sunnyvale |  | ISO ID: 31800 - SUNNYVALE LANDFILL GAS POWER GENERATION FACILITY | 1.6 | - |
| 298 | Edison Mission Energy |  | ISO ID: 31900 - SUNRISE POWER PROJECT (AGGREGATE) | 337.8 | 0.7 |
| 299 | Calpine |  | ISO ID: 32000 - SUTTER POWER PLANT (AGGREGATE) | 527.5 | 447.5 |
| 300 | PG&E QF - Texaco Exploration and Production |  | ISO ID: 32100 - Texaco North Midway Cogeneration Plant | 18.8 | 0.0 |
| 301 | PG&E |  | ISO ID: 32200 - TIGER CREEK PH (AGGREGATE) | 62.0 | 25.2 |
| 302 | PG&E |  | ISO ID: 32300 - TOADTOWN PH | 1.5 | - |
| 303 | GWF Energy LLC |  | ISO ID: 83200 - TRACY PEAKER PLANT UNIT 1 | 85.0 | 78.2 |
| 304 | GWF Energy LLC |  | ISO ID: 83300 - TRACY PEAKER PLANT UNIT 2 | 85.0 | 76.3 |
| 305 | PG&E |  | ISO ID: 32500 - TULE PH (PG&E) | 6.4 | 1.8 |
| 306 | TRIDAM |  | ISO ID: 32700 - TULLOCH PH (AGGREGATE) | 18.7 | 18.4 |
| 307 | CalPeak Power - Vaca Dixon, LLC |  | ISO ID: 32800 - Vaca Dixon Peaker Plant | 55.0 | 42.8 |
| 308 | PG&E |  | ISO ID: 32900 - VOLTA UNIT 1 | 9.1 | 3.5 |
| 309 | PG&E |  | ISO ID: 33000 - VOLTA UNIT 2 | 1.0 | 0.4 |
| 310 | CDWR |  | ISO ID: 33100 - WARNE PH (AGGREGATE) | 78.0 | 58.9 |
| 311 | PG&E |  | ISO ID: 33200 - West Point PH | 14.0 | 14.0 |
| 312 | Wheelabrator Environmental |  | ISO ID: 33400 - Wheelabrator Shasta Energy Company Unit 4 | 3.0 | - |
| 313 | Whitewater Hill Wind Partners, LLC |  | ISO ID: 33500 - Whitewater Hill Wind Project | 64.5 | 34.0 |
| 314 | PG&E |  | ISO ID: 33600 - Wise Unit 1 | 14.5 | - |
| 315 | PG&E |  | ISO ID: 33700 - Wise Unit 2 | 3.1 | - |
| 316 | PG&E |  | ISO ID: 33800 - WISHON/SAN JOAQUIN 1-A (AGGREGATE) | 17.4 | - |
| 317 | Wolfskill Energy Center, LLC (Calpine) |  | ISO ID: 82600 - WOLFSKILL ENERGY CENTER | 48.7 | 45.2 |
| 318 | OWID |  | ISO ID: 33900 - Woodleaf PH | 60.0 | 61.2 |
| 319 | Yuba City Energy Center, LLC |  | ISO ID: 34000 - Yuba City Energy Center | 48.7 | 44.9 |
| 320 | SDGE QF - 450 |  | ISO ID: 57300 - MIRAMAR LANDFILL | 7.6 | 5.4 |
| 321 | SDGE QF - 455 |  | ISO ID: 60000 - NORTH CITY GENERATING FACILITY (EASTGATE) | 3.8 | 0.3 |
| 322 | SCE QF - 2071 |  | ISO ID: 34100 - ACE COGENERATION COMPANY | 118.3 | 117.0 |
| 323 | SDGE QF - 162 |  | ISO ID: 60600 - AEI MCRD STEAM TURBINE | 2.6 | 0.0 |
| 324 | PG&E QF - 25C249 |  | ISO ID: 34200 - AERA ENERGY LLC. (Coalinga) | 12.5 | 1.2 |
| 325 | PG&E QF - 25C258 |  | ISO ID: 56901 - AERA ENERGY LLC. (N. MIDWAY SUNSET) | 4.3 | 3.3 |
| 326 | PG&E QF - 25C180 |  | ISO ID: 34300 - AERA ENERGY LLC. (Oxford) | 6.0 | 4.5 |
| 327 | PG&E QF - 16C047 |  | ISO ID: 34400 - ALTAMONT COGENERATION CORP. | 7.5 | 2.4 |
| 328 | PG&E QF - 16W019 |  | ISO ID: 34500 - ALTAMONT MIDWAY LTD. | 56.2 | - |
| 329 | PG&E QF - 16W014 |  | ISO ID: 34600 - ALTAMONT POWER (AGGREGATE) | 92.0 | - |
| 330 | PG&E QF - 01W009 |  | ISO ID: 34700 - ALTAMONT POWER LLC (PARTNERS 1) | 11.5 | - |
| 331 | PG&E QF - 10G012 |  | ISO ID: 34800 - AMEDEE GEOTHERMAL VENTURE 1 | 2.6 | - |
| 332 | SCE QF - 2359 |  | ISO ID: 34900 - AMERICAN CORNERSTONE (HOLIDAY INN) | 0.2 | - |
| 333 | SCE QF - 2392 |  | ISO ID: 35100 - AMERICAN GOLF CORPORATION (PALM VLY CC) | 0.4 | - |
| 334 | SCE QF - 2390 |  | ISO ID: 35200 - AMERICAN GOLF CORPORATION, MONTEREY CC | 0.1 | - |
| 335 | SCE QF - ANTELOPE VALLEY AREA LUMPED UNITS |  | ISO ID: 35300 - ANTELOPE VALLEY AREA LUMPED UNITS | 425.0 | 35.7 |
| 336 | SCE QF - 2344 |  | ISO ID: 35400 - ARCADIA U.S.D. - ARCADIA HIGH SCHOOL | 0.1 | - |
| 337 | PG&E QF - 16W020 |  | ISO ID: 35500 - ARCADIAN RENEWABLE POWER CORP. - highly inactive | 34.5 | - |
| 338 | SCE QF - 2060 |  | ISO ID: 35600 - ARCO PETROLEUM PRODUCTS COMPANY | 8.0 | - |
| 339 | SCE QF - PASADENA |  | ISO ID: 35700 - AZUSA HYDRO | 2.5 | - |
| 340 | SCE QF - 2462 |  | ISO ID: 35800 - B. BRAUN MEDICAL INC. | 6.1 | - |
| 341 | PG&E QF - 25C250 |  | ISO ID: 35900 - BADGER CREEK LIMITED | 55.3 | 42.7 |
| 342 | PG&E QF - 13H119 |  | ISO ID: 36000 - BAILEY CREEK RANCH | 1.7 | - |
| 343 | PG&E QF - 19H002 |  | ISO ID: 36100 - BAKER STATION ASSOCIATES L.P. | 2.5 | 0.1 |
| 344 | SDGE QF - 206 |  | ISO ID: 36200 - BARONE, GALASSO & ASSOCIATES | 0.1 | - |
| 345 | SCE QF - BARRE AREA LUMPED UNITS |  | ISO ID: 36300 - BARRE AREA LUMPED UNITS | 0.2 | - |
| 346 | SCE QF - 2355 |  | ISO ID: 36400 - BASSETT UNIFIED SCHOOL DIST (BASSETT HS) | 0.1 | - |
| 347 | PG&E QF - 25C251 |  | ISO ID: 36500 - BEAR MOUNTAIN LIMITED | 55.3 | 42.7 |
| 348 | SCE QF - 2206 |  | ISO ID: 36600 - BERRY PETROLEUM CO. (PLACERITA UNIT 1) | 24.2 | 20.2 |
| 349 | SCE QF - 2458 |  | ISO ID: 36700 - BERRYMAN HEALTH #1 | 0.0 | - |
| 350 | SCE QF - 2471 |  | ISO ID: 36800 - BERRYMAN HEALTH #2 | 0.0 | - |
| 351 | PG&E QF - 13C010 |  | ISO ID: 36900 - BIG VALLEY LUMBER COMPANY | 8.6 | - |
| 352 | SCE QF - 2379 |  | ISO ID: 37000 - BIOLA UNIVERSITY | 1.1 | - |
| 353 | SCE QF - 2466 |  | ISO ID: 37100 - BIXBY KNOLLS TOWERS | 0.1 | - |
| 354 | PG&E QF - Madera ID |  | ISO ID: 37200 - BORDEN AREA LUMPED QF UNITS | 2.5 | - |
| 355 | SCE QF - 2386 |  | ISO ID: 37300 - BREA-OLINDA UNIFIED SCHOOL DISTRICT | 0.1 | - |
| 356 | PG&E QF - 01W001 |  | ISO ID: 37400 - BUENA VISTA ENERGY, LLC | 69.0 | 0.1 |
| 357 | PG&E QF - 13C038 |  | ISO ID: 37500 - BURNEY FOREST PRODUCTS | 35.7 | - |
| 358 | SCE QF - 2149 |  | ISO ID: 37700 - CAL POLY UNIVERSITY, POMONA | 0.1 | - |
| 359 | SDGE QF - 476 |  | ISO ID: 37800 - Cal West Industrial Park | 0.1 | - |
| 360 | SCE QF - 2235 |  | ISO ID: 37900 - CALIFORNIA STATE UNIV. LONG BEACH (POOL) | 0.2 | - |
| 361 | PG&E QF - 18C006 |  | ISO ID: 38000 - CALPINE AMERICAN I COGEN (Aggregate) | 135.0 | 119.2 |
| 362 | PG&E QF - 04G025 |  | ISO ID: 38300 - CALPINE GEYSERS CO. L. P. (West Ford Flat) | 32.6 | 26.6 |
| 363 | PG&E QF - 08C022 |  | ISO ID: 38400 - CALPINE MONTEREY COGEN INC. | 37.5 | 29.3 |
| 364 | SCE QF - 2442 |  | ISO ID: 38500 - CAMPBELL MOTEL & PROPERTIES INC. | 0.0 | - |
| 365 | SCE QF - 2409 |  | ISO ID: 39000 - CENTRAL QUICK WASH | 0.0 | - |
| 366 | SCE QF - 2182 |  | ISO ID: 39100 - CERRITOS COLLEGE | 0.2 | - |
| 367 | SCE QF - 2446 |  | ISO ID: 39200 - CHAFFEY JOINT U.H.S.D. (ETIWANDA HIGH SCHOOL) | 0.1 | - |
| 368 | SCE QF - 2358 |  | ISO ID: 39300 - CHAFFEY JOINT UNION HI SCH-MONTCLAIR HS | 0.1 | - |
| 369 | SCE QF - 2433 |  | ISO ID: 39400 - Chaffey U.S.D. (Chaffey High School) | 0.1 | - |
| 370 | SCE QF - 2219 |  | ISO ID: 39500 - CHAFFEY U.S.D./ONTARIO HIGH SCHOOL | 0.1 | - |
| 371 | PG&E QF - 25C272 |  | ISO ID: 39600 - CHALK CLIFF LIMITED | 55.1 | 43.4 |
| 372 | SCE QF - 2478 |  | ISO ID: 39700 - CHARTER OAK HIGH SCHOOL DIST. | 0.1 | - |
| 373 | PG&E QF - 01C202 |  | ISO ID: 39900 - CHEVRON RICHMOND REFINERY | 113.9 | - |
| 374 | SCE QF - 2155 |  | ISO ID: 40000 - CHEVRON U.S.A. UNITS (Aggregate) | 85.3 | - |
| 375 | PG&E QF - 25C055 |  | ISO ID: 40100 - CHEVRON USA (COALINGA) | 19.0 | 9.3 |
| 376 | PG&E QF - 01C080 |  | ISO ID: 40200 - CHEVRON USA (CONCORD) | 3.5 | - |
| 377 | PG&E QF - 25C003 |  | ISO ID: 40300 - CHEVRON USA (CYMRIC) | 24.3 | 7.8 |
| 378 | PG&E QF - 25C248 |  | ISO ID: 40400 - CHEVRON USA (EASTRIDGE) | 56.2 | 5.7 |
| 379 | PG&E QF - 25C002 |  | ISO ID: 40500 - CHEVRON USA (TAFT/CADET) | 11.5 | - |
| 380 | SCE QF - 2005 |  | ISO ID: 40600 - CHEVRON, USA, INCORPORATED #1 | 1.5 | - |
| 381 | SCE QF - CHINO AREA LUMPED UNITS |  | ISO ID: 40700 - CHINO AREA LUMPED UNITS | 24.3 | 18.2 |
| 382 | PG&E QF - 06C061 |  | ISO ID: 40800 - CITY OF FAIRFIELD | 1.3 | - |
| 383 | SCE QF - 2401 |  | ISO ID: 41000 - CITY OF VENTURA/EASTSIDE WTR RENOVATION | 0.5 | - |
| 384 | PG&E QF - 19H049 |  | ISO ID: 41100 - CLAIRMONT AREA LUMPED QF UNITS | 1.3 | - |
| 385 | SCE QF - 2273 |  | ISO ID: 41200 - CLARKE & RUSH MECHANICAL (WHITTIER COLLEGE) | 0.1 | - |
| 386 | SCE QF - 1068 |  | ISO ID: 41300 - CO. SAN. DIST #32 OF L.A. CO. (VALENCIA) | 0.5 | - |
| 387 | PG&E QF - 25C124 |  | ISO ID: 41400 - COALINGA COGENERATION COMPANY | 52.9 | 34.5 |
| 388 | SCE QF - 2057 |  | ISO ID: 41500 - COGENIC ENGY. SYS INC/ST ERNE SANITARIUM | 0.1 | - |
| 389 | SDGE QF - 321 |  | ISO ID: 41600 - COIN-OP LAUNDROMAT | 0.0 | - |
| 390 | SCE QF - 2245 |  | ISO ID: 41700 - COLLEGE OF THE CANYONS | 0.1 | - |
| 391 | PG&E QF - 10C003 |  | ISO ID: 41800 - COLLINS PINE CO. | 13.8 | 5.0 |
| 392 | MN Colton Genco, LLC |  | ISO ID: 83100 - COLTON LANDFILL PROJECT (AGGREGATE) | 1.2 | - |
| 393 | SCE QF - 5022 |  | ISO ID: 41900 - COMMUNITY ENVIRONMENTAL COUNCIL, INC. | 0.0 | - |
| 394 | PG&E QF - CONCORD AREA LUMPED QF UNITS |  | ISO ID: 42000 - CONCORD AREA LUMPED QF UNITS | 1.3 | - |
| 395 | SCE QF - 2326 |  | ISO ID: 42100 - CONEJO VALLEY U. S. D. (THOUSAND OAKS) | 0.1 | - |
| 396 | SCE QF - 2268 |  | ISO ID: 42200 - CONEJO VALLEY U.S.D. (NEWBURY PK HI SCH) | 0.1 | - |
| 397 | PG&E QF - 08C023 |  | ISO ID: 42300 - CONTAINER CORP (JEFFERSON SMURFIT) | 25.8 | 17.5 |
| 398 | SCE QF - CONTROL AREA LUMPED UNITS |  | ISO ID: 42400 - CONTROL AREA LUMPED UNITS | 49.0 | 26.9 |
| 399 | SCE QF - 2081 |  | ISO ID: 42500 - CORONA ENERGY PARTNERS, LTD. | 42.0 | - |
| 400 | SCE QF - 2464 |  | ISO ID: 42600 - CORONA/NORCO U.S.D. (CENTENNIAL HIGH SCHOOL) | 0.1 | - |
| 401 | SCE QF - 2402 |  | ISO ID: 42700 - CORONA-NORCO U.S.D. (CORONA HIGH SCHOOL) | 0.1 | - |
| 402 | SCE QF - 2403 |  | ISO ID: 42800 - CORONA-NORCO U.S.D. (NORCO HIGH SCHOOL) | 0.1 | - |
| 403 | SCE QF - 3030 |  | ISO ID: 42900 - COSO ENERGY DEVELOPERS (BLM) (Aggregate) | 100.7 | 76.0 |
| 404 | SCE QF - 3008 |  | ISO ID: 43000 - COSO FINANCE PARTNERS (NAVY I) (Aggregate) | 100.3 | 82.1 |
| 405 | SCE QF - 3029 |  | ISO ID: 43100 - COSO POWER DEVELOPERS (NAVY II) (Aggregate) | 100.7 | 93.6 |
| 406 | SDGE QF - 404 |  | ISO ID: 43200 - COSTELLO'S COIN LAUNDRY | 0.0 | - |
| 407 | SCE QF - 2473 |  | ISO ID: 43300 - COTIJA CHEESE, INCORPORATED | 0.1 | - |
| 408 | PG&E QF - COTTONWOOD AREA (BURNEY) LUMPED QF UNITS |  | ISO ID: 43400 - COTTONWOOD AREA (BURNEY) LUMPED QF UNITS | 7.1 | - |
| 409 | PG&E QF - 04P051 |  | ISO ID: 43600 - COUNTY OF SONOMA | 7.1 | - |
| 410 | SCE QF - 2474 |  | ISO ID: 43700 - COUNTY SANITATION DISTRICT NO. 2 OF LOS ANGELES | 16.5 | - |
| 411 | PG&E QF - 18P014 |  | ISO ID: 43800 - COVANTA POWER PACIFIC. (SALINAS) | 2.0 | - |
| 412 | SDGE QF - 466 |  | ISO ID: 43900 - CP - KELCO | 30.0 | 18.9 |
| 413 | PG&E QF - CURIS AREA LUMPED QF UNITS |  | ISO ID: 44000 - CURIS AREA LUMPED QF UNITS | 3.6 | - |
| 414 | PG&E QF - 25C138 |  | ISO ID: 44100 - DAI / OILDALE , INC. (Dexzel 1) | 36.8 | 28.4 |
| 415 | SCE QF - 2453 |  | ISO ID: 44200 - DECOGEN, INC. | 0.6 | - |
| 416 | SCE QF - DELAMO AREA LUMPED QF UNITS |  | ISO ID: 44300 - DELAMO AREA LUMPED QF UNITS | 0.4 | - |
| 417 | SCE QF - 2431 |  | ISO ID: 44400 - DELANO JOINT UHSD/DELANO HIGH SCHOOL | 0.1 | - |
| 418 | SCE QF - 6114 |  | ISO ID: 44500 - DESERT WIND III PWR PURCH CONTRACT TRUST | 44.4 | 35.6 |
| 419 | SCE QF - DEVERS AREA LUMPED UNITS |  | ISO ID: 44600 - DEVERS AREA LUMPED UNITS | 429.5 | 106.8 |
| 420 | PG&E QF - 16C088 |  | ISO ID: 44700 - DIAMOND WALNUT GROWERS INC. | 5.7 | 3.4 |
| 421 | SDGE QF - 233 |  | ISO ID: 44800 - DIVISON NAVAL STATION COGEN. | 49.9 | 49.8 |
| 422 | PG&E QF - 25C241 |  | ISO ID: 44900 - DOUBLE "C" LIMITED | 55.3 | 47.5 |
| 423 | PG&E QF - 01C052 |  | ISO ID: 45000 - DOW CHEMICAL CORP. (PITTSBURG) AKA CALPINE PITTSBURG POWER PLANT (AGGREGATE) | 80.5 | 44.8 |
| 424 | PG&E QF - 01P171 |  | ISO ID: 45200 - East Bay MUD (OAKLAND) | 4.6 | - |
| 425 | SDGE QF - 478 |  | ISO ID: 45300 - Eastlake H.S. | 0.0 | - |
| 426 | PG&E QF - 13H001 |  | ISO ID: 45400 - EL DORADO (MONTGOMERY CK) | 3.0 | - |
| 427 | SCE QF - ELLIS AREA LUMPED UNITS |  | ISO ID: 45500 - ELLIS AREA LUMPED UNITS | 18.5 | 1.0 |
| 428 | SDGE QF - 14 |  | ISO ID: 45600 - ENCINA POLLUTION CONTROL | 1.4 | - |
| 429 | SCE QF - 2085 |  | ISO ID: 45700 - EPISCOPAL HOME | 0.2 | - |
| 430 | SCE QF - ETIWANDA AREA LUMPED UNITS |  | ISO ID: 45800 - ETIWANDA AREA LUMPED UNITS | 45.7 | 15.8 |
| 431 | SCE QF - 2101 |  | ISO ID: 45900 - EXXON COMPANY, USA | 54.5 | 7.0 |
| 432 | PG&E QF - 19P005 |  | ISO ID: 46000 - FAIRHAVEN POWER CO. | 19.9 | 15.8 |
| 433 | SCE QF - 2378 |  | ISO ID: 46100 - FALCON FOAM PLASTICS | 0.4 | - |
| 434 | SDGE QF - 174 |  | ISO ID: 46200 - FAMILY SPORT & FITNESS OF ESCONDIDO, INC. | 0.1 | - |
| 435 | SDGE QF - 482 |  | ISO ID: 46300 - FoxPoint Farms | 0.2 | - |
| 436 | SCE QF - 2457 |  | ISO ID: 46400 - FRED L. HARTLEY RESEARCH CENTER (UNION OIL CO.) | 0.3 | - |
| 437 | PG&E QF - 25H037 |  | ISO ID: 46500 - FRIANT DAM | 33.7 | 16.4 |
| 438 | PG&E QF - 25C063 |  | ISO ID: 46600 - FRITO LAY COGEN | 5.4 | 0.3 |
| 439 | SDGE QF - 159 |  | ISO ID: 46700 - FULCHER RESIDENCE | 0.0 | - |
| 440 | SCE QF - 2200 |  | ISO ID: 46800 - FULLERTON UNIF. SCH DIST/LA HABRA | 0.1 | - |
| 441 | SCE QF - 2199 |  | ISO ID: 46900 - FULLERTON UNIF. SCH. DIST/BUENA PARK | 0.1 | - |
| 442 | SCE QF - 2201 |  | ISO ID: 47000 - FULLERTON UNIF. SCH. DIST/SUNNYHILL | 0.1 | - |
| 443 | PG&E QF - FULTON AREA LUMPED QF UNITS |  | ISO ID: 47100 - FULTON AREA LUMPED QF UNITS | 2.6 | - |
| 444 | PG&E QF - 04P010 |  | ISO ID: 47200 - GAS RECOVERY SYS. (AMERICAN CYN) | 2.5 | - |
| 445 | PG&E QF - 08P006 |  | ISO ID: 47300 - GAS RECOVERY SYS. (GUADALUPE) | 3.7 | 2.0 |
| 446 | PG&E QF - 02P014 |  | ISO ID: 47400 - GAS RECOVERY SYS. (MENLO PARK) | 2.6 | - |
| 447 | PG&E QF - 08P004 |  | ISO ID: 47500 - GAS RECOVERY SYS. (NEWBY ISLAND 2) | 4.8 | - |
| 448 | PG&E QF - 08C010 |  | ISO ID: 47600 - GATX/CALPINE COGEN-AGNEWS INC. | 41.5 | 28.0 |
| 449 | PG&E QF - 01C104 |  | ISO ID: 47700 - GAYLORD (Crown Zellerbach) | 57.2 | - |
| 450 | PG&E QF - 04G018 |  | ISO ID: 47800 - GEOTHERMAL ENERGY PARTNERS 1 | 11.5 | 7.4 |
| 451 | PG&E QF - 04G019 |  | ISO ID: 47900 - GEOTHERMAL ENERGY PARTNERS 2 | 11.5 | 7.4 |
| 452 | PG&E QF - 04G057 |  | ISO ID: 48000 - GEYSERS POWER COMPANY, LLC. (Aggregate) | 92.1 | 64.1 |
| 453 | SDGE QF - 431 |  | ISO ID: 48200 - GOAL LINE L.P. | 49.9 | 49.7 |
| 454 | PG&E QF - 06H159 |  | ISO ID: 48300 - GOLD HILL AREA LUMPED QF UNITS | 1.3 | - |
| 455 | SCE QF - GOLETA AREA LUMPED UNITS |  | ISO ID: 48400 - GOLETA AREA LUMPED UNITS | 24.4 | 0.1 |
| 456 | PG&E QF - GREEN RIDGE POWER LLC- RUSSELL (Aggregate) |  | ISO ID: 48900 - GREEN RIDGE POWER LLC- RUSSELL (Aggregate) | 76.3 | 18.2 |
| 457 | PG&E QF - GREEN RIDGE POWER LLC-JACKSON (Aggregate) |  | ISO ID: 48600 - GREEN RIDGE POWER LLC-JACKSON (Aggregate) | 97.5 | - |
| 458 | PG&E QF - GREEN RIDGE POWER LLC-PATTERSON (Aggregate) |  | ISO ID: 48700 - GREEN RIDGE POWER LLC-PATTERSON (Aggregate) | 182.5 | 3.9 |
| 459 | PG&E QF - GREEN RIDGE POWER LLC-RALPH (Aggregate) |  | ISO ID: 48800 - GREEN RIDGE POWER LLC-RALPH (Aggregate) | 102.5 | 4.5 |
| 460 | PG&E QF - GREEN RIDGE POWER LLC-WALKER (Aggregate) |  | ISO ID: 49000 - GREEN RIDGE POWER LLC-WALKER (Aggregate) | 58.8 | 2.9 |
| 461 | PG&E QF - 12C020 |  | ISO ID: 49100 - GREENLEAF UNIT #1 (Aggregate) | 63.8 | 49.3 |
| 462 | PG&E QF - 12C021 |  | ISO ID: 49200 - GREENLEAF UNIT #2 | 63.8 | 48.7 |
| 463 | PG&E QF - 01P049 |  | ISO ID: 49300 - GWF POWER SYSTEMS INC. #1 | 22.8 | - |
| 464 | PG&E QF - 01P086 |  | ISO ID: 49400 - GWF POWER SYSTEMS INC. #2 | 22.8 | 18.9 |
| 465 | PG&E QF - 01P091 |  | ISO ID: 49500 - GWF POWER SYSTEMS INC. #3 | 22.8 | 19.4 |
| 466 | PG&E QF - 01P051 |  | ISO ID: 49600 - GWF POWER SYSTEMS INC. #4 | 22.8 | 19.1 |
| 467 | PG&E QF - 01P087 |  | ISO ID: 49700 - GWF POWER SYSTEMS INC. #5 | 29.4 | - |
| 468 | SDGE QF - 481 |  | ISO ID: 49800 - Hale Ave. Resource Recovery Fac | 0.4 | - |
| 469 | PG&E QF - 04H052 |  | ISO ID: 49900 - HAMMEKEN HYDRO | 1.3 | - |
| 470 | SCE QF - 2303 |  | ISO ID: 50000 - HANFORD JOINT UNION HIGH SCHOOL DISTRICT | 0.1 | - |
| 471 | PG&E QF - 25C136 |  | ISO ID: 50100 - HANFORD L.P. | 29.4 | - |
| 472 | PG&E QF - 15H005 |  | ISO ID: 50200 - HAYPRESS HYDROELECTRIC, INC. (LWR) | 8.8 | - |
| 473 | PG&E QF - 15H006 |  | ISO ID: 50300 - HAYPRESS HYDROELECTRIC, INC. (MDL) | 10.0 | - |
| 474 | PG&E QF - 25C242 |  | ISO ID: 50400 - HIGH SIERRA LIMITED | 60.3 | 47.9 |
| 475 | SCE QF - HINSON AREA LUMPED UNITS |  | ISO ID: 50500 - HINSON AREA LUMPED UNITS | 0.4 | - |
| 476 | PG&E QF - 10P005 |  | ISO ID: 50600 - Honey Lake Power | 36.8 | 30.0 |
| 477 | SDGE QF - 126 |  | ISO ID: 50700 - HOTEL DEL CORONADO | 0.8 | - |
| 478 | PG&E QF - 19H051 |  | ISO ID: 50900 - HUMBOLDT BAY MWD | 2.5 | - |
| 479 | SDGE QF - 405 |  | ISO ID: 51000 - HUNSBERGER COGENERATION | 0.0 | - |
| 480 | SCE QF - 2398 |  | ISO ID: 51100 - HUNTINGTON BEACH UHDS/EDISON HI SCHOOL | 0.1 | - |
| 481 | SCE QF - 2399 |  | ISO ID: 51200 - HUNTINGTON BEACH UHSD/MARINA HI SCHOOL | 0.1 | - |
| 482 | SCE QF - 2400 |  | ISO ID: 51300 - HUNTINGTON BEACH UHSD/WESTMINSTER HI SCH | 0.1 | - |
| 483 | SCE QF - 2287 |  | ISO ID: 51400 - HUNTINGTON BEACH UNION HIGH SCHOOL DISTR | 0.1 | - |
| 484 | PG&E QF - 10H013 |  | ISO ID: 51500 - HYPOWER, INC. (a/k/a Forks of Butte) | 14.3 | - |
| 485 | PG&E QF - |  | ISO ID: 51600 - IBM COTTLE | 50.0 | - |
| 486 | PG&E QF - 04H061 |  | ISO ID: 51800 - INDIAN VALLEY HYDRO | 5.0 | - |
| 487 | SCE QF - 1114 |  | ISO ID: 51900 - INLAND EMPIRE UTILITIES AGENCY (ONTARIO) | - | - |
| 488 | PG&E QF - 25W105 |  | ISO ID: 52000 - INTERNATIONAL TURBINE RESEARCH | 21.3 | 2.9 |
| 489 | PG&E QF - 16C004 |  | ISO ID: 52100 - JACKSON VALLEY ENERGY PTNRS (IONE) | 20.7 | - |
| 490 | SDGE QF - 414 |  | ISO ID: 52200 - JACOBSEN LAUNDRY | 0.0 | - |
| 491 | SDGE QF - 480 |  | ISO ID: 52300 - Jamacha Landfill | 0.3 | - |
| 492 | PG&E QF - Jeld-Wen |  | ISO ID: 52400 - Jeld-Wen(Susanville Forest Products) | 1.0 | - |
| 493 | SDGE QF - 422 |  | ISO ID: 52600 - JOLLY CLEAN GIANT LAUNDERLAND | 0.0 | - |
| 494 | PG&E QF - 25C188 |  | ISO ID: 52700 - KERN FRONT LIMITED | 60.0 | 47.5 |
| 495 | PG&E QF - 25H073 |  | ISO ID: 52800 - KERN HYDRO (OLCESE) (aka RIO BRAVO HYDRO) | 18.4 | 10.8 |
| 496 | SCE QF - 2034 |  | ISO ID: 52900 - KERN RIVER COGENERATION CO. (Aggregate) | 342.6 | 300.0 |
| 497 | SDGE QF - 388 |  | ISO ID: 53000 - KYOCERA INTERNATIONAL, INC. | 3.3 | 3.1 |
| 498 | SCE QF - 1090 |  | ISO ID: 53100 - L.A. COUNTY SANITATION DISTRICT #2 (PUENTE HILLS B) | 55.7 | 46.9 |
| 499 | SCE QF - 2284 |  | ISO ID: 53200 - LA CANADA U. S. D. (LA CANADA SCHOOL) | 0.1 | - |
| 500 | SDGE QF - 247 |  | ISO ID: 53500 - LAGUNA DEL MAR - CONNOR RESIDENCE | 0.0 | - |
| 501 | SDGE QF - 297 |  | ISO ID: 53600 - LAGUNA DEL MAR - MORAND RESIDENCE | 0.0 | - |
| 502 | SCE QF - LITHEHIPE AREA LUMPED UNITS |  | ISO ID: 53700 - LITHEHIPE AREA LUMPED UNITS | 6.4 | 0.6 |
| 503 | PG&E QF - 25C274 |  | ISO ID: 53800 - LIVE OAK LIMITED | 55.3 | 42.9 |
| 504 | PG&E QF - 18P123 |  | ISO ID: 53900 - LOS ALAMOS ENERGY, L.L.C. | 0.5 | - |
| 505 | SCE QF - 4027 |  | ISO ID: 54000 - LOS ANGELES COUNTY FLOOD CONTROL DISTRICT | 1.0 | - |
| 506 | SCE QF - LUZ SOLAR PARTNERS 3-7 AGGREGATE |  | ISO ID: 954001 - LUZ SOLAR PARTNERS 3-7 AGGREGATE | 206.1 | 152.6 |
| 507 | SCE QF - LUZ SOLAR PARTNERS 8-9 AGGREGATE |  | ISO ID: 954002 - LUZ SOLAR PARTNERS 8-9 AGGREGATE | 199.7 | 126.9 |
| 508 | PG&E QF - 25H036 |  | ISO ID: 54800 - MADERA-CHOWCHILLA WATER AND POWER AUTHORITY | 3.8 | - |
| 509 | PG&E QF - 13H047 |  | ISO ID: 54900 - MALACHA HYDRO L.P. | 32.5 | 1.9 |
| 510 | SCE QF - 3051 |  | ISO ID: 55000 - MAMMOTH PACIFIC LIMITED | 12.0 | - |
| 511 | PG&E QF - 01C044 |  | ISO ID: 55100 - MARTINEZ COGEN LIMITED PARTNERSHIP (Aggregate) | 114.8 | 16.1 |
| 512 | SCE QF - 2459 |  | ISO ID: 55200 - MCANALLY EGG RANCH | 0.1 | - |
| 513 | PG&E QF - 25C275 |  | ISO ID: 55400 - MCKITTRICK LIMITED | 57.9 | 45.4 |
| 514 | PG&E QF - 13H125 |  | ISO ID: 55500 - MEGA HYDRO #1 (CLOVER CREEK) | 1.5 | - |
| 515 | PG&E QF - 13H017 |  | ISO ID: 55600 - MEGA RENEWABLES (BIDWELL DITCH) | 3.8 | - |
| 516 | PG&E QF - 13H015 |  | ISO ID: 55700 - MEGA RENEWABLES (HATCHET CRK) | 8.0 | - |
| 517 | PG&E QF - 13H014 |  | ISO ID: 55800 - MEGA RENEWABLES (ROARING CRK) | 3.3 | - |
| 518 | PG&E QF - 13H036 |  | ISO ID: 55900 - MEGA RENEWABLES (SILVER SPRINGS) | 1.3 | - |
| 519 | PG&E QF - 25C013 |  | ISO ID: 56000 - MENDOTA BIOMASS POWER | 33.0 | 21.6 |
| 520 | SDGE QF - 473 |  | ISO ID: 56100 - Mendoza School | 0.0 | - |
| 521 | PG&E QF - 25H185 |  | ISO ID: 56200 - MERCED IRRIGATION DIST. (PARKER) | 3.8 | 2.0 |
| 522 | SCE QF - 4145 |  | ISO ID: 56400 - MESA CONSOLIDATED WATER DISTRICT | 0.1 | - |
| 523 | SCE QF - 2343 |  | ISO ID: 56700 - MICRO UTILITY PARTNERS OF AMERICA | 0.1 | - |
| 524 | PG&E QF - 25C123 |  | ISO ID: 56800 - MIDSET COGEN. CO. | 52.9 | 33.3 |
| 525 | PG&E QF - MIDWAY AREA (BAKERSFIELD) LUMPED QF UNITS |  | ISO ID: 56900 - MIDWAY AREA (BAKERSFIELD) LUMPED QF UNITS | 5.6 | 0.6 |
| 526 | SCE QF - 1108 |  | ISO ID: 57100 - MINNESOTA METHANE (TEAPOT DOME) | 1.0 | - |
| 527 | SCE QF - 1106 |  | ISO ID: 57200 - MINNESOTA METHANE (YOLO QF) | 2.7 | - |
| 528 | SDGE QF - MISSION AREA LUMPED UNITS |  | ISO ID: 57400 - MISSION AREA LUMPED UNITS | 50.0 | - |
| 529 | SCE QF - 2215 |  | ISO ID: 57700 - MOBIL OIL CORPORATION #1 | 46.9 | - |
| 530 | PG&E QF - 16P053 |  | ISO ID: 57800 - MODESTO ENERGY | 18.8 | - |
| 531 | SCE QF - 2078 |  | ISO ID: 57900 - MOJAVE COGENERATION COMPANY | 62.5 | 12.9 |
| 532 | PG&E QF - 18C048 |  | ISO ID: 58100 - MONTEREY POWER COMPANY | 7.9 | 2.7 |
| 533 | PG&E QF - 18P059 |  | ISO ID: 58200 - MONTEREY REGIONAL WASTE MGMT DIST. | 3.4 | - |
| 534 | SCE QF - MOORE PARK AREA LUMPED UNITS |  | ISO ID: 58300 - MOORE PARK AREA LUMPED UNITS | 34.8 | 27.8 |
| 535 | PG&E QF - MOSS LANDING AREA (SANTA CRUZ) LUMPED QF UNITS |  | ISO ID: 58400 - MOSS LANDING AREA (SANTA CRUZ) LUMPED QF UNITS | 8.9 | - |
| 536 | PG&E QF - 25C018 |  | ISO ID: 58500 - MT. POSO COGENERATION CO. | 57.0 | 51.6 |
| 537 | SCE QF - 4149 |  | ISO ID: 58600 - MUNICIPAL WATER DISTRICT OF ORANGE CO. | 0.6 | - |
| 538 | PG&E QF - 04C054 |  | ISO ID: 59000 - NAPA STATE HOSPITAL | 2.5 | - |
| 539 | SDGE QF - 109 |  | ISO ID: 59100 - NAVAL REGIONAL MEDICAL CENTER | 2.4 | 0.0 |
| 540 | SDGE QF - 469 |  | ISO ID: 59200 - NAVAL STATION 32ND ST - PV STATION | 0.0 | - |
| 541 | SDGE QF - 164 |  | ISO ID: 59300 - NAVY REG. DATA AUTOMATION CENTER (NARDAC) | 2.6 | (0.0) |
| 542 | PG&E QF - 13H042 |  | ISO ID: 59400 - NELSON CREEK POWER INC. | 2.5 | - |
| 543 | PG&E QF - 15H015 |  | ISO ID: 59500 - NEVADA POWER AUTHORITY (BOWMAN) | 6.3 | 1.9 |
| 544 | SDGE QF - 223 |  | ISO ID: 60100 - NORTH ISLAND COGENERATION | 34.5 | 37.1 |
| 545 | SDGE QF - 468 |  | ISO ID: 60200 - NORTH ISLAND PV STATION | 0.0 | - |
| 546 | SDGE QF - 163 |  | ISO ID: 60300 - NORTH ISLAND STEAM TURBINE | 4.1 | 0.2 |
| 547 | PG&E QF - 01W095 |  | ISO ID: 60400 - NORTHWIND ENERGY | 31.1 | - |
| 548 | SDGE QF - 232 |  | ISO ID: 60500 - NTC/MCRD COGENERATION | 22.3 | 22.1 |
| 549 | PG&E QF - 25C293 |  | ISO ID: 60700 - NUEVO ENERGY COMPANY (DOME) | 7.0 | 6.3 |
| 550 | PG&E QF - 25C308 |  | ISO ID: 60800 - NUEVO ENERGY COMPANY (WELPORT) | 7.0 | 4.5 |
| 551 | PG&E QF - 25C337 |  | ISO ID: 61000 - OCCIDENTAL OF ELK HILLS, INC. (NAVY 35R) | 21.0 | - |
| 552 | PG&E QF - 13P118 |  | ISO ID: 61100 - OGDEN POWER PACIFIC, INC. (BURNEY) | 13.0 | 10.4 |
| 553 | PG&E QF - 16P002 |  | ISO ID: 61200 - OGDEN POWER PACIFIC, INC. (CHINESE STATION) | 25.3 | 16.9 |
| 554 | PG&E QF - 10P001 |  | ISO ID: 61300 - OGDEN POWER PACIFIC, INC. (MT. LASSEN) | 13.1 | 10.4 |
| 555 | PG&E QF - 12P001 |  | ISO ID: 61400 - OGDEN POWER PACIFIC, INC. (OROVILLE) | 23.8 | 17.5 |
| 556 | PG&E QF - 25C170 |  | ISO ID: 61500 - OILDALE ENERGY LLC | 47.1 | 38.7 |
| 557 | SCE QF - OLINDA AREA LUMPED UNITS |  | ISO ID: 61600 - OLINDA AREA LUMPED UNITS | 19.2 | 6.6 |
| 558 | PG&E QF - 13H024 |  | ISO ID: 61700 - OLSEN POWER PARTNERS | 5.8 | - |
| 559 | SCE QF - 2423 |  | ISO ID: 61800 - ORANGE U.S.D./VILLA PARK HIGH SCHOOL | 0.1 | - |
| 560 | PG&E QF - 12C019 |  | ISO ID: 61900 - OROVILLE COGEN | 9.8 | - |
| 561 | SDGE QF - 153 & 154 |  | ISO ID: 62000 - OTAY LANDFILL UNITS (Aggregate) | 5.0 | - |
| 562 | PG&E QF - 19C010 |  | ISO ID: 62100 - PACIFIC LUMBER CO. | 26.3 | 20.7 |
| 563 | PG&E QF - 08P024 |  | ISO ID: 62300 - PALO ALTO LANDFILL | 2.3 | 0.5 |
| 564 | SDGE QF - 439 |  | ISO ID: 62400 - PALOMAR YMCA | 0.0 | - |
| 565 | PG&E QF - 13H128 |  | ISO ID: 62500 - PAN PACIFIC (WEBER FLAT) | 2.5 | - |
| 566 | PG&E QF - 16W028 |  | ISO ID: 62600 - PATTERSON PASS WIND FARM LLC | 30.9 | 1.1 |
| 567 | SDGE QF - 260 |  | ISO ID: 62700 - PAYNE PHOTOVOLTAIC | 0.0 | - |
| 568 | SCE QF - 2472 |  | ISO ID: 62800 - PCA METAL FINISHING, INC. | 0.1 | - |
| 569 | PG&E QF - 01C084 |  | ISO ID: 62900 - PE - BERKELEY, INC. | 32.5 | 25.4 |
| 570 | PG&E QF - 25C164 |  | ISO ID: 63000 - PE - KES KINGSBURG,LLC | 40.0 | 34.7 |
| 571 | SDGE QF - 304 |  | ISO ID: 63100 - POMERADO HOSPITAL | 0.4 | - |
| 572 | SCE QF - 2033 |  | ISO ID: 63200 - POMONA VALLEY COMMUNITY HOSPITAL | 0.8 | - |
| 573 | SCE QF - 2448 |  | ISO ID: 63300 - PORTERVILLE INN | 0.1 | - |
| 574 | PG&E QF - 16C007 |  | ISO ID: 63400 - POSDEF Power Company, L.P. (Cogen National) | 50.6 | 42.9 |
| 575 | SDGE QF - 449 |  | ISO ID: 63500 - POWAY COMMUNITY SWIMMING POOL | 0.1 | - |
| 576 | SDGE QF - 448 |  | ISO ID: 63600 - PRIMA DESHECHA LANDFILL | 6.1 | 0.5 |
| 577 | SCE QF - 2072 |  | ISO ID: 63700 - PROCTER & GAMBLE PAPER PROD. (OXNARD II) | 55.6 | - |
| 578 | SDGE QF - 464 |  | ISO ID: 63800 - PT. LOMA SEWAGE TREATMENT PLANT #2 | 4.6 | 5.0 |
| 579 | SCE QF - 2476 |  | ISO ID: 63900 - QUAKER CITY PLATING | 0.0 | - |
| 580 | SDGE QF - 38 |  | ISO ID: 64000 - QUALCOMM, INC. | 2.3 | - |
| 581 | SDGE QF - 401 |  | ISO ID: 64100 - R.J. DONOVAN CORRECTIONAL FACILITY | 3.1 | (0.0) |
| 582 | SDGE QF - 471 |  | ISO ID: 64200 - Rancho Carmel Post Office | 0.0 | - |
| 583 | SDGE QF - 472 |  | ISO ID: 64300 - Rancho Penasquitos Post Office | 0.0 | - |
| 584 | SDGE QF - 474 |  | ISO ID: 64400 - Rancho Penasquitos YMCA | 0.1 | - |
| 585 | SCE QF - RECTOR AREA LUMPED UNITS |  | ISO ID: 64500 - RECTOR AREA LUMPED UNITS | 25.2 | 9.6 |
| 586 | SCE QF - 2248 |  | ISO ID: 64600 - RED LION INN | 0.5 | - |
| 587 | SCE QF - 2420 |  | ISO ID: 64700 - REDLANDS UNIFIED SCHOOL DISTRICT | 0.1 | - |
| 588 | PG&E QF - 01C108 |  | ISO ID: 64800 - RHODIA INC. (RHONE-POULENC) | 4.6 | - |
| 589 | SCE QF - RHONDO AREA LUMPED UNITS |  | ISO ID: 64900 - RHONDO AREA LUMPED UNITS | 6.6 | 0.9 |
| 590 | SCE QF - 2262 |  | ISO ID: 65000 - RIDGEWOOD POWER (SUNNYSIDE) | 0.1 | - |
| 591 | PG&E QF - 25P026 |  | ISO ID: 65100 - RIO BRAVO FRESNO (aka ULTRAPOWER) | 30.5 | 10.8 |
| 592 | PG&E QF - 25C076 |  | ISO ID: 65300 - RIO BRAVO POSO (Formerly Ultrapower - Ogle) | 45.0 | 32.9 |
| 593 | PG&E QF - 15P028 |  | ISO ID: 65400 - RIO BRAVO ROCKLIN | 28.8 | 24.2 |
| 594 | PG&E QF - RIO OSO AREA LUMPED QF UNITS |  | ISO ID: 65500 - RIO OSO AREA LUMPED QF UNITS | 7.5 | 2.3 |
| 595 | PG&E QF - 16C034 |  | ISO ID: 65700 - RIPON COGENERATION, INC. | 56.9 | 47.0 |
| 596 | SDGE QF - 442 |  | ISO ID: 65800 - RIVER SCENE HOMEOWNERS | 0.0 | - |
| 597 | SCE QF - 5067 |  | ISO ID: 65900 - ROBERT SIEBERT | 0.0 | - |
| 598 | PG&E QF - 06H011 |  | ISO ID: 66000 - ROCK CREEK L.P. | 5.0 | - |
| 599 | SDGE QF - 196 |  | ISO ID: 66100 - ROHR BF GOODRICH | 9.0 | 5.2 |
| 600 | PG&E QF - 25C178 |  | ISO ID: 66200 - SAINT AGNES MED. CTR | 2.8 | - |
| 601 | PG&E QF - 18C053 |  | ISO ID: 66300 - SALINAS RIVER COGEN CO. | 57.0 | 30.7 |
| 602 | SCE QF - SAN BERNARDINO AREA LUMPED UNITS |  | ISO ID: 66400 - SAN BERNARDINO AREA LUMPED UNITS | 15.0 | 0.5 |
| 603 | SCE QF - 2468 |  | ISO ID: 66500 - SAN BERNARDINO CITY U.S.D. (PACIFIC HIGH SCHOOL) | 0.1 | - |
| 604 | SCE QF - 4023 |  | ISO ID: 66600 - SAN BERNARDINO MWD (UNIT 2, SITE 1913) | 0.1 | - |
| 605 | SCE QF - 2220 |  | ISO ID: 66700 - SAN BERNARDINO U.H.S. - S. BERN. HI SCHOOL | 0.1 | - |
| 606 | SCE QF - 2217 |  | ISO ID: 66800 - SAN BERNARDINO UNIF. SCH. DIST - CAJON H S | 0.1 | - |
| 607 | PG&E QF - 25C045 |  | ISO ID: 66900 - SAN JOAQUIN POWER COMPANY | 12.4 | 3.9 |
| 608 | PG&E QF - 08C030 |  | ISO ID: 67000 - SAN JOSE COGEN | 6.9 | 4.9 |
| 609 | PG&E QF - 08C026 |  | ISO ID: 67100 - SAN JOSE CONVENTION CENTER | 2.5 | - |
| 610 | SDGE QF - 155 |  | ISO ID: 67200 - SAN MARCOS LANDFILL | 1.9 | - |
| 611 | PG&E QF - TRIDAM AUTHORITY (16H003) |  | ISO ID: 67300 - Sand Bar Hydro | 18.6 | 10.9 |
| 612 | PG&E QF - 25C016 |  | ISO ID: 67400 - SANGER POWER, LLC | 48.3 | 32.1 |
| 613 | SCE QF - SANTA CLARA AREA LUMPED UNITS |  | ISO ID: 67500 - SANTA CLARA AREA LUMPED UNITS | 12.8 | 5.3 |
| 614 | PG&E QF - |  | ISO ID: 67600 - Santa Clara Go-gen | 7.0 | - |
| 615 | PG&E QF - 18C026 |  | ISO ID: 67700 - SANTA MARIA COGEN | 10.5 | 7.5 |
| 616 | SCE QF - SANTIAGO AREA LUMPED UNITS |  | ISO ID: 67800 - SANTIAGO AREA LUMPED UNITS | 0.3 | - |
| 617 | PG&E QF - 18C052 |  | ISO ID: 67900 - SARGENT CANYON COGEN. COMPANY | 57.1 | 35.8 |
| 618 | SCE QF - SAUGUS AREA LUMPED UNITS |  | ISO ID: 68000 - SAUGUS AREA LUMPED UNITS | 11.3 | 6.7 |
| 619 | SCE QF - 5066 |  | ISO ID: 68100 - SCAQMD SOLAR PORT | 0.1 | - |
| 620 | SCE QF - 2443 |  | ISO ID: 68200 - SCG (SANTA BARBARA COUNTY JAIL) | 0.2 | - |
| 621 | PG&E QF - Sea West Energy (01W006H) |  | ISO ID: 68400 - SEA WEST ENERGY (AGGREGATE) | 100.0 | 0.2 |
| 622 | SCE QF - 6036 |  | ISO ID: 68500 - SECTION 28 TRUST (SANDBERG III) | 44.4 | - |
| 623 | PG&E QF - 13C049 |  | ISO ID: 29400 - SIERRA PACIFIC INDUSTRIES (BURNEY) | 14.0 | - |
| 624 | PG&E QF - 12C008 |  | ISO ID: 29500 - SIERRA PACIFIC INDUSTRIES (LINCOLN) | 6.0 | 4.0 |
| 625 | PG&E QF - 10C018 |  | ISO ID: 29600 - SIERRA PACIFIC INDUSTRIES (QUINCY) | 22.0 | - |
| 626 | PG&E QF - 10C009 |  | ISO ID: 29800 - SIERRA PACIFIC INDUSTRIES (SUSANVILLE) | 10.0 | 9.7 |
| 627 | PG&E QF - SMALL QF AGGREGATION - LOS BANOS |  | ISO ID: 35000 - SMALL QF AGGREGATION - LOS BANOS | 2.5 | - |
| 628 | PG&E QF - 13H013 |  | ISO ID: 68600 - SNOW MOUNTAIN HYDRO LLC (COVE) | 5.8 | - |
| 629 | PG&E QF - 13H057 |  | ISO ID: 68700 - SNOW MOUNTAIN HYDRO LLC (LOST CREEK 1) | 2.5 | - |
| 630 | PG&E QF - 13H041 |  | ISO ID: 68800 - SNOW MOUNTAIN HYDRO LLC (LOST CREEK 2) | 1.3 | - |
| 631 | SCE QF - 2435 |  | ISO ID: 68900 - SO CAL GAS (HYATT REGENCY) | 0.2 | - |
| 632 | SCE QF - 2434 |  | ISO ID: 69000 - SO CAL GAS (SCAQMD) | 0.2 | - |
| 633 | SDGE QF - 440 |  | ISO ID: 69100 - SOLAR TURBINES, INC. | 9.5 | - |
| 634 | PG&E QF - California State Prison System |  | ISO ID: 69200 - SOLEDAD PRISON COGEN | 2.2 | - |
| 635 | PG&E QF - 16H094 |  | ISO ID: 69300 - SOUTH SAN JOAQUIN ID (FRANKENHEIMER) | 8.8 | 3.6 |
| 636 | PG&E QF - 16H097 |  | ISO ID: 69400 - SOUTH SAN JOAQUIN ID (WOODWARD) | 5.0 | - |
| 637 | SCE QF - 2193 |  | ISO ID: 69500 - SOUTHERN CALIFORNIA GAS COMPANY | 0.6 | - |
| 638 | PG&E QF - 02C041 |  | ISO ID: 69700 - SRI INTERNATIONAL | 6.9 | - |
| 639 | SCE QF - 2413 |  | ISO ID: 69800 - ST. JOHN'S HOSPITAL AND HEALTH CENTER | 1.1 | - |
| 640 | PG&E QF - 16P052 |  | ISO ID: 69900 - STANISLAUS WASTE ENERGY CO. | 22.3 | 16.7 |
| 641 | PG&E QF - 16C036 |  | ISO ID: 70000 - STOCKTON COGEN CO. | 63.0 | 0.1 |
| 642 | PG&E QF - 12H007 |  | ISO ID: 70100 - STS HYDROPOWER LTD. (KANAKA) | 2.5 | - |
| 643 | PG&E QF - 13H039 |  | ISO ID: 70200 - STS HYDROPOWER LTD. (KEKAWAKA) | 7.5 | - |
| 644 | SCE QF - 2058 |  | ISO ID: 70400 - SYCAMORE COGENERATION AGGREGATE | 382.5 | 311.9 |
| 645 | SDGE QF - 152 |  | ISO ID: 70500 - SYCAMORE LANDFILL | 1.9 | - |
| 646 | PG&E QF - TABLE MOUNTAIN AREA LUMPED QF UNITS |  | ISO ID: 70600 - TABLE MOUNTAIN AREA LUMPED QF UNITS | 8.2 | 0.7 |
| 647 | SCE QF - 5071 |  | ISO ID: 70700 - TACO LOCO | 0.0 | - |
| 648 | PG&E QF - TESLA AREA LUMPED QF UNITS |  | ISO ID: 70800 - TESLA AREA LUMPED QF UNITS | 5.0 | - |
| 649 | PG&E QF - 25C246 |  | ISO ID: 70900 - TEXACO EXPLORATION & PRODUCTION INC. (SE KERN) | 39.7 | - |
| 650 | PG&E QF - Texaco Exploration and Production |  | ISO ID: 71300 - TEXACO EXPLORATION AND PRODUCTION (AGGREGATE) | 22.8 | 15.5 |
| 651 | PG&E QF - 25C193 |  | ISO ID: 71400 - TEXACO INC. (MCKITTRICK) | 11.5 | 5.8 |
| 652 | SCE QF - 2061 |  | ISO ID: 71500 - THE FORUM #1 | 0.1 | - |
| 653 | SCE QF - 2407 |  | ISO ID: 71600 - THE VINTAGE CLUB | 0.6 | - |
| 654 | PG&E QF - 16P054 |  | ISO ID: 71700 - THERMAL ENERGY DEV. CORP. | 24.2 | 17.3 |
| 655 | SDGE QF - 429 |  | ISO ID: 71800 - THOMPSON COIN LAUNDRY | 0.0 | - |
| 656 | THUMS Long Beach Company |  | ISO ID: 82300 - THUMS GENERATION FACILITY | 47.0 | - |
| 657 | PG&E QF - 13H040 |  | ISO ID: 71900 - TKO POWER (SOUTH BEAR CREEK) | 5.0 | - |
| 658 | PG&E QF - TOSCO |  | ISO ID: 72000 - TOSCO - RODEO PLANT (Aggregate) | 57.3 | 5.0 |
| 659 | PG&E QF - 01W094 |  | ISO ID: 72100 - Tres Vaqueros Wind Farms, LLC. | 38.0 | - |
| 660 | PG&E QF - 02C001 |  | ISO ID: 72400 - UNITED AIRLINES (COGEN) | 34.5 | 27.6 |
| 661 | PG&E QF - 02C071 |  | ISO ID: 72700 - UNIVERSITY OF CALIFORNA-SAN FRANCISCO MED CENTER (AGGREGATE) | 12.6 | - |
| 662 | SDGE QF - 470 |  | ISO ID: 72500 - UNIVERSITY OF CALIFORNIA - SAN DIEGO UNIT 1 | 15.3 | 12.6 |
| 663 | SDGE QF - 470 |  | ISO ID: 72600 - UNIVERSITY OF CALIFORNIA - SAN DIEGO UNIT 2 | 15.3 | 12.7 |
| 664 | PG&E QF - 08C011 |  | ISO ID: 72800 - USCS Physical Plant | 3.8 | - |
| 665 | SDGE QF - 176 |  | ISO ID: 72900 - VA HOSPITAL | 0.9 | - |
| 666 | PG&E QF - Valero Refining Company |  | ISO ID: 73100 - Valero Refining Company Unit 1 | 44.7 | - |
| 667 | SCE QF - VALLEY AREA LUMPED UNITS |  | ISO ID: 73200 - VALLEY AREA LUMPED UNITS | 16.6 | 5.3 |
| 668 | SCE QF - VESTAL AREA LUMPED UNITS |  | ISO ID: 73300 - VESTAL AREA LUMPED UNITS | 18.6 | 1.8 |
| 669 | SCE QF - VICTOR AREA LUMPED UNITS |  | ISO ID: 73400 - VICTOR AREA LUMPED UNITS | 19.9 | 0.3 |
| 670 | SCE QF - 5069 |  | ISO ID: 73500 - VICTOR RODRIGUEZ | 0.0 | - |
| 671 | SCE QF - VINCENT AREA LUMPED UNITS |  | ISO ID: 73600 - VINCENT AREA LUMPED UNITS | 324.3 | 61.6 |
| 672 | SCE QF - VINTAGE PETROLEUM, INC. |  | ISO ID: 73700 - VINTAGE PETROLEUM, INC. | 3.3 | - |
| 673 | SCE QF - VISTA AREA LUMPED UNITS |  | ISO ID: 73800 - VISTA AREA LUMPED UNITS | 0.6 | - |
| 674 | PG&E QF - 12P018 |  | ISO ID: 73900 - WADHAM ENERGY LTD. PART. | 32.0 | 0.6 |
| 675 | SCE QF - WALNUT AREA LUMPED UNITS |  | ISO ID: 74000 - WALNUT AREA LUMPED UNITS | 19.5 | 9.5 |
| 676 | SCE QF - 4032 |  | ISO ID: 74100 - WALNUT VALLEY WATER DISTRICT (#2) | 0.0 | - |
| 677 | PG&E QF - Sonoma County Water Agency |  | ISO ID: 74200 - Warm Springs | 3.8 | - |
| 678 | SDGE QF - 427 |  | ISO ID: 74300 - WASH HOUSE, THE | 0.0 | - |
| 679 | SCE QF - 2053 |  | ISO ID: 74400 - WATSON COGENERATION COMPANY | 423.0 | 296.7 |
| 680 | SDGE QF - 444 |  | ISO ID: 74500 - WAVE, THE | 0.1 | - |
| 681 | SCE QF - 2455 |  | ISO ID: 74600 - WEST END TENNIS CLUB | 0.0 | - |
| 682 | SCE QF - 6096 |  | ISO ID: 74700 - WESTWIND TRUST | 24.8 | - |
| 683 | PG&E QF - 13P162 |  | ISO ID: 74800 - WHEELABRATOR HUDSON | 8.6 | 6.2 |
| 684 | PG&E QF - 13C082 |  | ISO ID: 74900 - WHEELABRATOR LASSEN INC. | 53.1 | 0.1 |
| 685 | PG&E QF - Sierra Pacific Industries |  | ISO ID: 33300 - Wheelabrator Martel Inc. | 13.0 | - |
| 686 | PG&E QF - 13P045 |  | ISO ID: 75000 - WHEELABRATOR SHASTA | 63.0 | 41.7 |
| 687 | PG&E QF - 10G011 |  | ISO ID: 75200 - WINEAGLE DEVELOPERS 1 | 1.3 | - |
| 688 | PG&E QF - 06P022 |  | ISO ID: 75300 - WOODLAND BIOMASS | 28.8 | 21.9 |
| 689 | SDGE QF - 426 |  | ISO ID: 75400 - YMCA MISSION VALLEY | 0.0 | - |
| 690 | PG&E QF - 04H002 |  | ISO ID: 75500 - YOLO COUNTY FLOOD & WCD | 3.8 | - |
| 691 | PG&E QF - 04C008 |  | ISO ID: 75600 - YOUNTVILLE COGEN ASSOCIATES | 3.5 | - |
| 692 | PG&E QF - 12C026 |  | ISO ID: 75700 - YUBA CITY COGEN (SUNSWEET) | 57.2 | 46.3 |
| 693 | PG&E QF - ZANKER ROAD |  | ISO ID: 75800 - ZANKER ROAD | 2.0 | - |
| 694 | PG&E QF - ZANKER ROAD |  | ISO ID: 75900 - ZANKER ROAD | 2.0 | - |
| 695 | PG&E QF - 01W017 |  | ISO ID: 76000 - ZOND WINDSYSTEMS INC. | 24.1 | 2.3 |
| 696 | City of Colton |  | ISO ID: 83400 - AGUA MANSA GENERATING FACILITY | 48.7 | - |
| 697 | SDGE QF - San Diego State University |  | ISO ID: 83500 - SAN DIEGO STATE UNIVERSITY GT #1 | 5.3 | 0.0 |
| 698 | SDGE QF - San Diego State University |  | ISO ID: 83600 - SAN DIEGO STATE UNIVERSITY GT #2 | 5.3 | 0.0 |
| 699 | SDGE QF - San Diego State University |  | ISO ID: 83700 - SAN DIEGO STATE UNIVERSITY SGT | 4.0 | (0.0) |
| 700 | TID |  | ISO ID: 76100 - Almond Steam Injected GT | 45.0 | - |
| 701 | SMUD |  | ISO ID: 76200 - Camp Far West | 7.0 | 4.7 |
| 702 | USBR |  | ISO ID: 76300 - Carr | 85.6 | 84.4 |
| 703 | USBR |  | ISO ID: 76400 - Carr | 85.6 | (4.7) |
| 704 | TID |  | ISO ID: 76500 - DAWSON LAKE | 4.5 | (0.0) |
| 705 | TID |  | ISO ID: 76600 - Don Pedro Unit 1 | 55.0 | 33.1 |
| 706 | TID |  | ISO ID: 76700 - Don Pedro Unit 2 | 55.0 | 33.2 |
| 707 | MID |  | ISO ID: 76800 - Don Pedro Unit 3 | 55.0 | 49.2 |
| 708 | TID |  | ISO ID: 76900 - Don Pedro Unit 4 | 34.0 | 23.4 |
| 709 | USBR |  | ISO ID: 77000 - Folsom Unit 1 | 71.7 | (0.1) |
| 710 | USBR |  | ISO ID: 77100 - Folsom Unit 2 | 71.7 | 58.7 |
| 711 | USBR |  | ISO ID: 77200 - Folsom Unit 3 | 71.7 | 58.7 |
| 712 | NCPA |  | ISO ID: 77300 - Graegle Hydro | 0.4 | - |
| 713 | SVP (Santa Clara) |  | ISO ID: 77500 - Highline Hydro | 0.5 | - |
| 714 | CCSF |  | ISO ID: 77600 - Holm Unit 1 | 85.0 | - |
| 715 | CCSF |  | ISO ID: 77700 - Holm Unit 2 | 85.0 | - |
| 716 | USBR |  | ISO ID: 77800 - Keswick Unit 1 | 39.0 | 26.1 |
| 717 | USBR |  | ISO ID: 77900 - Keswick Unit 2 | 39.0 | 24.7 |
| 718 | USBR |  | ISO ID: 78000 - Keswick Unit 3 | 39.0 | 26.8 |
| 719 | CCSF |  | ISO ID: 78100 - Kirkwood Unit 1 | 43.1 | 31.4 |
| 720 | CCSF |  | ISO ID: 78200 - Kirkwood Unit 2 | 43.1 | - |
| 721 | CCSF |  | ISO ID: 78300 - Kirkwood Unit 3 | 43.1 | 39.5 |
| 722 | TID |  | ISO ID: 78400 - LAGRANGE PH (AGGREGATE) | 4.6 | 1.2 |
| 723 | USBR |  | ISO ID: 78500 - Lewiston | 0.5 | 0.4 |
| 724 | MID |  | ISO ID: 78600 - McClure GT 1 | 56.0 | 0.1 |
| 725 | MID |  | ISO ID: 78700 - McClure GT 2 | 56.0 | 35.8 |
| 726 | USBR |  | ISO ID: 78800 - MELONES PH (AGGREGATE) | 383.0 | 124.6 |
| 727 | CCSF |  | ISO ID: 78900 - MOCCASIN LOW HEAD | 3.2 | - |
| 728 | CCSF |  | ISO ID: 79000 - Moccasin Unit 1 | 57.5 | 39.7 |
| 729 | CCSF |  | ISO ID: 79100 - Moccasin Unit 2 | 57.5 | 29.8 |
| 730 | USBR |  | ISO ID: 79200 - Nimbus Unit 1 | 8.6 | 5.1 |
| 731 | USBR |  | ISO ID: 79300 - Nimbus Unit 2 | 8.6 | 5.2 |
| 732 | USBR |  | ISO ID: 79400 - O'NEILL P-G PLANT (AGGREGATE) | 14.0 | 1.1 |
| 733 | City of Redding |  | ISO ID: 79500 - Redding GT 1 | 18.0 | - |
| 734 | City of Redding |  | ISO ID: 79600 - Redding GT 2 | 24.0 | - |
| 735 | City of Redding |  | ISO ID: 79700 - Redding GT 3 | 24.0 | - |
| 736 | City of Redding |  | ISO ID: 79800 - Redding Steam Unit 4 | 28.0 | - |
| 737 | USBR |  | ISO ID: 79900 - Shasta Unit 1 | 125.0 | 120.3 |
| 738 | USBR |  | ISO ID: 80000 - Shasta Unit 2 | 125.0 | 0.0 |
| 739 | USBR |  | ISO ID: 80100 - Shasta Unit 3 | 142.0 | 123.2 |
| 740 | USBR |  | ISO ID: 80200 - Shasta Unit 4 | 142.0 | 91.2 |
| 741 | USBR |  | ISO ID: 80300 - Shasta Unit 5 | 142.0 | 91.8 |
| 742 | SMUD |  | ISO ID: 82900 - SLAB CREEK HYDRO | 0.4 | (0.0) |
| 743 | SMUD |  | ISO ID: 80400 - SOLANO WIND | 6.8 | 6.5 |
| 744 | USBR |  | ISO ID: 80500 - Spring Creek Unit 1 | 100.0 | 86.3 |
| 745 | USBR |  | ISO ID: 80600 - Spring Creek Unit 2 | 100.0 | 83.3 |
| 746 | Riverside Public Utilities |  | ISO ID: 80700 - Springs Generation Plant (Aggregate) | 44.0 | - |
| 747 | MID |  | ISO ID: 80800 - Stone Drop | 0.2 | 0.2 |
| 748 | USBR |  | ISO ID: 80900 - Trinity Unit 1 | 70.0 | 57.9 |
| 749 | USBR |  | ISO ID: 81000 - Trinity Unit 2 | 70.0 | 56.8 |
| 750 | MWD |  | ISO ID: 81200 - VENICE SMALL CONDUIT | 10.0 | - |
| 751 | TID |  | ISO ID: 81300 - Walnut GT Unit 1 | 24.0 | - |
| 752 | TID |  | ISO ID: 81400 - Walnut GT Unit 2 | 24.0 | - |
| 753 | CITY OF REDDING |  | ISO ID: 81500 - WHISKEYTOWN DAM | 0.8 | - |
| 754 | MID |  | ISO ID: 83800 - WOODLAND COMBINED CYCLE PLANT | 84.0 | 49.0 |
| 755 | MID |  | ISO ID: 81600 - WOODLAND PEAKER | 49.4 | (0.1) |
| 756 | Dial Up Plants |  |  |  |  |
| 757 | SCE QF - 2480 |  | ISO ID: 39800 - CHEVRON EL SEGUNDO III | 48.2 |  |
| 758 | SCE QF - 1028 |  | ISO ID: 40900 - CITY OF LONG BEACH | 38.9 |  |
| 759 | SCE QF - 2180 |  | ISO ID: 43500 - COUNTY OF LOS ANGELES (PITCHESS HONOR RANCH) | 31.9 |  |
| 760 | SCE QF - 1109 |  | ISO ID: 57600 - MM HIGHGROVE ENERGY LLC | 1.0 |  |
| 761 | SCE QF - 4005 |  | ISO ID: 58800 - MWD RECOVERY PHASE II-IV, 1 OF 9 (VENICE) | 11.2 |  |
| 762 | SCE QF - 2014 |  | ISO ID: 58900 - N.P. COGENERATION, INC. | 24.7 |  |
| 763 | SCE QF - 2025 |  | ISO ID: 59800 - NORTH AMERICAN CHEMICAL CO. (ARGUS) | 71.3 |  |
| 764 | SCE QF - 2007 |  | ISO ID: 59900 - NORTH AMERICAN CHEMICAL CO. (WESTEND) | 17.1 |  |
| 765 | SCE QF - 2043 |  | ISO ID: 60900 - O.L.S. ENERGY COMPANY- CHINO-MEN'S INST. | 34.5 |  |
| 766 | SCE QF - 2077 |  | ISO ID: 65200 - RIO BRAVO JASMIN | 45.6 |  |
| 767 | SCE QF - 2050 |  | ISO ID: 65600 - RIPON COGENERATION, INC. | 47.7 |  |
| 768 | SCE QF - 5005 |  | ISO ID: 70301 - SUNRAY ENERGY, INC. - SEGS 1 | 14.2 |  |
| 769 | SCE QF - 5005 |  | ISO ID: 70302 - SUNRAY ENERGY, INC. - SEGS 2 | 45.5 |  |
| 770 | SCE QF - 2019 |  | ISO ID: 72200 - U.S. BORAX AND CHEMICAL CORP. (#1) | 51.4 |  |
| 771 | SCE QF - 2055 |  | ISO ID: 75100 - WILLIAMETTE INDUSTRIES INC. | 27.8 |  |
| 772 | Total Dial Up Plants |  |  |  | 432.2 |
| 773 | Bishop_1_Units |  |  |  |  |
| 774 | SCE |  | ISO ID: 3100 - BISHOP CREEK PLANTS 2, 5 & 6 (AGGREGATE) | 14.2 |  |
| 775 | SCE |  | ISO ID: 3200 - BISHOP CREEK PLANTS 3 & 4 (AGGREGATE) | 15.9 |  |
| 776 | SCE |  | ISO ID: 26900 - Poole Unit 1 | 10.9 |  |
| 777 | SCE |  | ISO ID: 20300 - LUNDY HYDRO PLANT (AGGREGATE) | 3.0 |  |
| 778 | SCE |  | ISO ID: 28500 - RUSH CREEK PLANT (AGGREGATE) | 11.5 |  |
| 779 | Total Bishop_1_Units |  |  |  | 42.5 |
| 780 | Mamoth 2_Ehydro |  |  |  |  |
| 781 | SCE |  | ISO ID: 3500 - BOREL HYDRO PLANT (AGGREGATE) | 11.0 |  |
| 782 | SCE |  | ISO ID: 11300 - FONTANA/LYTLE CREEK HYDRO (AGGREGATE) | 2.6 |  |
| 783 | SCE |  | ISO ID: 17700 - KAWEAH HYDRO PROJECT (AGGREGATE) | 6.6 |  |
| 784 | SCE |  | ISO ID: 17800 - Kaweah PH 1 Unit 1 | 2.3 |  |
| 785 | SCE |  | ISO ID: 18800 - KERN RIVER PH 1 (AGGREGATE) | 25.6 |  |
| 786 | SCE |  | ISO ID: 18900 - KERN RIVER PH 3 (AGGREGATE) | 36.8 |  |
| 787 | SCE |  | ISO ID: 21500 - MILL CREEK HYDRO PROJECT (AGGREGATE) | 3.9 |  |
| 788 | SCE |  | ISO ID: 24000 - ONTARIO/SIERRA HYDRO PROJECT (AGGREGATE) | 2.0 |  |
| 789 | SCE |  | ISO ID: 29100 - SANTA ANNA RIVER PROJECT (AGGREGATE) | 7.0 |  |
| 790 | SCE |  | ISO ID: 32600 - TULE PH (SCE) | 2.3 |  |
| 791 | Total Mamoth 2_Ehydro |  |  |  | 36.9 |
| 792 |  |  |  |  |  |
| 793 | SVP (Santa Clara) |  | ISO ID: 3300 - BLACK BUTTE DAM | 6.2 | No EMS |
| 794 | GWF Energy, LLC |  | ISO ID: 15700 - Henrietta Peaker Plant Unit 2 | 50.0 | No EMS |
| 795 | SCE QF - 3011 |  | ISO ID: 37600 - CAITHNESS DIXIE VALLEY, LLC | 65.0 | No EMS |
| 796 | PG&E QF - 04G012 |  | ISO ID: 38100 - CALPINE GEYSERS CO. (Bear Canyon) (KW #1) | 11.5 | No EMS |
| 797 | PG&E QF - 04G016 |  | ISO ID: 38200 - CALPINE GEYSERS CO. (Bear Canyon) (KW #2) | 11.5 | No EMS |
| 798 | PG&E QF - 08C003 |  | ISO ID: 38600 - CARDINAL COGEN | 57.3 | No EMS |
| 799 | SCE QF - 2087 |  | ISO ID: 38700 - CARSON COGENERATION COMPANY | 56.1 | No EMS |
| 800 | PG&E QF - 19H048 |  | ISO ID: 38800 - CEDAR FLAT HYDRO (Aggregate) | 1.3 | No EMS |
| 801 | SCE QF - COGENERATION |  | ISO ID: 38900 - CENTER AREA LUMPED UNITS | 34.3 | No EMS |
| 802 | SCE QF - 2205 |  | ISO ID: 45100 - E. F. OXNARD, INCORPORATED | 48.5 | No EMS |
| 803 | PG&E QF - GREEN RIDGE POWER LLC-FRICK (Aggregate) |  | ISO ID: 48500 - GREEN RIDGE POWER LLC-FRICK (Aggregate) | 15.0 | No EMS |
| 804 | PG&E QF - 19H049 |  | ISO ID: 50800 - HUMBOLDT AREA LUMPED QF UNITS | 1.3 | No EMS |
| 805 | PG&E QF - IGNACIO AREA LUMPED QF UNITS |  | ISO ID: 51700 - IGNACIO AREA LUMPED QF UNITS | 2.5 | No EMS |
| 806 | SCE QF - JOHANNA AREA LUMPED QF UNITS |  | ISO ID: 52500 - JOHANNA AREA LUMPED QF UNITS | 0.3 | No EMS |
| 807 | SCE QF - LAFRESA AREA LUMPED UNITS |  | ISO ID: 53300 - LAFRESA AREA LUMPED UNITS | 14.6 | No EMS |
| 808 | SCE QF - LAGUNA BELLE AREA LUMPED UNITS |  | ISO ID: 53400 - LAGUNA BELLE AREA LUMPED UNITS | 50.0 | No EMS |
| 809 | PG&E QF - MCCALL AREA LUMPED QF UNITS |  | ISO ID: 55300 - MCCALL AREA LUMPED QF UNITS | 2.5 | No EMS |
| 810 | PG&E QF - MESA AREA LUMPED QF UNITS |  | ISO ID: 56300 - MESA AREA LUMPED QF UNITS | 2.5 | No EMS |
| 811 | SCE QF - MESA SOUTH AREA LUMPED UNITS |  | ISO ID: 56500 - MESA SOUTH AREA LUMPED UNITS | 3.0 | No EMS |
| 812 | PG&E QF - METCALF AREA LUMPED QF UNITS |  | ISO ID: 56600 - METCALF AREA LUMPED QF UNITS | 1.3 | No EMS |
| 813 | PG&E QF - MILBRAE AREA LUMPED QF UNITS |  | ISO ID: 57000 - MILBRAE AREA LUMPED QF UNITS | 1.3 | No EMS |
| 814 | PG&E QF - MISSIX AREA (SAB FRABCUSCI) LUMPED QF UNITS |  | ISO ID: 57500 - MISSIX AREA (SAB FRABCUSCI) LUMPED QF UNITS | 2.3 | No EMS |
| 815 | PG&E QF - MONTA VISTA AREA LUMPED QF UNITS |  | ISO ID: 58000 - MONTA VISTA AREA LUMPED QF UNITS | 3.1 | No EMS |
| 816 | SCE QF - Metropolitan Water Districe |  | ISO ID: 58700 - MWD PHASE I HYDRO RECOVERY PLANTS (Aggregate) | 29.7 | No EMS |
| 817 | PG&E QF - Calaveras City Water District (16H008) |  | ISO ID: 59600 - NEW HOGAN PH (AGGREGATE) | 4.0 | No EMS |
| 818 | PG&E QF - NEWARK AREA LUMPED QF UNITS |  | ISO ID: 59700 - NEWARK AREA LUMPED QF UNITS | 1.3 | No EMS |
| 819 | SCE QF - PADUA AREA LUMPED UNITS |  | ISO ID: 62200 - PADUA AREA LUMPED UNITS | 39.2 | No EMS |
| 820 | SCE QF - SPRINGVILLE AREA LUMPED UNITS |  | ISO ID: 69600 - SPRINGVILLE AREA LUMPED UNITS | 2.6 | No EMS |
| 821 | PG&E QF - VACAVILLE-DIXON AREA LUMPED QF UNITS |  | ISO ID: 73000 - VACAVILLE-DIXON AREA LUMPED QF UNITS | 3.6 | No EMS |
| 822 | TID |  | ISO ID: 77400 - HICKMAN PH (AGGREGATE) | 1.0 | No EMS |
| 823 | TID |  | ISO ID: 81100 - TURLOCK LAKE PH (AGGREGATE) | 3.3 | No EMS |
| 824 |  |  |  |  |  |
| 825 | Dynamic Purchases |  | Dynamic Scheduled Generation - SCE's share of Four Corners | 753.0 | 701.9 |
| 826 | Dynamic Purchases |  | Dynamic Scheduled Generation - LDWP, NEEV. Power, SRP share of Mohave. Note: Total capacity of Mohave is included in line #'s 207 and 208. | (695) | (435) |
| 827 | Dynamic Purchases |  | Dynamic Scheduled Generation of Hoover | 555 | 501 |
| 828 | Dynamic Purchases |  | Dynamic Scheduled Generation of Palo Verde | 579 | 587 |
| 829 | Dynamic Purchases |  | Dynamic Scheduled Generation of Yuma QF | 49 | 2 |
|  |  |  | TOTAL | 55,598 | 36,574 |
|  |  |  | Adjust for difference in generation observed individually and as a totaled tag is explained by the difference in the instantaneous time of measurement |  | 337 |
|  |  |  |  |  | 36,911 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  |  |  | Please Type: Utility Code Utility Name |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand |  |  |  |  |  |  |  |  |  |  |  |
| The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note. |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL) |  |  |  |  |  |  |  |  |  |
|  |  | Net Capability from Plants Reported on Schedule II |  |  |  |  |  | External to the Control Area Net Unit or Firm Capability (MW) |  |  |  |
|  |  |  | Unavailable Capability Due to: |  |  |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Available Capability (MW) (c) | Planned Outage and Derating (MW) (d) |  | Unplanned Outage and Derating (MW) (e) | Other Outage and Derating* (MW) (f) | Total (c + d + e + f) (MW) (g) | Available (MW) (h) |  | Not Available (MW) (i) | Total Capability (g + h + i) (MW) (j) |
| 1. | Jan | 53,494 | (5,541) |  | (1,640) | (11,085) | 35,229 |  |  |  | 35,229 |
| 2. | Feb | 53,722 | (7,989) |  | (1,719) | (10,640) | 33,374 |  |  |  | 33,374 |
| 3. | Mar | 54,435 | (7,796) |  | (2,275) | (11,432) | 32,932 |  |  |  | 32,932 |
| 4. | Apr | 55,598 | (6,166) |  | (2,330) | (12,948) | 34,155 |  |  |  | 34,155 |
| 5. | May | 55,857 | (3,110) |  | (3,501) | (8,320) | 40,926 |  |  |  | 40,926 |
| 6. | Jun | 55,661 | (2,004) |  | (1,528) | (8,342) | 43,787 |  |  |  | 43,787 |
| 7. | Jul | 55,598 | (634) |  | (2,450) | (8,139) | 44,375 |  |  |  | 44,375 |
| 8. | Aug | 58,114 | (768) |  | (2,153) | (8,820) | 46,373 |  |  |  | 46,373 |
| 9. | Sep | 57,774 | (882) |  | (2,212) | (8,480) | 46,200 |  |  |  | 46,200 |
| 10. | Oct | 57,489 | (3,535) |  | (1,563) | (10,731) | 41,660 |  |  |  | 41,660 |
| 11. | Nov | 57,489 | (6,738) |  | (1,517) | (10,515) | 38,719 |  |  |  | 38,719 |
| 12. | Dec | 56,424 | (7,713) |  | (2,367) | (10,982) | 35,362 |  |  |  | 35,362 |
| * Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc. |  |  |  |  |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  |  |  |  | Please Type: Utility Code Utility Name |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |  |  |  |  |  |  |  |  |  |  |
| Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL) |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Control Area Net Generation (MWh) (c) | Net Actual Interchange (MWh) (d) |  | Net Energy for Load (MWh) (c + d) (e) | Output of Generating Plants (MW) (f) | Unit or Firm Purchases (MW) (g) | Unit or Firm Sales (MW) (h) | Net Non-Firm & Inadvertent (MW) (i) |  | Monthly Peak Demand (MW) (f+g-h+i) (j) | Monthly Minimum Demand (MW) (k) |
| 1. | January | 13,348,801 | 4,175,354 |  | 17,524,155 | 23,217 | 8,604 | 1,272 |  |  | 30,549 | 18,132 |
| 2. | February | 12,012,222 | 3,744,065 |  | 15,756,287 | 22,137 | 8,618 | 883 |  |  | 29,872 | 17,329 |
| 3. | March | 13,410,892 | 4,561,618 |  | 17,972,510 | 24,748 | 6,814 | 368 |  |  | 31,194 | 17,596 |
| 4. | April | 12,424,959 | 4,890,237 |  | 17,315,196 | 25,135 | 7,394 | 946 |  |  | 31,583 | 17,961 |
| 5. | May | 14,232,545 | 4,245,011 |  | 18,477,556 | 31,659 | 10,229 | 2,311 |  |  | 39,577 | 18,371 |
| 6. | June | 15,473,543 | 3,857,464 |  | 19,331,007 | 34,203 | 8,080 | 2,096 |  |  | 40,187 | 19,398 |
| 7. | July | 19,171,866 | 3,709,798 |  | 22,881,664 | 36,911 | 9,724 | 3,946 |  |  | 42,689 | 19,898 |
| 8. | August | 18,273,584 | 4,336,747 |  | 22,610,331 | 33,619 | 11,411 | 2,470 |  |  | 42,560 | 21,288 |
| 9. | September | 16,805,468 | 3,982,596 |  | 20,788,064 | 34,374 | 9,536 | 2,443 |  |  | 41,467 | 20,453 |
| 10. | October | 15,814,663 | 3,697,844 |  | 19,512,507 | 29,479 | 8,673 | 1,630 |  |  | 36,522 | 18,892 |
| 11. | November | 13,633,513 | 3,999,801 |  | 17,633,314 | 24,156 | 8,999 | 1,496 |  |  | 31,659 | 18,473 |
| 12. | December | 14,317,626 | 4,670,889 |  | 18,988,515 | 26,085 | 9,632 | 2,577 |  |  | 33,140 | 18,148 |
| 13. | Total | 178,919,682 | 49,871,424 |  | 228,791,106 |  |  |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code Utility Name |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) |  | Line or Bus Voltage (kV) (d) |
| 1. | Arizona Public Service (APS) |  | Moenkopi – El Dorado |  | 500 |
| 2. | Arizona Public Service (APS) |  | North Gila – Imperial Valley |  | 500 |
| 3. | Bonneville Power Administration (BPA) |  | Captain Jack – Olinda |  | 500 |
| 4. | Bonneville Power Administration (BPA) |  | Malin – Round Mountain #1 & #2 |  | 500 |
| 5. | Comision Federal Electricidad (CFE) |  | Tijuana – Miguel |  | 230 |
| 6. | Comision Federal Electricidad (CFE) |  | Rosita – Imperial Valley |  | 230 |
| 7. | Imperial Irrigation District (IID) |  | Coachella Valley – Devers |  | 230 |
| 8. | Imperial Irrigation District (IID) |  | El Centrol – Imperial Valley |  | 230 |
| 9. | Imperial Irrigation District (IID) |  | Coachella Valley – Mirage |  | 230 |
| 10. | Los Angeles Department of Water & Power (LDWP) |  | McCullough – El Dorado |  | 500 |
| 11. | Los Angeles Department of Water & Power (LDWP) |  | Laguna Bell – Velasco |  | 230 |
| 12. | Los Angeles Department of Water & Power (LDWP) |  | Control – Haiwee – Inyokern Interconnection |  | 115/34.5 |
| 13. | Los Angeles Department of Water & Power (LDWP) |  | INYO Tie |  | 115/230 |
| 14. | Los Angeles Department of Water & Power (LDWP) |  | Sylmar Interconnection |  | 220/230 |
| 15 | Los Angeles Department of Water & Power (LDWP) |  | Victorville – Lugo |  | 500 |
| 16 | Nevada Power Company (NEVP) |  | Laughlin – Mohave |  | 500/69 |
| 17 | Nevada Power Company (NEVP) |  | Eldorado – Merchant |  | 230 |
| 18 | Pacific Corp West (PACW) |  | Crag – Cascade |  | 115 |
| 19 | Pasadena (PASA) |  | Goodrich |  | 230 |
| 20 | Sierra Pacific Power Co (SPP) |  | Spaulding – Summit |  | 60 |
| 21 | Sierra Pacific Power Co (SPP) |  | Silver Peak – Control – A&B Lines |  | 55 |
| 22 | Sierra Pacific Power Co (SPP) |  | Drum – Summit – Lines 1 & 2 |  | 115 |
| 23 | Salt River Project (SRP) |  | Palo Verde – Devers |  | 500 |
| 24 | Salt River Project (SRP) |  | Hassyampa – North Gila |  | 500 |
| 25 | Sacramento Municipal Water District (SMUD) |  | Elverta |  | 230 |
| 26 | Sacramento Municipal Water District (SMUD) |  | Hurley |  | 230 |
| 27 | Sacramento Municipal Water District (SMUD) |  | Lake-Goldhill |  | 230 |
| 28 | Sacramento Municipal Water District (SMUD) |  | Rancho Belota |  | 230 |
| 29 | Western Area Power Authority – Desert Southwest (WALC) |  | Blythe Tie |  | 161/33 |
| 30 | Western Area Power Authority – Desert Southwest (WALC) |  | Eldorado – Mead 1 & 2 |  | 230 |
| 31 | Western Area Power Authority – Desert Southwest (WALC) |  | Mead – Camino E & W |  | 230 |
| 32 | Western Area Power Authority – Desert Southwest (WALC) |  | Parker Gene |  | 230 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  |  | Please Type: Utility Code Utility Name |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |  |  |  |  |  |
| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |  |  |
| Line No. | Name of Control Area |  | Scheduled Interchange Between Control Areas (MWh) |  |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |
| (a) | (b) |  | Received (c) | Delivered (d) |  | Received (e) | Delivered (f) |
| 1. | APS |  | 6,147,708 | 0 |  | 8,329,746 | 0 |
| 2. | BPA |  | 16,284,230 | 0 |  | 16,485,925 | 0 |
| 3. | CFE |  | 950,880 | 0 |  | 950,769 | 0 |
| 4. | IID |  | 2,707,729 | 0 |  | 1,708,619 | 0 |
| 5. | LDWP |  | 6,036,447 |  |  | 9,506,273 | 0 |
| 6. | NEVP |  | 2,279,638 | 732 |  | 1,342,733 | 0 |
| 7. | PACW |  | 55,639 | 6,283 |  | 57,241 | 5,464 |
| 8. | SMUD |  | 0 | 6,479,775 |  | 0 | 6,479,467 |
| 9. | SPP |  | 48,489 | 114,678 |  | 7,248 | 102,375 |
| 10 | SRP |  | 17,829,475 | 0 |  | 16,528,538 | 0 |
| 11 | WALC |  | 4,152,933 | 0 |  | 1,542,406 | 0 |
| 10. | TOTAL |  | 56,493,168 | 6,601,468 |  | 56,459,498 | 6,587,306 |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Control Area and Electric System Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code Utility Name |
| --- | --- | --- | --- |
| Part II - Schedule 6. Control Area System Lambda Data |  |  |  |
| Submit on a 3.5 inch diskette or CD formatted for the DOS operating system the following data file in ASCII format: the control area's system lambda for each hour of the year starting with 1 a.m., January 1, 2003. Identify clearly the time zone in which this time series is made. The file should have 8760 records (8784 for leap years). Each record is to contain the system lambda value at the clock hour in dollars per megawatthour (mills per kilowatthour) or an "NA" for those hours when system lambda was not calculated. Control Area Hourly System Lambda. For control areas where demand following is primarily performed by thermal generating units, the system lambda is derived from the economic dispatch function associated with automatic generation control performed at the controlling utility or pool control center. Excluding transmission losses, the fuel cost ($/hr) for a set of on-line and loaded thermal generating units (steam and gas turbines) is minimum when each unit is loaded and operating at the same incremental fuel cost ($/MWh) with the sum of the unit loadings (MW) equal to the system demand plus the net of interchange with other control areas. This single incremental cost of energy is the system lambda. System lambdas are likely recalculated many times in one clock hour. However, the indicated system lambda occurring on each clock hour would be sufficient for reporting purposes. |  | Provide, as a note in Part IV, an explanation describing the reason for the unavailability of system lambda information and a definite plan for reporting the information with a target date. The Commission expects that all Energy Management Systems, with proper instructions, can record the system lambda being used for economic dispatch of the control area's thermal units. Respondents should be able to report system lambda, along with the other information reported on a control area basis, that describe the operation of such areas from information that should be readily available. The Commission is not requesting Respondents to develop incremental or marginal cost (either short or long term) according to any formula. Nor is the Commission requesting "avoided cost rates" that, pursuant to PURPA 210, electric utilities file with state commissions or otherwise make available for prospective qualified facilities. Description of Economic Dispatch. Also, provide in writing a detailed description of how Respondent calculates system lambda. For those systems that do not use an economic dispatch algorithm and do not have a system lambda, provide in writing a detailed description of how control area resources are efficiently dispatched. |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code Utility Name |  |  |
| --- | --- | --- | --- | --- | --- |
| Part III - Schedule 1. Electric Utilities That Compose the Planning Area (Use continuation sheets if needed) |  |  |  |  |  |
| Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Instructions on pages 23 and 24 . |  |  |  |  |  |
|  |  |  |  | Electric Utility Coincident Peak Demand (MW) |  |
| Line No. (a) | Electric Utility Name (b) |  |  | Summer (c) | Winter (d) |
| 1. | Pacific Gas & Electric Company (part of CAISO) |  |  | 21,103 | 15,538 |
| 2. | Southern California Edison (part of CAISO) |  |  | 20,769 | 14,838 |
| 3. | San Diego Gas & Electric (part of CAISO) |  |  | 3,951 | 3,210 |
| 4. | California Independent System Operator |  |  | 42,689 | 33,140 |
| 5. |  |  |  |  |  |
| 6. |  |  |  |  |  |
| 7. |  |  |  |  |  |
| 8. |  |  |  |  |  |
| 9. |  |  |  |  |  |
| 10. |  |  |  |  |  |
| 11. |  |  |  |  |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 |  | Please Type: Utility Code Utility Name |
| --- | --- | --- | --- |
| Part III - Schedule 2. Planning Area Hourly Demand and Forecast Summer and Winter Peak Demand and Annual Net Energy for Load |  |  |  |
| PLANNING AREA HOURLY DEMAND (1) Respondents must submit hourly demand data in electronic form to the Commission. Additionally, Respondents that participate in a national, regional or subregional process for consolidating and ensuring the consistency and accuracy of actual hourly and forecast demand information, may instead authorize the national, regional or subregional organization to release that information to the Commission, and to the public at the cost of reproduction, in an easily accessible electronic format, such as the EEI format. (2) If the Respondent does not participate in the development of national, regional or subregional actual and forecast demand information, it must submit its own, equivalent, demand information directly to the Commission along with this report, as follows. |  | Respondents must submit on a 3.5 inch diskette or CD formatted for the DOS operating system the following data file in ASCII format: the planning area's actual hourly demand, in megawatts, for each hour of the year starting with 1 a.m, January 1, 2003. Indicate the time zone and the period for which daylight savings time was used. The file should have 8760 records (8784 for leap years). For hours when this information is not available, enter "NA." PLANNING AREA FORECAST SUMMER AND WINTER PEAK DEMAND Provide on the diskette a file containing the planning area's forecast summer and winter peak demand, in megawatts, and annual net energy for load, in megawatthours, for the next ten years. |  |

| Federal Energy Regulatory Commission FERC Form No. 714 (2004) |  |  |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2003 | Please Type: Utility Code Utility Name |
| --- | --- | --- | --- | --- | --- |
| Part IV. Notes |  |  |  |  |  |
| Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below. For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed. |  |  |  |  |  |
| Page No. (a) | Line No. (b) | Column Letter (c) | Notes (d) |  |  |
| 31 | 756-772 | E | Generating Units listed in rows 757-771 of Schedule 1 are aggregated and measured in real time using one aggregated “Dial-up” meter. |  |  |
| 31-32 | 773-779 | E | Generating Units listed in rows 773-779 of Schedule 1 are aggregated and measured in real time using one aggregated “Bishup_1_Units” meter. |  |  |
| 32 | 780-791 | E | Generating Units listed in rows 781-790 of Schedule 1 are aggregated and measured in real time using one aggregated “Mamoth 2_Ehydro” meter. |  |  |
| 32-33 | 793-823 | E | Generating units listed in rows 793-823 of Schedule 1 experienced EMS data record errors at the time of peak. |  |  |
| 35 | 1-12 | F | Other outages and derates are attributed to (1) the difference of the Available Capacity (column C) and the delivered capacity at the time of peak for Qualifying Facilities that have not signed an Participating Generator Agreement, Hydro, and intermittent (wind, solar) resources. In addition, transmission limited capacity and environmentally constrained capacity is included in column f. |  |  |
| 35 | 1-12 | H&f | The CAISO does not own or have control of capacity outside of the ISO Control Area. The net interchanged, resulting from scheduled interchanges by the Scheduling Coordinators, at the time of peak is found in Part II, Schedule 3. |  |  |
| 41 | 1-11 | b | Interchange Schedules to meet load or to export generation are created only by Scheduling Coordinators (SC). In its Interchange Scheduling system the CAISO requires the SC to idenify the Branch Group being used at interchange points, but not the generating/load control area. From the Branch Group information the CAISO can determine the adjacent control area. In this report the CAISO is reporting only Interchange Schedules by adjacent control area, which may not necessarily by the generating/load control area for all the Interchange Schedules. |  |  |
| 41 | 1-11 | c-f | This data is compiled from monthly net information from the confirmed central time NERC inadvertent reports. |  |  |

Some utilities may also include variable operation and maintenance costs that they consider "dispatchable."  Therefore the costs to be minimized could include a variable O&M component as well as the fuel costs.

Because unit heat rates and fuel costs vary, some units may not be able to operate at the same incremental fuel cost as the other units and, thus, those units may be loaded differently.