## TitlePage
2005
FERC 714
ERCOT
7620 Metro Center Drive
Austin, Texas 78744
www.ercot.com

## I-1
Part I – Schedule 1. Identification and Certification
1. Respondent Identification:
Code: 5723 Name: ERCOT
2. Respondent Type:
[x] Part I: Control Area (Complete Parts I, II, and IV)
Control Area Name: ERCOT
[x] Part II: Planning Area (Complete Parts I, III, and IV)
Planning Area Name: ERCOT
3. Respondent Mailing Address:
Mark Walker
ERCOT
7620 Metro Center Drive
Austin, Texas 78744
4. Contact Person:
Name: Mark Walker
Title: Senior Corporate Counsel
Telephone: 512-225-7076
Email: mwalker@ercot.com
5. Certifying Official:
Name: Mark Walker
Title: Senior Corporate Counsel
Signature: __________________________ Date: _______________
I-1

## II-1
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
Line Number | Company Name | Plant Name | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW)
(a) | (b) | (c) | (d) | (e)
1 | Seadrift | 76 Seadrift Coke | 2 | 0
2 | City Public Service of San Antonio | A Von Rosenberg | 481 | 446.1955
3 | AEP Texas North Company | Abilene | 0 | 0
4 | AES Deepwater, Inc | AES Deepwater | 160 | 139.6873
5 | AES Wolf Hollow LP | AES Wolf Hollow | 518 | 326.6071
6 | International Bound & Wtr Comm | Amistad Dam & Power | 70 | 0
7 | Bryan Texas Utilities | Atkins | 130 | 0
8 | Lower Colorado River Authority | Austin | 17 | 16.0791
9 | AEP Texas Central Company | Barney M Davis | 680 | 309.523
10 | BASF | BASF | 71 | 0
11 | FPL Energy, Inc | Bastrop Energy Center | 549 | 530.6109
12 | Air Liquide America Corp | Bayou Cogen | 278 | 116.5736
13 | Calpine Corporation | Baytown Energy Center | 515 | 517.5466
14 | TXU Big Brown Co. LP | Big Brown | 1189 | 1194.8794
15 | New World TX Renewable (West Texas Renewables) | Big Spring Windpower Facility | 41 | 0
16 | Bioenergy Partners | Bio-Energy Partners | 6 | 0
17 | Mirant Texas Management, Inc | Bosque | 561 | 225.1076
18 | BP Chemicals Green Lake | BP Chemicals Green Lake | 18 | 8.0396
19 | Brazos Valley LP | Brazos Valley | 673 | 589.9026
20 | Lower Colorado River Authority | Buchanan | 51 | 0
21 | Garland City of | C E Newman | 88 | 0
22 | Power Resources | Calenergy | 220 | 208.0236
23 | Guadalupe Blanco River Auth | Canyon | 6 | 5.0247
24 | Dow Chemical Company | Carbide-Seadrift | 1 | 1.0049
25 | Texas Genco | Cedar Bayou | 2258 | 1977.7314
26 | Ticona Polymer | Celanese-Bishop | 0 | 0
27 | Valero | Channel Energy (Valero) | 0 | 0
28 | Channel Energy Center | Channel Energy Center | 518 | 313.5428
29 | Reliant Energy Channelview, LP | Channelview (Equistar) | 721 | 642.1597
30 | Calpine Clear Lake | Clear Lake Cogen | 309 | 254.251
31 | Valero | Coastal States West | 2 | 0
32 | Coleman City of | Coleman | 12 | 0
33 | AEP Texas Central Company | Coleto Creek | 632 | 626.0806
34 | TXU Generation LLP | Collin | 0 | 0
35 | TXU Generation LLP | Comanche Peak | 2277 | 2288.2593
36 | Corpus Christi Cogeneration LLP | Corpus Christi Energy Center | 411 | 413.0323
37 | Bryan Texas Utilities | Dansby | 156 | 84.4154
38 | Austin Energy | Decker Creek | 1010 | 819.03
39 | TXU DeCordova Co. LP | DeCordova | 1104 | 846.1635
40 | Texas Genco | Deepwater | 174 | 127.628
41 | OxyVinyls, LP | Deer Park - Oxyvinyls | 0 | 0
42 | Calpine - Deer Park | Deer Park Energy Center | 989 | 869.2773
43 | Delaware Mountain Wind Farm | Delaware Mountain Wind Farm | 30 | 0
44 | American Electric Power | Desert Sky Wind Farm | 161 | 22.1088
45 | OxyVinyls, LP | Diamond Shamrock Battlegound | 196 | 0
46 | Dow Chemical Company | Dow | 161 | 0
47 | Guadalupe Blanco River Auth | Dunlap TP 1 | 4 | 3.0148
48 | Dupont | Dupont Vistron | 0 | 0
49 | AEP Texas Central Company | E S Joslin | 0 | 0
50 | TXU Generation LLP | Eagle Mountain | 380 | 119.5884
51 | AEP Texas Central Company | Eagle Pass | 6 | 3.0148
52 | Polimeri Europa Americas, Inc | EniChem Americas | 1 | 0
53 | Ennis Tractebel Power | Ennis Power Station | 329 | 314.5477
54 | Equistar | Equistar | 5 | 5.0247
55 | ExTex La Porte Limited Partnership | ExTex La Porte Power Station | 152 | 0
56 | Exxon | Exxon | 0 | 0
57 | International Bound & Wtr Comm | Falcon Dam & Power | 35 | 5.0247
58 | Lower Colorado River Authority | Fayette Power Prj | 1686 | 1574.7485
59 | Formosa Utilities Ventures, LTD | Formosa | 73 | 62.3066
60 | AEP Texas North Company | Fort Phantom | 362 | 89.4401
61 | AEP Texas North Company | Fort Stockton | 0 | 0
62 | FPL Pecos Wind I | FPL Energy Pecos Wind (Woodwar | 160 | 18.089
63 | FPLE Forney, LP | FPLE Forney | 1700 | 1662.1787
64 | Freestone Power Generation LP | Freestone Power Generation | 976 | 941.6333
65 | TPS Tejas LP | Frontera | 465 | 332.6367
66 | Texas Municipal Power Agency | Gibbons Creek | 462 | 454.235
67 | Gonzales City of | Gonzales Hydro Plant | 0 | 0
68 | TXU Generation LLP | Graham | 641 | 576.8383
69 | Lower Colorado River Authority | Granite Shoals | 56 | 0
70 | Brazos Wind, Inc | Green Mountain Energy Wind Farm | 160 | 3.0148
71 | Texas Genco | Greens Bayou | 760 | 233.1472
72 | Gregory Power Partners, LLC | Gregory Power Partners | 362 | 347.7109
73 | Guadalupe Power Partners LP | Guadalupe Power Part | 1020 | 851.1882
74 | Guadalupe Blanco River Auth | H 4 | 5 | 2.0099
75 | Exelon Power | Handley | 1414 | 1013.9893
76 | Hays Energy Limited Partnership | Hays Energy Facility | 0 | 0
77 | Hidalgo Energy Center LP | Hidalgo | 469 | 371.8296
78 | Texas Genco | Hiram Clarke | 78 | 0
79 | Austin Energy | Holly Street | 200 | 148.7318
80 | Ingleside Cogeneration LP | Ingleside | 500 | 16.0791
81 | Lower Colorado River Authority | Inks | 14 | 0
82 | City Public Service of San Antonio | J K Spruce | 595 | 563.774
83 | AEP Texas Central Company | J L Bates | 182 | 167.8258
84 | City Public Service of San Antonio | J T Deely | 830 | 787.8767
85 | Kiamichi Power Partners | Kiamichi Power Partners | 1262 | 1161.7162
86 | Lower Colorado River Authority | Kunitz | 45 | 0
87 | AEP Texas Central Company | La Palma | 249 | 242.1917
88 | TXU Generation LLP | Lake Creek | 324 | 217.0681
89 | TXU Generation LLP | Lake Hubbard | 926 | 697.4317
90 | AEP Texas North Company | Lake Pauline | 0 | 0
91 | Lamar Power Partners | Lamar Power Project | 982 | 914.4998
92 | AEP Texas Central Company | Laredo | 178 | 161.7961
93 | City Public Service of San Antonio | Leon Creek | 255 | 183.9049
94 | Denton Municipal Electric | Lewisville | 3 | 0
95 | Texas Genco | Limestone | 1602 | 1595.8523
96 | AEP Texas Central Company | Lon C Hill | 0 | 0
97 | GenTex Power Corporation | Lost Pines | 506 | 508.5021
98 | Lyondell Cogeneration | Lyondell | 470 | 472.3241
99 | Calpine - Magic Valley | Magic Valley | 751 | 446.1955
100 | Lower Colorado River Authority | Marble Falls | 36 | 0
101 | Lower Colorado River Authority | Marshall Ford | 107 | 60.2967
102 | TXU Generation LLP | Martin Lake | 2250 | 2189.7747
103 | Guadalupe Blanco River Auth | McQueeney | 8 | 6.0297
104 | FPL Energy, Inc | Mesa Wind | 75 | 8.0396
105 | Midlothian Power Generation | Midlothian | 1308 | 836.1141
106 | TXU Generation LLP | Monticello | 1875 | 1843.0688
107 | TXU Generation LLP | Morgan Creek | 1094 | 114.5637
108 | Brazos River Authority | Morris Sheppard | 24 | 24.1187
109 | Exelon Power | Mountain Creek | 897 | 656.229
110 | Union Carbide | North Carbide | 6 | 6.0297
111 | TXU Generation LLP | North Lake | 635 | 584.8779
112 | Brazos Electric Power Coop Inc | North Texas | 76 | 0
113 | AEP Texas Central Company | Nueces Bay | 0 | 0
114 | City Public Service of San Antonio | O W Sommers | 890 | 797.9262
115 | AEP Texas North Company | Oak Creek | 0 | 0
116 | Odessa-Ector Power Partners | Odessa-Ector Power P | 1034 | 980.8261
117 | AEP Texas North Company | Oklaunion | 630 | 608.9965
118 | NWP Indian Mesa Wind Farm, LP | Orion NWP Indian Mesa | 83 | 8.0396
119 | Dow Chemical Company | Oyster Creek | 55 | 0
120 | Texas Genco | P H Robinson | 0 | 0
121 | AEP Texas North Company | Paint Creek | 0 | 0
122 | Calpine Pasadena | Pasadena | 610 | 581.863
123 | Medina Electric Cooperative, Inc. | Pearsall | 50 | 12.0593
124 | TXU Generation LLP | Permian Basin | 948 | 626.0806
125 | Greenville City of | Powerlane Plant | 88 | 20.0989
126 | AEP Texas North Company | Presidio | 0 | 0
127 | Brazos Electric Power Coop Inc | R W Miller | 611 | 144.7121
128 | Garland City of | Ray Olinger | 396 | 247.2164
129 | PG&E National Energy Group | Ray Roberts | 1 | 0
130 | Reliant Renewables Atascocita, LP | Reliant Atascocita | 8 | 8.0396
131 | Reliant Renewables Baytown, LP | Reliant Baytown | 4 | 2.0099
132 | Reliant Renewables Blue Bonnet, LP | Reliant Blue Bonnet | 4 | 2.0099
133 | Reliant Renewables Coastal Plains, LP | Reliant Coastal Plains | 7 | 3.0148
134 | Rhodia, Inc | Rhodia-Houston | 8 | 0
135 | Rio Nogales Power Project | Rio Nogales | 775 | 679.3427
136 | AEP Texas North Company | Rio Pecos | 0 | 0
137 | Robstown City of | Robstown | 17 | 0
138 | Texas Genco | Sam Bertron | 844 | 516.5416
139 | South Texas Electric Cooperative, Inc. | Sam Rayburn | 249 | 156.7714
140 | AEP Texas North Company | San Angelo | 102 | 102.5044
141 | Texas Genco | San Jacinto SES | 162 | 148.7318
142 | San Miguel Electric Coop Inc | San Miguel | 391 | 279.3747
143 | Austin Energy | Sandhill Energy Cent | 189 | 132.6527
144 | TXU Generation LLP | Sandow | 340 | 341.6812
145 | Shell Oil Co. - Deer Park | Shell Deer Park | 0 | 0
146 | Brwnsvl Public Utilities Board | Silas Ray | 18 | 0
147 | Lower Colorado River Authority | Sim Gideon | 639 | 444.1856
148 | Small Hydro of Texas | Small Hydro of Texas | 1 | 0
149 | Solutia-Brazoria | Solutia-Brazoria | 0 | 0
150 | South Houston Green Power | South Houston Green Power | 315 | 263.2955
151 | Texas Genco | South Texas | 2529 | 2535.4757
152 | Garland City of | Spencer | 178 | 115.5687
153 | TXU Generation LLP | Stryker Creek | 704 | 477.3488
154 | Sweeney Cogen Limited Partnership | Sweeny | 339 | 340.6763
155 | TXU Generation LLP | Sweetwater Generation Plant | 265 | 226.1126
156 | Sweetwater Wind Power LLC | Sweetwater Wind | 37 | 3.0148
157 | Texas Genco | T H Wharton | 1254 | 792.9014
158 | Tenaska IV Texas Partners, Ltd | Tenaska-Cleburne | 258 | 258.2708
159 | Tenaska Frontier Partners, Ltd | Tenaska-Frontier | 861 | 522.5713
160 | Tenaska Gateway Partners, Ltd | Tenaska-Gateway | 865 | 820.035
161 | Tenaska III Texas Partners, Ltd | Tenaska-Lamar | 233 | 225.1076
162 | Bioenergy Austin | Tessman Road | 6 | 5.0247
163 | Calpine - Texas City | Texas City | 446 | 405.9977
164 | Wharton County Power Partners | Texas Gulf Sulphur | 74 | 0
165 | Texas Petrochemicals | Texas Petrochemicals | 5 | 2.0099
166 | Lower Colorado River Authority | Thomas C Ferguson | 430 | 299.4736
167 | TXU Tradinghouse Co. LP | Tradinghouse | 1375 | 1246.1316
168 | Trent Wind Farm, LP | Trent Mesa Wind Farm | 131 | 17.0841
169 | TXU Generation LLP | Trinidad | 240 | 222.0928
170 | Sempra Energy Resources | Twin Oaks | 305 | 306.5082
171 | Union Carbide | Union Carbide | 9 | 9.0445
172 | FPL Upton Wind LP | Upton Wind (King Mountain) | 278 | 30.1483
173 | City Public Service of San Antonio | V H Braunig | 885 | 497.4477
174 | TXU Generation LLP | Valley | 1117 | 505.4872
175 | AEP Texas North Company | Vernon | 6 | 0
176 | Dupont | Victora Dupont Switch | 0 | 0
177 | AEP Texas Central Company | Victoria | 0 | 0
178 | Texas Genco | W A Parish | 3653 | 3358.5255
179 | City Public Service of San Antonio | W B Tuttle | 165 | 0
180 | Cromeco, Inc | Waco LFG | 1 | 0
181 | Weatherford Mun Utility System | Weatherford | 5 | 0
182 | Texas Genco | Webster | 13 | 0
183 | Whitesboro City of | Whitesboro | 6 | 0
184 | USCE-Fort Worth District | Whitney | 30 | 29.1434
185 | Mirant Wichita Falls Management, Inc | Wichita Falls | 75 | 0
186 | Wise County Power Co., LP | Wise County Power Project | 665 | 653.2141
187 | Total |  | 74382 | 58531

## II-2
Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand
Line no. | Month | Net Capability at the Time of the Monthly Peak Demand
|  | Net Capability from Plants Reported on Part II - Schedule 1 |  |  |  |  | External to the Control Area Net Unit or Firm Capability |  | Total Capability (g+h+i) (MW)
|  | Available Capacity (MW) | Unavailable Capability Due to: |  |  | Total (c+d+e+f) (MW)
|  |  | Planned Outage and Derating (MW) | Unplanned Outage and Derating (MW) | Other Outage and Derating (MW) |  | Available (MW) | Not Available (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Jan | 73964.8 | 6946 | 1678 | 0 | 82588.8 | 936 | 0 | 83524.8
2 | Feb | 70527.8 | 10421 | 1640 | 0 | 82588.8 | 936 | 0 | 83524.8
3 | Mar | 63128 | 15224 | 4238 | 0 | 82590 | 936 | 0 | 83526
4 | Apr | 60858 | 14642 | 3745 | 0 | 79245 | 936 | 0 | 80181
5 | May | 69764 | 7472 | 2009 | 0 | 79245 | 936 | 0 | 80181
6 | Jun | 69034 | 7160 | 3241 | 0 | 79435 | 936 | 0 | 80371
7 | Jul | 72069 | 5035 | 2331 | 0 | 79435 | 936 | 0 | 80371
8 | Aug | 74382 | 4948 | 763 | 0 | 80093 | 936 | 0 | 81029
9 | Sep | 72871 | 6268 | 1267 | 0 | 80406 | 936 | 0 | 81342
10 | Oct | 68928 | 11153 | 3944 | 0 | 84025 | 896 | 40 | 84961
11 | Nov | 71508 | 8077 | 4532 | 0 | 84117 | 896 | 40 | 85053
12 | Dec | 72194 | 8138 | 3947 | 0 | 84279 | 896 | 40 | 85215
Column c is calculated as g-d-e-f

## II-3
Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month
Line no. | Month | Control Area Net Generation (MWh) | Net Actual Interchange (MWh) | Net Energy for Load (MWh) (c+d) | Control Area Load Sources at Time of Control Area Monthly Peak Demand |  |  |  |  | Monthly Minimum Demand (MW)
[5 empty] | Output of Generating Plants (MW) | Unit or Firm Purchases (MW) | Unit or Firm Sales (MW) | Net Non-Firm & Inadvertent (MW) | Monthly Peak Demand (MW) (f+g-h+i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Jan | 21772842 | 362766 | 22135608 | 42476.6775 | 310.2505 | 88.928 | 0 | 42698 | 20482.124
2 | Feb | 20911360 | 134361 | 21045721 | 42257 | 100 | 56 | 0 | 42301 | 20601.4656
3 | Mar | 20015869 | 172088 | 20187957 | 34069.0921 | 251.9079 | 0 | 0 | 34321 | 20535.1576
4 | Apr | 20024704 | 377614 | 20402318 | 38415.4099 | 715.5901 | 0 | 0 | 39131 | 20565.2928
5 | May | 24410172 | 282275 | 24692447 | 47885.4577 | 816.5423 | 0 | 0 | 48702 | 20231.516
6 | Jun | 26381852 | 375138 | 26756990 | 53214.6739 | 846.3261 | 0 | 0 | 54061 | 25183.1384
7 | Jul | 29620531 | 430056 | 30050587 | 56115.7312 | 393.3164 | 20.0476 | 0 | 56489 | 26848.5616
8 | Aug | 29279462 | 479508 | 29758970 | 58268.997 | 262.059 | 0.056 | 0 | 58531 | 24978.5312
9 | Sep | 26358625 | 355620 | 26714245 | 54451.124 | 727.884 | 0.008 | 0 | 55179 | 24197.3356
10 | Oct | 24213992 | 227542 | 24441534 | 46857.5605 | 856.5515 | 0.112 | 0 | 47714 | 21259.7104
11 | Nov | 19740407 | 331838 | 20072245 | 36914.5466 | 684.5574 | 0.104 | 0 | 37599 | 20690.1404
12 | Dec | 22474220 | 413031 | 22887251 | 43172.3814 | 837.6586 | 0.04 | 0 | 44010 | 21396.3572
13 | Total | 285204036 | 3941837 | 289145873
Column f:Output of generating plants is calculated as Peak less purchases less sales. Instructions say to show "firm power commitments to other control area" as negative.
Column c: Calculated as column e - column d. Column e is from DandE Report.

## II-4
Part II - Schedule 4. Adjacent Control Area Interconnections
Line No. | Name of Adjacent Control Area | Control Area Interconnection Line or Bus Names | Line or Bus Voltage
(a) | (b) | (c) | (d)
1 | Southwest Power Pool | North DC Tie | 345
2 | Southwest Power Pool | East DC Tie | 345
3 | Comision Federal de Electricidad | Eagle Pass DC Tie | 138

## II-5
Part II - Schedule 5. Control Area Scheduled and Actual Interchange
Line No. | Name of Control Area | Scheduled Interchange Between Contol Areas (MWh) |  | Actual Interchange Between Control Areas (MWh)
|  | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1 | Southwest Power Pool | 0 | 0 | 4192061 | 250245
2 | Comision Federal de Electricidad | 0 | 0 | 190 | 169
3 | Total |  |  | 4192251 | 250414

## II-6
Part II – Schedule 6. Control Area System Lambda Data
Traditional planning methods using known generation resources and pairing them with known load are no longer possible. It is uncertain as to which generation will be displaced by newer resources and when, and how new generation will affect existing facilities and the transmission system. Economic dispatch has been replaced with a new market structure based upon bids and bilateral contracts. System lambda information is no longer available in this environment.

## III-1
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
| Line No. | Electric Utility Name | Electric Utility Coincident Peak Demand (MW)
|  |  | Summer | Winter
| (a) | (b) | (c) | (d)
| 1 | American Electric Power | 5410 | 3794
| 2 | Austin Energy | 2213 | 1564
| 3 | Big Country Electric Coop | 21 | 24
| 4 | Brazos Electric Coop | 2072 | 1987
| 5 | Brownsville Public Utilities Board | 232 | 155
| 6 | Bryan Texas Utilities | 308 | 223
| 7 | CenterPoint | 15194 | 9549
| 8 | City Public Service | 4034 | 2674
| 9 | Coleman County Electric Coop | 20 | 19
| 10 | College Station, City of | 160 | 94
| 11 | Concho Valley Electric Coop | 37 | 35
| 12 | Denton Municipal Electric | 281 | 178
| 13 | Garland Power and Light | 504 | 371
| 14 | Granbury, City of | 19 | 15
| 15 | Greenville Electric Utility System | 105 | 76
| 16 | Hearne, City of | 11 | 7
| 17 | LCRA | 2795 | 2726
| 18 | Lighthouse Electric Coop | 2 | 1
| 19 | Magic Valley Electric Coop | 275 | 254
| 20 | Medina Electric Coop | 89 | 77
| 21 | TXU ED | 22377 | 18021
| 22 | Rayburn Country | 525 | 636
| 23 | Rio Grande | 23 | 22
| 24 | Sharyland Utilities | 12 | 7
| 25 | South Texas Electric Coop | 264 | 266
| 26 | Southwest Texas Electric Coop | 22 | 20
| 27 | Taylor Electric Coop | 40 | 54
| 28 | Texas-New Mexico Power Company | 1333 | 996
| 29 | Tex-La Electric Coop | 82 | 95
| 30 | Weatherford, City of | 71 | 70
| 31 | Total | 58531 | 44010

## III-2
Part III – Schedule 2. Planning Area Hourly Demand
See data on CD included at the back of this filing.

## III-2a
Part III - Schedule 2. Forecast Summer and Winter Peak Demand and Annual Net Energy for Load
| Year | Peak Demand |  | Net Energy for Load (MWh)
|  | Summer (MW) | Winter (MW)
| 2005 | 59702 | 45422 | 294929
| 2006 | 60896 | 46330 | 300827
| 2007 | 62114 | 47257 | 306844
| 2008 | 63356 | 48202 | 312981
| 2009 | 64623 | 49166 | 319240
| 2010 | 65915 | 50149 | 325625
| 2011 | 67234 | 51152 | 332138
| 2012 | 68578 | 52175 | 338780
| 2013 | 69950 | 53219 | 345556
| 2014 | 71349 | 54283 | 352467

## IV
Part IV. Notes
Page No. | Line No. | Column Letter | Notes
(a) | (b) | (c) | (d)