| Federal Energy Regulatory Commission FERC Form No. 714 (2005) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 |  | Please Type: Utility Code 9435 Utility Name MidAmerican Energy Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) |  | Line or Bus Voltage (kV) (d) |
| 1. | Alliant West |  | Sub 73 – Beaver Channel |  | 69 |
| 2. | Alliant West |  | Touchstone |  | 69 |
| 3. | Alliant West |  | Union |  | 69 |
| 4. | Alliant West |  | Wallingford - Triboji Line |  | 69 |
| 5. | Alliant West |  | Wellsburg 115/69 KV Transformer |  | 69 |
| 6. | Alliant West |  | Wellsburg – Traer Line |  | 69 |
| 7. | Alliant West |  | Willemssen |  | 69 |
| 8. | Alliant West |  | Beacon 161/69 KV Tranformer |  | 161 |
| 9. | Alliant West |  | Blackhawk – Hazelton Line |  | 161 |
| 10. | Alliant West |  | Bondurant - Boone Junction Line |  | 161 |
| 11. | Alliant West |  | Carroll – Grand Junction Line |  | 161 |
| 12. | Alliant West |  | Des Moines Energy Center -Reasnor |  | 161 |
| 13. | Alliant West |  | Floyd – Emery Line |  | 161 |
| 14. | Alliant West |  | Franklin 161/115 KV Transformer |  | 161 |