| Federal Energy Regulatory Commission FERC Form No. 714 (2005) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 |  |  | Please Type: Utility Code 9435 Utility Name MidAmerican Energy Co. |  |
| --- | --- | --- | --- | --- | --- | --- |
| Part II - Schedule 1. Generating Plants Included in Reporting Control Area (Use continuation sheets if needed) |  |  |  |  |  |  |
| Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or units outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on pages 14 and 15 |  |  |  |  |  |  |
| Line No. (a) | Electric Utility Name (b) |  | Plant Name (c) | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (d) |  | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) (e) |
| 1. | MidAmerican Energy Company |  | Pleasant Hill 1, 2, 3 | 163 |  | 0 |
| 2. | MidAmerican Energy Company |  | River Hills 1 - 8 | 119 |  | 0 |
| 3. | MidAmerican Energy Company |  | Sycamore 1, 2 | 148 |  | 39 |
| 4. | MidAmerican Energy Company |  | Louisa | 584 |  | 579 |
| 5. | MidAmerican Energy Company |  | Ottumwa | 354 |  | 304 |
| 6. | MidAmerican Energy Company |  | Webster City | 21 |  | 0 |
| 7. | MidAmerican Energy Company |  | Cedar Falls 6, 7 | 56 |  | 49 |
| 8. | MidAmerican Energy Company |  | Cedar Falls Turbine | 40 |  | 0 |
| 9. | MidAmerican Energy Company |  | Buena Vista Wind Farm | 21 |  | 14 |
| 10. | MidAmerican Energy Company |  | Waverly Diesels | 32 |  | 19 |
| 11. | MidAmerican Energy Company |  | NIMECA Diesels | 73 |  | 0 |
| 12. | MidAmerican Energy Company |  | Wisdom 1, 2 | 38 |  | 35 |
| 13. | MidAmerican Energy Company |  | Moline Hydro | 3 |  | 3 |
| 14. | MidAmerican Energy Company |  | PPM- KNOX, SHEN, WAT | 54 |  | 0 |
|  |  |  | TOTAL | 3917 |  | 2788 |