| Federal Energy Regulatory Commission FERC Form No. 714 (2005) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 |  | Please Type: Utility Code 9435 Utility Name MidAmerican Energy Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) |  | Line or Bus Voltage (kV) (d) |
| 1. | Missouri Public Service |  | Clarinda – Maryville Line |  | 161 |
| 2. | Muscatine Power and Water |  | Sub 18- South Sub |  | 161 |
| 3. | Nebraska Public Power District |  | Booneville – Cooper Line |  | 345 |
| 4. | Nebraska Public Power District |  | Raun – Hoskins Line |  | 345 |
| 5. | Omaha Public Power District |  | Raun – Fort Calhoun Line |  | 345 |
| 6. | Omaha Public Power District |  | Council Bluffs – OPPD Sub 3456 Line |  | 345 |
| 7. | Omaha Public Power District |  | Raun – Tekamah Line |  | 161 |
| 8. | Omaha Public Power District |  | Council bluffs Sub 701 – OPPD Sub 1211 Line |  | 161 |
| 9. | Western Area Power Administration |  | Atlantic – NIPCO J8 Line |  | 69 |
| 10. | Western Area Power Administration |  | Avoca - NIPCO |  | 69 |
| 11. | Western Area Power Administration |  | Eagle NIPCO – Hudson Jct. |  | 69 |
| 12. | Western Area Power Administration |  | Eastside – Sloan NIPCO Line |  | 69 |
| 13. | Western Area Power Administration |  | Exria – NIPCO J10 Line |  | 69 |
| 14. | Western Area Power Administration |  | Glidden – Dennison Line |  | 69 |