| Federal Energy Regulatory Commission FERC Form No. 714 (2005) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 |  | Please Type: Utility Code 9435 Utility Name MidAmerican Energy Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) |  | Line or Bus Voltage (kV) (d) |
| 1. | Western Area Power Administration |  | Ida Grove –NIPCO J4 Line |  | 69 |
| 2. | Western Area Power Administration |  | Little Sioux – NIPCO J3 Line |  | 69 |
| 3. | Western Area Power Administration |  | Monona – NIPCO K121 Line |  | 69 |
| 4. | Western Area Power Administration |  | Plymouth – NIPCO Sioux City Line |  | 69 |
| 5. | Western Area Power Administration |  | Rock Valley – Eagle NIPCO Line – Ireton Jct. |  | 69 |
| 6. | Western Area Power Administration |  | Rock Valley – NIPCO K218 Line – J1 |  | 69 |
| 7. | Western Area Power Administration |  | Sheldon - Hospers |  | 69 |
| 8. | Western Area Power Administration |  | Wisdom – City of Spencer |  | 69 |
| 9. | Western Area Power Administration |  | Wisdom – Spencer Line |  | 69 |
| 10. | Western Area Power Administration |  | Clarinda – Creston Line |  | 161 |
| 11. | Western Area Power Administration |  | Neal – Salix Junction NIPCO Line |  | 161 |
| 12. | Western Area Power Administration |  | Plymouth – WAPA Sioux City Line |  | 161 |
| 13. | Western Area Power Administration |  | Wisdom – Spencer Line |  | 161 |
| 14. | Western Area Power Administration |  | Raun – WAPA Sioux City Line |  | 345 |