| Federal Energy Regulatory Commission FERC Form No. 714 (2005) |  | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 |  | Please Type: Utility Code 9435 Utility Name MidAmerican Energy Co. |  |
| --- | --- | --- | --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |  |  |  |
| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |  |  |
| Line No. (a) | Name of Adjacent Control Area (b) |  | Control Area Interconnection Line or Bus Names (c) |  | Line or Bus Voltage (kV) (d) |
| 1. | Alliant West |  | Albert City |  | 69 |
| 2. | Alliant West |  | Ames – Boone Junction Line |  | 69 |
| 3. | Alliant West |  | Armstrong Grove T - 41 |  | 69 |
| 4. | Alliant West |  | Armstrong Grove T - 42 |  | 69 |
| 5. | Alliant West |  | Bosworth |  | 69 |
| 6. | Alliant West |  | Brooke – Fox Run |  | 69 |
| 7. | Alliant West |  | Clarinda – Villisca Line |  | 69 |
| 8. | Alliant West |  | Colfax – Newton Line |  | 69 |
| 9. | Alliant West |  | Diamond Lake |  | 69 |
| 10. | Alliant West |  | Dows |  | 69 |
| 11. | Alliant West |  | Enron Hubbard |  | 69 |
| 12. | Alliant West |  | Fernald 115/69 KV Transformer |  | 69 |
| 13. | Alliant West |  | Fox Run – Linn Grove |  | 69 |
| 14. | Alliant West |  | Gar |  | 69 |