## Sheet2
|  | Annual Scheduled Interchange |  | Actual Interchange Between
| Name of Control Area | Between Control Areas |  | Adjacent Control Areas
|  | (MWh) |  | (MWh)
Line No |  | Received | Delivered | Received | Delivered
(a) | (b) | (c) | (d) | (e) | (f)
1
2 | ATLW |  |  | 664356 | 0
3 | Dairyland Power Coop (DPC) | -9381 | 1163 | 16 | 528250
4 |  | 0 | 0
5 |  | 0 | 0
6 |  | 0 | 0
7 | Lincoln Electric (LES) | -390 | 18017
8 | MISO | -5521691 | 9023235
9 | Manitoba Hydro (MH) | 0 | 0
10 | MAPP (MAPP) | -18730 | 1628
11 | Mid-American Energy Co. (MEC) | -231249 | 42295
12 | Minnesota Power (MP) | 0 | 0 | 1021429 | 57720
13 | Missouri Public Service (MPS) | -297069 | 128423
14 | Muscatine Power & Water (MPW) | -1224 | 98
15 | Nebraska Public Power District (NPPD) | -50402 | 7177
16 | Northern States Power (NSP) | 0 | 0 | 5361948 | 8269997
17 | Omaha Public Power District (OPPD) | -49015 | 11537
18 | Ottertail Power Co. (OTP) | 0 | 0 | 637646 | 2639659
19 | Sunflower Electric (SEC) | 0 | 0
20 | Sask Power (SPC) | 0 | 0
21 | So. MN Municipal Power Agency (SMP) | -110821 | 2520
22 |  | 0 | 0
23 | Western Area Power Admin. (WAUE) | -528386 | 171396 | 1313517 | 94181
24 | Western Resources (WPEK) | 30 | 0
25 |  | 0 | 0
26 |  | 0 | 0
| TOTAL | -6818328 | 9407489 | 8998912 | 11589807
Federal Energy Regulatory Commission
FERC Form No. 714 (2000)
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 5
Control Area Scheduled and Actual Interchange
Indentify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Intructions on pages 12 and 13.
Please Type:
Utility Code: 19514
Utility Name: Great River Energy

## Sheet3
|  | Control Area | Net Actual | Net Energy for | Output of | Unit or Firm | Unit or Firm | Net Non-Firm | Monthly | Monthly
Line |  | Net Generation | Interchange | Load (MWh) | Generating Plants | Purchases | Sales | & Inadvertent | Peak Demand | Mimimum
No. | Month | (MWh) | (MWh) | (c + d) | (MW) | (MW) | (MW) | (MW) | (MW) (f+g+h+i) | Demand (MW)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | January | 972939 | 241756 | 1214695 | 1566 | 274 | 131 | -22 | 1949 | 1141.3
2 | February | 841260 | 201289 | 1042549 | 1606 | 282 | 180 | -183 | 1885 | 1027.4
3 | March | 719514 | 97180 | 816694 | 1645 | 218 | 29 | -242 | 1650 | 889.3
4 | April | 598523 | 59334 | 657857 | 1221 | 192 | 28 | 8 | 1449 | 830.3
5 | May | 827215 | 263437 | 1090652 | 1408 | 125 | 75 | -127 | 1481 | 828.8
6 | June | 888256 | 298397 | 1186653 | 1690 | 185 | 79 | 105 | 2059 | 849.3
7 | July | 897188 | 208838 | 1106026 | 1963 | 433 | 80 | -99 | 2377 | 885.5
8 | August | 902244 | 274012 | 1176256 | 1577 | 434 | 79 | -55 | 2035 | 881.5
9 | September | 871886 | 259381 | 1131267 | 1377 | 356 | 79 | 232 | 2044 | 838.7
10 | October | 886436 | 270774 | 1157210 | 1271 | 287 | 78 | 76 | 1712 | 860.4
11 | November | 870447 | 239002 | 1109449 | 1667 | 278 | 104 | -219 | 1830 | 1020.8
12 | December | 909319 | 177495 | 1086814 | 1659 | 311 | 27 | 92 | 2089 | 1091.5
13 | Total | 10185227 | 2590895 | 12776122
| * | The only column with a signed number is the calculated column ( I ). All other colums
tell you whether they are received or delivered by their headers so do not need to have signed numbers.
+Peak Demand
- Generating Plants
- Firm Purchases
- Firm sales
= Net non firm inadvertent
Note on K12: speters: MONTHLY SYSTEM PEAK FROM SAMS MAPP FORM3
Note on L12: test1: L\EVERYONE\L&C\GRE_2003_LOADS.XLS
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 3.
Control Area Net Energy for Load and Peak Demand Sources by Month
Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 11 and 12.
Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on
Net Energy For Load (NEL)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy

## Sheet4
Line No. | Electric Utility Name | Plant Name | Plant Available Capability at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW) | Integrated Net Load on the Plant at the Hour of the Annual Peak Demand Based on Net Energy for Load (MW)
(a) | (b) |  | (d) | (e)
1 | Great River Energy | Coal Creek 1 & 2 | 1116 | 1078
2 | Great River Energy | Stanton | 188 | 178
3 | Great River Energy | Elk River 1,2 & 3 | 35 | 26
4 | Great River Energy | Cambridge | 20 | 0
5 | Great River Energy | Rock Lake | 19 | 14
6 | Great River Energy | Maple Lake | 18
7 | Elk River Municipal | Elk River Muni | 10
8 | Moose Lake Municipal | Moose Lake | 4
9 | Great River Energy | St. Boni | 50 | 1
10 | Great River Energy | Pleasant Valley 11,12 & 13 | 423 | 393
11 | Great River Energy | Lakefield Junction 1,2,3,4,5 & 6 | 528 | 273
12
13
14
|  | TOTAL | 2411 | 1963
Note on D8: speters: use Sams LC2003 data. Include diesel for CC1, Stanton & Lk fld. Reduce only in the event of unit outage/limitation. Scp/clint 4/22/04
Note on E7: test1: Annual peak is "always" in July or August. Use monthly peak data, for corresponding month here
Note on E8: speters: actual generation from each plant. Use NETPKGENERATION data from Ferc reference spreadsheet scp 4/12/05
Federal Energy Regulatory Commission
FERC Form No. 714 (2000)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 1. Generating Plants Included in Reporting Control Area
(Use continuation sheets if needed)
Under the name of its operating electric utility, list all generating plants (1) within the respondent's control area which are controlled, metered or for which the required information is otherwise available to control area operators and (2) dynamically scheduled plants or untis outside the control area. Specifically identify dynamically scheduled plants. Report only plant totals with generators in an operating or standby status. Provide totals for columns (d) and (e) as a last line. The total in column (d) should equal the value in column (c) on Schedule 2 for the month of the annual peak demand. The total in column (e) should equal the value in column (f) on Schedule 3 for the month of the annual peak demand. Any differences must be explained in a note. For specific guidelines, please refer to the attached Schedule 1 Instructions on page 8.

## Sheet5
|  | Available | Planned | Unplanned | Other | Total |  |  | Total
Line |  | Capability | Outage & Derating | Outage & Derating | Outage & Derating | (c-d-e-f) | Available | Not Available | Capability
No. | Month | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) (g+h-i)
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | January | 2500 |  | 22 |  | 2478 | 182 |  | 2660
2 | February | 2496 | 16 |  |  | 2480 | 182 |  | 2662
3 | March | 2478 |  |  |  | 2478 | 182 |  | 2660
4 | April | 2436 | 172 |  |  | 2264 |  | 180 | 2084
5 | May | 2445 | 16 |  |  | 2429 |  | 176 | 2253
6 | June | 2406 |  |  |  | 2406 |  | 172 | 2234
7 | July | 2398 |  |  |  | 2398 | 170 |  | 2568
8 | August | 2399 | 8 |  |  | 2391 | 170 |  | 2561
9 | September | 2417 |  | 16 |  | 2401 | 174 |  | 2575
10 | October | 2471 |  |  |  | 2471 | 178 |  | 2649
11 | November | 2492 |  |  |  | 2492 | 184 |  | 2676
12 | December | 2500 |  |  |  | 2500 | 185 |  | 2685
Note on C14: test1: Sams plants2004.xls
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 2.
Control Area Monthly Capabilities at Time of Monthly Peak Demand
The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 9 and 10. Please first read the instructions, then complete this Schedule.
The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note.
Please Type:
Utility Code: 19514
Utility Name: United Power Ass'n
Net Capability at the Time of the Monthly Peak Demand, based on Control Area Net Energy For Load (NEL)
Net Capability from Plants Reported on Schedule II
Unavailable Capability due to:
External to the Control Area
Net Unit or Firm Capability
(MW)

## Sheet6
Federal Energy Regulatory Commission
FERC Form No. 714 (1997)
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Schedule I. Identification and Certification
1. Respondent Identification:
Code: 19514 Name: Great River Energy
2. Respondent Type: (Please check appropriate box and fill in name)
(X) Part I: Control Area (Complete Parts I, II and IV)
Control Area Name: Great River Energy
(X) Part II: Planning Area (Complete Parts I, III and IV)
Planning Area Name: Great River Energy
Office of Electric Power Regulation
Federal Energy Regulatory Commission
Room 61-25 ER 10.1
888 First St. NE
Washington, D.C. 20426
Return Completed Form to:
3. Respondent Mailing Address:
Gordon Pietsch
Great River Energy
PO Box 800
Elk River, MN 55330-0800
4. Contact Person:
Name: Clint Burrow
Title: Supervisor, Control Area Operations
Telephone: (763) 241-2319
5. Certifying Official:
Name: Gordon Pietsch
Title: Manager, System Operations
Signature: ______________________ Date: __________

## Sheet7
Page | Line | Column
No. | No. | Letter | Notes
(a) | (b) | (c) | (d)
Part II, Section 6: Control Area System Lambda Data
Lambda Data: System Lambda data is enclosed on the floppy disk in txt format.
File name: GRE_SysLambda_2004.csv
Economic Dispatch: GRE has three base load units, which it dispatches. These units located in North Dakota
are typically dispatched at their cruise rating except for load regulation with reserves carried above cruise.
When loads or prices are high reserves and regulation will be moved to on line combustion turbines.
any changes to above?
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part IV - Notes
Indicate a note by placing an asterisk (*) next to the entry on Schedules 1 through 6 of Part II and Schedules 1 and 2 of Part III, and then provide the note below.
For each note, enter the page number in Column (a), the line number in Column (b), the column letter in Column (c), and the Note in Column (d). Use more than one line if needed.

## Sheet8
|  | Control Area Interconnection | Line or Bus Voltage
Line | Name of Adjacent Control Area | Line or Bus Names | (kV)
No. (a) | (b) | (c) | (d)
1 | Minnesota Power | SANDSTONE | 34.5 kV
2 | Minnesota Power | HINCKLEY | 34.5 kV
3 | Minnesota Power | CROMWELL | 115 kV
4 | Minnesota Power | FOUR CORNERS | 115 KV
5 | Minnesota Power | BLACKBERRY | 115 KV
6 | Minnesota Power | DEER RIVER | 115 KV
7 | Minnesota Power | PEQUOT LAKES | 115 KV
8 | Minnesota Power | RIVERTON | 115 KV
9 | Minnesota Power | SHANNON | 115 KV
10 | Minnesota Power | TAC HARBOR | 115 KV
11 | Minnesota Power | VIRGINIA | 115 KV
12 | Minnesota Power | Birch Lake | 69 KV
13 | Minnesota Power | Stinson | 161 KV
14 | Minnesota Power | Bear Creek | 230 KV
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with wiich the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.

## Sheet9
|  | Control Area Interconnection | Line or Bus Voltage
Line | Name of Adjacent Control Area | Line or Bus Names | (kV)
No. (a) | (b) | (c) | (d)
1 | Northern States Power Company | Crow River--4M62 | 69 kV
2 | Northern States Power Company | Crow River--4M64 | 69 kV
3 | Northern States Power Company | Maple Lake | 69 kV
4 | Northern States Power Company | Hutchinson--Big Swan | 115 kV
5 | Northern States Power Company | Hutchinson--C3NB9 | 69 kV
6 | Northern States Power Company | Parkwood | 115 kV
7 | Northern States Power Company | Willmar 115 | 115 kV
8 | Northern States Power Company | Monticello | 230 kV
9 | Northern States Power Company | Rush City | 230 kV
10 | Northern States Power Company | Benton County--230/69 | 230 kV
11 | Northern States Power Company | Benton County--Milaca | 230 kV
12 | Northern States Power Company | Bunker Lake | 345 kV
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with wiich the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.

## Sheet10
|  | Control Area Interconnection | Line or Bus Voltage
Line | Name of Adjacent Control Area | Line or Bus Names | (kV)
No. (a) | (b) | (c) | (d)
1 | Northern States Power Company | Dickinson--Coon Creek | 345 KV
2 | Northern States Power Company | Dickinson--Parkers Lake | 345 KV
3 | Northern States Power Company | Dickinson--345/115/69 | 115 KV
4 | Northern States Power Company | Vadnais Heights 1 | 115 KV
5 | Northern States Power Company | Vadnais Heights 2 | 115 KV
6 | Northern States Power Company | Medina | 115 KV
7 | Northern States Power Company | St. Boni | 69 KV
8 | Northern States Power Company | Enterprise Park | 69 KV
9 | Northern States Power Company | Pleasant Valley | 345 KV
10 | Northern States Power Company | Lakefield Junction | 345 KV
11 | Northern States Power Company | Litchfield | 69 KV
12 | Northern States Power Company | Mcleod | 230 KV
13 | Northern States Power Company | Victor SM 9 | 69 KV
14 | Northern States Power Company | Victor SM 12 | 69 KV
15 | Northern States Power Company | Willmar 230 | 230 KV
16 | Northern States Power Company | Shakopee City | 69 KV
17 | Northern States Power Company | Blue Lake 1 | 115 KV
18 | Northern States Power Company | Blue Lake 2 | 115 KV
19 | Northern States Power Company | Shakopee South | 69 KV
20 | Northern States Power Company | Shakopee Dean Lake 1 | 69 KV
21 | Northern States Power Company | Shakopee Dean Lake 2 | 69 KV
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part II - Schedule 4. Adjacent Control Area Interconnections
Identify on this schedule: each adjacent control area with wiich the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.

## Sheet11
|  | Control Area Interconnection | Line or Bus Voltage
Line | Name of Adjacent Control Area | Line or Bus Names | (kV)
No. (a) | (b) | (c) | (d)
1 | Otter Tail Power Company | Stanton - Square Butte | 230 KV
2 | Otter Tail Power Company | Ramsey | 230 KV
3 | Otter Tail Power Company | Prairie | 230 KV
4 | Otter Tail Power Company | Coal Creek - Harvey | 230 KV
5 | Otter Tail Power Company | Balta 2255 | 230 KV
6 | Otter Tail Power Company | Balta 2285 | 230 KV
7 | Western Area Power Administration | Granite Falls - Willmar | 69 KV
8 | Western Area Power Administration | Leland Olds - Stanton | 230 KV
9 | Western Area Power Administration | Granite Falls - Willmar | 230 KV
10 | Western Area Power Administration | WJ Neal - McHenry | 115 KV
11 | Western Area Power Administration | Mallard - Souris | 115 KV
12
Federal Energy Regulatory Commission
FERC Form No. 714 (1994)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
2
Identify on this schedule: each adjacent control area with wiich the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on page 12.

## Sheet12
|  | Electric Utility | Coincident Peak
Line No. | Electric Utility Name | Demand | (MW)
(a) | (b) | c/summer | d/winter
1 | This data is submitted by MAPP for all members. GRE hereby gives
2 | its permission for FERC to release its hourly load data as submitted
3 | by MAPP.
4
5
6
7
8
9
10
Federal Energy Regulatory Commission
FERC Form No. 714 (1999
)
Please Type:
Utility Code: 19514
Utility Name: Great River Energy
Annual Electric Control and Planning Area Report
For the Year Ending December 31, 2004
Part III - Schedule 1. Electric Utilities That Compose the Planning Area
(Use continuation sheets if needed)
Enter the name of each entity, including the respondent, that forms the planning area for which this report is being prepared and their coincident summer and winter peak demands in megawatts. Please refer to Insturctions on page 23 & 24.