| Federal Energy Regulatory Commission FERC Form No. 714 (1999) | Annual Electric Control and Planning Area Report For the Year Ending December 31, 2004 | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part II - Schedule 2. Control Area Monthly Capabilities at Time of Monthly Peak Demand |  |  |

| The peak demand and other terms used in this schedule are defined in the attached instructions for Schedule 2, pages 15 through 18. Please first read the instructions, then complete this Schedule. The value in column (c) for the month of the annual peak demand should equal the total in column (d) in Schedule 1. Any difference must be explained in a note. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Net Capability at the Time of the Monthly Peak Demand, Based on Control Area Net Energy For Load (NEL) |  |  |  |  |  |  |  |
|  |  | Net Capability from Plants Reported on Schedule II |  |  |  |  | External to the Control Area Net Unit or Firm Capability (MW) |  |  |
|  |  |  | Unavailable Capability Due to: |  |  |  |  |  |  |
| Line No. (a) | Month (b) | Available Capability (MW) (c) | Planned Outage and Derating (MW) (d) | Unplanned Outage and Derating (MW) (e) | Other Outage and Derating* (MW) (f) | Total (c + d + e + f) (MW) (g) | Available (MW) (h) | Not Available (MW) (i) | Total Capability (g + h + i) (MW) (j) |
| 1. | Jan | 37524 | 4273 | 287 | 0 | 32964 | 0 | 0 | 32964 |
| 2. | Feb | 37524 | 3133 | 385 | 0 | 34006 | 0 | 0 | 34006 |
| 3. | Mar | 37524 | 6201 | 670 | 0 | 30653 | 0 | 0 | 30653 |
| 4. | Apr | 37524 | 6651 | 755 | 0 | 30118 | 0 | 0 | 30118 |
| 5. | May | 37524 | 4000 | 2127 | 0 | 31397 | 0 | 0 | 31397 |
| 6. | Jun | 37524 | 1096 | 862 | 0 | 35566 | 0 | 0 | 35566 |
| 7. | Jul | 37524 | 945 | 265 | 0 | 36314 | 0 | 0 | 36314 |
| 8. | Aug | 37524 | 1035 | 1219 | 0 | 35270 | 0 | 0 | 35270 |
| 9. | Sep | 37524 | 1812 | 603 | 0 | 35109 | 0 | 0 | 35109 |
| 10. | Oct | 37524 | 5829 | 646 | 0 | 31049 | 0 | 0 | 31049 |
| 11. | Nov | 37524 | 3511 | 406 | 0 | 33607 | 0 | 0 | 33607 |
| 12. | Dec | 37524 | 4231 | 481 | 0 | 32812 | 0 | 0 | 32812 |
| * Reductions in capability due to fuel supply problems, environmental restrictions, lack of transmission availability at a generating plant, etc. |  |  |  |  |  |  |  |  |  |