| Part II - Schedule 3. Control Area Net Energy for Load and Peak Demand Sources by Month |  |  |
| --- | --- | --- |

| Enter the monthly "Net Energy for Load" which is the amount of energy that the control area requires internally including control area losses. The total in column (d) should equal the difference in the totals for columns (e) and (f) on Schedule 5. The value in column (f) for the month of the annual peak demand should equal the total in column (e) in Schedule 1. Any differences must be explained in a note. For detailed instructions and definitions, please refer to attached Schedule 3 Instructions on pages 19 and 20. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Control Area Load Sources at Time of Control Area Monthly Peak Demand, Based on Net Energy For Load (NEL) |  |  |  |  |  |
| Line No. (a) | Month (b) | Control Area Net Generation (MWh) (c) | Net Actual Interchange (MWh) (d) | Net Energy for Load (MWh) (c + d) (e) | Output of Generating Plants (MW) (f) | Unit or Firm Purchases (MW) (g) | Unit or Firm Sales (MW) (h) | Net Non-Firm & Inadvertent (MW) (i) | Monthly Peak Demand (MW) (f+g-h+i) (j) | Monthly Minimum Demand (MW) (k) |
| 1. | January | 14384022 | 969921 | 15353921 | 24227 | 3317 | 2233 | 49 | 25262 | 12420 |
| 2. | February | 12745977 | 898896 | 13643896 | 23476 | 1,220 | 1631 | 28 | 22944 | 13622 |
| 3. | March | 12909528 | 1199899 | 14108899 | 22532 | 1071 | 1446 | 17 | 22140 | 12373 |
| 4. | April | 11796640 | 1377571 | 13174211 | 20716 | 212 | 610 | -52 | 20370 | 11906 |
| 5. | May | 12649000 | 1043006 | 13692006 | 21527 | 533 | 2051 | 50 | 24061 | 11735 |
| 6. | June | 13535000 | 1309912 | 14844912 | 29384 | 1469 | 2370 | 52 | 28433 | 11990 |
| 7. | July | 14910000 | 1128955 | 16038955 | 27830 | 2111 | 2193 | -31 | 27779 | 13529 |
| 8. | August | 15045000 | 1102316 | 16147316 | 27524 | 2828 | 2685 | -44 | 27711 | 12685 |
| 9. | September | 13424000 | 966433 | 14390433 | 27195 | 925 | 2880 | -34 | 25274 | 12240 |
| 10. | October | 12497000 | 1361532 | 13858532 | 22818 | 314 | 2386 | 35 | 20773 | 12368 |
| 11. | November | 12462000 | 1317157 | 13779157 | 24694 | 627 | 3144 | 67 | 22064 | 12572 |
| 12. | December | 13852000 | 1208951 | 15060951 | 26105 | 931 | 1192 | 263 | 25541 | 13440 |
| 13. | Total | 160211000 | 13884549 | 174095549 |  |  |  |  |  |  |

|  |  | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part II - Schedule 4. Adjacent Control Area Interconnections |  |  |

| Identify on this schedule: each adjacent control area with which the respondent control area is interconnected in column (b), all the interconnection line or bus names with the adjacent control area in column (c), and the line or bus voltage in column (d). See Schedule 4 Instructions on pages 20 and 21. |  |  |  |
| --- | --- | --- | --- |
| Line No. (a) | Name of Adjacent Control Area (b) | Control Area Interconnection Line or Bus Names (c) | Line or Bus Voltage (kV) (d) |
| 1. | Hydro Quebec | Chateauqay - Massena Line 7040 | 765 kV |
| 2. | ISO-NE | Rotterdam – Bear Swamp Line E205W | 230 kV |
| 3. | ISO-NE | Alps – Berkshire Line 393 | 345 kV |
| 4. | ISO-NE | Whitehall – Blissville Line 7 | 115 kV |
| 5. | ISO-NE | Hoosick - Bennington Line K6 | 115 kV |
| 6. | ISO-NE | Plattsburgh – Grand Island Line PV20 | 115 kV |
| 7. | ISO-NE | Pleasant Valley – Long Mountain Line 398 | 345 kV |
| 8. | ISO-NE | Northport – Norwalk Harbor Line 1385 | 138 kV |
| 9. | ISO-NE | Falls Village - Smithfield Line 690 | 69 kV |
| 10. | Ontario IMO | Niagara - Beck Line PA301 | 345 kV |
| 11. | Ontario IMO | Niagara - Beck Line PA302 | 345 kV |
| 12. | Ontario IMO | Niagara - Beck Line PA27 | 230 kV |
| 13. | Ontario IMO | Swan Road - Beck Line 104-1 | 115 kV |
| 14. | Ontario IMO | Packard - Beck Line BP76 | 230 kV |
|  | Ontario IMO | Harper – Beck 25 Hz Line 105 | 115 kV |
|  | Ontario IMO | Harper – Beck 25 Hz Line 106 | 115 kV |
|  | Ontario IMO | Moses – St. Lawrence Line L33P | 230 kV |
|  | Ontario IMO | Moses – St. Lawrence Line L34P | 230 kV |
|  | PJM | Ramapo – Branchburg Line 5018 | 500 kV |
|  | PJM | West Nyack - Closter Line 751 | 69 kV |
|  | PJM | North Waverly – East Sayre Line 956 | 115 kV |
|  | PJM | Hillside – East Towanda Line 70 | 230 kV |
|  | PJM | South Ripley – Erie South Line 69 | 230 kV |
|  | PJM | Sugarloaf - Franklin Line D | 115 kV |
|  | PJM | Sugarloaf - Franklin Line J | 115 kV |
|  | PJM | Stolle Road – Homer City Line 37 | 345 kV |
|  | PJM | Watercure – Homer City Line 30 | 345 kV |
|  | PJM | Farragut - Hudson Line C3403 | 345 kV |
|  | PJM | Farragut – Hudson Line B3402 | 345 kV |
|  | PJM | Pearl River – Harings Corner Line 45 | 34.5 kV |
|  | PJM | West Nyack – Harings Corner Line 701 | 69 kV |
|  | PJM | Burns – Harings Corner Line 702 | 138 kV |
|  | PJM | Goudey – Laurel Lake Line 952 | 115 kV |
|  | PJM | Goethals - Linden Line A2253 | 230 kV |
|  | PJM | Blue Hill – Montvale Line 43 | 69 kV |
|  | PJM | Blue Hill – Montvale Line 44 | 69 kV |
|  | PJM | Pearl River – Montvale Line 491 | 69 kV |
|  | PJM | Hillburn – South Mahwah Line 65 | 69 kV |
|  | PJM | South Mahwah – South Mahwah BK 258 | 345/138 kV |
|  | PJM | Ramapo – South Mahwah Line 51 | 138 kV |
|  | PJM | South Mahwah – Waldwick Line J3410 | 345 kV |
|  | PJM | South Mahwah – Waldwick Line K3411 | 345 kV |
|  | PJM | Falconer – Warren Line 171 | 115 kV |

| Federal Energy Regulatory Commission FERC Form No. 714 (1999) |  | Please Type: Utility Code Utility Name |
| --- | --- | --- |
| Part II - Schedule 5. Control Area Scheduled and Actual Interchange |  |  |

| Identify on this schedule: each control area with which the respondent control area has actual or scheduled interchange of energy, in column (b); the total annual megawatthours (MWh) of the scheduled interchange that were received by the respondent control area through all interconnection points with each control area, in column (c); the MWh of scheduled interchange delivered to each control area, in column (d); the MWh of total annual actual interchange received and delivered within each adjacent control area, in columns (e) and (f). Provide totals for columns (c), (d), (e) and (f). The difference in the totals for columns (e) and (f) should equal the total in column (d) on Schedule 3. Any difference must be explained in a note. See Schedule 5 Instructions on page 21. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Line No. | Name of Control Area | Scheduled Interchange Between Control Areas (MWh) |  | Actual Interchange Between Adjacent Control Areas (MWh) |  |
| (a) | EASTERN TIME (b) | Received (c) | Delivered (d) | Received (e) | Delivered (f) |
| 1. | # IMO_ONTARIO HYDRO |  | 7,233,758 | -488,204 | 1,927,688 |
| 2. | # PJM_INTERCONNECTION |  | 7,783,015 |  | 12,806,432 |
| 3. | # ISO_NEW ENGLAND | -858,256 | 184,566 | -872,814 | 275,780 |
| 4. | # HYDRO QUEBEC | -1,597,665 | 1,695,056 | -1,704,970 | 1,621,366 |
| 5. |  |  |  |  |  |
| 6. |  |  |  |  |  |
| 7. |  |  |  |  |  |
| 8. |  |  |  |  |  |
| 9. |  |  |  |  |  |
| 10. | TOTAL |  |  |  | 0 |